DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting 
ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744
Thursday, January 8, 2026 – 9:30 a.m.
Attendance

ROS Representatives: 
	
	

	
	

	Blankenship, David 
	CenterPoint Energy (CNP)
	

	Borkar, Sandeep
	Lower Colorado River Authority (LCRA)
	

	Bowen, Kenneth
	CPS Energy
	Via Teleconference

	Carter, Matt
	Garland Power & Light (GP&L)
	Via Teleconference

	Fun, Meng
	Chariot Energy
	Via Teleconference

	Hendrix, Chris
	Demand Control 2
	Via Teleconference

	Jackson, Daryll
	Texas-New Mexico Power Company
	Via Teleconference

	King, Blake
	Galaxy Power
	Via Teleconference

	Klug, Jack
	City of Eastland
	Via Teleconference

	Koenig, Chris


	Golden Spread Electric Cooperative (GSEC) 
	

	Kroskey, Tony


	Brazos Electric Power Cooperative         (Brazos)                                                   
	Via Teleconference

	Lutrick, Chris
	Denton Municipal Electric (DME)                
	Via Teleconference

	Matt, Kevin
	Reliant Energy
	Via Teleconference

	Merta, Derek
	South Texas Electric Cooperative (STEC) 
	

	Miller, Alex
	EDF Renewables (EDF)
	

	Mrini, Imane
	Austin Energy
	Via Teleconference

	Naik, Harsh
	Oncor Electric Delivery (Oncor)
	Alt. Rep. for Eithar Nashawati

	
	
	

	Pokharel, Nabaraj


	The Office of Public Utility Counsel (OPUC)
	Via Teleconference

	Rich, Katie
	Vistra Operations Company (Vistra)
	Via Teleconference

	Schmitt, Jennifer
	Rhythm Ops
	Via Teleconference

	Smith, Chase
	Southern Power Company
	Via Teleconference

	Spalek, Matthew
	AEP Service Corporation (AEPSC) 
	Via Teleconference

	Thomas, Shane
	Shell Energy North America (SENA)
	

	Varnell, John
	Tenaska Power Services (TNSK)
	Alt. Rep. for Adam Cochran

	
	
	

	
	

	Guests:
	
	

	Aleman, Charles
	Sharyland
	Via Teleconference

	Aldridge, Ryan
	AB Power Advisors
	Via Teleconference

	Alley, Tyler
	
	Via Teleconference

	Anderson, Connor
	AB Power Advisors
	Via Teleconference

	Beckmann, Kara
	
	Via Teleconference

	Bernier, Leo
	
	Via Teleconference

	Bevill, Robert
	
	

	Blackshear, David
	TNMP
	Via Teleconference

	Blakey, Eric
	Pedernales Electric Cooperative
	

	Brandin, Sam
	Agentic Infrastructure
	Via Teleconference

	Bratcher, Lee
	
	Via Teleconference

	Briggs, Lindsay
	
	Via Teleconference

	Bruce, Mark
	
	Via Teleconference

	Cardiel, Jonathan
	PUCT
	Via Teleconference

	Carter, Cathey
	GridAxon
	Via Teleconference

	Carswell, Cory
	
	Via Teleconference

	Cockrell, Justin
	DC Energy
	Via Teleconference

	Cook, Kristin
	Southern Power Company
	Via Teleconference

	Cox, Jason
	
	Via Teleconference

	David, Blackshear
	
	Via Teleconference

	Davis, Tony
	
	Via Teleconference

	de Arizon, Paloma
	CNP
	Via Teleconference

	Deridder, Chris
	nFront
	Via Teleconference

	Dieringer, Michael
	LCRA
	Via Teleconference

	Donohoo, Ken
	OwlERC LLC
	Via Teleconference

	Downey, Marty
	Consultant Luminant
	Via Teleconference

	Dreyfus, Mark
	
	Via Teleconference

	Du, Pengwei
	
	Via Teleconference

	Endress, Eric
	
	Via Teleconference

	Ferreira, Heverton
	Gridmonitor
	Via Teleconference

	Floyd, Rickey
	
	Via Teleconference

	Garrett, Bob
	
	Via Teleconference

	Gauldin, Julie
	PUCT
	Via Teleconference

	Gianni, Juliana
	Goff Policy
	

	Graham, Grace
	CimView
	Via Teleconference

	Guo, Jiachun
	
	Via Teleconference

	Hanson, Kevin
	Invenergy Energy Management
	

	Henry, Mark
	Texas RE
	

	Holt, Blake
	LCRA
	Via Teleconference

	Jamar, Benjamin
	ECI
	Via Teleconference

	Jones, Sean
	Tesla
	Via Teleconference

	Kakarla, Raja
	CNP
	Via Teleconference

	Kata, Naresh
	
	Via Teleconference

	Keefer, Andrew
	
	Via Teleconference

	Khayat, Maribel
	
	Via Teleconference

	Kinser, Glenn
	TGPNA TotalEnergies
	Via Teleconference

	Kota, Kiran
	PEC
	Via Teleconference

	Kozlowski, Brian
	
	Via Teleconference

	Kremling, Barry
	
	Via Teleconference

	Lee, Jim
	CenterPoint Energy
	

	Leverett, Travis
	
	Via Teleconference

	Loyferman, Larisa
	
	Via Teleconference

	Martha, Henson
	
	Via Teleconference

	Matevosyan, Julia
	
	Via Teleconference

	Mathew, Shirley
	
	Via Teleconference

	Matos, Chris
	
	Via Teleconference

	McCamant, Frank
	
	Via Teleconference

	McClellan, Suzi
	
	Via Teleconference

	McDonnell, Alan
	
	Via Teleconference

	McElroy, Randall
	OPUC
	Via Teleconference

	Moore, Ava
	
	Via Teleconference

	Moser, Jesse
	
	Via Teleconference

	Mrini, Imane
	
	Via Teleconference

	Mulholland, Chad
	NRG
	Via Teleconference

	Neel, Evan
	Lancium
	Via Teleconference

	Newnam, Eric
	Texas RE
	Via Teleconference

	Nguyen, Andrew
	Constellation Energy
	Via Teleconference

	Orr, Rob
	LST
	Via Teleconference

	Patel, Sanjana
	
	Via Teleconference

	Pearson, Arthur
	
	Via Teleconference

	Pearson, Kelsey
	
	Via Teleconference

	Penney, David
	Texas RE
	Via Teleconference

	Pepe, Diego
	
	Via Teleconference

	Person, Paul
	TEC
	Via Teleconference

	Pietrucha, Doug
	TAEBA
	Via Teleconference

	Pokharel, Nabaraj
	
	Via Teleconference

	Polusani, Jithender
	PEC
	Via Teleconference

	Portugal, Luis
	
	Via Teleconference

	Poursoltan, Cameron 
	Data Center Coalition
	Via Teleconference

	Pyka, Greg
	SENERGY
	Via Teleconference

	Qureshi, Fahad
	
	Via Teleconference

	Randall, Nick
	
	Via Teleconference

	Rasmussen, Erin J
	
	

	Reedy, Nick
	Cim View
	Via Teleconference

	Reedy, Steve
	Cim View
	Via Teleconference

	Rico, Guillermo
	CPS Energy
	Via Teleconference

	Robert, Orr
	
	Via Teleconference

	Robertson, William
	CPS Energy
	Via Teleconference

	Safko, Trevor
	LCRA
	Via Teleconference

	Schaper, Andrew
	
	Via Teleconference

	Schwarz, Brad
	Sharyland
	Via Teleconference

	Sersen, Juliana
	
	Via Teleconference

	Shaikh, Fiza
	New Project Media
	Via Teleconference

	Silva, Patricio
	Enel
	Via Teleconference

	Smith, Chase
	
	Via Teleconference

	Springer, Tyler
	AEP
	Via Teleconference

	Stanfill, Susan
	PGR
	Via Teleconference

	Stice, Clayton
	
	Via Teleconference

	Stuckly, Kyle
	Oncor
	Via Teleconference

	Sun, Vikki
	
	Via Teleconference

	Tay, Sing
	
	Via Teleconference

	Teng, Shuye 
	Constellation Energy
	Via Teleconference

	Thomas, Pinky
	
	Via Teleconference

	Townsend, Paul
	TCPA
	Via Teleconference

	Turner, Mina
	AEP
	Via Teleconference

	Velasquez, Ivan
	
	Via Teleconference

	Wagner, Julia
	PUCT
	Via Teleconference

	Winkle, Kim Van
	PUCT
	Via Teleconference

	Withrow, Kent
	
	Via Teleconference

	Wittmeyer, Bob
	
	Via Teleconference

	Woods, Brad
	Texas RE
	Via Teleconference

	Wu, Vanessa Chan
	TotalEnergies
	Via Teleconference

	Wu, Xuan
	PEC
	

	Wyman, Constance
	
	Via Teleconference

	Zahra, Jianpanah
	
	Via Teleconference

	Zech, David
	CenterPoint Energy
	Via Teleconference

	Zhang, Linda
	
	Via Teleconference

	Zito, David
	
	Via Teleconference

	
	
	

	ERCOT Staff:
	
	

	Albracht, Brittney
	
	

	Arth, Matthew
	
	Via Teleconference

	Blevins, Bill
	
	Via Teleconference

	Boren, Ann
	
	Via Teleconference

	Chauhan, Aditya
	
	Via Teleconference

	Clifton, Suzy
	
	Via Teleconference

	Cyphers, Darrell
	
	Via Teleconference

	Devadhas Mohanadhas, Thinesh 
	
	

	El-Madhoun, Mohamed
	
	Via Teleconference

	Finke, Sidne
	
	Via Teleconference

	Flores, Jorge
	
	Via Teleconference

	Fohn, Douglas
	
	Via Teleconference

	Garcia, Freddy
	
	Via Teleconference

	Gnanam, Prabhu
	
	Via Teleconference

	Golen, Robert
	
	Via Teleconference

	Gonzales, Nathan
	
	

	Gravois, Patrick
	
	Via Teleconference

	Gumpert, Julie
	
	Via Teleconference

	Herrera, Shane
	
	Via Teleconference

	Hinojosa, Jose Luis
	
	Via Teleconference

	Huang, Shun-Hsien
	
	Via Teleconference

	Kang, Sun Wook
	
	Via Teleconference

	Lee, Alex
	
	Via Teleconference

	Mago, Nitika
	
	Via Teleconference

	Matlock, Robert
	
	Via Teleconference

	McDowell, Matthew
	
	Via Teleconference

	Miller, Megan
	
	Via Teleconference

	Morales, Elizabeth
	
	

	Myers, Madison
	
	Via Teleconference

	Ramthun, Eli
	
	Via Teleconference

	Schmall, John
	
	Via Teleconference

	Springer, Agee
	
	Via Teleconference

	Thatte, Anupam
	
	Via Teleconference

	Thompson, Chad
	
	Via Teleconference

	Troublefield, Jordan
	
	

	Troy, Anderson
	
	Via Teleconference

	Yan, Ping
	
	Via Teleconference

	Zhang, Lin
	
	Via Teleconference

	Zuniga, Mariela
	
	Via Teleconference


Unless otherwise indicated, all Market Segments participated in the votes.

Nathan Gonzales called the January 8, 2026 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Gonzales directed attention to the Antitrust Admonition, which was displayed.

Election of 2026 ROS Chair and Vice Chair (Vote)

Mr. Gonzales reviewed the leadership election process codified in the Technical Advisory Committee 

Procedures and opened the floor for nominations.

Harsh Naik nominated Sandeep Borkar for 2026 ROS Chair.  Mr. Borkar accepted the nomination.  Mr. Borkar was named 2026 ROS Chair by acclamation.

Mr. Naik nominated Shane Thomas for 2026 ROS Vice Chair.  Mr. Thomas accepted the nomination.  Mr. Thomas was named 2026 ROS Vice Chair by acclamation.

Agenda Review 

Mr. Borkar reviewed the agenda. 

Approval of ROS Meeting Minutes (see Key Documents) 

December 4, 2025

Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
ERCOT Reports (see Key Documents)
Operations Report
Alex Lee summarized the November 2025 ERCOT Monthly Operations Report.  

System Planning Report

Ping Yan summarized the December 2025 ERCOT System Planning Monthly Status Report.  
Urgency Vote(s)
Planning Guide Revision Request (PGRR) 138, Large Load Interconnection Study Review and Approval Process.  
Andrew Schaper provided an overview of PGRR138 indicating that this would be a temporary improvement until ERCOT implements a batch study process.  Agee Springer noted ERCOT’s preference to develop a new process versus modifying the existing process; and that ERCOT was planning on putting forward a proposal to address the issue and preferred to have PGRR138 tabled.  Market Participants did not vote on the question of urgency.  
New Protocol Revision Subcommittee (PRS) Referrals (Vote)

NPRR1308, Board Priority – Related to NOGRR282, Large Electronic Load Ride-Through Requirements

Patrick Gravois provided an overview of NPRR1308 stating that it was defining Large Electronic Load and discussions would be happening at TAC.  Mr. Gravois suggested that ROS request that PRS continue tabling NPRR1308 to allow time for review with the corresponding Nodal Operating Guide Revision Request (NOGRR) 282, Large Electronic Load Ride-Through Requirements.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
ROS Revision Requests (Vote) (see Key Documents)

Impact Analysis

PGRR127, Addition of Proposed Generation to the Planning Models

Troy Anderson provided an overview of the 12/16/25 Revised Impact Analysis for PGRR127 and suggested a priority of 2026 and rank of 430 be assigned due to the regulatory nature.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
PGRR132, Update to Standard Generation Interconnection Agreement

Market Participants reviewed the 10/1/25 Impact Analysis for PGRR132. .  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
Language Review 

PGRR138, Large Load Interconnection Study Review and Approval Process
Market Participants discussed tabling PGRR138 at ROS until the review of the batch study process for Large Load interconnections is complete.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
PGRR136, Large Load Interconnection Study Scope Documentation

Mr. Schaper provided an overview of PGRR136, stating that it was creating a more uniform scope document for the Large Load Interconnection Study (LLIS) scoping process, which would reduce delays.  Market Participants discussed tabling PGRR136 at ROS until the review of the batch study process for Large Load interconnections is complete.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
PGRR139, Related to NPRR1314, Planning Guide Glossary Transition 121625

Jordan Troublefield provided an overview of PGRR139, stating that it was an initiative to consolidate the Market Guide definitions into Protocol Section 2, Definitions and Acronyms..  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
PGRR140, Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation

Thinesh Devadhas Mohanadhas provided an overview of PGRR140.  Mr. Devadhas Mohanadhas confirmed that PGRR140 did not pose any operational impacts.  Market Participants inquired whether the new Non-Settled Generator (NSG) category applied to all generators connected to the ERCOT system.  Doug Fohn clarified that the registration of NSGs would not be Market Participants and therefore would not have to comply with the Lone Star Infrastructure Protection Act (LSIPA).  Market Participants requested tabling of PGRR140 for further discussion by the Network Data Support Working Group (NDSWG) and the Planning Working Group (PLWG).  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
NOGRR283, Board Priority – Related to NPRR1309, Dispatchable Reliability Reserve Service
Nitika Mago provided an overview of NOGRR283 and the associated NPRR1309, Dispatchable Reliability Reserve Service, explaining that it creates Dispatchable Reliability Reserve Service (DRRS) as an Ancillary Service product.  There was discussion regarding participation in DRRS.    Market Participants agreed to table NOGRR283 awaiting further discussion of NPRR1309 by TAC.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
NOGRR284, Related to NPRR1310, Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor 

Market Participants agreed to table NOGRR248 awaiting further discussion of NPRR1310 by TAC.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
Revision Requests Tabled at ROS (see Key Documents) 
PGRR073, Related to Nodal Protocol Revision Request (NPRR) 956, Designation of Providers of Transmission Additions

NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program 
PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Resource Registration Glossary Revision Request (RRGRR) 038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
NPRR1272, Voltage Support at Private Use Networks 
NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service
PGRR133, Clarifying Legacy Generation Breaker Control for PGRR115 Implementation 
ROS took no action on these items.  
Related NPRRs (see Key Documents) 
NPRR1264, Creation of a New Energy Attribute Certificate Program
NPRR1309, Dispatchable Reliability Reserve Service Ancillary Service
NPRR1310, Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor
NPRR1314, Planning Guide Glossary Transition 121625
NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation
ROS took no action on these items. 
Dynamics Working Group (DWG)

Fahad Qureshi reviewed DWG activities.
PGRR122, Reliability Performance Criteria for Loss of Load
PGRR124, ESR Maintenance Exception to Modifications
NOGRR282, Board Priority - Large Electronic Load Ride-Through Requirements
ROS took no action on these items.
Operations Working Group (OWG) (see Key Documents)

Tyler Springer reviewed OWG activities. 
NOGRR281, Related to NPRR1307, Revised Definition of Mitigation Plan 111325

Mr. Springer indicated that OWG reached consensus to recommend ROS endorse NOGRR281 as submitted.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.
NPRR1307, Revised Definition of Mitigation Plan

ROS took no action on this item. 
PLWG (see Key Documents)

Mina Turner reviewed PLWG activities.  

PGRR122, Reliability Performance Criteria for Loss of Load
PGRR124, ESR Maintenance Exception to Modifications
PGRR126, Related to NPRR1284, Guaranteed Reliability Load Process
PGRR128, Regional Transmission Plan Review of Grid Enhancing Technologies
PGRR130, Related to NPRR1295, GTC Exit Solutions
PGRR134, Interconnection Studies Reform for Dispatchable Loads

NPRR1284, Guaranteed Reliability Load Process 

NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation
NPRR1295, GTC Exit Solutions 
ROS took no action on these items. 
Combined Ballot 

Chris Koenig moved to approve the Combined Ballot as follows: 

· To approve the December 4, 2025 ROS meeting minutes as submitted 
· To request PRS continue to table NPRR1308
· To endorse and forward to TAC the 12/4/25 ROS Report and 12/16/25 Revised Impact Analysis for PGRR127, with a recommended priority of 2026 and rank of 430
· To endorse and forward to TAC the 12/14/25 ROS report and 10/1/25 Impact Analysis for PGRR132

· To table PGRR138

· To table PGRR136
· To recommend approval of PGRR139 as submitted
· To table PGRR140 and refer the issue to NDSWG and PLWG
· To table NOGRR283

· To table NOGRR284
· To recommend approval of NOGRR281 as submitted

Chase Smith seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)
Black Start Working Group (BSWG) (see Key Documents)

Michael Dieringer reviewed BSWG activities.
Inverter Based Resources Working Group (IBRWG) (see Key Documents)

Julia Matevosyan reviewed IBRWG activities.
Network Data Support Working Group (NDSWG) (see Key Documents) 

NDSWG did not provide an update. 
Steady State Working Group (SSWG) (see Key Documents)

SSWG did not provide an update. 
Other Business (see Key Documents)
Review Open Action Items List
Mr. Borkar noted that he and Mr. Thomas would review the Open Action Items List following the meeting. 
2026 Working Group Leadership and TAC Subcommittee Elections
Mr. Gonzales requested that participants submit nominations for the 2026 ROS working group leadership to Stakeholder Services. He noted that nominees would be considered for endorsement at the February 5, 2026 ROS meeting. 
No Report

· Meter Working Group (MWG)

· Operations Training Working Group (OTWG)
· Performance, Disturbance, Compliance Working Group (PDCWG)
· System Protection Working Group (SPWG)
· Voltage Profile Working Group (VPWG)
Adjournment

Ms. Borkar adjourned the January 8, 2026 ROS meeting at 11:29 a.m.    
� Key Documents referenced in these minutes may be accessed on the ERCOT website at: https://www.ercot.com/calendar/01082026-ROS-Meeting 





DRAFT Minutes of the January 8, 2026 ROS Meeting – ERCOT Public

Page 7 of 7

