DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, January 8, 2026 – 9:30 a.m.

Attendance

ROS Representatives:

| Blankenship, David | CenterPoint Energy (CNP) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |  |  |  |
| Bowen, Kenneth | CPS Energy |  |  | Via Teleconference |  |  |
| Carter, Matt | Garland Power & Light (GP&L) |  |  | Via Teleconference |  |  |
| Fun, Meng | Chariot Energy |  |  | Via Teleconference |  |  |
| Hendrix, Chris | Demand Control 2 |  |  | Via Teleconference |  |  |
| Jackson, Daryll | Texas-New Mexico Power Company |  |  | Via Teleconference |  |  |
| King, Blake | Galaxy Power |  |  | Via Teleconference |  |  |
| Klug, Jack | City of Eastland |  |  | Via Teleconference |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  |  |  |  |  |
| Kroskey, Tony | Brazos Electric Power Cooperative (Brazos) |  |  | Via Teleconference |  |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |  | Via Teleconference |  |  |
| Matt, Kevin | Reliant Energy |  |  | Via Teleconference |  |  |
| Merta, Derek | South Texas Electric Cooperative (STEC) |  |  |  |  |  |
| Miller, Alex | EDF Renewables (EDF) |  |  |  |  |  |
| Mrini, Imane | Austin Energy |  |  | Via Teleconference |  |  |
| Naik, Harsh | Oncor Electric Delivery (Oncor) |  |  | Alt. Rep. for Eithar Nashawati |  |  |
| Pokharel, Nabaraj | The Office of Public Utility Counsel (OPUC) |  |  | Via Teleconference |  |  |
| Rich, Katie | Vistra Operations Company (Vistra) |  |  | Via Teleconference |  |  |
| Schmitt, Jennifer | Rhythm Ops |  |  | Via Teleconference |  |  |
| Smith, Chase | Southern Power Company |  |  | Via Teleconference |  |  |
| Spalek, Matthew | AEP Service Corporation (AEPSC) |  |  | Via Teleconference |  |  |
| Thomas, Shane | Shell Energy North America (SENA) |  |  |  |  |  |
| Varnell, John | Tenaska Power Services (TNSK) |  |  | Alt. Rep. for Adam Cochran |  |  |
| Guests: |  |  |  |  |  |  |
| Aleman, Charles |  |  | Sharyland |  | Via Teleconference |  |
| Aldridge, Ryan |  |  | AB Power Advisors |  | Via Teleconference |  |
| Alley, Tyler |  |  |  |  | Via Teleconference |  |
| Anderson, Connor |  |  | AB Power Advisors |  | Via Teleconference |  |
| Beckmann, Kara |  |  |  |  | Via Teleconference |  |
| Bernier, Leo |  |  |  |  | Via Teleconference |  |
| Bevill, Robert |  |  |  |  |  |  |
| Blackshear, David |  |  | TNMP |  | Via Teleconference |  |
| Blakey, Eric |  |  | Pedernales Electric Cooperative |  |  |  |
| Brandin, Sam |  |  | Agentic Infrastructure |  | Via Teleconference |  |
| Bratcher, Lee |  |  |  |  | Via Teleconference |  |
| Briggs, Lindsay |  |  |  |  | Via Teleconference |  |
| Bruce, Mark |  |  |  |  | Via Teleconference |  |
| Cardiel, Jonathan |  |  | PUCT |  | Via Teleconference |  |
| Carter, Cathey |  |  | GridAxon |  | Via Teleconference |  |
| Carswell, Cory |  |  |  |  | Via Teleconference |  |
| Cockrell, Justin |  |  | DC Energy |  | Via Teleconference |  |
| Cook, Kristin |  |  | Southern Power Company |  | Via Teleconference |  |
| Cox, Jason |  |  |  |  | Via Teleconference |  |
| David, Blackshear |  |  |  |  | Via Teleconference |  |
| Davis, Tony |  |  |  |  | Via Teleconference |  |
| de Arizon, Paloma |  |  | CNP |  | Via Teleconference |  |
| Deridder, Chris |  |  | nFront |  | Via Teleconference |  |
| Dieringer, Michael |  |  | LCRA |  | Via Teleconference |  |
| Donohoo, Ken |  |  | OwlERC LLC |  | Via Teleconference |  |
| Downey, Marty |  |  | Consultant Luminant |  | Via Teleconference |  |
| Dreyfus, Mark |  |  |  |  | Via Teleconference |  |
| Du, Pengwei |  |  |  |  | Via Teleconference |  |
| Endress, Eric |  |  |  |  | Via Teleconference |  |
| Ferreira, Heverton |  |  | Gridmonitor |  | Via Teleconference |  |
| Floyd, Rickey |  |  |  |  | Via Teleconference |  |
| Garrett, Bob |  |  |  |  | Via Teleconference |  |
| Gauldin, Julie |  |  | PUCT |  | Via Teleconference |  |
| Gianni, Juliana |  |  | Goff Policy |  |  |  |
| Graham, Grace |  |  | CimView |  | Via Teleconference |  |
| Guo, Jiachun |  |  |  |  | Via Teleconference |  |
| Hanson, Kevin |  |  | Invenergy Energy Management |  |  |  |
| Henry, Mark |  |  | Texas RE |  |  |  |
| Holt, Blake |  |  | LCRA |  | Via Teleconference |  |
| Jamar, Benjamin |  |  | ECI |  | Via Teleconference |  |
| Jones, Sean |  |  | Tesla |  | Via Teleconference |  |
| Kakarla, Raja |  |  | CNP |  | Via Teleconference |  |
| Kata, Naresh |  |  |  |  | Via Teleconference |  |
| Keefer, Andrew |  |  |  |  | Via Teleconference |  |
| Khayat, Maribel |  |  |  |  | Via Teleconference |  |
| Kinser, Glenn |  |  | TGPNA TotalEnergies |  | Via Teleconference |  |
| Kota, Kiran |  |  | PEC |  | Via Teleconference |  |
| Kozlowski, Brian |  |  |  |  | Via Teleconference |  |
| Kremling, Barry |  |  |  |  | Via Teleconference |  |
| Lee, Jim |  |  | CenterPoint Energy |  |  |  |
| Leverett, Travis |  |  |  |  | Via Teleconference |  |
| Loyferman, Larisa |  |  |  |  | Via Teleconference |  |
| Martha, Henson |  |  |  |  | Via Teleconference |  |
| Matevosyan, Julia |  |  |  |  | Via Teleconference |  |
| Mathew, Shirley |  |  |  |  | Via Teleconference |  |
| Matos, Chris |  |  |  |  | Via Teleconference |  |
| McCamant, Frank |  |  |  |  | Via Teleconference |  |
| McClellan, Suzi |  |  |  |  | Via Teleconference |  |
| McDonnell, Alan |  |  |  |  | Via Teleconference |  |
| McElroy, Randall |  |  | OPUC |  | Via Teleconference |  |
| Moore, Ava |  |  |  |  | Via Teleconference |  |
| Moser, Jesse |  |  |  |  | Via Teleconference |  |
| Mrini, Imane |  |  |  |  | Via Teleconference |  |
| Mulholland, Chad |  |  | NRG |  | Via Teleconference |  |
| Neel, Evan |  |  | Lancium |  | Via Teleconference |  |
| Newnam, Eric |  |  | Texas RE |  | Via Teleconference |  |
| Nguyen, Andrew |  |  | Constellation Energy |  | Via Teleconference |  |
| Orr, Rob |  |  | LST |  | Via Teleconference |  |
| Patel, Sanjana |  |  |  |  | Via Teleconference |  |
| Pearson, Arthur |  |  |  |  | Via Teleconference |  |
| Pearson, Kelsey |  |  |  |  | Via Teleconference |  |
| Penney, David |  |  | Texas RE |  | Via Teleconference |  |
| Pepe, Diego |  |  |  |  | Via Teleconference |  |
| Person, Paul |  |  | TEC |  | Via Teleconference |  |
| Pietrucha, Doug |  |  | TAEBA |  | Via Teleconference |  |
| Pokharel, Nabaraj |  |  |  |  | Via Teleconference |  |
| Polusani, Jithender |  |  | PEC |  | Via Teleconference |  |
| Portugal, Luis |  |  |  |  | Via Teleconference |  |
| Poursoltan, Cameron |  |  | Data Center Coalition |  | Via Teleconference |  |
| Pyka, Greg |  |  | SENERGY |  | Via Teleconference |  |
| Qureshi, Fahad |  |  |  |  | Via Teleconference |  |
| Randall, Nick |  |  |  |  | Via Teleconference |  |
| Rasmussen, Erin J |  |  |  |  |  |  |
| Reedy, Nick |  |  | Cim View |  | Via Teleconference |  |
| Reedy, Steve |  |  | Cim View |  | Via Teleconference |  |
| Rico, Guillermo |  |  | CPS Energy |  | Via Teleconference |  |
| Robert, Orr |  |  |  |  | Via Teleconference |  |
| Robertson, William |  |  | CPS Energy |  | Via Teleconference |  |
| Safko, Trevor |  |  | LCRA |  | Via Teleconference |  |
| Schaper, Andrew |  |  |  |  | Via Teleconference |  |
| Schwarz, Brad |  |  | Sharyland |  | Via Teleconference |  |
| Sersen, Juliana |  |  |  |  | Via Teleconference |  |
| Shaikh, Fiza |  |  | New Project Media |  | Via Teleconference |  |
| Silva, Patricio |  |  | Enel |  | Via Teleconference |  |
| Smith, Chase |  |  |  |  | Via Teleconference |  |
| Springer, Tyler |  |  | AEP |  | Via Teleconference |  |
| Stanfill, Susan |  |  | PGR |  | Via Teleconference |  |
| Stice, Clayton |  |  |  |  | Via Teleconference |  |
| Stuckly, Kyle |  |  | Oncor |  | Via Teleconference |  |
| Sun, Vikki |  |  |  |  | Via Teleconference |  |
| Tay, Sing |  |  |  |  | Via Teleconference |  |
| Teng, Shuye |  |  | Constellation Energy |  | Via Teleconference |  |
| Thomas, Pinky |  |  |  |  | Via Teleconference |  |
| Townsend, Paul |  |  | TCPA |  | Via Teleconference |  |
| Turner, Mina |  |  | AEP |  | Via Teleconference |  |
| Velasquez, Ivan |  |  |  |  | Via Teleconference |  |
| Wagner, Julia |  |  | PUCT |  | Via Teleconference |  |
| Winkle, Kim Van |  |  | PUCT |  | Via Teleconference |  |
| Withrow, Kent |  |  |  |  | Via Teleconference |  |
| Wittmeyer, Bob |  |  |  |  | Via Teleconference |  |
| Woods, Brad |  |  | Texas RE |  | Via Teleconference |  |
| Wu, Vanessa Chan |  |  | TotalEnergies |  | Via Teleconference |  |
| Wu, Xuan |  |  | PEC |  |  |  |
| Wyman, Constance |  |  |  |  | Via Teleconference |  |
| Zahra, Jianpanah |  |  |  |  | Via Teleconference |  |
| Zech, David |  |  | CenterPoint Energy |  | Via Teleconference |  |
| Zhang, Linda |  |  |  |  | Via Teleconference |  |
| Zito, David |  |  |  |  | Via Teleconference |  |
| ERCOT Staff: |  |  |  |  |  |  |
| Albracht, Brittney |  |  |  |  |  |  |
| Arth, Matthew |  |  |  |  | Via Teleconference |  |
| Blevins, Bill |  |  |  |  | Via Teleconference |  |
| Boren, Ann |  |  |  |  | Via Teleconference |  |
| Chauhan, Aditya |  |  |  |  | Via Teleconference |  |
| Clifton, Suzy |  |  |  |  | Via Teleconference |  |
| Cyphers, Darrell |  |  |  |  | Via Teleconference |  |
| Devadhas Mohanadhas, Thinesh |  |  |  |  |  |  |
| El-Madhoun, Mohamed |  |  |  |  | Via Teleconference |  |
| Finke, Sidne |  |  |  |  | Via Teleconference |  |
| Flores, Jorge |  |  |  |  | Via Teleconference |  |
| Fohn, Douglas |  |  |  |  | Via Teleconference |  |
| Garcia, Freddy |  |  |  |  | Via Teleconference |  |
| Gnanam, Prabhu |  |  |  |  | Via Teleconference |  |
| Golen, Robert |  |  |  |  | Via Teleconference |  |
| Gonzales, Nathan |  |  |  |  |  |  |
| Gravois, Patrick |  |  |  |  | Via Teleconference |  |
| Gumpert, Julie |  |  |  |  | Via Teleconference |  |
| Herrera, Shane |  |  |  |  | Via Teleconference |  |
| Hinojosa, Jose Luis |  |  |  |  | Via Teleconference |  |
| Huang, Shun-Hsien |  |  |  |  | Via Teleconference |  |
| Kang, Sun Wook |  |  |  |  | Via Teleconference |  |
| Lee, Alex |  |  |  |  | Via Teleconference |  |
| Mago, Nitika |  |  |  |  | Via Teleconference |  |
| Matlock, Robert |  |  |  |  | Via Teleconference |  |
| McDowell, Matthew |  |  |  |  | Via Teleconference |  |
| Miller, Megan |  |  |  |  | Via Teleconference |  |
| Morales, Elizabeth |  |  |  |  |  |  |
| Myers, Madison |  |  |  |  | Via Teleconference |  |
| Ramthun, Eli |  |  |  |  | Via Teleconference |  |
| Schmall, John |  |  |  |  | Via Teleconference |  |
| Springer, Agee |  |  |  |  | Via Teleconference |  |
| Thatte, Anupam |  |  |  |  | Via Teleconference |  |
| Thompson, Chad |  |  |  |  | Via Teleconference |  |
| Troublefield, Jordan |  |  |  |  |  |  |
| Troy, Anderson |  |  |  |  | Via Teleconference |  |
| Yan, Ping |  |  |  |  | Via Teleconference |  |
| Zhang, Lin |  |  |  |  | Via Teleconference |  |
| Zuniga, Mariela |  |  |  |  | Via Teleconference |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Nathan Gonzales called the January 8, 2026 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Gonzales directed attention to the Antitrust Admonition, which was displayed.

Election of 2026 ROS Chair and Vice Chair (Vote)

Mr. Gonzales reviewed the leadership election process codified in the Technical Advisory Committee

Procedures and opened the floor for nominations.

Harsh Naik nominated Sandeep Borkar for 2026 ROS Chair.  Mr. Borkar accepted the nomination.  Mr. Borkar was named 2026 ROS Chair by acclamation.

Mr. Naik nominated Shane Thomas for 2026 ROS Vice Chair.  Mr. Thomas accepted the nomination.  Mr. Thomas was named 2026 ROS Vice Chair by acclamation.

Agenda Review

- Mr. Borkar reviewed the agenda.

- Approval of ROS Meeting Minutes (see Key Documents)

- December 4, 2025

- Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the November 2025 ERCOT Monthly Operations Report.

- System Planning Report

Ping Yan summarized the December 2025 ERCOT System Planning Monthly Status Report.

Urgency Vote(s)

Planning Guide Revision Request (PGRR) 138, Large Load Interconnection Study Review and Approval Process.

Andrew Schaper provided an overview of PGRR138 indicating that this would be a temporary improvement until ERCOT implements a batch study process.  Agee Springer noted ERCOT’s preference to develop a new process versus modifying the existing process; and that ERCOT was planning on putting forward a proposal to address the issue and preferred to have PGRR138 tabled.  Market Participants did not vote on the question of urgency.

New Protocol Revision Subcommittee (PRS) Referrals (Vote)

NPRR1308, Board Priority – Related to NOGRR282, Large Electronic Load Ride-Through Requirements

Patrick Gravois provided an overview of NPRR1308 stating that it was defining Large Electronic Load and discussions would be happening at TAC.  Mr. Gravois suggested that ROS request that PRS continue tabling NPRR1308 to allow time for review with the corresponding Nodal Operating Guide Revision Request (NOGRR) 282, Large Electronic Load Ride-Through Requirements.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

ROS Revision Requests (Vote) (see Key Documents)

Impact Analysis

PGRR127, Addition of Proposed Generation to the Planning Models

Troy Anderson provided an overview of the 12/16/25 Revised Impact Analysis for PGRR127 and suggested a priority of 2026 and rank of 430 be assigned due to the regulatory nature.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

PGRR132, Update to Standard Generation Interconnection Agreement

Market Participants reviewed the 10/1/25 Impact Analysis for PGRR132. .  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

Language Review

PGRR138, Large Load Interconnection Study Review and Approval Process

Market Participants discussed tabling PGRR138 at ROS until the review of the batch study process for Large Load interconnections is complete.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

PGRR136, Large Load Interconnection Study Scope Documentation

Mr. Schaper provided an overview of PGRR136, stating that it was creating a more uniform scope document for the Large Load Interconnection Study (LLIS) scoping process, which would reduce delays.  Market Participants discussed tabling PGRR136 at ROS until the review of the batch study process for Large Load interconnections is complete.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

PGRR139, Related to NPRR1314, Planning Guide Glossary Transition 121625

Jordan Troublefield provided an overview of PGRR139, stating that it was an initiative to consolidate the Market Guide definitions into Protocol Section 2, Definitions and Acronyms..  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

PGRR140, Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation

Thinesh Devadhas Mohanadhas provided an overview of PGRR140.  Mr. Devadhas Mohanadhas confirmed that PGRR140 did not pose any operational impacts.  Market Participants inquired whether the new Non-Settled Generator (NSG) category applied to all generators connected to the ERCOT system.  Doug Fohn clarified that the registration of NSGs would not be Market Participants and therefore would not have to comply with the Lone Star Infrastructure Protection Act (LSIPA).  Market Participants requested tabling of PGRR140 for further discussion by the Network Data Support Working Group (NDSWG) and the Planning Working Group (PLWG).  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

NOGRR283, Board Priority – Related to NPRR1309, Dispatchable Reliability Reserve Service

Nitika Mago provided an overview of NOGRR283 and the associated NPRR1309, Dispatchable Reliability Reserve Service, explaining that it creates Dispatchable Reliability Reserve Service (DRRS) as an Ancillary Service product.  There was discussion regarding participation in DRRS.    Market Participants agreed to table NOGRR283 awaiting further discussion of NPRR1309 by TAC.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

NOGRR284, Related to NPRR1310, Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor

Market Participants agreed to table NOGRR248 awaiting further discussion of NPRR1310 by TAC.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to Nodal Protocol Revision Request (NPRR) 956, Designation of Providers of Transmission Additions

NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Resource Registration Glossary Revision Request (RRGRR) 038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

NPRR1272, Voltage Support at Private Use Networks

NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service

PGRR133, Clarifying Legacy Generation Breaker Control for PGRR115 Implementation

ROS took no action on these items.

Related NPRRs (see Key Documents)

NPRR1264, Creation of a New Energy Attribute Certificate Program

NPRR1309, Dispatchable Reliability Reserve Service Ancillary Service

NPRR1310, Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor

NPRR1314, Planning Guide Glossary Transition 121625

NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation

ROS took no action on these items.

Dynamics Working Group (DWG)

Fahad Qureshi reviewed DWG activities.

PGRR122, Reliability Performance Criteria for Loss of Load

PGRR124, ESR Maintenance Exception to Modifications

NOGRR282, Board Priority - Large Electronic Load Ride-Through Requirements

ROS took no action on these items.

Operations Working Group (OWG) (see Key Documents)

Tyler Springer reviewed OWG activities.

NOGRR281, Related to NPRR1307, Revised Definition of Mitigation Plan 111325

Mr. Springer indicated that OWG reached consensus to recommend ROS endorse NOGRR281 as submitted.  Mr. Borkar noted that there were no objections to including this item on the Combined Ballot.

NPRR1307, Revised Definition of Mitigation Plan

ROS took no action on this item.

PLWG (see Key Documents)

Mina Turner reviewed PLWG activities.

PGRR122, Reliability Performance Criteria for Loss of Load

PGRR124, ESR Maintenance Exception to Modifications

PGRR126, Related to NPRR1284, Guaranteed Reliability Load Process

PGRR128, Regional Transmission Plan Review of Grid Enhancing Technologies

PGRR130, Related to NPRR1295, GTC Exit Solutions

PGRR134, Interconnection Studies Reform for Dispatchable Loads

NPRR1284, Guaranteed Reliability Load Process

NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation

NPRR1295, GTC Exit Solutions

ROS took no action on these items.

Combined Ballot

Chris Koenig moved to approve the Combined Ballot as follows:

- To approve the December 4, 2025 ROS meeting minutes as submitted

- To request PRS continue to table NPRR1308

- To endorse and forward to TAC the 12/4/25 ROS Report and 12/16/25 Revised Impact Analysis for PGRR127, with a recommended priority of 2026 and rank of 430

- To endorse and forward to TAC the 12/14/25 ROS report and 10/1/25 Impact Analysis for PGRR132

- To table PGRR138

- To table PGRR136

- To recommend approval of PGRR139 as submitted

- To table PGRR140 and refer the issue to NDSWG and PLWG

- To table NOGRR283

- To table NOGRR284

- To recommend approval of NOGRR281 as submitted

Chase Smith seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Black Start Working Group (BSWG) (see Key Documents)

Michael Dieringer reviewed BSWG activities.

Inverter Based Resources Working Group (IBRWG) (see Key Documents)

Julia Matevosyan reviewed IBRWG activities.

Network Data Support Working Group (NDSWG) (see Key Documents)

NDSWG did not provide an update.

Steady State Working Group (SSWG) (see Key Documents)

SSWG did not provide an update.

Other Business (see Key Documents)

Review Open Action Items List

Mr. Borkar noted that he and Mr. Thomas would review the Open Action Items List following the meeting.

2026 Working Group Leadership and TAC Subcommittee Elections

Mr. Gonzales requested that participants submit nominations for the 2026 ROS working group leadership to Stakeholder Services. He noted that nominees would be considered for endorsement at the February 5, 2026 ROS meeting.

No Report

- Meter Working Group (MWG)

- Operations Training Working Group (OTWG)

- Performance, Disturbance, Compliance Working Group (PDCWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Borkar adjourned the January 8, 2026 ROS meeting at 11:29 a.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: https://www.ercot.com/calendar/01082026-ROS-Meeting