|  |  |  |  |
| --- | --- | --- | --- |
| PGRR Number | [134](https://www.ercot.com/mktrules/issues/PGRR134) | PGRR Title | Interconnection Studies Reform for Dispatchable Loads |

|  |  |
| --- | --- |
| Date | November 5, 2025 |

|  |  |
| --- | --- |
| Submitter’s Information | |
| Name | Agee Springer |
| E-mail Address | [agee.springer@ercot.com](mailto:agee.springer@ercot.com) |
| Company | ERCOT |
| Phone Number | 512-248-4508 |
| Cell Number |  |
| Market Segment | Not applicable |

|  |
| --- |
| Comments |

ERCOT appreciates Luminary Strategies, LLC’s efforts to initiate this timely discussion about the role that Controllable Load Resource (CLR) registration may be able to play in expediting the interconnection and energization of new Large Loads while ensuring grid reliability. ERCOT agrees with the general concept reflected in this PGRR but notes that further evaluation and discussion is needed before moving this proposal forward through the stakeholder process. ERCOT has already identified several revisions that it believes will be needed.

Based on the sponsor’s communications to the Reliability and Operations Subcommittee (ROS) on November 4, 2025, ERCOT understands that the sponsor is agreeable to tabling of this PGRR for further discussion. ERCOT looks forward to participating in these discussions and working with stakeholders to advance this concept through the stakeholder process.

ERCOT also notes a companion Nodal Protocol Revision Request (NPRR) is likely needed to fully implement the concepts presented in Planning Guide Revision Request (PGRR) 134.

|  |
| --- |
| Revised Cover Page Language |

None

|  |
| --- |
| Revised Proposed Guide Language |

None