## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2026-08-07 | 8:48

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2026
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2026 Demand, MW | 75586.7534 | 69618.1297 | 66539.7675 | 74614.1494 | 77822.0986 | Jun: 82772.0054; Jul: 91133.7277 | 91133.7277
Date | 01/26/2026 | 02/01/2026 | 03/25/2026 | 04/27/2026 | 05/29/2026 | Jun: 06/18/2026; Jul: 07/22/2026
Hour ending | 09:00 | 08:00 | 18:00 | 17:00 | 18:00 | Jun: 17:00; Jul: 18:00
Day of the week | Monday | Sunday | Wednesday | Monday | Friday | Jun: Thursday; Jul: Wednesday
Forecasted Demand, MW | 77386.694 | 75804.823 | 69042.09 | 69841.308 | 84668.248 | 90946.866 | 92783.588 | 94650.257 | 89746.938 | 81778.607 | 73417.342 | 80898.905 | 94650.257
Difference, percent | -2.326% | -8.161% | -3.624% | 6.834% | -8.086% | Jun: -8.989%; Jul: -1.778% | -1.778%
2025 Demand, MW | 77482.4949 | 80560.4619 | 62924.1706 | 65617.1007 | 78399.1439 | 77395.9676 | 81733.6465 | 83706.8357 | 79949.0894 | 75903.8943 | 64731.6709 | 63172.4491 | 83706.8357
Date | 01/22/2025 | 02/20/2025 | 03/25/2025 | 04/14/2025 | 05/23/2025 | 06/19/2025 | 07/30/2025 | 08/18/2025 | 09/04/2025 | 10/02/2025 | 11/17/2025 | 12/15/2025
Hour ending | 08:00 | 08:00 | 18:00 | 18:00 | 17:00 | 17:00 | 18:00 | 18:00 | 18:00 | 17:00 | 16:00 | 08:00
Day of the week | Wednesday | Thursday | Tuesday | Monday | Friday | Thursday | Wednesday | Monday | Thursday | Thursday | Monday | Monday
Increase, MW | -1895.7415 | -10942.3322 | 3615.5968 | 8997.0487 | -577.0452 | Jun: 5376.0378; Jul: 9400.0812
Increase, percent | -2.447% | -13.58% | 5.746% | 13.71% | -0.736% | Jun: 6.946%; Jul: 11.5%
Max All Time, MW | 78349.2062 | 80560.4619 | 66539.7675 | 74614.1494 | 78399.1439 | 82772.0054 | 91133.7277 | 85508.4518 | 84470.1018 | 75903.8943 | 64731.6709 | 74524.9021
Date | 01/16/2024 at 08:00 | 02/20/2025 at 08:00 | 03/25/2026 at 18:00 | 04/27/2026 at 17:00 | 05/23/2025 at 17:00 | 06/18/2026 at 17:00 | 07/22/2026 at 18:00 | 08/10/2023 at 18:00 | 09/08/2023 at 17:00 | 10/02/2025 at 17:00 | 11/17/2025 at 16:00 | 12/23/2022 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2026 Demand, MW | 75883.2446 | 69988.3622 | 66597.1164 | 74932.3942 | 78008.2609 | Jun: 82878.1047; Jul: 91262.7142 | 91262.7142
Date | 01/26/2026 | 02/01/2026 | 03/25/2026 | 04/27/2026 | 05/29/2026 | Jun: 06/18/2026; Jul: 07/22/2026
Interval ending | 08:15 | 08:15 | 17:45 | 17:00 | 16:45 | Jun: 17:00; Jul: 17:30
Day of the week | Monday | Sunday | Wednesday | Monday | Friday | Jun: Thursday; Jul: Wednesday
Max All Time, MW | 78531.9136 | 80880.4173 | 66597.1164 | 74932.3942 | 78611.2416 | 82878.1047 | 91262.7142 | 85636.8846 | 84540.2922 | 76048.8219 | 64873.8833 | 74628.9366
Date | 01/16/2024 at 07:45 | 02/20/2025 at 07:30 | 03/25/2026 at 17:45 | 04/27/2026 at 17:00 | 05/23/2025 at 16:45 | 06/18/2026 at 17:00 | 07/22/2026 at 17:30 | 08/10/2023 at 17:00 | 09/08/2023 at 16:45 | 10/02/2025 at 16:45 | 11/17/2025 at 15:45 | 12/23/2022 at 08:00
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2026 Demand, MW | 40703.2612 | 40062.2792 | 40720.7527 | 39567.2151 | 40594.7612 | Jun: 47389.6512; Jul: 51411.6514
Date | 01/02/2026 | 02/09/2026 | 03/14/2026 | 04/20/2026 | 05/02/2026 | Jun: 06/03/2026; Jul: 07/15/2026
Interval ending | 03:30 | 03:00 | 04:00 | 03:45 | 03:30 | Jun: 04:00; Jul: 04:00
Day of the week | Friday | Monday | Saturday | Monday | Saturday | Jun: Wednesday; Jul: Wednesday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2026
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2026 Energy, MWh | 39814967.6246 | 33155641.8983 | 37958881.3025 | 37906690.6258 | 41873337.115 | Jun: 47276733.197; Jul: 51549575.8928 | 289535827.6561
2026 YTD Energy, MWh | 39814967.6246 | 72970609.5229 | 110929490.8255 | 148836181.4513 | 190709518.5663 | Jun: 237982471.9764; Jul: 289535827.6561
Forecasted Energy, MWh | 43548753.803 | 38960357.921 | 40836274.625 | 40241136.454 | 45703772.651 | 51267581.851 | 54922802.555 | 55610852.992 | 48960630.428 | 46183559.997 | 43022697.199 | 48863001.613 | 558121422.089
Difference, percent | -8.574% | -14.9% | -7.046% | -5.801% | -8.381% | Jun: -7.784%; Jul: -6.142% | -8.224%
YTD Forecasted Energy, MWh | 43548753.803 | 82509111.724 | 123345386.349 | 163586522.803 | 209290295.454 | 260557877.305 | 315480679.86 | 371091532.852 | 420052163.28 | 466235723.277 | 509258420.476 | 558121422.089
YTD Difference, percent | -8.574% | -11.56% | -10.07% | -9.017% | -8.878% | Jun: -8.664%; Jul: -8.224%
2025 Energy, MWh | 40486228.3787 | 34700518.5486 | 34718582.3846 | 36505713.9284 | 41212437.3019 | 45166832.3011 | 47846335.8723 | 49413440.9131 | 43977057.6189 | 40985750.8379 | 35560556.4008 | 37833024.3758 | 488406478.862
Increase, MWh | -671260.7541 | -1544876.6502 | 3240298.9179 | 1400976.6975 | 660899.8131 | Jun: 2109900.8958; Jul: 3703240.0205 | 8899178.9406
Increase, percent | -1.658% | -4.452% | 9.333% | 3.838% | 1.604% | Jun: 4.671%; Jul: 7.74% | 3.171%
2025 YTD Energy, MWh | 40486228.3787 | 75186746.9272 | 109905329.3118 | 146411043.2402 | 187623480.542 | 232790312.8432 | 280636648.7155 | 330050089.6286 | 374027147.2475 | 415012898.0854 | 450573454.4862 | 488406478.862
Increase, MWh | -671260.7541 | -2216137.4043 | 1024161.5137 | 2425138.2111 | 3086038.0243 | Jun: 5192159.1332; Jul: 8899178.9406
Increase, percent | -1.658% | -2.948% | 0.9319% | 1.656% | 1.645% | Jun: 2.23%; Jul: 3.171%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2026 | 70.8% | 70.87% | 76.78% | 70.56% | 72.32% | Jun: 79.33%; Jul: 76.03% | 62.45%
Demand Factors 2025 | 70.23% | 64.1% | 74.26% | 77.27% | 70.66% | 81.05% | 78.68% | 79.34% | 76.4% | 72.58% | 76.19% | 80.5% | 66.61%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2026 | 70.52% | 70.5% | 76.71% | 70.26% | 72.15% | Jun: 79.23%; Jul: 75.92% | 62.37%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2026
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2583.8998 | 2124.7231 | 2119.6718 | 2379.9025 | 2407.282 | Jun: 2773.1505; Jul: 3055.3908
LZ_CPS | 5190.2548 | 4212.7908 | 4153.3372 | 4340.8113 | 4644.4443 | Jun: 5415.0787; Jul: 5663.9612
LZ_HOUSTON | 15929.5773 | 14739.8482 | 16021.4155 | 18573.5717 | 19848.5356 | Jun: 20941.8793; Jul: 22887.3969
LZ_LCRA | 4140.7749 | 3546.1799 | 2672.6438 | 3001.9282 | 3106.0541 | Jun: 3257.2438; Jul: 3923.0928
LZ_NORTH | 27907.4869 | 24408.4699 | 20302.9006 | 24614.675 | 24414.7714 | Jun: 27022.2267; Jul: 31530.0038
LZ_RAYBN | 1670.7694 | 1367.0909 | 839.6188 | 1065.4269 | 1125.3293 | Jun: 1227.1278; Jul: 1558.2194
LZ_SOUTH | 10938.8643 | 9577.6029 | 9287.9294 | 9740.1167 | 10828.0343 | Jun: 11691.9136; Jul: 11825.1773
LZ_WEST | 7521.6172 | 10011.6564 | 11199.5993 | 11215.9618 | 11633.8098 | Jun: 10549.4843; Jul: 10819.4721
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2590.9247 | 2133.8894 | 2126.1035 | 2393.1522 | 2539.0618 | Jun: 2813.9773; Jul: 3057.4626
Date and Time | 26 @ 08:00 | 1 @ 08:00 | 25 @ 18:00 | 27 @ 17:30 | 19 @ 17:00 | Jun: 18 @ 18:30; Jul: 22 @ 17:45
LZ_CPS | 5226.8386 | 4229.8674 | 4154.8412 | 4703.0265 | 4741.37 | Jun: 5548.4715; Jul: 5712.3557
Date and Time | 26 @ 08:00 | 1 @ 08:00 | 25 @ 18:00 | 28 @ 18:15 | 19 @ 17:30 | Jun: 18 @ 18:00; Jul: 22 @ 18:45
LZ_HOUSTON | 16345.2057 | 15178.6936 | 16626.6885 | 19421.2989 | 19854.2253 | Jun: 21324.558; Jul: 22907.666
Date and Time | 26 @ 10:15 | 27 @ 16:00 | 27 @ 17:30 | 28 @ 16:30 | 29 @ 17:00 | Jun: 18 @ 15:30; Jul: 22 @ 17:00
LZ_LCRA | 4173.4725 | 3582.1727 | 2679.5921 | 3026.4948 | 3222.612 | Jun: 3532.6251; Jul: 3924.9947
Date and Time | 26 @ 07:45 | 1 @ 07:45 | 25 @ 18:00 | 27 @ 17:30 | 19 @ 17:00 | Jun: 29 @ 18:30; Jul: 22 @ 18:00
LZ_NORTH | 27907.4869 | 24417.2701 | 20642.0117 | 24614.675 | 25388.3637 | Jun: 28036.2191; Jul: 31625.137
Date and Time | 26 @ 08:15 | 1 @ 07:45 | 26 @ 17:45 | 27 @ 17:00 | 31 @ 17:45 | Jun: 29 @ 18:30; Jul: 22 @ 17:00
LZ_RAYBN | 1692.683 | 1382.1789 | 970.4627 | 1082.9227 | 1274.337 | Jun: 1363.1837; Jul: 1568.3107
Date and Time | 25 @ 09:45 | 1 @ 08:00 | 17 @ 07:30 | 27 @ 18:00 | 31 @ 17:45 | Jun: 29 @ 18:15; Jul: 21 @ 18:15
LZ_SOUTH | 11147.8341 | 9577.6029 | 9647.0447 | 10182.9184 | 10835.472 | Jun: 11691.9136; Jul: 12068.5215
Date and Time | 27 @ 07:30 | 1 @ 08:15 | 15 @ 17:45 | 28 @ 17:00 | 29 @ 16:30 | Jun: 18 @ 17:00; Jul: 30 @ 16:30
LZ_WEST | 11152.2966 | 11116.0965 | 11267.7803 | 11225.7352 | 11895.9875 | Jun: 12206.9298; Jul: 12494.255
Date and Time | 17 @ 18:30 | 28 @ 17:00 | 21 @ 17:00 | 27 @ 17:30 | 31 @ 15:15 | Jun: 21 @ 17:15; Jul: 24 @ 15:45
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1157898.3799 | 957251.4298 | 1129252.1088 | 1142005.196 | 1256924.5716 | Jun: 1456249.4937; Jul: 1581565.2737
LZ_CPS | 2138124.4129 | 1732357.0099 | 2028522.6249 | 2077608.9157 | 2316930.7848 | Jun: 2713200.5595; Jul: 2934212.9665
LZ_HOUSTON | 8967096.0541 | 7860279.2677 | 9355830.4216 | 9522486.1902 | 10568490.2339 | Jun: 11663903.2795; Jul: 12555713.4638
LZ_LCRA | 1538726.1444 | 1176289.9057 | 1339968.8283 | 1356423.5904 | 1512494.192 | Jun: 1803337.6355; Jul: 1993434.7612
LZ_NORTH | 12666900.8441 | 9700587.8867 | 10838524.428 | 10909088.1737 | 12171786.5125 | Jun: 14793425.8799; Jul: 16646682.1555
LZ_RAYBN | 610577.5377 | 399060.9985 | 423377.0488 | 421239.2664 | 502066.9163 | Jun: 635148.3707; Jul: 755346.6243
LZ_SOUTH | 5302681.2769 | 4598423.6255 | 5428917.0861 | 5415814.5784 | 6047666.7457 | Jun: 6567337.7417; Jul: 7021655.6999
LZ_WEST | 7432962.9745 | 6731391.7745 | 7414488.756 | 7062024.715 | 7496977.1582 | Jun: 7644130.2365; Jul: 8060964.9479
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2026
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 17117.4602 | 15816.1058 | 16895.1457 | 19579.3807 | 21013.5844 | Jun: 22119.7567; Jul: 24059.5225
EAST | 3235.0043 | 2893.6752 | 2180.9578 | 2416.0299 | 2679.4445 | Jun: 2836.7119; Jul: 3220.8202
FWEST | 4628.8543 | 6922.5146 | 8132.5625 | 8193.3379 | 8461.7013 | Jun: 7345.4455; Jul: 7351.378
NCENT | 25921.1872 | 22441.6379 | 18605.9737 | 22859.1779 | 22422.3131 | Jun: 24983.5122; Jul: 29345.5938
NORTH | 1891.2251 | 2231.0754 | 1999.6957 | 1895.2922 | 2018.9758 | Jun: 1829.4204; Jul: 2197.8817
SCENT | 14212.3192 | 12472.1014 | 11391.983 | 12239.6756 | 12956.0335 | Jun: 14237.8979; Jul: 15639.9531
SOUTH | 6533.0265 | 5178.2525 | 5479.2372 | 5663.7499 | 6281.029 | Jun: 7060.8933; Jul: 6950.8136
WEST | 2344.1678 | 2032.9993 | 1911.5608 | 2085.7501 | 2175.1793 | Jun: 2464.4668; Jul: 2496.7513
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 17545.4232 | 16117.1804 | 17514.9171 | 20536.5409 | 21020.6861 | Jun: 22502.1526; Jul: 24094.415
Date and Time | 26 @ 10:15 | 27 @ 16:00 | 27 @ 17:30 | 28 @ 16:30 | 29 @ 17:00 | Jun: 18 @ 15:30; Jul: 22 @ 17:00
EAST | 3236.38 | 2897.4255 | 2432.2611 | 2460.3833 | 2736.7591 | Jun: 2955.1763; Jul: 3337.5264
Date and Time | 26 @ 07:45 | 1 @ 07:45 | 17 @ 07:00 | 27 @ 16:45 | 29 @ 15:30 | Jun: 22 @ 18:30; Jul: 22 @ 15:00
FWEST | 8310.0117 | 8371.186 | 8288.8479 | 8217.1463 | 8551.3857 | Jun: 8645.518; Jul: 8730.6522
Date and Time | 16 @ 23:00 | 28 @ 17:00 | 3 @ 15:45 | 27 @ 17:30 | 31 @ 15:15 | Jun: 21 @ 15:45; Jul: 24 @ 15:45
NCENT | 26047.732 | 22462.9055 | 18907.3318 | 22859.1779 | 23594.387 | Jun: 26086.9099; Jul: 29405.5663
Date and Time | 25 @ 09:30 | 1 @ 07:45 | 26 @ 17:45 | 27 @ 17:00 | 31 @ 17:45 | Jun: 29 @ 18:30; Jul: 22 @ 17:00
NORTH | 2414.5447 | 2245.1815 | 2053.9058 | 1923.3767 | 2270.4567 | Jun: 2294.8869; Jul: 2435.4648
Date and Time | 31 @ 08:30 | 1 @ 08:30 | 26 @ 18:00 | 24 @ 17:45 | 31 @ 17:45 | Jun: 17 @ 15:00; Jul: 31 @ 16:00
SCENT | 14353.9568 | 12514.6623 | 11432.2438 | 12351.5536 | 13270.3261 | Jun: 14511.6876; Jul: 15718.8859
Date and Time | 27 @ 07:45 | 1 @ 08:00 | 25 @ 18:00 | 27 @ 17:30 | 19 @ 17:30 | Jun: 18 @ 18:45; Jul: 22 @ 18:45
SOUTH | 6534.6951 | 5528.7448 | 6002.9187 | 6040.3566 | 6552.9437 | Jun: 7060.8933; Jul: 7094.8157
Date and Time | 26 @ 08:30 | 26 @ 16:30 | 15 @ 17:45 | 28 @ 17:00 | 6 @ 17:30 | Jun: 18 @ 17:00; Jul: 30 @ 15:45
WEST | 2358.9196 | 2036.1392 | 1935.1467 | 2087.836 | 2183.3933 | Jun: 2525.3727; Jul: 2738.0778
Date and Time | 26 @ 07:45 | 1 @ 08:00 | 22 @ 18:15 | 27 @ 17:15 | 31 @ 17:15 | Jun: 28 @ 17:30; Jul: 31 @ 18:15
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 9561521.0081 | 8383381.0488 | 9909124.3884 | 10094263.9124 | 11213330.5048 | Jun: 12359520.153; Jul: 13267559.3142
EAST | 1440721.7703 | 1081060.0673 | 1196758.8199 | 1190657.6118 | 1336788.6537 | Jun: 1567832.7612; Jul: 1695331.392
FWEST | 5510275.2624 | 5115997.6533 | 5630335.2364 | 5387988.2946 | 5679830.0794 | Jun: 5587721.3342; Jul: 5806616.8867
NCENT | 11595448.4019 | 8829092.415 | 9865040.4929 | 9940968.3461 | 11113991.718 | Jun: 13601727.2965; Jul: 15407938.7752
NORTH | 1333610.5268 | 1093955.6333 | 1162451.2888 | 1048797.7012 | 1148135.3461 | Jun: 1253073.7633; Jul: 1353958.2766
SCENT | 6249852.1531 | 5097017.8769 | 5923378.7335 | 5996487.6324 | 6621517.9457 | Jun: 7642667.97; Jul: 8300039.3995
SOUTH | 2977769.1906 | 2623113.008 | 3210394.2255 | 3185937.7482 | 3600162.785 | Jun: 3872912.1114; Jul: 4172639.4117
WEST | 1145769.3113 | 932024.1959 | 1061398.1172 | 1061589.3791 | 1159580.0824 | Jun: 1391277.8074; Jul: 1545492.4369
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2026
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 55105.6954 | 44195.392 | 34749.2875 | 9744.9031 | 49673.011 | Jun: 49424.4436; Jul: 49585.3422 | 292478.0748
Coal | 5450097.4277 | 4410159.4859 | 3988452.0823 | 4422734.718 | 4249986.4478 | Jun: 5343173.0316; Jul: 6724578.6279 | 34589181.8212
Gas | 3048422.4015 | 1449995.7659 | 1979144.8446 | 3076089.2442 | 2809664.7116 | Jun: 3389132.6018; Jul: 4751848.5375 | 20504298.1071
Gas-CC | 13390318.2109 | 9003479.8493 | 8604576.2975 | 10316114.5852 | 14307987.8494 | Jun: 15801137.9924; Jul: 17488924.4358 | 88912539.2205
Hydro | 27510.5338 | 10272.5191 | 25012.1403 | 43608.4234 | 29796.3759 | Jun: 42568.0639; Jul: 53572.8901 | 232340.9465
Net DC/BLT | -11986.6965 | -3643.6556 | 16713.5575 | 165139.2931 | 8866.1058 | Jun: 52855.6591; Jul: -44272.5352 | 183671.7283
Nuclear | 3797258.1173 | 3428595.9333 | 3352905.2504 | 2875863.4734 | 2967091.2088 | Jun: 3265450.5022; Jul: 3689153.9639 | 23376318.4495
Other | 684841.397 | 646506.7034 | 761765.7962 | 731425.2046 | 740814.275 | Jun: 716638.6305; Jul: 841087.5821 | 5123079.589
Solar | 4566656.3608 | 5394495.6348 | 6772999.3724 | 5771080.6994 | 7884710.4061 | Jun: 8014852.4749; Jul: 9657038.6608 | 48061833.6092
WSL | -809981.2664 | -761602.6349 | -883210.8193 | -852909.4995 | -863213.7095 | Jun: -852846.2331; Jul: -999667.6827 | -6023431.8455
Wind | 9616725.443 | 9533186.9051 | 13305773.4931 | 11347799.5808 | 9687960.4331 | Jun: 11454346.03; Jul: 9337726.0704 | 74283517.9556
Total | 39814967.6246 | 33155641.8983 | 37958881.3025 | 37906690.6258 | 41873337.115 | Jun: 47276733.197; Jul: 51549575.8928 | 289535827.6561
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 0.1384% | 0.1333% | 0.0915% | 0.0257% | 0.1186% | Jun: 0.1045%; Jul: 0.0962% | 0.101%
Coal | 13.69% | 13.3% | 10.51% | 11.67% | 10.15% | Jun: 11.3%; Jul: 13.04% | 11.95%
Gas | 7.656% | 4.373% | 5.214% | 8.115% | 6.71% | Jun: 7.169%; Jul: 9.218% | 7.082%
Gas-CC | 33.63% | 27.16% | 22.67% | 27.21% | 34.17% | Jun: 33.42%; Jul: 33.93% | 30.71%
Hydro | 0.0691% | 0.031% | 0.0659% | 0.115% | 0.0712% | Jun: 0.09%; Jul: 0.1039% | 0.0802%
Net DC/BLT | -0.0301% | -0.011% | 0.044% | 0.4356% | 0.0212% | Jun: 0.1118%; Jul: -0.0859% | 0.0634%
Nuclear | 9.537% | 10.34% | 8.833% | 7.587% | 7.086% | Jun: 6.907%; Jul: 7.157% | 8.074%
Other | 1.72% | 1.95% | 2.007% | 1.929% | 1.769% | Jun: 1.516%; Jul: 1.632% | 1.769%
Solar | 11.47% | 16.27% | 17.84% | 15.22% | 18.83% | Jun: 16.95%; Jul: 18.73% | 16.6%
WSL | -2.034% | -2.297% | -2.327% | -2.25% | -2.062% | Jun: -1.804%; Jul: -1.939% | -2.08%
Wind | 24.15% | 28.75% | 35.05% | 29.94% | 23.14% | Jun: 24.23%; Jul: 18.11% | 25.66%
Total | 100% | 100% | 100% | 100% | 100% | Jun: 100%; Jul: 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Biomass | 55.1057 | 44.1954 | 34.7493 | 9.7449 | 49.673 | Jun: 49.4244; Jul: 49.5853
Coal | 5450.0974 | 4410.1595 | 3988.4521 | 4422.7347 | 4249.9864 | Jun: 5343.173; Jul: 6724.5786
Gas | 3048.4224 | 1449.9958 | 1979.1448 | 3076.0892 | 2809.6647 | Jun: 3389.1326; Jul: 4751.8485
Gas-CC | 13390.3182 | 9003.4798 | 8604.5763 | 10316.1146 | 14307.9878 | Jun: 15801.138; Jul: 17488.9244
Hydro | 27.5105 | 10.2725 | 25.0121 | 43.6084 | 29.7964 | Jun: 42.5681; Jul: 53.5729
Net DC/BLT | -11.9867 | -3.6437 | 16.7136 | 165.1393 | 8.8661 | Jun: 52.8557; Jul: -44.2725
Nuclear | 3797.2581 | 3428.5959 | 3352.9052 | 2875.8635 | 2967.0912 | Jun: 3265.4505; Jul: 3689.154
Other | 684.8414 | 646.5067 | 761.7658 | 731.4252 | 740.8143 | Jun: 716.6386; Jul: 841.0876
Solar | 4566.6564 | 5394.4956 | 6772.9994 | 5771.0807 | 7884.7104 | Jun: 8014.8525; Jul: 9657.0387
WSL | -809.9813 | -761.6026 | -883.2108 | -852.9095 | -863.2137 | Jun: -852.8462; Jul: -999.6677
Wind | 9616.7254 | 9533.1869 | 13305.7735 | 11347.7996 | 9687.9604 | Jun: 11454.346; Jul: 9337.7261
* Information for this month has been updated based on final settlements.
* Chart excludes Wholesale Storage Load and Net DC/BLT because these resource categories can have negative values.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Gas-CC | Gas
Jan* | 3797 | 5450 | 9617 | 4567 | 28 | 55 | 685 | 13390 | 3048
Feb* | 3429 | 4410 | 9533 | 5394 | 10 | 44 | 647 | 9003 | 1450
Mar* | 3353 | 3988 | 13306 | 6773 | 25 | 35 | 762 | 8605 | 1979
Apr* | 2876 | 4423 | 11348 | 5771 | 44 | 10 | 731 | 10316 | 3076
May* | 2967 | 4250 | 9688 | 7885 | 30 | 50 | 741 | 14308 | 2810
Jun | 3265 | 5343 | 11454 | 8015 | 43 | 49 | 717 | 15801 | 3389
Jul | 3689 | 6725 | 9338 | 9657 | 54 | 50 | 841 | 17489 | 4752
Aug
Sep
Oct
Nov
Dec

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2025 Actual | 2026 Actual
Jan* | 40486 | 39815
Feb* | 34701 | 33156
Mar* | 34719 | 37959
Apr* | 36506 | 37907
May* | 41212 | 41873
Jun | 45167 | 47277
Jul | 47846 | 51550
Aug
Sep
Oct
Nov
Dec

## data_Energy Comparisons_2 (hidden)
| 2026 Forecast | 2026 Actual
Jan* | 43549 | 39815
Feb* | 38960 | 33156
Mar* | 40836 | 37959
Apr* | 40241 | 37907
May* | 45704 | 41873
Jun | 51268 | 47277
Jul | 54923 | 51550
Aug
Sep
Oct
Nov
Dec

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2025 Actual | 2026 Actual
Jan* | 77482 | 75587
Feb* | 80560 | 69618
Mar* | 62924 | 66540
Apr* | 65617 | 74614
May* | 78399 | 77822
Jun | 77396 | 82772
Jul | 81734 | 91134
Aug
Sep
Oct
Nov
Dec

## data_Demand Comparisons_2 (hidden)
| 2026 Forecast | 2026 Actual
Jan* | 77387 | 75587
Feb* | 75805 | 69618
Mar* | 69042 | 66540
Apr* | 69841 | 74614
May* | 84668 | 77822
Jun | 90947 | 82772
Jul | 92784 | 91134
Aug
Sep
Oct
Nov
Dec