## Slide 1: ERCOT Large Load Interconnection
February 12th, 2026
Survey results and public written comments summary

## Slide 2: Feedback on the future Large Load Interconnection process has come through interviews, workshops, public comments and a survey
2/3 LLI Batch Study Workshop
~170
In-person attendees
~680
Online participants
~100
Questions received
Written public comments
35+
Submissions
120+
Commentary pages submitted
7
Stakeholder groups represented
Stakeholder survey
109
70
Unique respondents
Average responses per multiple choice question
44
Average responses per open comment question
Stakeholder interviews
60
Stakeholder interviews conducted
46
Hours spent collecting stakeholder feedback
250+
Individual stakeholders attending interviews
Detailed next
2

## Slide 3: Agenda
  Feedback from stakeholder survey
  Feedback from written public comments

## Slide 4: Survey responses overview and organization demographics dashboard
109
Individual organizations surveyed
44
Average responses per open comment question
70
Average responses per multiple choice question
Chart: 
 | 64 | 36
Yes
No
64%
36%
Respondents previously interviewed by ERCOT in LLI stakeholder process (% of respondents)
Organizational distribution (% of respondents)
Chart: 
 | 7.3394 | 5.5046 | 7.3394 | 4.5872 | 5.5046 | 5.5046 | 38.5321 | 14.6789 | 0.91743 | 0.91743 | 1.8349 | 7.3394
Investor-Owned Utilities (IOUs)
Municipally-Owned Utilities (Munis)
Electric Cooperatives (Co-ops)
Hyperscalers
Co-locators
Industrial Consumers
Developers
Independent Generators
Research Organizations
Residential/Commercial Consumers
Consumer/Advocacy
Other
7%
6%
7%
5%
6%
6%
39%
15%
1%
1%
2%
7%
T(D)SPs (20%)
Other (26%)
LL customers (54%)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey

## Slide 5: The survey covered eight areas and contained 32 questions
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
Survey section
Questions
Topics covered
A
4 Multiple choices
1 Free response
Initial screening study/early input
Early-stage feasibility, study consistency, ERCOT–developer communication, and responsiveness during initial engagement
B
4 Multiple choices
2 Free response
Eligibility criteria
Requirements for Batch Zero inclusion, treatment of CLRs/BTM/BYOG, and timing of transition to a formal batch process
C
5 Multiple choices
1 Free response
Batch study
Batch governance, study frequency and methodology, stability analysis, and identification of required transmission upgrades
D
5 Multiple choices
1 Free response
Allocate and commit
Allocation principles, decision timelines, treatment of dispatchable and co-located load, and consequences for missed milestones
E
2 Multiple choices
1 Free response
RPG
Alignment between Batch Study outcomes and the Regional Planning Group transmission planning process
F
1 Free response
Financial commitments
Structure, timing, and policy implications of financial commitments
G
2 Free response
Communications
Transparency tools, dashboard reporting, and improvements to stakeholder communications
H
End-to-end
Overall process trade-offs, restudy policy, and priorities for holistic interconnection process redesign
2 Multiple choices
1 Free response
32 questions (20 multiple choice, 12 free response)

## Slide 6: Initial Screening Study/Early Input: T(D)SP preliminary screening studies
“Should the Transmission and/or Distribution Service Provider (T(D)SP) offer a preliminary “screening study” assessment before requiring applicable security and batch entry?” (% of overall respondents)
Commentary
Across all respondents, the preferred option is to offer a preliminary screening study for all requests (42%), closely followed by offering screening only for loads above a defined MW threshold (39%); opposition to screening is limited (19%)
Overall stakeholder alignment:
  “T(D)SPs” show a relative preference for offering screening for all requests
  “Large Load customers” have a slight preference for screening studies only for loads over a certain MW threshold
  “Other” stakeholders are relatively split between screening for all requests and just those over the MW threshold
Chart: 
 | 11 | 8 | 2.3529
 | 22 | 26 | 9.4118
 | 9.4118 | 4.7059 | 7.0588
9%
22%
11%
Yes for all
5%
26%
8%
Yes for loads over MW threshold
7%
9%
2%
No
42%
39%
19%
T(D)SPs
LL customers
Other
N=85 (18 T(D)SPs, 49 LLC, 18 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
A1

## Slide 7: Initial Screening Study/Early Input: Consistency across T(D)SPs
“How should ERCOT ensure consistency in initial study quality across T(D)SPs?” (% of overall respondents)
Commentary
A clear majority of respondents (66%) prefer ERCOT to change processes to standardize initial screening study quality across T(D)SPs; substantially fewer favor a joint T(D)SP-designed approach (20%), and limited support exists for retaining individual T(D)SP processes (14%)
High stakeholder alignment:
  “T(D)SPs” predominantly support ERCOT-led standardization of initial screening processes
  “Large Load customers” and “Other” stakeholders strongly favor ERCOT-driven standardization, with limited support for T(D)SP-joint approaches
Chart: 
 | 18 | 4 | 7.0588
 | 34 | 15 | 7.0588
 | 14.1176 | 1.1765 | 0
14%
34%
18%
ERCOT to change processes to standardize
1%
15%
4%
TSPs collaborate to design joint approach
7%
7%
TSPs to retain individual processes
66%
20%
14%
T(D)SPs
LL customers
Other
N=85 (19 T(D)SPs, 48 LLC, 18 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
A2

## Slide 8: Initial Screening Study/Early Input: ERCOT/ ILLE interaction
“What should be the communication path and relationship between ERCOT and the Large Load developer?” (% of overall respondents)
Commentary
Majority of respondents favor communication models that include a direct relationship between the Large Load developer and ERCOT, either through a T(D)SP-initiated process with direct ERCOT engagement (45%) or an ERCOT-initiated process with T(D)SP execution (43%); limited support exists for maintaining a T(D)SP-only interface (12%)
Stakeholders differ on how that interaction should be structured:
  “T(D)SPs” would like to keep a TSP-only interface, but are relatively evenly split between the ERCOT involved processes
  “Large Load customers” lean toward T(D)SP-initiated engagement with direct ERCOT access
  “Other” stakeholders more closely align with the ERCOT-initiated model
Chart: 
 | 4.7619 | 17 | 2
 | 34.5238 | 19 | 9.5238
 | 5.9524 | 7.1429 | 0
6%
35%
5%
TSP-initiated process with direct ERCOT engagement
7%
19%
17%
ERCOT-initiated process with TSP execution
10%
2%
TSP-only interface (status quo)
45%
43%
12%
T(D)SPs
LL customers
Other
N=84 (19 T(D)SPs, 47 LLC, 18 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
A3

## Slide 9: Initial Screening Study/Early Input: ERCOT and T(D)SP delay handling
“Regarding feedback on T(D)SP and ERCOT delayed responses, what are appropriate next steps to consider?” (% of overall respondents)
Commentary
Majority of respondents (94%) favor standardizing end-to-end processes and timeline expectations across the Large Load Interconnection process to address delayed responses by T(D)SPs and ERCOT; few respondents believe that transparency improvements alone are sufficient (7%)
High stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show strong support for standardized processes with enforceable timelines
Chart: 
 | 21 | 5.7471
 | 52 | 1.1494
 | 20.6897 | 0
21%
52%
21%
Standardize end-to-end processes and timelines
1%
6%
Improve transparency within the existing process
94%
7%
T(D)SPs
LL customers
Other
N=87 (19 T(D)SPs, 50 LLC, 18 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
A4

## Slide 10: Initial Screening Study/Early Input: Open Comments
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=63
“Regarding feedback on T(D)SP and ERCOT delayed responses, what are appropriate next steps to consider?”
Feedback
Description
Clear need for standardized, end-to-end processes
Stakeholders repeatedly call for clearer definition of roles, steps, and timelines across the full Large Load Interconnection process to reduce inconsistency and inequitable outcomes across T(D)SPs
Transparency and visibility are the top pain points
A centralized, RIOO-like portal to track project status, ownership, missing inputs, and timelines is widely viewed as essential to improve coordination and reduce ad-hoc communication
Screening studies must be high-quality/aligned with assumptions
Stakeholders favor ERCOT-led or coordinated screening that provides directionally accurate MW and energization timelines; low-fidelity or sequential T(D)SP-only screening is seen as limited value
Early screening clarity reduces speculation and capital risk
Credible early screening is viewed as critical to reduce speculative requests and allow developers to make informed investment decisions before posting significant security
Communication gaps between ERCOT, T(D)SPs, and developers
Stakeholders highlight unclear handoffs and stalled requests; joint ERCOT–T(D)SP–developer communication during early stages is strongly encouraged
Consistency across T(D)SPs is critical to fairness
Differences in study scope, timing, and prioritization across T(D)SPs risk projects missing batch cutoffs and are viewed as unfair and economically harmful
Earlier differentiation of load characteristics is important
Stakeholders support early identification of firm vs. non-firm and flexible loads to improve operational clarity and avoid unnecessary infrastructure build-out
ERCOT leadership is supported, with resourcing caveats
Many support ERCOT leading early screening and coordination, but emphasize the need for sufficient tools, staffing, and guardrails to avoid new bottlenecks
A

## Slide 11: Eligibility criteria: Batch Zero criteria
“Based on ERCOT’s proposal laid out in the ERCOT Large Load Batch Study Workshop, are there any additional factors that should be considered to prioritize interconnection requests for inclusion in Batch Zero?” (% of overall respondents that selected a specific option)
B1
Chart: 
 | 12.987 | 9.0909 | 11.6883 | 16.8831 | 25.974 | 3.8961 | 3.8961 | 11.6883
 | 37.6623 | 40.2597 | 36.3636 | 22.0779 | 14.2857 | 22.0779 | 14.2857 | 10.3896
 | 16.8831 | 14.2857 | 14.2857 | 6.4935 | 0 | 10.3896 | 9.0909 | 2.5974
40%
9%
Date request submitted to TSP
10%
22%
4%
Date request submitted to ERCOT
14%
36%
12%
Operational readiness criteria
6%
22%
17%
BYOG (Bring Your Own Generation) status
3%
10%
12%
CLR
status
14%
14%
4%
Required energization date
14%
26%
Current status of application through existing study process
17%
38%
13%
Financial security
64%
36%
62%
45%
25%
27%
40%
68%
9%
T(D)SPs
LL customers
Other
N=77; note that respondents could multi-select responses so total % > 100
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
Commentary
Majority of respondents favor financial security (68%), date of request submission to T(D)SP (64%), and operational readiness criteria (62%) as Batch Zero entry criteria; other popular options included BYOG status (45%) and current application status (40%), while date of submission to ERCOT (36%), required energization date (27%), and CLR status (25%) were less frequent selections
Stakeholders differ on which criteria they prefer:
  “T(D)SPs” and “Large Load customers” tended toward financial security, operational readiness, and date of submission to T(D)SP
  “Other” stakeholders agreed with the above most popular criteria, but most strongly preferred financial security and BYOG status

## Slide 12: Eligibility criteria: Batch Zero inclusion criteria
Commentary
Majority of respondents favor allowing some form of grace period for Batch Zero eligibility, with a preference for a short administrative grace period to cure documentation or administrative gaps (53%); a smaller but meaningful share support an extended grace period for substantive changes (38%), while limited support exists for a strict cutoff with no grace period (8%)
Overall stakeholder alignment:
  “T(D)SPs” show greater support for an extended grace period for allowing substantive changes
  “Large Load customers” support both administrative and extended grace periods
  “Other” stakeholders also favor a short administrative grace period over an extended one, with no support for a strict cutoff with no grace period at all
Chart: 
 | 4 | 12 | 5
 | 4.1667 | 33 | 22.2222
 | 0 | 8.3333 | 11.1111
4%
4%
No grace period (strict cutoff)
8%
33%
12%
Short administrative grace period
11%
22%
5%
Extended grace period for substantive changes
8%
53%
38%
T(D)SPs
LL customers
Other
N=72 (17 T(D)SPs, 43 LLC, 13 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
B2
“Should ERCOT allow a grace period for projects to meet Batch Zero eligibility criteria?” (% of overall respondents)

## Slide 13: Eligibility criteria: CLR status declaration timing
“When should CLR status be declared in the application?” (% of overall respondents)
Commentary
Majority of respondents (67%) favor requiring CLR status to be declared up front at the application stage, while a smaller but meaningful share support allowing CLR declaration after allocation (32%)
Overall stakeholder alignment:
  “T(D)SPs” and “Other” stakeholders each show strong support for declaring CLR status upfront at the application stage
  “Large Load customers” also show significant support for CLR status declaration post-application
Chart: 
 | 16 | 4
 | 32 | 24
 | 18.9189 | 4.0541
19%
32%
16%
CLR declaration up front (application stage)
4%
24%
4%
CLR declaration after allocation
67%
32%
T(D)SPs
LL customers
Other
N=74 (17 T(D)SPs, 42 LLC, 15 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
B3

## Slide 14: Eligibility criteria: BYOG treatment in the application
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=78
“How should BTM (Behind the Meter)/BYOG requests be handled in the application?”
B4
Feedback
Description
Support for recognizing BTM/BYOG in application and batch process
Stakeholders consistently support explicitly identifying BTM/BYOG arrangements early in the application and accounting for them in Batch Zero and subsequent batch studies, given their potential to materially reduce net grid impact
Preference for net-load–based treatment vs. gross load assumptions
BTM/BYOG projects should be studied and allocated based on net grid demand (gross load minus on-site generation), with study assumptions aligned to realistic operating behavior vs. conservative “all load/no generation” cases
BTM/BYOG viewed as system-beneficial, but requiring guardrails
BTM/BYOG can be beneficial (reducing transmission needs, accelerating energization, supporting reliability) only with appropriate guardrails (e.g., clear modeling rules, binding commitments, and safeguards against unintended grid draw)
Need for linkage and coordination between LLI and GINR processes
Need for formal mechanisms to link LLI Interconnection requests with associated Generation Interconnection requests, enabling ERCOT to study load and generation together while avoiding duplicative or conflicting processes
Desire for priority/expedited treatment where grid impacts are reduced
Support prioritizing or fast-tracking BTM/BYOG projects (esp. co-located loads with existing/new dispatchable gen) where they demonstrably reduce transmission upgrades, meet CLR-like characteristics, or can energize earlier
Calls for consistent, standardized study assumptions across T(D)SPs
Need for ERCOT-led standardization of how BTM/BYOG resources are modeled (e.g., dispatch assumptions by technology, contingency treatment, stability analysis) to ensure fairness and avoid inconsistent outcomes across T(D)SPs
Recognition that one size does not fit all
While support for inclusion is broad, treatment should reflect project specifics (e.g., islanded vs grid-connected, firm vs non-firm, degree of dispatchability), and in some cases suggest separate/streamlined study paths vs. exclusion
Strong concern about avoiding unnecessary process burden or delay
Caution against creating new or duplicative requirements solely because a project is BTM/BYOG, particularly where existing studies or PURA 39.169 processes already demonstrate limited system impact or statutory timelines apply

## Slide 15: Eligibility criteria: Batch Zero vs. Batch Zero A/Zero B
“When should ERCOT transition to a Batch Study process?” (% of overall respondents)
Commentary
Majority of respondents (69%) favor immediately transitioning to a Batch Study process through a two-phase Batch Zero approach (Batch Zero A and Batch Zero B), while a smaller share prefer a single Batch Zero process even if that results in delayed energization for some projects (32%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show strong support for an immediate two-phase Batch Zero transition
Chart: 
 | 12 | 7
 | 38 | 19
 | 18.8406 | 5.7971
19%
38%
12%
Immediate transition with a two-phase Batch Zero process
6%
19%
7%
Single Batch Zero process, even if energization is delayed
69%
32%
T(D)SPs
LL customers
Other
N=69 (17 T(D)SPs, 39 LLC, 13 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
B5

## Slide 16: Eligibility criteria: Open Comments
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=69
“Is there anything else you would like to share about the eligibility criteria aspect of the process?”
Feedback
Description
Concerns that current eligibility criteria are overly restrictive
Many stakeholders believe the proposed criteria risk excluding viable, well-advanced projects and may undermine the intent of SB6 by delaying projects that have progressed in good faith
Preference for readiness-based criteria over rigid date cutoffs
Call for prioritizing demonstrated project maturity (e.g., site control, executed agreements, posted security, construction readiness) vs. arbitrary calendar deadlines or requested energization dates
Support for limited grace periods to address administrative gaps
Broad support for short, clearly defined grace periods to cure documentation or study-related delays, particularly where timing was outside the developer’s control
Need to account for submission timing and developer effort
Eligibility should reflect time in queue and responsiveness, anchoring to T(D)SP submission dates to avoid penalizing projects delayed by uneven T(D)SP or ERCOT processes
Concern about inequities driven by inconsistent T(D)SP practices
Differences in T(D)SP study initiation and prioritization are viewed as creating unfair outcomes, underscoring the need for ERCOT-led guardrails to ensure consistency
Desire to prioritize committed and low-impact projects
Support weighting eligibility toward projects with demonstrated financial commitment, minimal transmission upgrades, or co-located generation that can energize sooner
Frustration with shifting or retroactive requirements
Respondents urge ERCOT to recognize prior investments and milestones achieved under earlier frameworks rather than excluding projects due to evolving rules
B

## Slide 17: Batch study: Batch study responsibility centralization
Commentary
Majority of respondents (75%) favor centralizing batch study responsibility with ERCOT while partnering with T(D)SPs to identify transmission upgrades, reflecting a preference for ERCOT-led coordination with T(D)SP technical input; comparatively fewer respondents support fully ERCOT-led upgrade identification (12%) or leaving studies primarily with T(D)SPs (14%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show strong preference for an ERCOT-led, centrally managed study framework supported by T(D)SP expertise
Chart: 
 | 6.8493 | 14 | 12.3288
 | 5.4795 | 40 | 1.3699
 | 0 | 20.5479 | 0
5%
7%
ERCOT-led studies and upgrade identification
21%
40%
14%
ERCOT-led studies with TSP-supported upgrade identification
1%
12%
TSP-led studies with ERCOT coordination only
12%
75%
14%
T(D)SPs
LL customers
Other
N=73 (16 T(D)SPs, 42 LLC, 15 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
C1
“Should ERCOT centralize responsibility for large load interconnection batch studies?” (% of overall respondents)

## Slide 18: Batch study: Batch frequency
Commentary
Overwhelming majority of respondents (89%) favor running batch studies on a semi-annual cadence (every 6 months) following Batch Zero; comparatively few support a nine-month cadence (8%) or an annual cadence (3%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show strong support for a semi-annual batch cadence
Chart: 
 | 14 | 5.5556 | 1.3889
 | 56 | 1.3889 | 1.3889
 | 19.4444 | 1.3889 | 0
19%
56%
14%
Semi-annual batch cadence (every 6 months)
1%
1%
6%
Nine-month batch cadence
1%
1%
Annual batch cadence (every 12 months)
89%
8%
3%
T(D)SPs
LL customers
Other
N=72 (16 T(D)SPs, 42 LLC, 14 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
C2
“How frequently should batch studies be run (after Batch Zero)?” (% of overall respondents)

## Slide 19: Batch study: Generation methodology
“Do you agree with ERCOT’s proposal laid out in the ERCOT Large Load Batch Study Workshop to use the “PGRR127” methodology if there is not sufficient generation in the cases to serve the modeled load level?” (% of overall respondents)
Commentary
Strong majority of respondents (89%) agree with ERCOT’s proposal to apply the PGRR127 methodology when available generation is insufficient to serve the modeled load level; a small minority favor applying an alternative methodology (11%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show strong support for using the PGRR127 methodology
Supporters of alternative methodology express caution about relying solely on PGRR127 assumptions for generation shortfalls, emphasizing the need to:
  Better reflect committed and co-located generation
  Phase or allocate load based on demonstrated readiness
  Avoid masking real system constraints while allowing market-driven generation to respond over time
Chart: 
 | 19 | 6.25
 | 50 | 4.6875
 | 20.3125 | 0
20%
50%
19%
Yes - apply the PGRR127 methodology
5%
6%
No - apply an alternative methodology
89%
11%
T(D)SPs
LL customers
Other
N=64 (16 T(D)SPs, 36 LLC, 12 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
C3

## Slide 20: Batch study: Stability study
“How should ERCOT incorporate dynamic stability analysis into the Batch Study process?” (% of overall respondents)
Commentary
Strong majority of respondents (84%) favor a two-step approach to dynamic stability analysis (conducting a stability screening as part of the Batch Study, followed by a full stability analysis afterward) enabling a shorter, six-month batch cycle; comparatively fewer respondents support performing full stability analysis within the Batch Study itself (16%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show strong support for a screening-first approach
Chart: 
 | 14 | 5.7143
 | 51 | 5.7143
 | 18.5714 | 4.2857
19%
51%
14%
Screening first, full stability analysis later (6-month batch)
4%
6%
6%
Full stability analysis within the Batch Study (9-month batch)
84%
16%
T(D)SPs
LL customers
Other
N=70 (16 T(D)SPs, 40 LLC, 14 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
C4

## Slide 21: Batch study: Transmission upgrade scope
Commentary
Majority of respondents (69%) favor limiting the scope of transmission upgrades identified in a Batch Study to straightforward improvements, enabling faster execution and earlier certainty; smaller shares support identifying expanded complex upgrades (12%) or pursuing full identification of all upgrades, including long-lead and new ROW projects (20%)
Some divergence across stakeholders:
  “T(D)SPs” are ambivalent between a limited upgrade scope and full identification of transmission upgrades
  “Large Load customers”, and “Other” stakeholders show a preference for limiting upgrade identification to straightforward improvements
Chart: 
 | 12 | 7.2464 | 1
 | 45 | 1.4493 | 9
 | 11.5942 | 2.8986 | 10.1449
12%
45%
12%
Limited upgrade scope (straightforward improvements only)
3%
1%
7%
Expanded upgrade scope (complex improvements included)
10%
9%
1%
Full upgrade scope (including long-lead and ROW projects)
69%
12%
20%
T(D)SPs
LL customers
Other
N=69 (17 T(D)SPs, 38 LLC, 14 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
C5
“What is the scope of transmission upgrades that should be identified in a Batch Study?” (% of overall respondents)

## Slide 22: Batch study: Open Comments
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=46
“Is there anything else you would like to share about the batch study aspect of the process?”
Feedback
Description
Strong emphasis on getting the Batch process right, not just fast
Broad support for a 6-month cadence for early batches but caution against sacrificing accuracy, constructability, or alignment with transmission planning simply to meet speed targets
Need to tightly integrate Batch Studies with RTP/RPG processes
Respondents stress approved loads should be treated as firm in RTP/RPG, with Batch Studies serving as actionable inputs clearly identifying remaining upgrades vs. triggering serial re-studies
Divergent views on study scope vs. duration trade-offs
Some favor limited-scope studies completed quickly, while others (esp. for greenfield/complex projects) prefer a single, holistic study that identifies all required upgrades even if it extends timelines
Cadence and predictable outputs over perfection
Timely, stable results that enable investment decisions are more valuable than exhaustive precision, provided assumptions and limitations are transparent
Support for phased or parallel workstreams
Stakeholders suggest sequencing Batch Zero A and Zero B, or running parallel analyses (e.g., firm vs. non-firm load, CLR, BTM/BYOG) to balance near-term progress with deeper system evaluation
Concern about moral hazard and speculative behavior
Caution that batch design must include firm eligibility criteria and withdrawal penalties to avoid rewarding speculative submissions and over-consuming ERCOT and T(D)SP resources
Need for clearer treatment of long-lead/greenfield upgrades
Request for long-lead and ROW-dependent upgrades to be identified early, with defined follow-on timelines/cost allocation expectations, even if detailed studies occur outside Batch window
Calls for ERCOT leadership, resourcing, and transparency
ERCOT must actively manage timing, scope, and coordination (supported by sufficient staff and tools) while providing developers visibility into batch status, results, and next steps
C

## Slide 23: Allocate and commit: Decision window
“Assuming the decision window is part of the batch study duration, how long should applicants have to accept or decline their capacity allocation (decision window)?” (% of overall respondents that selected a specific option)
D1
Chart: 
 | 1.3889 | 9.7222 | 2.7778 | 4.1667 | 2.7778 | 0
 | 2.7778 | 41.6667 | 9.7222 | 5.5556 | 4.1667 | 0
 | 1.3889 | 12.5 | 2.7778 | 4.1667 | 2.7778 | 0
1%
3%
1%
14 days (resulting in a 6-month Batch Study process)
13%
42%
10%
30 days (resulting in a 6-month Batch Study process)
3%
10%
3%
45 days (resulting in a 7-month Batch Study process)
4%
6%
4%
60 days (resulting in a 7-month Batch Study process)
3%
4%
3%
90 days (resulting in an 8-month Batch Study process)
More than 90 days (resulting in an 8-month+ Batch Study process)
6%
64%
15%
14%
10%
0%
N=72; note that respondents could multi-select responses so total % > 100
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
Commentary
Strong majority of respondents favor a 30-day window resulting in a 6-month process (64%); 15% prefer a 45-day option, 14% prefer a 60-day option, 10% prefer the 90-day option, and 6% prefer a 2-week window
General stakeholder alignment:
  “T(D)SPs,” “Large Load customers,” and “Other” stakeholders tended to overwhelmingly prefer a 30-day decision window as their top response
  No stakeholder from any group selected the option which would allow a decision window longer than 90 days
T(D)SPs
LL customers
Other

## Slide 24: Allocate and commit: Load allocation objective
“Do you agree with ERCOT’s proposed load allocation objective to maximize the amount of load that can be served in each batch?” (% of overall respondents)
Commentary
Strong majority of respondents (81%) agree with ERCOT’s proposed load allocation objective to maximize the amount of load served in each batch, while a smaller share favor applying an alternative allocation objective (19%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show majority support for maximizing load served per batch
Supporters of alternative allocation objectives caution against maximizing load served as a standalone goal, emphasizing the need to:
  Prioritize reliability and firm load first, layering in non-firm or CLR load only where system headroom is demonstrated
  Tie allocation to project readiness and maturity vs. modeled capacity or inflated MW requests
  Align allocation with near-term deliverability, prioritizing capacity available with minimal upgrades
  Avoid perverse incentives and stranded costs, balancing MW maximization with speed, cost, and ratepayer risk
Chart: 
 | 17.3913 | 2.8986
 | 47.8261 | 10.1449
 | 15.942 | 5.7971
16%
48%
17%
Yes — maximize load served per batch
6%
10%
3%
No — apply an alternative allocation objective
81%
19%
T(D)SPs
LL customers
Other
N=69 (15 T(D)SPs, 40 LLC, 14 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
D2

## Slide 25: Allocate and commit: CLR allocation
Commentary
A majority of respondents (56%) support allocating the full requested MW in unconstrained years, but reducing allocation to the minimum level in years where the Batch Study identifies transmission constraints; fewer respondents favor allocating the full requested MW in all study years, even when the system is constrained (26%) or treating CLRs the same as non-CLR loads (18%)
Alignment across stakeholders:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show majority support for a full MW allocation unless system is constrained
Chart: 
 | 6.0606 | 16.6667 | 10.6061
 | 15.1515 | 28.7879 | 7.5758
 | 4.5455 | 10.6061 | 0
11%
29%
17%
Full MW reserved unless system is constrained1
5%
15%
6%
Full MW reserved in all years2
8%
11%
Treat CLRs the same as non-CLR loads
56%
26%
18%
T(D)SPs
LL customers
Other
N=66 (15 T(D)SPs, 36 LLC, 15 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
D3
“How should load be allocated for LLI requests that commit to being dispatchable (CLRs)?” (% of overall respondents)
1. Full load allocation with a separate allocation for their minimum consumption only for study years in which the Batch Study shows they are constrained and full load allocation for study years that show there are no transmission constraints | 2. Full load allocation with a separate allocation for their minimum consumption, indefinitely

## Slide 26: Allocate and commit: Rules for co-located generation
“Do you agree with ERCOT’s proposed rules for LLI requests proposing to co-locate with new and existing generators as laid out on slides 40 & 41 of the ERCOT Large Load Batch Study Workshop presentation?” (% of overall respondents)
Commentary
Strong majority of respondents (79%) agree with ERCOT’s proposed rules for LLI requests co-locating with new or existing generation, as outlined in the workshop; a smaller share of respondents propose modifications to the co-location rules (21%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show majority support for ERCOT’s proposed co-location framework
Supporters calling for modifications to ERCOT’s co-location rules emphasize the need to:
  Provide clearer and more complete guidance across all co-location scenarios
  Treat co-located generation based on actual system impact, studying load and generation together vs. assuming full gross load by default
  Avoid unnecessary studies or delays for low-impact projects, where existing studies show no transmission upgrades are required
  Align co-location treatment with CLR and dispatchable generation rules, including consistent handling of energy storage
Chart: 
 | 15.873 | 4.7619
 | 46.0317 | 11.1111
 | 17.4603 | 4.7619
17%
46%
16%
Yes - agree with ERCOT’s proposed co-location rules
5%
11%
5%
No - propose modifications to the co-location rules
79%
21%
T(D)SPs
LL customers
Other
N=63 (14 T(D)SPs, 36 LLC, 13 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
D4

## Slide 27: Allocate and commit: Milestone enforcement
Commentary
Majority of respondents (38%) favor reducing or reallocating capacity after a defined grace period when milestones are missed, signaling a preference for consequences that recycle capacity without immediately removing projects from the process; smaller shares support removal and reapplication (24%), financial penalties while retaining allocation (21%) or other (18%)
Some divergence across stakeholders:
  “T(D)SPs” are ambivalent between reduction/ reallocation of capacity and removing the project from the process
  “Large Load customers”, and “Other” stakeholders show support for capacity reduction or reallocation following a grace period
Other alternatives suggested:
  Use escalating consequences, starting with financial penalties, then capacity reduction, and ultimately removal if milestones remain unmet
  Allow limited flexibility for non-developer delays, (excl. when issues are outside ILLE’s control)
  Set clear milestones/cure periods, with penalties meaningful enough to deter speculation
Chart: 
 | 8.8235 | 7.3529 | 2.9412 | 1.4706
 | 22.0588 | 8.8235 | 16.1765 | 11.7647
 | 7.3529 | 7.3529 | 1.4706 | 4.4118
7%
22%
9%
Reduce or reallocate capacity after a grace period
7%
9%
7%
Remove project from the process (reapplication required)
1%
16%
3%
Apply financial penalties while retaining allocation
4%
12%
1%
Other
38%
24%
21%
18%
T(D)SPs
LL customers
Other
N=56 (11 T(D)SPs, 32 LLC, 13 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
D5
“If milestones are missed, which consequence should apply?” (% of overall respondents)

## Slide 28: Allocate and commit: Open Comments
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=34
“Is there anything else you would like to share about the allocation and commitment aspects of the process?
Feedback
Description
Strong support for reallocating freed capacity within same batch
Stakeholders consistently emphasize that MW released by project withdrawals/non-commitment should be reallocated to remaining projects in the same batch, without triggering delays or restudies
Need for clear, transparent allocation and commitment rules
Call for explicit definition of MW allocated by year, associated transmission upgrades, and what constitutes a binding commitment, to give developers certainty for financing and construction
Preference for readiness- and maturity-based allocation
Allocation should prioritize projects that are credible and ready (site control, security posted, procurement underway) rather than speculative or inflated requests
Escalating milestone enforcement/financial discipline
Support for tiered commitments (non-refundable deposits, escalating penalties, capacity reduction) tied to project stage, to deter speculation while allowing flexibility for serious projects
Clear differentiation between firm and flexible (CLR) load
Stakeholders stress that firm load must retain priority, while CLR/flexible loads should be allocated based on demonstrated system headroom and net grid impact, with enforceable commitments
Emphasis on predictability, speed, and communication
Developers seek early, reliable visibility into allocation outcomes, energization timing, and next steps, with stable rules that do not change mid-process
D

## Slide 29: RPG: RPG review process alignment
Commentary
N=61 (13 T(D)SPs, 35 LLC, 13 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
E1
“Do you agree with ERCOT’s proposed Regional Planning Group review process alignment with the Batch Study process as laid out on slide 44 of the ERCOT Large Load Batch Study Workshop presentation?” (% of overall respondents)
Chart: 
 | 18.0328 | 3.2787
 | 45.9016 | 11.4754
 | 13.1148 | 8.1967
13%
46%
18%
Yes - agree with ERCOT’s proposed RPG review process alignment
8%
11%
3%
No - propose modifications to the review process alignment
77%
23%
T(D)SPs
LL customers
Other
Strong majority of respondents (77%) agree with ERCOT’s proposed RPG review process alignment with the Batch Study process, while a smaller share favor changes modifications (23%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show majority support for ERCOT’s proposed RPG/Batch study alignment
Supporters of alignment modifications caution against serial timelines:
  A unified or parallel RPG/batch study process could improve speed to market, reduce restudies, and provide greater certainty for load developers and ratepayers
  Without timeline flexibility and reduced redundancy, ERCOT’s proposed alignment could delay construction of already-needed upgrades or increase uncertainty
  Greater transparency and clearer governance are essential for trust, predictability, and workable implementation

## Slide 30: RPG: Transmission upgrade linkage
Commentary
Chart: 
 | 9.0909 | 12.1212
 | 27.2727 | 28.7879
 | 22.7273 | 0
23%
27%
9%
LLI request load commissioning plans should be linked to transmission upgrade projects
29%
12%
LLI request load commissioning plans should NOT be linked to transmission upgrade projects
59%
41%
T(D)SPs
LL customers
Other
N=66 (15 T(D)SPs, 37 LLC, 14 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
E2
“How should LLI request load commissioning plans be linked to transmission upgrade projects?” (% of overall respondents)
Majority of respondents (59%) favor a link between LLI request load commissioning plans and transmission upgrade projects such that the loads are not allowed to energize or increase consumption if the transmission upgrade project is delayed; fewer respondents advocated that LLI request load commissioning plans should not be linked to transmission upgrade projects because ERCOT and T(D)SPs should account for potential transmission project delays in the Batch Study load allocation (41%)
Mixed stakeholder alignment:
  “T(D)SPs” show complete support for the link
  “Large Load Customers” and “Other” stakeholders conversely show stronger support for not having the two plans be linked

## Slide 31: RPG: Open Comments
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=25
“Is there anything else you would like to share about the RPG aspect of the process?”
Feedback
Description
Speed to market for transmission projects
ERCOT should prioritize planning and approval pathways that accelerate delivery of transmission projects to the grid, particularly for projects emerging from the Large Load Batch Study
Streamlined RPG process for Batch Study projects
Support for streamlining and fast-tracking the RPG submission, review, and approval process for Batch Study–affiliated projects, including mandatory timelines and reduced restudy risk
Transparency and clarity in RPG decision-making
Developers emphasize the need for clear gates, defined timelines, transparent decision-making, and explicit treatment of developer security within the RPG process
Clearer load characteristics and special configurations
Need for clearer treatment of firm versus non-firm load, co-located generation, and islanded commissioning scenarios within the RPG framework
Expedited treatment of greenfield and constraint-driven projects
T(D)SPs stress that greenfield projects and constraint-driven upgrades require expedited identification and study timelines given the scale of current large load interconnection requests
Incentives for flexible load and transmission relief solutions
Respondents support stronger incentives for CLRs and other flexible solutions that provide transmission relief while allowing practical flexibility in upgrade timing
E

## Slide 32: Financial commitments: Open Comments
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=43
“Although decisions surrounding financial commitments are largely at the PUC’s discretion, is there anything else you would like to share about the financial commitments’ aspect of the process?”
Feedback
Description
Forms of financial security
Support for proposed forms of financial security in PUCT Project 58481 (cash collateral, letters of credit, corporate guarantees) with flexibility (e.g., surety bonds, netting against existing security)
Risk- and maturity-aligned financial commitments
Financial commitments should be phased, maturity-based, and aligned with demonstrated readiness, cost causation, and withdrawal risk rather than imposed uniformly at early stages
Differentiation between firm and non-firm load
Firm loads requiring guaranteed service should carry higher financial commitments, while CLR loads should face lower requirements given their reduced system obligations and reliability benefits
Reasonable $/MW thresholds
Financial commitment levels should reflect historical transmission cost exposure, with frequent support for $20–$25k/MW and concern that significantly higher thresholds would deter viable projects
Clarity on timing, refundability, and use of proceeds
Need for clear rules on when commitments are required, whether/when they are refundable, how proceeds are used, and how funds are treated if delays are driven by ERCOT or T(D)SPs
Uniform application across T(D)SPs
Financial commitment requirements should be applied consistently across all T(D)SPs to avoid unequal treatment and prevent cost-prohibitive outcomes driven by utility-specific practices
Support for phased batch entry structures
Support for phased financial commitment framework tied to batch milestones, with modest early deposits and truing-up to actual interconnection costs once transmission needs are known
Use of non-financial readiness indicators
Proof of site control, equipment procurement, interim collateral, and other tangible development milestones may be stronger indicators of project viability than financial security alone
F

## Slide 33: Communication: Dashboard information
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=49
“Which type of information would be most helpful to see on a progress tracker ‘dashboard’?”
G1
Feedback
Description
Project and batch status
Batch assignment, queue position, MW size, location, load type, and overall status, along with batch-level counts, MW totals, and target completion dates
Milestones and timelines
Planned versus actual dates, next steps, gating criteria, and expected completion timelines to clearly show progress and slippage
Study progress and outcomes
Study status, scope, ETAs, outstanding inputs, restudy triggers, and completion of steady-state, stability, and QSA analyses
Allocation and capacity results
Disclosure of approved and proposed load allocations by year, ramp schedules, firm vs. conditional status, and available transmission capacity affecting deliverability
Transmission impacts and upgrades
Required transmission upgrades, cost ranges, in-service timing, RPG status, and any constraints influencing project timelines
Financial and contractual readiness
Tracking of financial commitments, intermediate and interconnection agreement status, and confirmation of required submissions and approvals
Action items and accountability
Outstanding requirements, responsible parties (ERCOT, T(D)SP, ILLE), due dates, and escalation points to avoid delays
Frequent and predictable updates
Regular update cadence with clear points of contact, explanations for delays or changes, and centralized dashboard access similar to RIOO
System-level visibility
Aggregate reporting on projects and MW by status, zone, and quarter, including capacity margin indicators to demonstrate overall system throughput

## Slide 34: Communication: Open Comments
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=32
“Is there anything else you would like to share about the communication aspect of the process?”
Feedback
Description
Need for consistent process standards
Standardized terminology timelines and status definitions across projects are necessary to reduce confusion, improve comparability, and strengthen stakeholder alignment
Clear ownership and escalation
Desire for named ERCOT points of contact, defined escalation paths, and removal of generic inboxes to resolve issues faster and avoid delays caused by unclear responsibility
Emphasis on frequent and predictable communication
Importance of weekly or biweekly updates, timely notice of process changes, and regular touchpoints to keep stakeholders informed as the process evolves
Centralized visibility and tracking tools
  Stakeholders support a RIOO-style dashboard that centralizes project information, shows real time status, milestones, risks, and dependencies and enables on demand access
Request for automated status notifications
Respondents recommend automatic email notifications upon batch acceptance milestone completion and material status changes including links to dashboards and clear next steps
Transparency around criteria and data
Call for clear articulation of eligibility study and allocation criteria and access to sufficient study data to support informed decision making before commitments are posted
Emphasis on responsiveness staffing and automation
  Need for adequate ERCOT staffing service level expectations and automation to ensure timely responses and reduce reliance on workshops for basic questions
Call for stronger ERCOT T(D)SP developer coordination
  Stakeholders request improved three-party communication and visibility between ERCOT, TDSPs, and ILLEs to accelerate timelines reduce friction and increase investment confidence
G

## Slide 35: End to end: Certainty speed tradeoff
Commentary
N=69 (15 T(D)SPs, 40 LLC, 14 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
H1
“Which trade-off should ERCOT prioritize in the Large Load Interconnection process?” (% of overall respondents)
Chart: 
 | 5.7971 | 17.3913 | 2.8986
 | 4.3478 | 44.9275 | 7.2464
 | 0 | 14.4928 | 2.8986
4%
6%
More certain, stable results even if studies and allocations take longer
14%
45%
17%
Balance between certainty and speed
3%
7%
3%
Faster, more iterative results even if outcomes may change over time
10%
77%
13%
T(D)SPs
LL customers
Other
Strong majority of respondents (77%) favor a balance between certainty and speed; much smaller shares support faster results with less certainty (13%) or more stable results requiring longer timelines (10%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show majority support for a balance between speed and certainty

## Slide 36: End to end: Restudies
Commentary
N=66 (14 T(D)SPs, 39 LLC, 13 Other)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
H2
“Should restudies ever be permitted?” (% of overall respondents)
Chart: 
 | 15.1515 | 4.5455
 | 43.9394 | 15.1515
 | 15.1515 | 6.0606
15%
44%
15%
Yes, if necessary
6%
15%
5%
Never
74%
26%
T(D)SPs
LL customers
Other
Strong majority of respondents (74%) disagree with ERCOT’s proposed complete elimination of restudies, while a smaller share agree that restudies should never be permitted (26%)
Overall stakeholder alignment:
  “T(D)SPs”, “Large Load customers”, and “Other” stakeholders each show majority support for restudies being permitted if necessary
Supporters of restudies urge clear justifications and restudy thresholds:
  Limiting restudies to a single, well-justified instance to limit risk of current ‘restudy loop’
  Desire for queue position to be upheld during restudies/use of discipling sequencing
  Certain respondents requested more transparent access to modeling results to reduce restudy disputes via independent analysis

## Slide 37: End to end: Open Comments
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
N=37
“Is there anything else you would like to share about the overall process redesign?”
Feedback
Description
Prioritizing operationally ready and non-speculative projects
  Prioritizing projects with site control, permits, financial security, and realistic construction ramps over speculative projects with aggressive energization dates
Request for limits and clarity on restudies
Restudies should be narrowly justified limited in number and subject to clear thresholds while preserving queue position and batch finality
Support for disciplined batching and sequencing
Sequencing firm load first and layering in non-firm CLR and co-located load reduces restudies improves efficiency and focuses resources on highest value outcomes
Frustrations with transparency and access to study data
  Call for access to steady state and stability case files and clearer modeling transparency so developers can assess risk and avoid false negatives from overly conservative screening
Concern over retroactive cutoffs and transition fairness
Stakeholders oppose retroactive eligibility dates and request equitable treatment for projects affected by T(D)SP specific timelines or delays
Call for predictable timelines and enforcement
Batching will only succeed if ERCOT enforces timelines preserves batch finality and allocates risk symmetrically across ERCOT, T(D)SPs, and ILLEs
Requests for early pathways for low impact projects
  Respondents recommend fast tracking shovel-ready projects, no-upgrade projects, and co-located generation or CLR arrangements to accelerate near term energization
Strong push for good cause flexibility
  Stakeholders urge ERCOT to apply good cause exceptions for committed projects with posted security and long queue tenure to avoid penalizing maturity during rapid implementation
H

## Slide 38: Key themes from free response submissions
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
Initial screening study/early input
Request for ERCOT-led standardization of the LLI process (supported by clear end-to-end roles and timelines, a centralized transparency portal, and high-fidelity, batch-aligned early screening) to reduce delays, inconsistency, speculative applications, and inequitable outcomes across T(D)SPs, while ensuring sufficient resourcing to avoid bottlenecks
Eligibility criteria
Call for reassessing Batch Zero eligibility criteria to prioritize demonstrated project readiness and fairness over rigid date cutoffs, with limited grace periods and ERCOT-led guardrails to avoid inequitable outcomes driven by inconsistent T(D)SP processes
Batch study
Broad support for moving to a batch study framework, but highlight that success depends on balancing speed with accuracy, tightly integrating batch outcomes with RTP/RPG planning, clearly identifying long-lead upgrades, discouraging speculative behavior, and ensuring strong ERCOT leadership, resourcing, and transparency
Allocate and commit
Allocation and commitment framework must reallocate freed capacity within the same batch, prioritize mature and credible projects, enforce tiered financial and milestone discipline, clearly distinguish firm from flexible load, and provide early, predictable visibility into MW allocation and energization timelines without mid-process rule changes
RPG
Request for accelerated transmission delivery by aligning the RPG and Batch Study processes, enforcing mandatory and expedited timelines with clear gates and transparency, clarifying treatment of co-located and greenfield projects, and ensuring RPG review validates Batch study outcomes while enabling flexibility, accountability, and speed to market
Financial commitments
Financial commitment requirements should be phased, risk- and maturity-aligned, uniform across T(D)SPs, and calibrated at reasonable $/MW levels to screen out speculative projects without creating undue barriers
Communications
Need for more frequent, proactive, and transparent communication (e.g., timely email responses and notifications, centralized dashboards and portals, regular updates and meetings) from ERCOT so T(D)SPs and ILLEs have consistent visibility into project status, can make informed decisions, and avoid delays driven by uncertainty or lack of coordination
End-to-end
Request for a disciplined, transparent batch process that prioritizes committed and operationally-ready projects, limits restudies and retroactive cutoffs, preserves queue position and batch finality, improves model transparency and coordination with T(D)SPs, and accelerates approval of non-speculative loads (especially BYOG/CLR ones) to enable timely, reliable interconnection
A
B
C
D
E
F
G
H

## Slide 39: Process redesign survey insights summary (1/2)
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
Initial screening study/early input
Eligibility criteria
Batch study
Batch frequency
C2
Stakeholders strongly favor a semi-annual batch study cadence, signaling a preference for frequent, predictable study cycles over longer intervals
Consistency across T(D)SPs
A2
Stakeholders broadly support ERCOT-led standardization of initial screening study processes, with limited support for T(D)SP-specific or joint-design approaches
T(D)SP preliminary screening studies
A1
Stakeholders broadly support preliminary screening before batch entry, with limited opposition and differing views primarily on whether screening should apply universally or only above a MW threshold
ERCOT/ ILLE interaction
A3
Stakeholders broadly support direct ERCOT–developer engagement during early screening, divergence mainly on the preferred initiation point between ERCOT-led and T(D)SP-led models
ERCOT and T(D)SP delay handling
A4
Stakeholders support addressing ERCOT and T(D)SP delays through standardized end-to-end processes and enforceable timelines, limited support for transparency improvements alone
ERCOT and T(D)SP delay handling
B2
Stakeholders broadly support allowing a grace period for Batch Zero eligibility preferably limited to administrative cures, while strict cutoff approaches receive minimal support
CLR status declaration timing
B3
Stakeholders generally prefer CLR status to be declared at the application stage to provide early clarity, with more limited support for deferring declaration until after allocation
BYOG treatment in the application
B4
BTM/BYOG should be explicitly recognized and netted in the application, with standardized modeling and safeguards to reflect reduced grid impact without adding process burden
Batch Zero vs. Batch Zero A/Zero B
B5
Stakeholders prefer an immediate transition with a two-phase Batch Zero process, prioritizing speed and continuity over a single consolidated batch that could delay energization
Batch study responsibility centralization
C1
Stakeholders strongly favor an ERCOT-led batch study process with T(D)SP-supported transmission upgrade identification, preferring centralized coordination with T(D)SP involvement
B1
Stakeholders favor financial security, date of request submission to T(D)SP, and operational readiness as the key criteria used to determine which projects qualify for Batch Zero
Batch Zero inclusion criteria
Key insights
Key questions
Module
Generation methodology
C3
Stakeholders broadly support applying the PGRR127 methodology to address generation shortfalls in batch studies, with limited appetite for alternative approaches

## Slide 40: Process redesign survey insights summary (2/2)
Key insights
Key questions
Module
Batch study
Source: ERCOT Large Load Interconnection (LLI) Batch Study Process Stakeholder Survey
Stakeholders strongly prefer a screening-first approach to dynamic stability analysis to preserve a faster batch cadence, with full stability studies conducted subsequently where needed
Stability study
C4
Stakeholders generally favor limiting transmission upgrade identification in Batch Studies to straightforward improvements, with less support for expanding scope to complex or long-lead projects
Transmission upgrade scope
C5
Allocate and commit
Load allocation objective
D2
Stakeholders broadly support maximizing the amount of load served in each batch as the primary load allocation objective, with limited support for alternative approaches
CLR allocation
D3
Stakeholders prefer a conditional approach to CLR allocation (granting full allocation with minimum-load limits applied only in years with transmission constraints) over permanent carve-outs
Rules for co-located generation
D4
Stakeholders broadly support ERCOT’s proposed rules for co-located generation, with limited calls for targeted modifications rather than fundamental changes
Milestone enforcement
D5
Stakeholders favor enforcing missed milestones through capacity reduction or reallocation after a grace period, rather than immediate project removal or penalties that preserve allocation
Stakeholders overwhelmingly favor a 30-day decision window to accept or decline their capacity allocation, resulting in a 6-month Batch Study process
Decision window length
D1
RPG
Transmission upgrade linkage
E2
Stakeholders agree that LLI request load commissioning plans should be linked to transmission upgrade projects (loads not allowed to energize/increase consumption if upgrade project is delayed)
Stakeholders strongly support ERCOT’s proposed RPG review process alignment with the Batch Study process as presented in the 2/3 workshop
RPG review process alignment
E1
Communication
End-to-end
Stakeholders want a dashboard to show project status, timelines, study progress and outcomes, allocation results, transmission impacts, action items, updates and system level visibility
Dashboard information
G1
Restudies
Stakeholders broadly support restudies being permitted if necessary, while urging clear justifications and restudy thresholds to reduce the ‘restudy loop’ risk
H2
Stakeholders overwhelmingly believe ERCOT should prioritize a balance between certainty and speed in the Large Load Interconnection process overall
Certainty speed tradeoff
H1

## Slide 41: Agenda
  Feedback from stakeholder survey
  Feedback from written public comments

## Slide 42: Stakeholder feedback received through written public comments focused on Batch Zero eligibility, timing, and integration with transmission planning (1/2)
Topic
Description
Rationale
Request
Cutoff snapshot dates
Many stakeholders requested extending the January 28, 2026 snapshot date (or aligning it to Commission action/batch start) and adding grace periods for projects awaiting final administrative steps (e.g., SS approval, officer letters)
Current cutoffs are viewed as retroactive, arbitrary, and driven by administrative timing rather than project readiness, risking exclusion of viable projects and delaying energization by 12+ months
Extend or align cutoff dates; provide grace periods
Submitted vs. approved milestones
Stakeholders consistently asked ERCOT to rely on study or agreement submission dates (or recognize substantively complete filings) instead of ERCOT/TSP approval dates
Approval timelines are outside developer and TSP control; using “approved by X date” penalizes ready projects due to processing lag and creates inequitable outcomes across TSP territories
Use “submitted” rather than “approved” criteria
Eligibility/ readiness criteria
Many comments urged ERCOT to supplement or replace energization-date cutoffs with objective readiness indicators (site control, IA/FEA, CIAC/security posted, long-lead equipment ordered, construction progress)
Self-reported energization dates are easy to game and do not reflect real deliverability; readiness-based criteria better screen speculative load and protect projects that have “done the work”
Prioritize readiness overstated energization dates
Energization realism
Numerous stakeholders requested extending Batch Zero A eligibility beyond June 30, 2027 (often to Q1/Q2 2028)
Data centers and large industrial projects require 18–24 months post-allocation to finance, procure equipment, and build; current timelines make 2027–early-2028 energization infeasible
Extend Batch Zero A energization window into 2028
CLR/BYOG/ co-located generation
Stakeholders broadly supported enabling CLR and BYOG/co-located generation pathways in Batch Zero (especially Zero B), including technology-agnostic treatment and net-load approaches
Co-located and controllable loads reduce grid impact, improve reliability, accelerate time-to-power, and mitigate stranded transmission cost risk, but are undervalued or delayed under the draft framework
Explicitly recognize and prioritize CLR/BYOG projects
Source: Stakeholder feedback received in Open Window Comment published here
Note: 35+ public written comments received (120+ pages of commentary)

## Slide 43: Stakeholder feedback received through written public comments focused on Batch Zero eligibility, timing, and integration with transmission planning (2/2)
Source: Stakeholder feedback received in Open Window Comment published here
Topic
Description
Rationale
Request
RTP/RPG alignment
Many comments emphasized that batch studies should culminate in actionable transmission plans, with clearer linkage to RTP/RPG approval, sequencing, and construction feasibility
Studying load without parallel transmission endorsement risks non-actionable results, restudies, and continued uncertainty around energization timelines
Integrate batch outcomes with transmission planning
Brownfield vs. greenfield transmission
TSPs and developers cautioned against limiting batch outcomes to brownfield upgrades and urged explicit consideration of greenfield projects
Brownfield solutions can be outage-constrained and slower to deliver; greenfield projects may better serve load growth and system reliability in certain regions
Allow greenfield solutions where appropriate
Financial commitment/ deposits
Several stakeholders supported applying upfront $/MW fees, security, or CIAC-like commitments as Batch Zero gating criteria
Early financial commitment is viewed as the most effective, market-based filter for speculative “ghost loads” without requiring ERCOT to make subjective readiness determinations
Move financial commitment earlier in the process
Transparency and communication
Stakeholders requested clearer communication, access to batch study cases, dashboards, defined treatment of modifications, and formal adjudication pathways for Batch Zero classification disputes
Greater transparency reduces uncertainty, improves study quality, supports market confidence, and limits unnecessary restudies or disputes
Improve data access, dashboards, and adjudication
Governance/ good cause exception
Many parties urged ERCOT to rely on standard NPRR/PGRR processes (or clearly bounded GCE1 use) and avoid retroactive application of draft rules (e.g., PUCT 58481)
Predictability and adherence to existing protocols are critical to maintaining investment confidence and avoiding regulatory whiplash during the transition
Prefer stakeholder process or limit retroactivity
1. Good Cause Exception
Note: 35+ public written comments received (120+ pages of commentary)