## Slide 1
NDSWG Meeting
February 2026

## Slide 2: Antitrust Admonition

## Slide 3: Topics
NPRR 1317 – Creation of Non-Settled Generator(NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation
End Use Industry Classification Review
Model cleanup – temporary switch
Other Topics:
  UDG Workshop
  CIM 16 Training
  Double Circuit Contingency Review
  Manual Contingency Review

## Slide 4: End Use Industry Classification Review
Nodal Protocols 3.10.7.2(15)

## Slide 5: End Use Industry Classification Review
Nodal Protocols 3.10.7.2(17)

## Slide 6: End Use Industry Classification Review
  Load End-Use Classification Categories
    Cryptocurrency Mining
    Data Centers (non-crypto)
    Government and Medical
    Hydrogen and Electrofuel Production
    Oil and Chemical Refining
    Oil and Gas Production, Processing, and Transmission
    Steel and Aluminum Manufacturing
    Transportation
    Other Industrial
    Note: Residential is not added for this review

## Slide 7: End Use Industry Classification Review
Market Notice and NDSWG email went out on February 12, 2026
For TSPs, Load Points that have achieved a peak demand of 25 MW or greater on or after January 1, 2025 shall be modeled on or before April 1 of the next calendar year
For Resource Entities associated with PUN or co-located Large Loads, an operational co-located Load that achieved a peak demand of 25 MW of greater on or after January 1, 2025 shall be updated in Registration data within three months from the date peak Demand reaches 25 MW

## Slide 8: End Use Industry Classification Review - TSP
Spreadsheet is posted in NMMS Postings
  TSPs to submit an ICR in NMMS on or before April 1 2026 with a Production Load Date of April 22 2026
  Please include “Review of end-use industry classification for Load Points_TSP Name” on the description

## Slide 9: End Use Industry Classification Review - RE
Private Use Networks or Co-located loads is available on ERCOT MIS ECEII Requested information folder for review
  RE will submit a standard RSCR in RIOO RS with a description of “Review of end-use industry classification for Load Points”

## Slide 10: Model cleanup – temporary switch
Goal: Keep the model accurate and aligned with field operations
Objective: Remove retired equipment and temporary modeling to maintain model integrity
Process:
  ERCOT generated a list of equipment using the outage scheduler data (retirement or past planned dates)
  Verified against the model
  Bulk verification requests sent to TSP’s; Periodic clean up emails planned Items flagged on the attachment sent to the TSP’s requesting for their feedback: Comments, Manuals to be cleaned up, Obsolete lines, NOMCR numbers if clean up already submitted

## Slide 11: Other Topics:
UDG Workshop – April 30, 2026
CIM16 Training – Q4 2026
Double Circuit Contingency Review
  Kickoff email will be sent by beginning of March
Manual Contingency Review
  Kickoff email will be sent by beginning of May

## Slide 12: Other Topics
Open Discussion…