## Slide 1: Large Load Interconnection Batch Study Update to LLWG
February 19th, 2026

## Slide 2: Guidance from 2/6/2026 PUC Open Meeting*
PUCT provided guidance to develop the transitional Batch Zero process within the current ERCOT Stakeholder process rather than through a Good Cause Exception
  This decision effectively removes the Batch Zero A/Zero B option from consideration
ERCOT stakeholders were strongly encouraged to have Revision Request(s) developed for Batch Zero for June 2026 ERCOT Board consideration
  BYOG details can be considered in parallel Revision Request(s) (if developed in time)
  CLR details can be considered in parallel Revision Request(s) (if developed in time)
PGRR115 process remains in effect (where some Large Load customers will continue forward and be approved, while others continue with the risk of re-study delays)
* Link to PUCT broadcast: https://www.adminmonitor.com/tx/puct/open_meeting/20260206/
2

## Slide 3: Integration of stakeholder insights into process redesign
How each takeaway is reflected
Stakeholder interview takeaways
Shift from sequential LLIs to ERCOT-led batch studies
Redesigned process to revolve around batch study principle
1
Coupling between load studies and transmission planning
Developed a seamless integration plan for new process within existing RTP/RPG procedures
2
Transparency and status visibility across the process
Predictable timelines matter more than favorable outcomes
Laid out an explicit steady state timeline, by study step, from early 2027 through mid 2029
Integrated stakeholder input throughout redesign
Dashboard to provide regular communications and status updates to ILLEs/TSPs
3
Acceptance of partial, ramped, or conditional load
High appetite for BYOG and CLR if treated appropriately
Developing new rules to specifically address the unique needs and system-impacts of CLR and BYOG loads in batches 1+
4
Screening and commitment to filter speculative load
5
Fragmented ownership before ERCOT involvement
Defined a clear end-to-end flow with named responsibilities and time horizons for ILLEs, TSPs, and ERCOT
6
Relied on guidance provided in proposed PUCT rules in Projects 58480 and 58481, where possible
1. From original document, which can be found on the ERCOT website at https://www.ercot.com/calendar/02032026-Batch-Study-Process-for

## Slide 4: Scope, Boundaries, and intended role of Batch Zero
Role of Batch Zero
  Transitional batch to address the backlog of projects being re-studied
  Different from normal Batch study (separate NPRR/PGRR)
Batch Zero Process outline
  Criteria (transitional with dependency on PUCT rulemaking)
  Batch Execution:
    Inputs to Batch (from TSP and ERCOT)
    ERCOT activities
    TSP activities
    Initial outputs from Batch
    Commitment Decision
    Final output from Batch
  Batch output integration with RTP/RPG
Boundaries and/or not in Scope for Batch Zero
  Registration changes (likely out of scope)
  Transparency and reporting changes (likely limited in short time-frame)
ERCOT bringing Design Element details at next week’s Batch Workshop #3 Feb 26

## Slide 5: The critical path to a successful Batch Zero NPRR relies on a series of successive May 2026 votes
Forums
Workshops and working groups
PRS (Protocols Review Subcommittee)
ROS1 (Reliability and Operations Subcommittee)
TAC
ERCOT Board
2026
Q1
Q2
Q3
Feb
Mar
Apr
May
Jun
Jul
Workshop #2 Feb 12
Workshop #4 Mar 10
Workshop #5 Mar 24
Workshop #6 Mar 31
PRS Update 3/11
PRS Vote 5/13
ROS Update 3/5
ROS Vote 5/7
Board Vote 6/1
3/4 ERCOT files Batch Zero Revision Request(s)
8/1 Target effective date of protocols
Objective
Align stakeholders on direction/scope following Commission decision
Define the scope, boundaries, and intended role of Batch Zero
Preview structure/governing concepts of Batch Zero NPRR before filing
Confirm proposed protocol changes are ready for governance review
Endorse NPRR for advancement to TAC (contingent on technical valid.)
If accompanying PGRR filed, then ROS will be involved in review
ROS approval will be required for any PGRR(s).
Review/endorse combined NPRR/PGRR package for Board approval
Authorize implementation of Batch Zero by approval of NPRR/PGRRs
LLWG Feb 19
Workshop #3 Feb 26
Regular TAC 5/19-20
1. May be unneccessary if the Revision Request ends up utilizing only a NPRR and not an additional PGRR
Close outstanding design and drafting issues, incorporate vetted stakeholder feedback, and finalize Revision Request language for committee approval
Target Board approval date
Board Meeting 4/20
Regular PRS 4/15
ROS Update 4/2
Monthly TAC updates
Workshop #7 Apr 8/9
Note that TAC leadership is also considering options to ensure successful review and approval.
Special PRS 4/22
Regular TAC 4/29
Special TAC 5/13
Regular PRS 5/6