## Slide 1
Large Load Curtailment Manager (LLCM)
Sruthi Hariharan
February 19, 2026

## Slide 2: Large Load Curtailment Manager (LLCM) - Overview
Background
Recently a few separate efforts have brought to fore policies (ex. SB6), operating limits and/or protocols (ex. NPRR1238) that require ERCOT to have the ability to instruct curtailment or interruption of certain Large Loads. In parallel to these market policy development efforts, ERCOT is preparing to build a Control Room facing tool named, Large Load Curtailment Manager that will provide ERCOT Operators a single tool to identify conditions when curtailment is needed and instruct the responsible entities to take actions. A tool like this this will ensure operational efficiency and reliability, reduce the risk of human error, and enhance the overall stability of the power grid.
Timeline
Aiming to deliver a Minimum viable product by Summer 2026, with full scope implementation later in 2026
Potential impacts
  An XML instruction which includes information like deployment start time, deployment end time and deployed MW. (EIP External Interfaces Specifications document will be impacted, XSD should not be impacted)
  ICCP/Telemetry
  SCED pricing
  Potential report/market notification changes

## Slide 3: Large Load Curtailment Manager (LLCM) – Summer 2026
Planned scope for minimum viable product (tentative Prod 2026-R6 release):
CIM model changes including telemetry modeling for Large Loads
Event detection to identify when a Large Load curtailment under SB6 may be initiated
Large Load Curtailment Manager tool that can instruct selected (SB6 related) Large Load via an XML instruction which includes information like deployment start time, deployment end time and deployed MW. (EIP External Interfaces Specifications document will be impacted, XSD should not be impacted)
Accounting of (SB6) Large Load that is instructed to curtail in SCED reliability deployment price adder.
Next Steps:
ERCOT to provide regular status updates to TWG on this tool development effort.
ERCOT to develop and file Market Rules that codify the curtailment actions that ERCOT may undertake in context of SB6 in parallel to this effort.