## Slide 1: TAC update on Large Load Interconnection Batch Study Workshops
February 25th, 2026
Matt Mereness

## Slide 2: The batch study process increases outcome certainty and transparency while limiting restudy risk
…to the new batch study process
ERCOT action
Non-ERCOT action
Communication point
Dev. submits project to TSP
Single study
Single study (invalidating prior results)
Initial approval
Single study (invalidating prior results)
Initial approval
RPG, QSA
Energization
Dev. submits project to TSP
Dev. submits project to TSP
Dev. submits project to TSP
RPG, QSA
Energization
Batch study: ERCOT compiles applications, studies together as a batch, and allocates load
C
From the existing single study process…
A
Frequent restudies required If another project impacts the same transmission zone, all previous studies are invalidated and impacted projects which haven’t yet energized must be restudied
B
Restudy loop In the absence of capacity reservation, projects can be repeatedly pulled into restudies as new requests enter the system, delaying approvals and potentially extending timelines by years
C
Batching process Every ~6 months, all submitted requests are clustered and studied together; allocated capacity coming out of the study is “reserved” to prevent restudies
Transparent communications Along with the new batch study process, ERCOT is redesigning the study communication process to have clearly defined touchpoints and transparent information handovers
B
Source: ERCOT discussions
Dev. submits project to TSP
Dev. submits project to TSP
Single study (invalidating prior results)
Single study (invalidating prior results)
Initial approval
Initial approval
Initial approval
Dev. submits project to TSP
Dev. submits project to TSP
Dev. submits project to TSP
Dev. submits project to TSP
A
A
A
A

## Slide 3: Insights from a multi-channel stakeholder engagement effort enabled a comprehensive view of stakeholder alignment and open questions
2/3 LLI Batch Study Workshop
Written public comments
Stakeholder survey
109
Unique respondents
46
Hours spent collecting stakeholder feedback
~100
Questions received
120+
Commentary pages submitted
Stakeholder interviews (60)
Areas of strong stakeholder alignment
Key open questions requiring resolution
  How CLR/BYOG/co-located generation should be treated within the batch study
4
Source: Batch Study Process for Large Load Interconnections Workshop, ERCOT Large Load Interconnection Batch Study Process Stakeholder Survey, public written comments, stakeholder interviews
  A ~6-month batch study cadence is viewed as good balance between speed and analytical rigor
1
  More proactive, structured, and transparent communication is essential
2
  Batch Zero eligibility should also consider operational readiness and TSP submission date along with financial commitment
3
  How ERCOT will ensure consistency in timelines/study assumptions across T(D)SPs
5
  How Batch Zero will link directly to actionable RPG transmission approvals
6

## Slide 4: The critical path to a successful Batch Zero revision request relies on a series of successive May 2026 votes
Forums
Workshops and working groups
PRS (Protocols Review Subcommittee)
ROS1 (Reliability and Operations Subcommittee)
TAC
ERCOT Board
2026
Q1
Q2
Q3
Feb
Mar
Apr
May
Jun
Jul
Workshop #2 Feb 12
Workshop #4 Mar 10
Workshop #5 Mar 24
Workshop #6 Mar 30
PRS Update 3/11
ROS Update 3/5
ROS Vote 5/7
Board Vote 6/1
3/4 ERCOT files Batch Zero Revision Request(s)
8/1 Target effective date of protocols
Objective
Align stakeholders on direction/scope following Commission decision
Define the scope, boundaries, and intended role of Batch Zero
Preview structure/governing concepts of Batch Zero NPRR before filing
Confirm proposed protocol changes are ready for governance review
Endorse NPRR for advancement to TAC (contingent on technical valid.)
If accompanying PGRR filed, then ROS will be involved in review
ROS approval will be required for any PGRR(s).
Review/endorse combined NPRR/PGRR package for Board approval
Authorize implementation of Batch Zero by approval of NPRR/PGRRs
LLWG Feb 19
Workshop #3 Feb 26
Regular TAC 5/19-20
1. May be unneccessary if the Revision Request ends up utilizing only a NPRR and not an additional PGRR
Close outstanding design and drafting issues, incorporate vetted stakeholder feedback, and finalize Revision Request language for committee approval
Target Board approval date
Board Meeting 4/20
Regular PRS 4/15
ROS Update 4/2
Monthly TAC updates
Workshop #7 Apr 9
TAC leadership involved in options to ensure successful review and approval at June 1, 2026 Board to meet PUCT guidance.
Special PRS 4/22
Regular TAC 4/29
Special TAC 5/13
Regular PRS 5/6

## Slide 5: Agenda for tomorrow’s Workshop #3
Update on timeline and key workshop dates
Outline PRS/ROS/TAC pathways to June Board with key submission dates
1
Timeline and governance recap
2
Batch Zero study scope and process overview
Align on core structural elements of the proposed Batch Zero revision request
Batch process overview and final transmission plan
3
Deep-dive on key design elements
Batch Study process overview and final transmission plan
Criteria for Batch Zero
4
Initial discussion on BYOG and CLR
Review propose approaches for BYOG/co-located generation and CLR loads
Discuss timeline for filing NPRR for each
5
Post-meeting survey questions
Identify key questions to be answered for each design element of the revision request (potentially to be addressed through ad-hoc feedback surveys)
6
Q&A
Open forum for Batch Zero concerns, comments, and suggestions