## Slide 1: Large Load Working Group February Update
Bob Wittmeyer
Chair LLWG
bob@longhornpwr.com
512 762 8895

## Slide 2: Batch Study Workshops Will require a lot of focus. but LLWg still has work to do.
NOGRR 282
SSO requirements
Realistic Construction Timelines for Large Loads
Modeling assumptions and timelines.
CLR and Bring your Own Generation.

## Slide 3: Feb 19th - LLWG Meeting
Grid Astra Presentation
  Impressive – a lot of skepticism at the beginning of the presentation.
  Analyzed 16,000 contingencies per run.
  Ran 6 scenarios (different solutions) of 5 GW load in West Texas each simulation ran in under a minute.
  Model did self check after its preferred solution.
  Potential to significantly improve study timelines and cost.

## Slide 4: Feb 19th - LLWG Meeting
Clayton Greer – Cholla gave his view of how batch studies should be done.
Matt Mereness - gave update on timeline for Batch Process.
Jonathan Rose - gave update on LEL Power Variation Requirements.
Patrick Gravois – Responded to Data Center Collation comments on NOGRR 282.
Sun Wook – Dynamic Model Submissions for Large Loads.

## Slide 5: Modeling Requirements
Concerns expressed that modeling requirements are due potentially years (transmission build) before the load Energizes.
Equipment to be installed has not yet been designed.
Data Centers are not monolithic, may be more like a strip center with various, tenants with different operational characteristics.

## Slide 6: Large Load Oscillations – potential liminations
Next big issue

## Slide 7: Next Steps
Next Meeting – March 13 – Likely Topics
  Data Center Buildout timelines.
  CLR (PGRR 134) + Bring your own Generation.
  Large Loads – SSO Requirements.
  NOGRR 282 - VRT Requirements.