## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2024-10 | 3 | 15.076 | 8.6 | 8.733
2024-11 | 3 | 15.076 | 8.6 | 8.733
2024-12 | 3 | 15.322 | 8.6 | 8.786
2025-01 | 3 | 15.322 | 8.6 | 8.786
2025-02 | 3 | 15.322 | 8.6 | 8.786
2025-03 | 3 | 15.322 | 8.6 | 8.786
2025-04 | 3 | 15.537 | 8.6 | 8.84
2025-05 | 3 | 15.537 | 8.6 | 8.84
2025-06 | 3 | 15.537 | 8.6 | 8.84
2025-07 | 5 | 30.483 | 8.6 | 9.386
2025-08 | 5 | 60.644 | 16.5 | 31.586
2025-09 | 5 | 60.644 | 8.6 | 23.7
2025-10 | 6 | 64.677 | 32 | 32.8
2025-11 | 7 | 107.644 | 35.4 | 36.2
2025-12 | 7 | 107.644 | 35.4 | 49.9

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
10/2024 | AR_ALD1 | 9083 | 5690 | 4276 | 4276 | 788 |  | 10 | 350.933 | 344.868 | 308.694 | 448.531
10/2024 | BOERNE_ALD1 | 9083 | 2800 |  |  |  |  | 423 | 599.965 |  |  | 76.693
10/2024 | WEBBS_ALD1 | 9083 | 5690 | 3975 | 3975 | 593 |  | 19 | 489.757 | 477.374 | 303.895 | 511.6
11/2024 | AR_ALD1 | 8859 | 5607 | 5571 | 5571 | 12 |  | 42 | 354.635 | 355.994 | 300 | 1202.923
11/2024 | BOERNE_ALD1 | 8859 | 3394 |  |  | 2 |  | 502 | 1103.48 |  |  | 85.923
11/2024 | WEBBS_ALD1 | 8859 | 5607 | 5570 | 5570 | 12 |  | 45 | 402.561 | 408.368 | 300 | 1445.921
12/2024 | AR_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 1 | 297.184 | 300.145 |  | 4481.708
12/2024 | BOERNE_ALD1 | 8994 | 3114 |  |  | 0 |  | 674 | 220.835 |  |  | 47.428
12/2024 | WEBBS_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 2 | 298.591 | 301.353 |  | 2587.401
01/2025 | AR_ALD1 | 8985 | 5612 | 5024 | 5024 | 121 |  | 0 | 532.236 | 378.981 | 300
01/2025 | BOERNE_ALD1 | 8985 | 1226 |  |  | 0 |  | 163 | 104.345 |  |  | 95.75
01/2025 | WEBBS_ALD1 | 8985 | 5612 | 5035 | 5035 | 149 |  | 10 | 462.505 | 346.788 | 300 | 1033.745
02/2025 | AR_ALD1 | 8158 | 5094 | 4213 | 4213 | 12 |  | 6 | 299.313 | 302.65 | 300 | 386.023
02/2025 | BOERNE_ALD1 | 8158 | 1530 |  |  | 0 |  | 431 | 71.209 |  |  | 256.919
02/2025 | WEBBS_ALD1 | 8158 | 5094 | 4219 | 4219 | 0 |  | 14 | 369.598 | 389.172 |  | 302.069
03/2025 | AR_ALD1 | 9092 | 5714 | 4578 | 4578 | 0 |  | 7 | 304.504 | 310.876 |  | 535.459
03/2025 | BOERNE_ALD1 | 9092 | 3493 |  |  | 1623 |  | 724 | 52.112 |  | 5 | 54.225
03/2025 | WEBBS_ALD1 | 9092 | 5714 | 4361 | 4361 | 0 |  | 4 | 317.093 | 327.559 |  | 352.929
04/2025 | AR_ALD1 | 8817 | 5528 | 4668 | 4668 | 0 |  | 12 | 314.283 | 324.903 |  | 1753.53
04/2025 | BOERNE_ALD1 | 8817 | 7266 |  |  | 4360 |  | 2739 | 82.353 |  | 5 | 44.827
04/2025 | WEBBS_ALD1 | 8817 | 5528 | 4832 | 4832 | 0 |  | 4 | 320.751 | 330.843 |  | 423.934
05/2025 | AR_ALD1 | 9132 | 8499 | 6131 | 6131 | 0 |  | 39 | 340.76 | 340.318 |  | 643.564
05/2025 | BOERNE_ALD1 | 9132 | 7631 |  |  | 5265 |  | 4649 | 46.317 |  | 10 | 54.555
05/2025 | WEBBS_ALD1 | 9132 | 8499 | 5999 | 5999 | 0 |  | 33 | 298.779 | 293.13 |  | 848.524
06/2025 | AR_ALD1 | 8891 | 8889 | 6449 | 6449 | 0 |  | 13 | 312.738 | 305.246 |  | 867.598
06/2025 | BOERNE_ALD1 | 8891 | 7295 |  |  | 5154 |  | 2760 | 64.934 |  | 10 | 38.839
06/2025 | WEBBS_ALD1 | 8891 | 8889 | 6413 | 6413 | 0 |  | 2 | 307.037 | 301.046 |  | 380.48
07/2025 | AR_ALD1 | 9176 | 9174 | 6375 | 6375 | 12 |  | 11 | 820.83 | 842.372 | 349.33 | 756.793
07/2025 | BOERNE_ALD1 | 9176 | 7006 |  |  | 5101 | 10 | 2311 | 56.613 |  | 10.359 | 45.029
07/2025 | MIDNT_ALD1 | 2048 | [6 empty] | 1818.182
07/2025 | SANSM_ALD1 | 2048 | [6 empty] | 1341.463
07/2025 | WEBBS_ALD1 | 9176 | 9174 | 6350 | 6350 | 12 |  | 10 | 777.64 | 822.892 | 370.159 | 819.87
08/2025 | AR_ALD1 | 9158 | 1498 | 1092 | 1092 | 0 |  | 0 | 1463.804 | 1548.394
08/2025 | BOERNE_ALD1 | 9158 | 3470 |  |  | 1220 | 0 | 587 | 483.705 |  | 10 | 67.91
08/2025 | MIDNT_ALD1 | 9158 | [6 empty] | 2364.865
08/2025 | SANSM_ALD1 | 9158 | 26 |  |  | 13 |  | 16 | 2395.122 |  | 760.464 | 42.563
08/2025 | WEBBS_ALD1 | 9158 | 1498 | 1067 | 1067 | 0 |  | 0 | 1006.277 | 1399.159
09/2025 | AR_ALD1 | 8884 | 3723 | 2227 |  | 1 |  | 0 | 1033.972 | 1281.172 | 5000
09/2025 | BOERNE_ALD1 | 8884 | 7432 |  |  | 5171 | 1 | 1304 | 99.291 |  | 30 | 74.635
09/2025 | MIDNT_ALD1 | 8884 | 34 |  |  |  |  | 33 | 4501.603 |  |  | 29.847
09/2025 | OB_ALD1 | 1757 | [6 empty] | 5000
09/2025 | SANSM_ALD1 | 8884 | 34 |  |  |  |  | 33 | 4620.066 |  |  | 19.392
09/2025 | WEBBS_ALD1 | 8884 | 3723 | 2227 |  | 1 |  | 2 | 1054.151 | 1391.322 |  | 316.357
10/2025 | AR_ALD1 | 8817 | 8817 | 5858 |  |  |  | 8 | 575.07 | 661.011 |  | 408.224
10/2025 | BOERNE_ALD1 | 8817 | 7108 |  |  | 4939 | 1 | 1326 | 94.974 |  | 34 | 66.722
10/2025 | MIDNT_ALD1 | 8817 | 48 |  |  |  |  | 48 | 2750 |  |  | 13.399
10/2025 | OB_ALD1 | 8817 | 61 |  |  | 13 |  | 59 | 2765.203 |  | 1769.231 | 20.417
10/2025 | SANSM_ALD1 | 8817 | 48 |  |  |  |  | 47 | 2901.526 |  |  | 13.62
10/2025 | WEBBS_ALD1 | 8817 | 8817 | 5846 |  |  |  | 25 | 698.156 | 795.061 |  | 121.784

## Hourly Participation (10_2025)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
HE_1 | AR_ALD1 | 356 | 356 | 0 | 0 | 0 | 0 | 0 | 318.549
HE_1 | BOERNE_ALD1 | 356 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | MIDNT_ALD1 | 356 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | OB_ALD1 | 356 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | SANSM_ALD1 | 356 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | WEBBS_ALD1 | 356 | 356 | 0 | 0 | 0 | 0 | 0 | 303.946
HE_2 | AR_ALD1 | 372 | 372 | 0 | 0 | 0 | 0 | 0 | 322.3
HE_2 | BOERNE_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | MIDNT_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_2 | OB_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_2 | SANSM_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_2 | WEBBS_ALD1 | 372 | 372 | 0 | 0 | 0 | 0 | 0 | 333.771
HE_3 | AR_ALD1 | 364 | 364 | 0 | 0 | 0 | 0 | 0 | 347.447
HE_3 | BOERNE_ALD1 | 364 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | MIDNT_ALD1 | 364 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | OB_ALD1 | 364 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_3 | SANSM_ALD1 | 364 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | WEBBS_ALD1 | 364 | 364 | 0 | 0 | 0 | 0 | 0 | 310.775
HE_4 | AR_ALD1 | 360 | 360 | 0 | 0 | 0 | 0 | 0 | 313.056
HE_4 | BOERNE_ALD1 | 360 | 319 | 0 | 0 | 319 | 0 | 0 | 0
HE_4 | MIDNT_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | OB_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | SANSM_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | WEBBS_ALD1 | 360 | 360 | 0 | 0 | 0 | 0 | 0 | 357.208
HE_5 | AR_ALD1 | 362 | 362 | 0 | 0 | 0 | 0 | 0 | 300
HE_5 | BOERNE_ALD1 | 362 | 349 | 0 | 0 | 349 | 0 | 0 | 2.308 |  | 30
HE_5 | MIDNT_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_5 | OB_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_5 | SANSM_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_5 | WEBBS_ALD1 | 362 | 362 | 0 | 0 | 0 | 0 | 0 | 377.394
HE_6 | AR_ALD1 | 361 | 361 | 0 | 0 | 0 | 0 | 0 | 927.443
HE_6 | BOERNE_ALD1 | 361 | 349 | 0 | 0 | 349 | 0 | 0 | 0
HE_6 | MIDNT_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | OB_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | SANSM_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | WEBBS_ALD1 | 361 | 361 | 0 | 0 | 0 | 0 | 0 | 1534.701
HE_7 | AR_ALD1 | 365 | 365 | 335 | 0 | 0 | 0 | 0 | 1537.889 | 1558.01
HE_7 | BOERNE_ALD1 | 365 | 353 | 0 | 0 | 353 | 0 | 0 | 0
HE_7 | MIDNT_ALD1 | 365 | 0 | 0 | 0 | 0 | 0 | 0
HE_7 | OB_ALD1 | 365 | 0 | 0 | 0 | 0 | 0 | 0
HE_7 | SANSM_ALD1 | 365 | 0 | 0 | 0 | 0 | 0 | 0
HE_7 | WEBBS_ALD1 | 365 | 365 | 313 | 0 | 0 | 0 | 0 | 1849.375 | 1984.544
HE_8 | AR_ALD1 | 363 | 363 | 363 | 0 | 0 | 0 | 0 | 1619.345 | 1619.345
HE_8 | BOERNE_ALD1 | 363 | 350 | 0 | 0 | 350 | 0 | 0 | 0
HE_8 | MIDNT_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0
HE_8 | OB_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0
HE_8 | SANSM_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0
HE_8 | WEBBS_ALD1 | 363 | 363 | 339 | 0 | 0 | 0 | 0 | 2098.725 | 2226.068
HE_9 | AR_ALD1 | 372 | 372 | 349 | 0 | 0 | 0 | 0 | 1786.742 | 1884.406
HE_9 | BOERNE_ALD1 | 372 | 358 | 0 | 0 | 358 | 0 | 0 | 0
HE_9 | MIDNT_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0
HE_9 | OB_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0
HE_9 | SANSM_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0
HE_9 | WEBBS_ALD1 | 372 | 372 | 322 | 0 | 0 | 0 | 0 | 2209.161 | 2487.827
HE_10 | AR_ALD1 | 368 | 368 | 344 | 0 | 0 | 0 | 0 | 1608.267 | 1700.344
HE_10 | BOERNE_ALD1 | 368 | 355 | 0 | 0 | 355 | 0 | 0 | 0
HE_10 | MIDNT_ALD1 | 368 | 11 | 0 | 0 | 0 | 0 | 11 | 2375 |  |  | 14.733
HE_10 | OB_ALD1 | 368 | 11 | 0 | 0 | 0 | 0 | 11 | 2593.75 |  |  | 14.926
HE_10 | SANSM_ALD1 | 368 | 11 | 0 | 0 | 0 | 0 | 11 | 2558.14 |  |  | 15.073
HE_10 | WEBBS_ALD1 | 368 | 368 | 331 | 0 | 0 | 0 | 0 | 2056.372 | 2096.421
HE_11 | AR_ALD1 | 367 | 367 | 365 | 0 | 0 | 0 | 0 | 611.946 | 613.655
HE_11 | BOERNE_ALD1 | 367 | 355 | 0 | 0 | 355 | 0 | 0 | 0
HE_11 | MIDNT_ALD1 | 367 | 12 | 0 | 0 | 0 | 0 | 12 | 2375 |  |  | 14.585
HE_11 | OB_ALD1 | 367 | 12 | 0 | 0 | 0 | 0 | 12 | 2375 |  |  | 14.83
HE_11 | SANSM_ALD1 | 367 | 12 | 0 | 0 | 0 | 0 | 12 | 2558.14 |  |  | 14.833
HE_11 | WEBBS_ALD1 | 367 | 367 | 342 | 0 | 0 | 0 | 11 | 881.026 | 910.719 |  | 5.941
HE_12 | AR_ALD1 | 367 | 367 | 367 | 0 | 0 | 0 | 0 | 300 | 300
HE_12 | BOERNE_ALD1 | 367 | 355 | 0 | 0 | 355 | 0 | 0 | 0
HE_12 | MIDNT_ALD1 | 367 | 12 | 0 | 0 | 0 | 0 | 12 | 2375 |  |  | 12.292
HE_12 | OB_ALD1 | 367 | 12 | 0 | 0 | 0 | 0 | 12 | 2375 |  |  | 12.379
HE_12 | SANSM_ALD1 | 367 | 12 | 0 | 0 | 0 | 0 | 12 | 2512.355 |  |  | 12.463
HE_12 | WEBBS_ALD1 | 367 | 367 | 354 | 0 | 0 | 0 | 7 | 453.115 | 458.88 |  | 8.154
HE_13 | AR_ALD1 | 372 | 372 | 372 | 0 | 0 | 0 | 0 | 300 | 300
HE_13 | BOERNE_ALD1 | 372 | 359 | 0 | 0 | 359 | 1 | 0 | 5.333 |  | 40
HE_13 | MIDNT_ALD1 | 372 | 12 | 0 | 0 | 0 | 0 | 12 | 2375 |  |  | 12.217
HE_13 | OB_ALD1 | 372 | 12 | 0 | 0 | 0 | 0 | 12 | 2375 |  |  | 12.232
HE_13 | SANSM_ALD1 | 372 | 12 | 0 | 0 | 0 | 0 | 12 | 2375 |  |  | 12.232
HE_13 | WEBBS_ALD1 | 372 | 372 | 358 | 0 | 0 | 0 | 0 | 413.727 | 418.175
HE_14 | AR_ALD1 | 367 | 367 | 367 | 0 | 0 | 0 | 0 | 300 | 300
HE_14 | BOERNE_ALD1 | 367 | 355 | 0 | 0 | 355 | 0 | 0 | 0
HE_14 | MIDNT_ALD1 | 367 | 1 | 0 | 0 | 0 | 0 | 1 | 3687.5 |  |  | 11.942
HE_14 | OB_ALD1 | 367 | 1 | 0 | 0 | 0 | 0 | 0 | 5000
HE_14 | SANSM_ALD1 | 367 | 1 | 0 | 0 | 0 | 0 | 0 | 5000
HE_14 | WEBBS_ALD1 | 367 | 367 | 366 | 0 | 0 | 0 | 0 | 300 | 300
HE_15 | AR_ALD1 | 372 | 372 | 372 | 0 | 0 | 0 | 0 | 300 | 300
HE_15 | BOERNE_ALD1 | 372 | 360 | 0 | 0 | 360 | 0 | 0 | 0
HE_15 | MIDNT_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_15 | OB_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_15 | SANSM_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_15 | WEBBS_ALD1 | 372 | 372 | 372 | 0 | 0 | 0 | 0 | 300 | 300
HE_16 | AR_ALD1 | 371 | 371 | 371 | 0 | 0 | 0 | 0 | 300 | 300
HE_16 | BOERNE_ALD1 | 371 | 359 | 0 | 0 | 359 | 0 | 0 | 2.308 |  | 30
HE_16 | MIDNT_ALD1 | 371 | 0 | 0 | 0 | 0 | 0 | 0
HE_16 | OB_ALD1 | 371 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_16 | SANSM_ALD1 | 371 | 0 | 0 | 0 | 0 | 0 | 0
HE_16 | WEBBS_ALD1 | 371 | 371 | 371 | 0 | 0 | 0 | 0 | 300 | 300
HE_17 | AR_ALD1 | 375 | 375 | 375 | 0 | 0 | 0 | 0 | 300 | 300
HE_17 | BOERNE_ALD1 | 375 | 363 | 0 | 0 | 363 | 0 | 0 | 2.5 |  | 30
HE_17 | MIDNT_ALD1 | 375 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_17 | OB_ALD1 | 375 | 12 | 0 | 0 | 12 | 0 | 12 | 1769.231 |  | 1500 | 47.26
HE_17 | SANSM_ALD1 | 375 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_17 | WEBBS_ALD1 | 375 | 375 | 375 | 0 | 0 | 0 | 0 | 298.533 | 298.533
HE_18 | AR_ALD1 | 371 | 371 | 371 | 0 | 0 | 0 | 0 | 300 | 300
HE_18 | BOERNE_ALD1 | 371 | 357 | 0 | 0 | 0 | 0 | 190 | 43.778 |  |  | 98.59
HE_18 | MIDNT_ALD1 | 371 | 0 | 0 | 0 | 0 | 0 | 0
HE_18 | OB_ALD1 | 371 | 1 | 0 | 0 | 1 | 0 | 0 | 5000 |  | 5000
HE_18 | SANSM_ALD1 | 371 | 0 | 0 | 0 | 0 | 0 | 0
HE_18 | WEBBS_ALD1 | 371 | 371 | 348 | 0 | 0 | 0 | 0 | 300 | 300
HE_19 | AR_ALD1 | 372 | 372 | 372 | 0 | 0 | 0 | 2 | 300 | 300 |  | 383.562
HE_19 | BOERNE_ALD1 | 372 | 360 | 0 | 0 | 0 | 0 | 231 | 38.634 |  |  | 88.435
HE_19 | MIDNT_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_19 | OB_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_19 | SANSM_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_19 | WEBBS_ALD1 | 372 | 372 | 348 | 0 | 0 | 0 | 2 | 300 | 300 |  | 386.848
HE_20 | AR_ALD1 | 365 | 365 | 365 | 0 | 0 | 0 | 0 | 300.075 | 300.075
HE_20 | BOERNE_ALD1 | 365 | 353 | 0 | 0 | 0 | 0 | 227 | 38.683 |  |  | 80.17
HE_20 | MIDNT_ALD1 | 365 | 0 | 0 | 0 | 0 | 0 | 0
HE_20 | OB_ALD1 | 365 | 0 | 0 | 0 | 0 | 0 | 0
HE_20 | SANSM_ALD1 | 365 | 0 | 0 | 0 | 0 | 0 | 0
HE_20 | WEBBS_ALD1 | 365 | 365 | 341 | 0 | 0 | 0 | 0 | 300.222 | 300.07
HE_21 | AR_ALD1 | 368 | 368 | 368 | 0 | 0 | 0 | 6 | 377.206 | 377.206 |  | 416.444
HE_21 | BOERNE_ALD1 | 368 | 356 | 0 | 0 | 0 | 0 | 231 | 38.736 |  |  | 60.728
HE_21 | MIDNT_ALD1 | 368 | 0 | 0 | 0 | 0 | 0 | 0
HE_21 | OB_ALD1 | 368 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_21 | SANSM_ALD1 | 368 | 0 | 0 | 0 | 0 | 0 | 0
HE_21 | WEBBS_ALD1 | 368 | 368 | 344 | 0 | 0 | 0 | 5 | 380.732 | 386.155 |  | 429.698
HE_22 | AR_ALD1 | 372 | 372 | 372 | 0 | 0 | 0 | 0 | 424.618 | 424.618
HE_22 | BOERNE_ALD1 | 372 | 359 | 0 | 0 | 0 | 0 | 241 | 38.787 |  |  | 43.18
HE_22 | MIDNT_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_22 | OB_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_22 | SANSM_ALD1 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_22 | WEBBS_ALD1 | 372 | 372 | 345 | 0 | 0 | 0 | 0 | 481.359 | 495.533
HE_23 | AR_ALD1 | 370 | 370 | 30 | 0 | 0 | 0 | 0 | 348.32 | 300
HE_23 | BOERNE_ALD1 | 370 | 355 | 0 | 0 | 0 | 0 | 206 | 39 |  |  | 32.425
HE_23 | MIDNT_ALD1 | 370 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | OB_ALD1 | 370 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | SANSM_ALD1 | 370 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | WEBBS_ALD1 | 370 | 370 | 257 | 0 | 0 | 0 | 0 | 300 | 300
HE_24 | AR_ALD1 | 365 | 365 | 0 | 0 | 0 | 0 | 0 | 300
HE_24 | BOERNE_ALD1 | 365 | 29 | 0 | 0 | 0 | 0 | 0 | 1562.5
HE_24 | MIDNT_ALD1 | 365 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_24 | OB_ALD1 | 365 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_24 | SANSM_ALD1 | 365 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_24 | WEBBS_ALD1 | 365 | 365 | 20 | 0 | 0 | 0 | 0 | 329.599 | 300