| VCMRR Number | 047 | VCMRR Title | Related to NPRR1314, Planning Guide Glossary Transition |
| --- | --- | --- | --- |
| Date of Decision |  | February 25, 2026 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Estimated Impacts |  | Cost/Budgetary: None Project Duration: No project required |  |
| Proposed Effective Date |  | The first of the month following Public Utility Commission of Texas (PUCT) approval |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Verifiable Cost Manual Sections Requiring Revision |  | 9.3.1, Conditions Applicable to all types of Resources 9.3.4, Maintenance Period Conditions |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Nodal Protocol Revision Request (NPRR) 1314, Planning Guide Glossary Transition Planning Guide Revision Request (PGRR) 139, Related to NPRR1314, Planning Guide Glossary Transition |  |
| Revision Description |  | This Verifiable Cost Manual Revision Request (VCMRR) removes the association between the term “long-term service agreement” and the acronym “LTSA” which, in Planning Guide Section 2.2, Acronyms and Abbreviations, represents the term “Long-Term System Assessment”. |  |
| Reason for Revision |  | Strategic Plan Objective 1 – Be an industry leader for grid reliability and resilience Strategic Plan Objective 2 - Enhance the ERCOT region’s economic competitiveness with respect to trends in wholesale power rates and retail electricity prices to consumers Strategic Plan Objective 3 - Advance ERCOT, Inc. as an independent leading industry expert and an employer of choice by fostering innovation, investing in our people, and emphasizing the importance of our mission General system and/or process improvement(s) Regulatory requirements ERCOT Board/PUCT Directive (please select ONLY ONE – if more than one apply, please select the ONE that is most relevant) |  |
| Justification of Reason for Revision and Market Impacts |  | Alignment between the Protocols and Guides is necessary and proper. |  |
| WMS Decision |  | On 1/7/26, WMS voted unanimously to recommend approval of VCMRR047 as submitted. All Market Segments participated in the vote. On 2/4/26, WMS voted unanimously to endorse and forward to TAC the 1/7/26 WMS Report as revised by WMS and the 12/16/25 Impact Analysis for VCMRR047. All Market Segments participated in the vote. |  |
| Summary of WMS Discussion |  | On 1/7/26, WMS reviewed VCMRR047 and NPRR1314. ERCOT Staff clarified that ‘long-term service agreement’ is an industry term. On 2/4/26, WMS reviewed the 12/16/25 Impact Analysis. ERCOT Staff proposed administrative desktop edits to align language formatting. |  |
| TAC Decision |  | On 2/25/26, TAC voted unanimously to recommend approval of VCMRR047 as recommended by WMS in the 2/4/26 WMS Report. All Market Segments participated in the vote. |  |
| Summary of TAC Discussion |  | On 2/25/26, TAC reviewed the additional items below. |  |
| TAC Review/Justification of Recommendation |  | Revision Request ties to Reason for Revision as explained in Justification Impact Analysis reviewed and impacts are justified as explained in Justification Opinions were reviewed and discussed Comments were reviewed and discussed (if applicable) Other: (explain) |  |

| Opinions |  |
| --- | --- |
| Credit Review | Not applicable |
| Independent Market Monitor Opinion | IMM has no opinion on VCMRR047. |
| ERCOT Opinion | ERCOT supports approval of VCMRR047. |
| ERCOT Market Impact Statement | ERCOT Staff has reviewed VCMRR047 and believes that it provides a positive market impact through general system improvements by removing the association between the term “long-term service agreement” and the acronym “LTSA” which, in Planning Guide Section 2.2, represents the term “Long-Term System Assessment”. |

| Sponsor |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-mail Address | jordan.troublefield@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6521 |
| Cell Number |  |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | jordan.troublefield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Verifiable Cost Manual Language Revision

### 9.3.1	Conditions Applicable to all types of Resources

(1)	All O&M costs must be incremental; that is, they may not include fixed or capital costs.

(2)	Submitted O&M documentation must be Resource specific.  Exceptions may be granted for Combined-Cycled Resources on a case-by-case basis.

(3)	O&M costs must not include fuel costs.

(4)	Both individual component costs and the final aggregated O&M values must be clearly detailed and shown as $/start or $/MWh, as applicable.

(5)	Maintenance costs are to be calculated taking into account all available maintenance history (limited by the number of years in a maintenance period where applicable) regardless of unit ownership.

(6)	 Filing Entities must submit operating costs (including water, chemical, emission credits, consumables, etc.) per-start ($/start) and per hour of operation at LSL ($/MWh).

(7)	 Filing Entities that include water consumption as part of their operating costs must include documentation indicating the number of gallons used and the output level and duration of operation during which the water was used. The price(s) paid for water ($/gal) must also be documented and submitted.

(8)	 Filing Entities including emission credits as part of their operating costs must provide ERCOT a description of the credits and the methodology used to allocate their costs to O&M.

(9)	All consumables included in O&M must be clearly documented and include both the quantities used and prices paid.

(10)	 Filing Entities must provide a description of all components included as operating costs and the reason for their inclusion.

(11)	If a Filing Entity feels that a unit modification or required change in operating procedures will affect the unit's maintenance cost, revised maintenance costs must be submitted to ERCOT for approval.

(12)	A Filing Entity may submit only one value ($/MWh) for the O&M cost of operation at LSL.

(13)	A Filing Entity may submit only one single average value ($/MWh) for the O&M cost of operation above LSL.

(14)	A Filing Entity with a currently effective long-term service agreement for the overhaul and maintenance work on a Resource or specific components of a Resource may include the costs described within that long-term service agreement as Verifiable O&M costs if the following conditions are met:

(a)	The maintenance costs to be included are incremental costs and are otherwise consistent with the definitions and uses of those costs within this Manual.

(b)	A dollar value for each component of the variable maintenance costs is specifically set by the long-term service agreement.

(c)	Cost curves showing variable O&M values versus time are submitted.

(d)	ERCOT can verify the incremental or variable maintenance costs ($/MWh) or ($/start) in the long-term service agreement.

(e)	Long-term service agreement contracts must be submitted directly to ERCOT for review and approval and must be currently effective.

### 9.3.4	Maintenance Period Conditions

(1)	When calculating maintenance costs, a 10-year historical period should be used with the exception of Resources with long-term service agreements.  Resources with a long-term service agreement may submit their maintenance costs based on projected amounts for the components covered by the long-term service agreement.  If data are not available for the previous 10 years, then the length of the maintenance period is the length of time for which the data are available.   Filing Entities may determine maintenance costs on an annual basis and then normalize them for the entire 10 year (or less) maintenance period.  In addition, Filing Entities must utilize the Cost Escalation Factors derived by ERCOT, to escalate historical maintenance costs to present value.

(2)	ERCOT will assess all submitted O&M costs for reasonability.  When making this assessment for submissions with a maintenance period less than 10 years, ERCOT will consider Original Equipment Manufacturers (OEM) recommendations and similar Resources’ costs.