## Slide 1
Quarterly Stability Assessment (QSA) Timeline Review
Yunzhi Cheng
Grid Stability Analysis
ROS
ERCOT Public
March 5, 2026

## Slide 2: Quarterly Stability Assessment (QSA) Overview
Objective: Establish operational limits to reliably integrate new Generation Resources and Large Loads
  Over 530 projects with a total of 100 GW capacity have been included in the QSA since Q1 2018
  With rapid grid changes, QSA needs to manage increasing assessment volume and complexity
  Increase in GTCs from 4 in 2014 to 26 in 2025
  Assessing growing grid conditions and scenarios
  Start to include Large Loads
Month | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
QSA-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
QSA-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
QSA-3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
QSA-4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
QSA Assessment
GTC Limit and Update
Initial Sync/Energization

## Slide 3: Observations and Needs
Observations
  The QSA’s stability constraints require more assessment that otherwise will need to make conservative assumptions to meet the deadline
  Conservative assumption could lead to stricter operational limits
  Needs
  Adequate study timeline to determine appropriate operational limits
  Stakeholders’ feedback on comments and suggestions by March 31, 2026 (yunzhi.cheng@ercot.com)
  Next Steps
    Provide an update on received comments and potential options in April
    Submit revision requests, if needed, in Q2 2026

## Slide 4: Questions?