## Slide 1
NPRR 1315
Scope and Timeline
WMS Discussion Topics
ERCOT
Public
March 4, 2026

## Slide 2: Agenda Item 11: NPRR 1315 (Possible Vote)
NPRR 1315: Changes to Process of Evaluating the Potential Needs for Additional Capacity
Objectives:
  Extend Study Horizon up to 2 Years for transmission constraint concerns only and link contract term length to exit strategy
  Better Define Eligible resources
  Provide Framework for PUCT Notification
  Provide Framework for RFP Offers and Payments for new resources
No Impact, No project required.
See ERCOT comments posted last Wednesday 2-25-26

## Slide 3: Agenda Item 11: NPRR 1315 (Possible Vote)
Timeline considerations for NPRR1315:
Option #1: (Urgency Required at 3/11 PRS Meeting)
Would need PRS to grant 1315NPRR 'Urgent' status at 3/11 PRS Meeting. Then 1315 only needs to visit PRS once before moving on to TAC. That 'Urgent' timeline becomes:
(3/4 WMS) > 3/11 PRS (Lang./IA) > 3/25 TAC > 4/21 BOD > 5/29 PUCT
5/30/26 = Effective Date
Option 2: (Normal Timeline)
(3/4 WMS) > 3/11 PRS (Lang.) > 4/15 PRS (IA) > 4/29 TAC > 6/2 BOD > 7/9 PUCT: 7/10/26 = Effective Date
What does this focused NPRR provide?
Better transparency, offers, and success for the Request for Proposal (RFP) process for Contracts for Capacity (C4C) for an issue like Far West Texas. Scope here is limited to the offers and awards that can be made in response to an RFP.

## Slide 4: Additional (and separate) NPRR to Address Other Issues
Scope of NPRR 13XX: Separate NPRR to Address Other Issues Related to Deployment of C4C Capacity and Pricing (Likely a project would be needed to implement some items. Could separate into two NPRRs (One “No IA” NPRR and another NPRR that has an IA and needs a project to implement.)
1) Adjustments to Mitigated Offer Cap Curve for C4C capacity procured for Transmission Constraints. [Edit section 4.4.9.4.1 Mitigated Offer Floor (1) (a).] (Consider manual process described in NPRR784 approach.)
2) Additions to section 6.5.7.3.1 (Determination of Real-Time Reliability Deployment Price Adder)
  Add to Generation to be Dispatched (GTBD) the MWs directed by ERCOT of the procured C4C capacity from:
  Demand Response
  Settlement Only Generation
Note this would not be a locational price adder.
The target could be to get this additional NPRR to the September BoD meeting.

## Slide 5: Other Related NPRRs :
NPRR 826: Mitigated Offer Caps for RMR Units [Approved 2-11-2020] Addresses RMR Resources only
Implementation estimated to be many months away --- even after giving it a high priority
NPRR 784: Mitigated Offer Caps for RMR Units [Rejected 8-9-2016]
Maybe this manual process could be implemented until NPRR 826 is implemented
NPRR 1307: Revised Definition of Mitigation Plan
See 3-2-26 ERCOT Comments
NPRRs 826 and 1307 continue regardless of NPRR 1315. NPRR 784 was rejected in 2016.

## Slide 6: Appendix:
4.4.9.4.1 Mitigated Offer Cap (1)(a):
For a Resource contracted by ERCOT under paragraph (4) of Section 6.5.1.1, ERCOT Control Area Authority, ERCOT shall increase the O&M cost such that every point on the MOC curve is greater than the effective Value of Lost Load (VOLL) in $/MWh.
NPRR 784 language (rejected in 2016):
For each RMR Unit contracted by ERCOT under Section 3.14.1, Reliability Must Run, in consideration of the Shadow Price caps of the transmission constraints which the RMR Unit may be required to resolve and variations in transmission system topology, ERCOT shall set the Mitigated Offer Cap curve equal to the highest value (in $/MWh, not exceeding SWCAP) that is expected to allow SCED to Dispatch the RMR Unit. The value that will be used for the Mitigated Offer Cap curve shall be initially determined and communicated as part of the Market Notice issued for the status of the RMR Unit, as described in paragraph (6) of Section 3.14.1.2, ERCOT Evaluation. The Mitigated Offer Cap curve may be modified by ERCOT to ensure that the RMR Unit is Dispatched by SCED to help resolve transmission congestion in Real-Time or to allow the RMR Unit to be Dispatched by SCED after other Resources. Any modification to the Mitigated Offer Cap curve by ERCOT shall be communicated by Market Notice.