| NPRR Number | 1315 | NPRR Title | Changes to Process of Evaluating the Potential Needs for Additional Capacity |
| --- | --- | --- | --- |
| Date |  | March 9, 2026 |  |
| Submitter’s Information |  |  |  |
| Name |  | Kenneth Ragsdale / Katherine Gross |  |
| E-mail Address |  | kenneth.ragsdale@ercot.com / katherine.gross@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3917 / 512-225-7184 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT appreciates the opportunity to offer comments to Nodal Protocol Revision Request (NPRR) 1315.  Based on comments provided by Market Participants at the March 4, 2026 WMS meeting, ERCOT proposes revisions to NPRR1315 to accomplish two objectives:

- Revise the NPRR by adding language that specifies that ERCOT shall present its study assumptions (including Load forecast assumptions) to the ERCOT Board of Directors before any awards are made through the “Request for Proposal” (RFP) process to procure capacity to address or prevent an anticipated Emergency Condition under Section 6.5.1.1, ERCOT Control Area Authority; and

- Revise the NPRR’s Revision Description to indicate that this NPRR is only focused on addressing a subset of issues related to contracts for capacity based on the language under Section 6.5.1.1 and that a companion NPRR is under discussion that addresses issues related to the deployment of these resources and the Real-Time Reliability Deployment Price Adder calculation in Section 6.5.7.3.1, Determination of Real-Time Deployment Price Adders.

ERCOT’s comments are offered to expeditiously address the following:

- Improve Protocol language related to the RFP process sooner rather than later so that an improved RFP process (with better transparency, offers and success) is in place and usable in the event an RFP is needed later this year for the Far West Texas issue that was described at the February 9-10, 2026 Board of Directors meetings; and

- Isolate improvements related to the RFP process that can be implemented with no impact on ERCOT staffing and no project required.

As noted in Item 2 above, ERCOT proposes that those items be addressed in two separate new NPRRs that will be limited to changes that are only needed once capacity under Section 6.5.1.1 has been procured and deployed.  These changes are therefore not needed as quickly as the changes that improve the RFP process that are the focus of NPRR1315.  Some of these issues slotted for companion NPRRs may be more controversial and require additional stakeholder discussion and likely will require a project and time to implement.  ERCOT posted draft NPRR language here to address these additional topics, with the goal to have companion NPRRs approved no later than the September 14-15, 2026 Board of Directors meetings.

Additionally, these comments clarify the eligibility of capacity that is included in the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR), that has not yet reached its Commercial Operations Date but can have its Commercial Operations Date accelerated during the period that additional capacity is needed.

Revised Cover Page Language

| Revision Description | This Nodal Protocol Revision Request (NPRR) adds notification requirements for ERCOT to follow when ERCOT has determined that additional capacity is needed to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition. Under the revisions, ERCOT would notify the Public Utility Commission of Texas (PUCT) when it has made such a determination and would also notify the PUCT prior to entering into any contract for additional capacity. To address additional capacity that is needed to address local constraint issues, this NPRR also extends the study horizon for evaluating and potentially contracting for capacity to prevent anticipated Load shed events. ERCOT proposes this study horizon extend up to two years instead of just the current or next Season. This NPRR specifies that ERCOT shall present its study assumptions (including Load forecast assumptions) to the ERCOT Board of Directors before any awards are made through the “Request for Proposal” (RFP) process. This NPRR also expands the set of eligible Resources that can respond to the RFPs to include new Resources and not be limited to existing Resources. Additionally, these revisions explain that an eligible Resource could be a Resource that is already planned to be interconnected and that, in such a case, if ERCOT is paying for an acceleration of such a Resource to interconnect, ERCOT must be provided with a detailed explanation that demonstrates that any payments to accelerate planned capacity is justifiable and reasonable, and that the acceleration would not have occurred otherwise. Additionally, this NPRR provides language that specifies contract length limit considerations for contracts to address local constraint issues. Finally, this NPRR also proposes edits to provide more information on the expected Settlement for Resources that were not previously mothballed, retired, or decommissioned. |
| --- | --- |
| Justification of Reason for Revision and Market Impacts | The Public Utility Regulatory Act (PURA) §39.151 (a)(2) requires that ERCOT must “ensure the reliability and adequacy of the regional electrical network.” Section 6.5.1.1 authorizes ERCOT to perform specific actions for the limited purpose of securely operating the ERCOT Transmission Grid under the standards specified in North American Electric Reliability Corporation (NERC) Standards, the Nodal Operating Guides and the Protocols. These additional actions noted under Section 6.5.1.1 might be needed to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition. ERCOT has utilized Section 6.5.1.1 to seek additional capacity four times since Nodal Market go-live: summer of 2011; winter of 2023-2024; summer of 2024; and the period from April 1, 2025, through March 31, 2027. The first two times were regarding an ERCOT-wide insufficiency; the last two times were regarding relief on relevant transmission facilities (South Texas Interconnection Reliability Operating Limits (IROLs)), with the final time specifically seeking alternatives to the provision of service by one or more of the Life Cycle Power mobile units or by an RMR Agreement for Braunig Units 1 & 2. During the latter of those requests, ERCOT committed to revise its Protocols to more formally provide the PUCT with notice when ERCOT was either seeking additional capacity through Section 6.5.1.1 or through statute. Revisions in this NPRR therefore include language that provides greater transparency and notice to the PUCT. Additionally, in evaluating and procuring capacity needs to prevent an Emergency Condition, the current Protocols limit ERCOT to evaluating only the current or next Season and only considering existing capacity that may be used to maintain ERCOT System reliability in a manner not otherwise delineated in the Protocols and the Nodal Operating Guides. This limitation could prevent ERCOT from taking the necessary steps to secure capacity that could avert an anticipated Emergency Condition. To this end, ERCOT has provided language to specify that to alleviate local constraint issues, the study period to evaluate and potentially contract for capacity be extended up to a two-year period, if ERCOT studies support the need, potentially resulting in the following benefits: - Helps prevent an anticipated Emergency Condition by assessing the necessity of a contract for capacity and to identify any potential grid reliability risks associated with the identified capacity shortfall; - Provides more time for ERCOT to develop the RFP for services; - Allows more time for ERCOT to carefully evaluate offers; - Allows Market Participants more time to develop suitable Resource proposals and submit contract for capacity offers that meet specifications identified in the RFP; - Awards Resources more time to get ready to meet their contractual obligations; and - Possibly reduces the need to RMR (and Must-Run Alternative (MRA)) Resources that might be considering permanently mothballing the Generation Resource, potentially resulting in an overall lower cost. In extending this look-out period to two years for local constraint issues, ERCOT is also proposing language to require an exit strategy for the local constraint issue and the reevaluation of need of any capacity contract that lasts for more than one year, both of which will help ensure that the contract is still cost effective, necessary, and of a reasonable duration. In addition, the current Protocol language limits ERCOT to procuring only existing capacity in order to exercise its authority to prevent an anticipated Emergency Condition relating to serving Load in the current or next Season. However, there may be scenarios where cost-effective new alternatives that are not “planned” capacity reflected in a Report on Capacity, Demand and Reserves in the ERCOT Region (CDR), such as mobile generation or Energy Storage Resources (ESRs), can be procured to help maintain ERCOT System reliability. If those options are more cost effective than existing capacity, which likely requires repairs and modifications before being ready to deploy, it seems prudent to consider other Resources in addition to existing Resources. In addition, there could be situations where it is most economical to pay for the acceleration of Resources reflected in a CDR but which has not yet reached its Commercial Operations Date. In some situations, this may be more economical than procuring new, unplanned generation or paying for repairs and modifications of existing generation. However, in this situation, ERCOT would need to be provided with a detailed explanation that demonstrates that any payments made to accelerate planned capacity is justifiable and reasonable, and that the capacity would not have been accelerated otherwise. Particularly for new, planned generation, ERCOT would want to ensure that there is no gaming of the system and, for example, ensure that a Resource Commercial Operations Date acceleration would not have occurred absent the acceleration incentive payment. Finally, the Protocols state that, for Settlement purposes, Generation Resources contracted under Section 6.5.1.1 will include substantially the same terms and conditions as an RMR Unit under an RMR Agreement,. This is appropriate for Resources contracted for that were previously mothballed, retired or decommissioned. However, for units not previously mothballed, retired or decommissioned that are being contracted under Section 6.5.1.1, an awarded contract should be limited to the price offered in response to the RFP. |

Revised Proposed Protocol Language

6.5.1.1	ERCOT Control Area Authority

(1)	ERCOT, as Control Area Operator (CAO), is authorized to perform the following actions for the limited purpose of securely operating the ERCOT Transmission Grid under the standards specified in North American Electric Reliability Corporation (NERC) Standards, the Nodal Operating Guides and these Protocols, including:

(a)	Direct the physical operation of the ERCOT Transmission Grid, including circuit breakers, switches, voltage control equipment, and Load-shedding equipment;

(b)	Dispatch Resources that have been awarded Ancillary Services;

(c)	Direct changes in the operation of voltage control equipment;

(d)	Direct the implementation of Reliability Must-Run (RMR) Service, Remedial Action Plans (RAPs), Automatic Mitigation Plans (AMPs), Remedial Action Schemes (RASs), and transmission switching to prevent the violation of ERCOT Transmission Grid security limits; and

[NPRR1198: Replace paragraph (d) above with the following upon system implementation and renumber accordingly:] (d) Direct the implementation of Reliability Must-Run (RMR) Service; (e) Direct the implementation, disabling, or reversal of implementation of Remedial Action Plans (RAPs), Automatic Mitigation Plans (AMPs), Remedial Action Schemes (RASs), Pre-Contingency Action Plans (PCAPs), Extended Action Plans (EAPs), and transmission switching to prevent the violation of ERCOT Transmission Grid security limits; and

(e)	Perform additional actions required to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition.

(2)	Unless the ERCOT Protocols or Other Binding Documents explicitly provide otherwise, ERCOT shall not model, monitor, direct operation of, or otherwise exercise any operational authority over any facility that operates on the low voltage side of the distribution transformer except as may be necessary for the following purposes:

(a)	To ensure the reliable interconnection, dispatch, operation, and Settlement of any Generation Resource, Energy Storage Resource (ESR), Load Resource, or Emergency Response Service (ERS) Resource that is, or is proposed to be, interconnected at distribution voltage, and to ensure the reliable operation and Settlement of any other ERCOT-registered generator;

(b)	To provide ERCOT information about all generators interconnected at distribution voltage as requested by ERCOT pursuant to these Protocols or Other Binding Documents for the purposes of ensuring accurate Settlement and operating and planning the ERCOT Transmission Grid; and

(c)	To effectuate automatic or manual Load-shedding as prescribed by these Protocols or Other Binding Documents.

(3)	Nothing in paragraph (2) above limits ERCOT’s authority to require that a Transmission Service Provider (TSP) or Transmission Operator (TO) disconnect any Facility operated at distribution voltage from the ERCOT System if ERCOT determines such action is necessary to address a reliability concern on the ERCOT Transmission Grid.  Additionally, nothing in paragraph (2) above limits ERCOT’s authority to require appropriate modeling and telemetry of transmission Loads that may represent multiple distribution-level Loads, as provided in Section 3.10.7.2, Modeling of Resources and Transmission Loads.

(4)	Consistent with paragraph (1)(e) above, ERCOT may seek to exercise its authority to prevent an anticipated Emergency Condition relating to addressing a local constraint identified by ERCOT up to two years into the future by procuring additional capacity.  Additionally, consistent with paragraph (1)(e) above, ERCOT may seek to exercise its authority to prevent an anticipated Emergency Condition relating to serving Load for an ERCOT-wide capacity shortage identified in the current or next Season by procuring additional capacity.  Such capacity for either purpose may include:

(a)	Capacity that was either mothballed, retired, or decommissioned and is capable of being brought back into service;

(b)	Demand Response capacity that can be baselined and was absent from the ERCOT market in the last three years;

(c)	Capacity excluded from ERCOT’s Report on Capacity, Demand and Reserves in the ERCOT Region (CDR) but that can be quickly interconnected at a useful location, such as energy storage or mobile generation;

(d)	Capacity included in the CDR issued by ERCOT, that has not yet reached its Commercial Operations Date (COD), but can accelerate its COD during the period additional capacity is needed; or

(e)	Capacity from Settlement Only Generators (SOGs) that is not expected to be available to ERCOT during the period additional capacity is needed.

(5)	Capacity procured under paragraph (4) may be used to maintain the ERCOT System reliability in a manner not otherwise delineated in these Protocols and the Nodal Operating Guides, provided ERCOT takes the following actions:

- ERCOT shall conduct an analysis to determine if any additional capacity is needed to prevent an anticipated Emergency Condition.  ERCOT may conduct an analysis if deemed appropriate by ERCOT following consultation with affected TSP(s).

- ERCOT shall present its study assumptions (including Load forecast assumptions) to the ERCOT Board of Directors before any “Request for Proposal” (RFP) awards are made.

(c)	Upon determination by ERCOT that additional capacity is needed to prevent an Emergency Condition, and 30 days prior to any procurement activity associated with such additional capacity, ERCOT shall notify the Public Utility Commission of Texas (PUCT) of ERCOT’s determination.  This notification shall include the analysis of capacity needed to prevent the anticipated Emergency Condition.

(d)	Upon determination by ERCOT that additional capacity is needed to prevent an Emergency Condition and prior to any procurement activity associated with such additional capacity, ERCOT shall issue a Notice as soon as practicable with the following information:

(i)	A detailed description of the reliability condition and need for additional capacity as determined by ERCOT, including the analysis in subsection (5)(a) above, and the timing of the proposed procurement;

(ii)	Justification for the quantity of additional capacity to be requested;

(iii)	Identification of potential Generation Resources, ESRs, or Load providing capacity considered by ERCOT to be acceptable for providing the additional capacity.  Load capacity may be provided by Entities who, at ERCOT’s direction, would interrupt consumption of electric power and remain interrupted until released by ERCOT; and

(iv)	A schedule of activities associated with the proposed procurement.

(e)	If ERCOT identifies a specific Entity with which it will negotiate the terms for procurement of additional capacity, then ERCOT shall issue a Notice as soon as practicable that includes the Entity name and, as applicable, the Resource mnemonic, the Resource MW rating by Season, the name of the Resource Entity, and the potential duration of any contract, including anticipated start and end dates.  Such notice shall also be filed with the PUCT.  No final contract for additional capacity may be executed until at least one PUCT Open Meeting has taken place seven or more days after that date of such notice.

(f)	ERCOT shall, to the fullest extent practicable, ensure that any actions taken to procure additional capacity meet the following criteria:

(i)	Any capacity procured pursuant to this Section will be procured using an open process, and the terms of the procurement between ERCOT and the Entity will be memorialized in contracts that will be publicly available for inspection on the ERCOT website.

(ii)	Each contract will include specified financial terms and termination dates.  For purposes of Settlement, any contract associated with a Resource that was previously mothballed, retired or decommissioned will include substantially the same terms and conditions as an RMR Unit under an RMR Agreement, including the Eligible Cost budgeting process.  For purposes of Settlement, for any contract associated with a Resource that was not previously mothballed, retired or decommissioned, the payment will be based on the offer information provided and included in the contract, subject to performance reductions.

(iii)	In order to address a local constraint, ERCOT may execute a contract for a term longer than 12 months if the local constraint is shown to remain for more than a period of 12 months.  The term of a contract under this Section must take into account the appropriate exit strategy that will resolve the local constraint that necessitated the contract.  In the event ERCOT chooses to contract for capacity for a period longer than one year, ERCOT shall annually re-evaluate the need for the capacity.

(iv)	ERCOT shall provide notice to the ERCOT Board, at the next ERCOT Board meeting after ERCOT has signed the contract, that the actions required prior to execution of the contract, pursuant to paragraphs (5)(a) through (f) above, were completed by ERCOT before the contract was executed.

(v)	Any information submitted by the Entity to ERCOT through the procurement process may be designated as Protected Information and treated in accordance with the provisions of Section 1.3, Confidentiality, provided that final contract terms must be made available for public inspection.

(g)	A Resource that has received capital contributions from ERCOT pursuant to a contract executed under paragraph (4) may not participate in the energy or Ancillary Services markets until such capital contributions have been refunded to ERCOT.  For the purposes of this Section, capital contributions are defined as improvements with an asset life greater than one year under the applicable federal tax rules.  The Resource Entity’s refund of capital contributions shall be a lump sum payment calculated as follows:

(i)	If the Resource chooses to participate in the energy or Ancillary Service markets after the termination date of the contract executed under paragraph (4), the Qualified Scheduling Entity (QSE) representing the capacity shall repay, in a lump sum payment, 100% of the book value of the capitalized equipment and all installation charges leading to turn key, one-time startup based on a linear depreciation over the estimated life of the capitalized component(s) in accordance with Generally Accepted Accounting Principles (GAAP) standards for electric utility equipment.  The estimated life shall be based on documentation provided by the manufacturer; if installing used equipment, the estimated life may be based on an approximation agreed to by the Resource Entity and ERCOT.

(ii)	If the Resource chooses to participate in the energy or Ancillary Services markets as contemplated in item (5)(g)(i) above, and its participation requires a lump sum payment of capital contributions, ERCOT will issue a notice to all registered Market Participants announcing the Resource’s decision to participate in the market(s) and identifying the amount of the lump sum payment due pursuant to item (5)(g)(i) above.  ERCOT will also issue a notice to all registered Market Participants after completion of the collection and disbursement of the capital contributions, as described in item (5)(g )(iii) below, and after resolution of any disputes related to these capital contributions.

(iii)	After ERCOT receives a Notification of Change of Resource Designation (Section 22, Attachment H, Notification of Change of Resource Designation) changing the Resource designation to “operational” at a future date, ERCOT shall charge the QSE representing the Resource Entity for capital expenditures incurred and previously paid to the Resource Entity as a result of the Resource’s return to service pursuant to this Section.

(A)	For months in the contract term where notice is received more than five Business Days prior to True-Up Settlement of the first Operating Day of that month, ERCOT shall claw back any payments made for the capital expenditure associated with that month and subsequent months of the term, on the next practical Settlement but no later than the True-Up Settlement.

(B)	For months in the contract term where notice is received five Business Days or less prior to True-Up Settlement of the first Operating Day of that month, ERCOT shall claw back any payments made for the capital expenditures within 45 days of receipt of the notice.

(C)	ERCOT shall distribute the repayment to QSEs representing Load on the same basis used to collect the monthly capital expenditures, using a monthly Load Ratio Share (LRS).  A QSE’s monthly LRS shall be the QSE’s total Real-Time Adjusted Metered Load (AML) for the month divided by the total ERCOT Real-Time AML for the same month.

(h)	ERCOT shall endeavor to minimize the deployment of capacity procured pursuant to this Section with the goal of reducing the potential distortion of markets.  Resources and Loads deployed to alleviate imminent Emergency Conditions will not be offered into the Day-Ahead Market (DAM).  Rather, ERCOT will determine whether to use the capacity as part of the Hourly Reliability Unit Commitment (HRUC) process based on system conditions and the ability to meet Demand.  In the event Generation Resources are committed and On-Line, ERCOT systems will generate a proxy offer for the Generation Resource at the Real-Time System-Wide Offer Cap (RTSWCAP).  The default offer will place the Generation Resources among the last for economic Dispatch, so as not to displace Generation Resources that are On-Line and offering into the market.  To the extent practicable, the capacity deployed to alleviate imminent Emergency Conditions will not be used solely for the purpose of reducing local congestion.

(i)	For any capacity procured under paragraph (4)(d), ERCOT must be provided with a detailed explanation that demonstrates that any payments made to accelerate the Commercial Operations Date is justifiable and reasonable, and that, absent the payments, the acceleration would not have occurred otherwise.

(j)	An Entity cannot be compelled to enter into a contract under this Section.