| PGRR Number | 142 | PGRR Title | In-kind Definition for Generation |
| --- | --- | --- | --- |
| Date of Decision |  | March 5, 2026 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Operating Guide Sections Requiring Revision |  | 5.2.1, Applicability |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) defines “in-kind” for generation in ERCOT. |  |
| Reason for Revision |  | Strategic Plan Objective 1 – Be an industry leader for grid reliability and resilience Strategic Plan Objective 2 - Enhance the ERCOT region’s economic competitiveness with respect to trends in wholesale power rates and retail electricity prices to consumers Strategic Plan Objective 3 - Advance ERCOT, Inc. as an independent leading industry expert and an employer of choice by fostering innovation, investing in our people, and emphasizing the importance of our mission General system and/or process improvement(s) Regulatory requirements ERCOT Board and/or PUCT Directive (please select ONLY ONE – if more than one apply, please select the ONE that is most relevant) |  |
| Justification of Reason for Revision and Market Impacts |  | The term “in-kind” for generation in ERCOT is not defined anywhere in the ERCOT Protocols. This PGRR will correct this lack of clarity. |  |
| ROS Decision |  | On 3/5/26, ROS voted unanimously to table PGRR142 and refer the issue to the Dynamic Working Group (DWG) and the Planning Working Group (PLWG). All Market Segments participated in the vote. |  |
| Summary of ROS Discussion |  | On 3/5/26, the sponsor gave an overview of PGRR142. Participants expressed concern for defining the term “in-kind” and its placement within the Planning Guide and requested PGRR142 be tabled for further discussion at DWG and PLWG. |  |

| Opinions |  |
| --- | --- |
| Credit Review | Not applicable |
| Independent Market Monitor Opinion | To be determined |
| ERCOT Opinion | To be determined |
| ERCOT Market Impact Statement | To be determined |

| Sponsor |  |
| --- | --- |
| Name | Kevin Hanson |
| E-mail Address | khanson@invenergy.com |
| Company | Invenergy |
| Phone Number | 713-884-9202 |
| Cell Number | 713-884-9202 |
| Market Segment | Independent Generators |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

Please note that the following PGRR(s) also propose revisions to the following section(s):

- PGRR140, Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation

  - Section 5.2.1

Proposed Guide Language Revision

### 5.2.1	Applicability

(1)	The requirements in Section 5, Generator Interconnection or Modification, apply to the following:

(a)	Any Entity proposing to interconnect any generator with an aggregate nameplate capacity of one MW or greater, including but not limited to any Generation Resource or Energy Storage Resource (ESR), to the ERCOT System;

(b)	Any Entity proposing to interconnect a Settlement Only Generator (SOG) to the ERCOT System; or

(c)	Any Resource Entity seeking to modify a Generation Resource, ESR, or SOG that is connected to the ERCOT System by:

(i)	Increasing the real power rating from that shown in the latest Resource Registration data by one MW or greater within a single year;

(ii)	Changing the inverter, turbine, generator, battery modules, or power converter associated with a facility with an aggregate real power rating of ten MW or greater, unless the replacement is in-kind.  “In-kind” shall be defined as available equipment that has the same or similar specifications as the original equipment manufacturer specifications.  If the same or similar equipment is unavailable, then in-kind shall include replacement equipment that is similar in performance to the original equipment;

(iii)	Modifying any control settings or equipment of Inverter-Based Resources (IBRs) that impact the dynamic response (such as voltage, frequency, and current injections) at the Point of Interconnection (POI) in a manner that is deemed to require further study in accordance with the process outlined in paragraph (5) of Section 5.5, Generator Commissioning and Continuing Operations;

(iv)	Changing or adding a POI to a facility with an aggregate real power rating of ten MW or greater; or

(v)	Increasing the aggregate nameplate capacity of a generator less than ten MW to ten MW or greater.

(2)	For the purposes of Section 5, the term “generator” includes but is not limited to a Generation Resource, SOG, and ESR.

(3)	For the purposes of determining the appropriate requirements in Section 5, a generator is considered a “large generator” if it currently has or is proposed to have an aggregate nameplate capacity of ten MW or greater.  A generator is considered a “small generator” if it currently has or is proposed to have an aggregate nameplate capacity of less than ten MW.

(4)	Notwithstanding paragraph (3), above, if a Resource Entity is proposing to increase the real power rating of an existing generator by one MW or greater but less than ten MW, that generator shall be considered a small generator for the purposes of the interconnection process described in Section 5.

(5)	Notwithstanding paragraphs (3) and (4), above, if a Resource Entity is proposing to increase a generator’s real power rating by ten MW or more, or is proposing to increase a generator’s real power rating from less than ten MW to ten MW or more, that generator shall be considered a large generator for the purposes of the interconnection process described in Section 5.

(6)	For the purposes of determining the appropriate requirements in Section 5, ERCOT may require two or more separate generator interconnection requests to the same substation to follow the interconnection process applicable to the large generators, if, following the proposed change, those generators would have an aggregate nameplate capacity of ten MW or greater, and the projects are proposed by the same Entity or Affiliates.

(7)	For a new or modified generator that has been designated as a Self-Limiting Facility or as a component of a Self-Limiting Facility, the categorization of the generator as a small generator or large generator pursuant to paragraphs (3) through (5) above shall be determined using the Self-Limiting Facility’s established limit on the total MW Injection, or if applicable, the proposed increase in that value instead of the nameplate capacity of the Self-Limiting Facility.