From: Large Load Working Group <LLWG@LISTS.ERCOT.COM> On Behalf Of Mike Tabrizi
Sent: Monday, March 9, 2026 12:54 PM
To: LLWG@LISTS.ERCOT.COM
Subject: Re: Large Load Batch Study Updates and Workshop #4

LLWG

On behalf of Zero-Emission Grid, we would like to share the following comments. Ideally, we would have submitted these using the formal comment form with suggested redline language; however, our current schedule did not allow sufficient time to do so.

- Section 9.2.1.4(2) – The proposed language states that “ERCOT shall have sole authority to determine the completeness and validity of previous studies.” We suggest that ERCOT not apply this provision retroactively to Large Loads that have already satisfied Planning Guide Sections 9.4 and 9.5 on or before a specified TBD date.

- Section 9.2.1.4(3)(a)(i) – The proposal indicates that if the submitted dynamic data are not “consistent” with the dynamic data used in the previous stability study, ERCOT may determine that the prior studies are not valid. The term “consistent” is vague, particularly given that both industry and ERCOT guidance regarding dynamic modeling of large loads have continued to evolve over the past year. Expecting the dynamic data to remain strictly consistent may therefore be impractical. Instead, we suggest that TSPs/ERCOT consider a mechanism to verify that the dynamic load performance has not materially changed or adversely affected the results of the previous studies, rather than relying on strict consistency of the dynamic data.

- Clarification request – Please clarify what is meant by “Large Load Energization.”

Thank you for considering these comments.

Regards

|  | Mike Tabrizi, Ph.D., PE President +214-600-1040 mike.tabrizi@zeroemissiongrid.com |
| --- | --- |