## Slide 1: Nodal Protocol Revision Requests
NPRR1323, Correction to Inadvertent Removal of Real-Time MCPC Capping for NPRR1290 Phase 2. This Nodal Protocol Revision Request (NPRR) reinserts Protocol language regarding the capping of Real-Time MCPCs at the effective Value of Lost Load (VOLL) in grey-box language for NPRR1290. This capping of Real-Time MCPCs is part of existing Protocol language introduced as part of NPRR1268, RTC – Modification of Ancillary Service Demand Curves and was inadvertently not included in the development of NPRR1290.
NPRR1292, Granular Product Type for CRR TOU. This Nodal Protocol Revision Request (NPRR) creates the granular Congestion Revenue Right (CRR) Time Of Use (TOU) blocks to align with the current resource mix and improve auction speed and efficiency. Currently, CRRs are traded as weekday/weekend peak and off-peak, with no opportunity to further shape hedges. More granular CRR TOU blocks will divide weekday/weekend peak between solar and non-solar hours, providing a more targeted hedging product.
NPRR1307, Revised Definition of Mitigation Plan. This Nodal Protocol Revision Request (NPRR) adds the use of pre-contingency Load shed in certain conditions to the Mitigation Plan definition.

## Slide 2: Nodal Protocol Revision Requests
NPRR1302, Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms. This Nodal Protocol Revision Request (NPRR) introduces a new portal for Market Participants (the Market Participant Service Portal) designed to automate interactions between ERCOT and Market Participants currently managed via email-based communications and manual processes over the next few years. This NPRR changes Protocol language to require Market Participants to submit certain forms to ERCOT directly through the online portal, rather than submitting those forms via email, with the long-term goal being that all forms from MPs would eventually be submitted through the Market Participant Service Portal rather than submitted via email. Specifically, his NPRR moves the submission of Section 23 Form E: Notice of Change of Information, and Section 23 Form S: Reporting and Attestation Regarding Purchase of Critical Electric Grid Equipment (CEGE) and Critical Electric Grid Services (CEGS) from a Lone Star Infrastructure Protection Act (LSIPA) Designated Company or LSIPA Designated Country to the Market Participant Service Portal.
NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access. This Nodal Protocol Revision Request (NPRR) replaces the concept of “Digital Certificates” throughout the Protocols with references to more technology-neutral means whereby restricted Market Information System (MIS) access is granted to certain Market Participant users by each individual Market Participant’s User Security Administrator (USA).

## Slide 3: Nodal Protocol Revision Requests
NPRR1318, Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs. This Nodal Protocol Revision Request (NPRR) excludes the Incentive Factor to ERCOT-approved costs related to additional emissions allowance purchases and ERCOT-approved outside attorney fees.
NPRR1322, 60-Day Disclosure of the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards. This Nodal Protocol Revision Request (NPPR) corrects the absence of a report posted to the ERCOT website that discloses the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards for the applicable Operating Day 60 days prior to the current Operating Day by adding a file containing these awards in the existing 60-Day DAM Disclosure report.
NPRR1324, Clarification of the Process to Determine RUC Warmth State. This Nodal Protocol Revision Request (NPRR) clarifies the process currently used by ERCOT to determine the startup warmth state (i.e., hot, intermediate, or cold) of a block of contiguous Reliability Unit Commitment (RUC)-Committed Hours.