PGRR Comments


	PGRR Number
	142
	PGRR Title
	In-kind Definition for Generation


	Date
	March 11, 2026


	Submitter’s Information

	Name
	Kevin Hanson

	E-mail Address
	khanson@invenergy.com

	Company
	Invenergy

	Phone Number
	713-884-9202

	Cell Number
	713-884-9202

	Market Segment
	Independent Generators


	Comments


Invenergy filed PGRR142 to add a definition of “in-kind” when used in Planning Guide Section 5, Applicability.  This revision does not change the applicability of Section 5 in any way.  It simply adds the definition.
We have received stakeholder feedback that the definition of in-kind would be more appropriate as a separately enumerated definition within Section 5, similar to how the definition of generator for purposes of the section is defined.  Below is our recommended change to accomplish that.  
	Revised Proposed Guide Language


5.2.1

Applicability
(1)
The requirements in Section 5, Generator Interconnection or Modification, apply to the following:

(a)
Any Entity proposing to interconnect any generator with an aggregate nameplate capacity of one MW or greater, including but not limited to any Generation Resource or Energy Storage Resource (ESR), to the ERCOT System;

(b)
Any Entity proposing to interconnect a Settlement Only Generator (SOG) to the ERCOT System; or

(c)
Any Resource Entity seeking to modify a Generation Resource, ESR, or SOG that is connected to the ERCOT System by:

(i)
Increasing the real power rating from that shown in the latest Resource Registration data by one MW or greater within a single year; 

(ii)
Changing the inverter, turbine, generator, battery modules, or power converter associated with a facility with an aggregate real power rating of ten MW or greater, unless the replacement is in-kind;
(iii)
Modifying any control settings or equipment of Inverter-Based Resources (IBRs) that impact the dynamic response (such as voltage, frequency, and current injections) at the Point of Interconnection (POI) in a manner that is deemed to require further study in accordance with the process outlined in paragraph (5) of Section 5.5, Generator Commissioning and Continuing Operations;  

(iv)
Changing or adding a POI to a facility with an aggregate real power rating of ten MW or greater; or

(v)
Increasing the aggregate nameplate capacity of a generator less than ten MW to ten MW or greater.
(2)
For purposes of Section 5, the term “in-kind” shall be defined as available equipment that has the same or similar specifications as the original equipment manufacturer specifications.  If the same or similar equipment is unavailable, then in-kind shall include replacement equipment that is similar in performance to the original equipment.

(3)
For the purposes of Section 5, the term “generator” includes but is not limited to a Generation Resource, SOG, and ESR.

(4)
For the purposes of determining the appropriate requirements in Section 5, a generator is considered a “large generator” if it currently has or is proposed to have an aggregate nameplate capacity of ten MW or greater.  A generator is considered a “small generator” if it currently has or is proposed to have an aggregate nameplate capacity of less than ten MW.

(5)
Notwithstanding paragraph (4), above, if a Resource Entity is proposing to increase the real power rating of an existing generator by one MW or greater but less than ten MW, that generator shall be considered a small generator for the purposes of the interconnection process described in Section 5.

(6)
Notwithstanding paragraphs (4) and (5), above, if a Resource Entity is proposing to increase a generator’s real power rating by ten MW or more, or is proposing to increase a generator’s real power rating from less than ten MW to ten MW or more, that generator shall be considered a large generator for the purposes of the interconnection process described in Section 5.

(7)
For the purposes of determining the appropriate requirements in Section 5, ERCOT may require two or more separate generator interconnection requests to the same substation to follow the interconnection process applicable to the large generators, if, following the proposed change, those generators would have an aggregate nameplate capacity of ten MW or greater, and the projects are proposed by the same Entity or Affiliates.
(8)
For a new or modified generator that has been designated as a Self-Limiting Facility or as a component of a Self-Limiting Facility, the categorization of the generator as a small generator or large generator pursuant to paragraphs (4) through (6) above shall be determined using the Self-Limiting Facility’s established limit on the total MW Injection, or if applicable, the proposed increase in that value instead of the nameplate capacity of the Self-Limiting Facility.
�Please note PGRR140 also proposes revisions to this section.





142PGRR-04 Invenergy Comments 031126 
Page 1 of 1
PUBLIC


