TPL-008-1 Individual and Joint Responsibilities

Version 1.0

Document Revisions

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| April 1, 2026 | 1.0 | Initial Document | ERCOT System Planning |

Table of Contents

NERC Reliability Standard TPL-008-1	3

Purpose of this Document	3

- NERC Reliability Standard TPL-008-1

TPL-008-1 Requirement R1 states:

Each Planning Coordinator shall identify, in conjunction with its Transmission Planner(s), each entity’s individual and joint responsibilities for completing the Extreme Temperature Assessment, which shall include each of the responsibilities described in Requirements R2 through R11. Each responsible entity shall complete its responsibilities such that the Extreme Temperature Assessment is completed at least once every five calendar years.

- Purpose of this Document

This document serves as a public record of the individual and joint responsibilities that ERCOT ISO (the NERC-registered Planning Coordinator (PC)), and the NERC-registered Transmission Planners (TPs) in the ERCOT region have agreed upon.

ERCOT ISO (the PC) is responsible for the following TPL-008 requirements:

- Requirement R2, Parts 2.1, and 2.2

- Requirement R3, Parts 3.1, 3.2, 3.3, and 3.4

- Requirement R5

- Requirement R6

- Requirement R8, Parts 8.1, and 8.2

- Requirement R11

ERCOT ISO (the PC) and each TP (for its TP area, as defined by the existing facilities it owns and/or operates, as applicable) are jointly responsible for the following TPL-008 requirements:

- Requirement R4, Parts 4.1, and 4.2

  - TPs are responsible for providing a list of equipment that is expected to be on outage or derated due to the selected extreme heat or extreme cold conditions, if applicable.

  - ERCOT ISO is responsible for developing the load forecast, renewable and battery dispatch, and other assumptions for the selected extreme heat or extreme cold conditions. ERCOT ISO will communicate those assumptions to stakeholders through Regional Planning Group meetings.

- Requirement R7

  - TPs are responsible for submitting contingencies in the Steady State Working Group (SSWG) process and providing any additional contingencies that are not included in the SSWG contingency list but are expected to produce more severe System impacts on its portion of the Bulk Electric System under the selected extreme heat or extreme cold conditions. TPs are also responsible for maintaining the rationale as supporting information for those Contingencies selected for evaluation.

  - ERCOT ISO is responsible for generating single element contingencies using the automatic contingency processing capabilities of the power-flow applications.

- Requirement R9, Parts 9.1, 9.2, 9.3, and 9.4

  - TPs and ERCOT ISO will collaborate and jointly develop the Corrective Action Plans as required.

- Requirement R10, Parts 10.1, and 10.2

  - TPs and ERCOT ISO will collaborate and jointly develop the possible actions as required.

Additional information may be added to this document in the future.