## Slide 1
TSAT Implementation Updates
For CMWG 3/16/2026
Douglas Bernhoft,
Supervisor, Operations Engineering and Application Support

## Slide 2: Agenda
GTC Limit Source in Real Time
Plans in 2026

## Slide 3: GTC Limit Source in Real Time
Scenario | Has Real Time VSAT | Has Real Time TSAT | Has Offline Study Limit | Real Time Limit Source
1 | Yes | Yes | Yes | Most limiting of Real Time VSAT and Real Time TSAT used
2 | Yes | No | Yes | Most limiting of Real Time VSAT and Offline Study Limit used
3 | No | Yes | Yes | Real Time TSAT limit used
4 | No | No | Yes | Offline Study Limit used
TSAT as the primary source of generating limits went into effect on 1/7/2026.

## Slide 4: Plans in 2026
Completed
  Improve modeling and computation capabilities
    New high performance computer acquired to allow for multiple test scenarios to always be running in parallel.
Plans
  Continue testing the WESTEX, MCCAMY, ZAPSTR, TRDWEL, and BANDER TSAT scenarios.
  After scenarios fully complete testing and are ready, move scenarios into production.
WESTEX Update
  Continuing to have issues with User Defined Models (UDMs) causing long calculation times.
    Having conversations with vendor and UDM creators to find solutions.
  Using the new testing computer to run multiple WESTEX scenarios.

## Slide 5
Questions?