| NPRR Number | 1315 | NPRR Title | Changes to Process of Evaluating the Potential Needs for Additional Capacity |
| --- | --- | --- | --- |
| Date |  | March 24, 2026 |  |
| Submitter’s Information |  |  |  |
| Name |  | Anita Sharma |  |
| E-mail Address |  | anitsharma@tesla.com |  |
| Company |  | Tesla Inc. |  |
| Phone Number |  |  |  |
| Cell Number |  | (408) 940-2786 |  |
| Market Segment |  | Generator Developer/OEM |  |

Comments

Tesla appreciates the opportunity to comment on Nodal Protocol Revision Request (NPRR) 1315 and appreciates ERCOT’s collaborative stakeholder engagement through this process.

ERCOT notes in the Reason for Revision that there may be scenarios where cost-effective new alternatives, such as Energy Storage Resources (ESRs), can be procured to help maintain ERCOT system reliability.  As ERCOT correctly identifies, these types of resources can be deployed quickly and can provide effective solutions when reliability risks arise over relatively short timeframes.

NPRR1315 provides a framework for ERCOT to procure additional capacity to prevent an anticipated Emergency Condition based on local system conditions. Such conditions have been observed in West Texas, where the transmission system has become constrained following contingency events.  In these circumstances, reliability concerns can arise not solely from insufficient capacity, but because the transmission system cannot accommodate power flows under certain contingency scenarios.

ESRs, when strategically located near transmission constraints, can provide rapid response during contingency events and can help mitigate post-contingency overloads through targeted charging or discharging of power at specific electrical locations.  In doing so, such resources can directly address the underlying transmission constraint driving the reliability risk, in certain cases more cost-effectively than alternative solutions, such as transmission or additional capacity procurement.  In addition, ESRs capable of providing locational reliability support can serve as an effective interim solution while longer-term transmission upgrades are developed.

Tesla believes the proposal could be further strengthened by ensuring ERCOT retains flexibility within NPRR1315, to contract with resources capable of providing targeted injections or withdrawals of power at specific electrical locations to address transmission constraints.

Revised Cover Page Language

| Revision Description | This Nodal Protocol Revision Request (NPRR) adds notification requirements for ERCOT to follow when ERCOT has determined that additional capacity is needed to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition. Under the revisions, ERCOT would notify the Public Utility Commission of Texas (PUCT) when it has made such a determination and would also notify the PUCT prior to entering into any contract for additional capacity. To address additional capacity that is needed to address local constraint issues, this NPRR also extends the study horizon for evaluating and potentially contracting for capacity to prevent anticipated Load shed events. ERCOT proposes this study horizon extend up to two years instead of just the current or next Season. This NPRR specifies that ERCOT shall present its study assumptions (including Load forecast assumptions) to the ERCOT Board of Directors before any awards are made through the “Request for Proposal” (RFP) process. This NPRR also expands the set of eligible Resources that can respond to the RFPs to include new Resources and not be limited to existing Resources. Additionally, these revisions explain that an eligible Resource could be a Resource that is already planned to be interconnected and that, in such a case, if ERCOT is paying for an acceleration of such a Resource to interconnect, ERCOT must be provided with a detailed explanation that demonstrates that any payments to accelerate planned capacity is justifiable and reasonable, and that the acceleration would not have occurred otherwise. Additionally, this NPRR provides language that specifies contract length limit considerations for contracts to address local constraint issues. Finally, this NPRR also proposes edits to provide more information on the expected Settlement for Resources that were not previously mothballed, retired, or decommissioned. |
| --- | --- |
| Justification of Reason for Revision and Market Impacts | The Public Utility Regulatory Act (PURA) §39.151 (a)(2) requires that ERCOT must “ensure the reliability and adequacy of the regional electrical network.” Section 6.5.1.1 authorizes ERCOT to perform specific actions for the limited purpose of securely operating the ERCOT Transmission Grid under the standards specified in North American Electric Reliability Corporation (NERC) Standards, the Nodal Operating Guides and the Protocols. These additional actions noted under Section 6.5.1.1 might be needed to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition. ERCOT has utilized Section 6.5.1.1 to seek additional capacity four times since Nodal Market go-live: summer of 2011; winter of 2023-2024; summer of 2024; and the period from April 1, 2025, through March 31, 2027. The first two times were regarding an ERCOT-wide insufficiency; the last two times were regarding relief on relevant transmission facilities (South Texas Interconnection Reliability Operating Limits (IROLs)), with the final time specifically seeking alternatives to the provision of service by one or more of the Life Cycle Power mobile units or by an RMR Agreement for Braunig Units 1 & 2. During the latter of those requests, ERCOT committed to revise its Protocols to more formally provide the PUCT with notice when ERCOT was either seeking additional capacity through Section 6.5.1.1 or through statute. Revisions in this NPRR therefore include language that provides greater transparency and notice to the PUCT. Additionally, in evaluating and procuring capacity needs to prevent an Emergency Condition, the current Protocols limit ERCOT to evaluating only the current or next Season and only considering existing capacity that may be used to maintain ERCOT System reliability in a manner not otherwise delineated in the Protocols and the Nodal Operating Guides. This limitation could prevent ERCOT from taking the necessary steps to secure capacity that could avert an anticipated Emergency Condition. To this end, ERCOT has provided language to specify that to alleviate local constraint issues, the study period to evaluate and potentially contract for capacity be extended up to a two-year period, if ERCOT studies support the need, potentially resulting in the following benefits: - Helps prevent an anticipated Emergency Condition by assessing the necessity of a contract for capacity and to identify any potential grid reliability risks associated with the identified capacity shortfall; - Provides more time for ERCOT to develop the RFP for services; - Allows more time for ERCOT to carefully evaluate offers; - Allows Market Participants more time to develop suitable Resource proposals and submit contract for capacity offers that meet specifications identified in the RFP; - Awards Resources more time to get ready to meet their contractual obligations; and - Possibly reduces the need to RMR (and Must-Run Alternative (MRA)) Resources that might be considering permanently mothballing the Generation Resource, potentially resulting in an overall lower cost. In extending this look-out period to two years for local constraint issues, ERCOT is also proposing language to require an exit strategy for the local constraint issue and the reevaluation of need of any capacity contract that lasts for more than one year, both of which will help ensure that the contract is still cost effective, necessary, and of a reasonable duration. In addition, the current Protocol language limits ERCOT to procuring only existing capacity in order to exercise its authority to prevent an anticipated Emergency Condition relating to serving Load in the current or next Season. However, there may be scenarios where cost-effective new alternatives that are not “planned” capacity reflected in a Report on Capacity, Demand and Reserves in the ERCOT Region (CDR), such as mobile generation or Energy Storage Resources (ESRs), can be procured to help maintain ERCOT System reliability. If those options are more cost effective than existing capacity, which likely requires repairs and modifications before being ready to deploy, it seems prudent to consider other Resources in addition to existing Resources. In addition, there could be situations where it is most economical to pay for the acceleration of Resources reflected in a CDR but which has not yet reached its Commercial Operations Date. In some situations, this may be more economical than procuring new, unplanned generation or paying for repairs and modifications of existing generation. However, in this situation, ERCOT would need to be provided with a detailed explanation that demonstrates that any payments made to accelerate planned capacity is justifiable and reasonable, and that the capacity would not have been accelerated otherwise. Particularly for new, planned generation, ERCOT would want to ensure that there is no gaming of the system and, for example, ensure that a Resource Commercial Operations Date acceleration would not have occurred absent the acceleration incentive payment. Finally, the Protocols state that, for Settlement purposes, Generation Resources contracted under Section 6.5.1.1 will include substantially the same terms and conditions as an RMR Unit under an RMR Agreement,. This is appropriate for Resources contracted for that were previously mothballed, retired or decommissioned. However, for units not previously mothballed, retired or decommissioned that are being contracted under Section 6.5.1.1, an awarded contract should be limited to the price offered in response to the RFP. |

Revised Proposed Protocol Language

6.5.1.1	ERCOT Control Area Authority

(1)	ERCOT, as Control Area Operator (CAO), is authorized to perform the following actions for the limited purpose of securely operating the ERCOT Transmission Grid under the standards specified in North American Electric Reliability Corporation (NERC) Standards, the Nodal Operating Guides and these Protocols, including:

(a)	Direct the physical operation of the ERCOT Transmission Grid, including circuit breakers, switches, voltage control equipment, and Load-shedding equipment;

(b)	Dispatch Resources that have been awarded Ancillary Services;

(c)	Direct changes in the operation of voltage control equipment;

(d)	Direct the implementation of Reliability Must-Run (RMR) Service, Remedial Action Plans (RAPs), Automatic Mitigation Plans (AMPs), Remedial Action Schemes (RASs), and transmission switching to prevent the violation of ERCOT Transmission Grid security limits; and

[NPRR1198: Replace paragraph (d) above with the following upon system implementation and renumber accordingly:] (d) Direct the implementation of Reliability Must-Run (RMR) Service; (e) Direct the implementation, disabling, or reversal of implementation of Remedial Action Plans (RAPs), Automatic Mitigation Plans (AMPs), Remedial Action Schemes (RASs), Pre-Contingency Action Plans (PCAPs), Extended Action Plans (EAPs), and transmission switching to prevent the violation of ERCOT Transmission Grid security limits; and

(e)	Perform additional actions required to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition.

(2)	Unless the ERCOT Protocols or Other Binding Documents explicitly provide otherwise, ERCOT shall not model, monitor, direct operation of, or otherwise exercise any operational authority over any facility that operates on the low voltage side of the distribution transformer except as may be necessary for the following purposes:

(a)	To ensure the reliable interconnection, dispatch, operation, and Settlement of any Generation Resource, Energy Storage Resource (ESR), Load Resource, or Emergency Response Service (ERS) Resource that is, or is proposed to be, interconnected at distribution voltage, and to ensure the reliable operation and Settlement of any other ERCOT-registered generator;

(b)	To provide ERCOT information about all generators interconnected at distribution voltage as requested by ERCOT pursuant to these Protocols or Other Binding Documents for the purposes of ensuring accurate Settlement and operating and planning the ERCOT Transmission Grid; and

(c)	To effectuate automatic or manual Load-shedding as prescribed by these Protocols or Other Binding Documents.

(3)	Nothing in paragraph (2) above limits ERCOT’s authority to require that a Transmission Service Provider (TSP) or Transmission Operator (TO) disconnect any Facility operated at distribution voltage from the ERCOT System if ERCOT determines such action is necessary to address a reliability concern on the ERCOT Transmission Grid.  Additionally, nothing in paragraph (2) above limits ERCOT’s authority to require appropriate modeling and telemetry of transmission Loads that may represent multiple distribution-level Loads, as provided in Section 3.10.7.2, Modeling of Resources and Transmission Loads.

(4)       Consistent with paragraph (1)(e) above, ERCOT may seek to exercise its authority to prevent an anticipated Emergency Condition relating to addressing a local constraint identified by ERCOT up to two years into the future by procuring additional capacity.  In addition, in addressing reliability risks associated with local constraint issues, ERCOT may use ESRs, capable of providing targeted injections or withdrawals of power at specific electrical locations to mitigate transmission constraints contributing to an anticipated emergency system condition.  Additionally, consistent with paragraph (1)(e) above, ERCOT may seek to exercise its authority to prevent an anticipated Emergency Condition relating to serving Load for an ERCOT-wide capacity shortage identified in the current or next Season by procuring additional capacity.  Such capacity for either purpose may include:

(a)	Capacity that was either mothballed, retired, or decommissioned and is capable of being brought back into service;

(b)	Demand Response capacity that can be baselined and was absent from the ERCOT market in the last three years;

(c)	Capacity excluded from ERCOT’s Report on Capacity, Demand and Reserves in the ERCOT Region (CDR) but that can be quickly interconnected at a useful location, such as energy storage or mobile generation;

(d)	Capacity included in the CDR issued by ERCOT, that has not yet reached its Commercial Operations Date (COD), but can accelerate its COD during the period additional capacity is needed; or

(e)	Capacity from Settlement Only Generators (SOGs) that is not expected to be available to ERCOT during the period additional capacity is needed.