## Slide 1: PGRR145 Comments
March 24, 2026

## Slide 2: Vistra Comments on PGRR145
Example: Concern with Batch Timeline vs. PURA 39.169(d) Criteria
For illustrative purposes only; assumes “zero friction” between steps for compact presentation, actual timelines likely more spread out
Summary of Vistra’s PGRR145 Comments
SB6 Timeline Incompatibility w/ Batch Zero
  Pending PUCT rules would put SB6 Net Metering Arrangement application timing at end of interconnection study, require significant non-refundable commitments prior to PUCT approval
  ERCOT will have all necessary information to complete transmission security assessment at beginning of Batch process; PURA 39.169(d) requires ERCOT to complete its studies within 120 days of receiving all necessary information to perform its studies
  Proposed solution: include known PURA 39.169-applicable projects as base load in Batch, continue with serial studies (with option to go through Batch)
Flexibility to Include Full Diversity of Large Load Configurations
  Requiring both DSP and TSP in various steps, including intermediate agreement & interconnection agreement, is not necessary in all arrangements (e.g., self-service, self-generators, incidence of tenancy, electric generation equipment lessor or operator, non-settled generators, “export-only” BYOG, etc.)
Limits on Reasonable Scope of Planning Guide vs. PUCT Project No. 58481 PFP
  Setting aside substantive items, there are some elements that cannot be imposed via Planning Guide
  Other “low hanging fruit” to align with SB6 plain text
Miscellaneous Issues, Clean-ups, and Clarifications
  Align QSA qualification dates with Batch Zero energization date limitations
  Consistent references to TDSPs vs. TSPs and DSPs
  Option for ERCOT to submit Batch Zero RPG projects as one combined project or regional sub-projects
  Etc.