## Slide 1: Congestion Management Working Group - 3/16/2025 Meeting Update
APRIL 1, 2026
chENYAN guO, chair

## Slide 2: CRR Long Term Auction Solution Time and Transaction Limits
ERCOT staff presented an update on the CRR system performance
      The most recent sequence 5 auction took 128 hours for the peak weekday TOU, which is over targeted 100 hours
      No changes to all per-CRRAH transaction limits this month
      ERCOT staff brought draft NPRR language to restructure the LTAS auctions into six monthly optimizations
      The actual language changes are small, simply replacing “ time of use” with “month”, with most of the system changes being on the ERCOT side
      The target implementation date of this NPRR would likely be later in 2027, if this NPRR is approved through the stakeholder process
      ERCOT plans to remove data more than seven years old according to ERCOT data retention policies
      Data removal starts on April 24, 2026
      ERCOT will send 30-day and 10-day market notices announcing this date removal

## Slide 3: Impacts to GTC limits in the Day Ahead Market(DAM)
ERCOT staff provided reasons for a market notice from Feb.13, 2026 related to GTC limits in the DAM
    ERCOT staff explained that several updates happened in quick succession: database load, database site failover and an EMS deployment
    Some manual updates did not carry over correctly which created a situation where the market model was not accurate and led to inaccurate GTC limits in the DAM from February 1 to February 7, 2026
    ERCOT put a temporary fix on February 6, 2026 and a permanent software fix on February 13, 2026
    ERCOT was unable to recreate the needed input conditions, therefore, ERCOT was unable to issue a price correction for the affected dates of February 1~7, 2026

## Slide 4: Point to Point (PTP) Obligation Updates
ERCOT staff presented updates on the daily PTP transactions
    ERCOT observed steadily increasing growth in transactions since 2021, which is causing significant performance issues and longer solution times
ERCOT staff is exploring and asking for stakeholders’ feedback on NRPP language they plan to file to address performance issues
    In the previous draft NPRR, ERCOT proposed creating a framework and mechanism for imposing an hourly based fee for all unawarded PTP bids
    After receiving feedback, ERCOT is exploring to impose bid fees only on “uncompetitive” bids
    ERCOT is working internally to determine what might be appropriate thresholds, both absolute and relative, for defining which bids would be considered uncompetitive
    ERCOT is encouraging stakeholders to provide informal feedback on how these PTP fees would impact market participants to the designated ERCOT’s staff

## Slide 5: NPRR 1301: Align Protocols to Constraint Activation Procedure
This NPRR addresses scenarios where multiple contingencies lead to the same system element being overloaded
In such cases, the Shadow Price effect on Locational Marginal Prices (LMPs) is counted multiple times, potentially causing excessively high LMPs that cannot be mitigated by additional generation dispatch
The protocol language has been revised to specify that only the most restrictive constraint/contingency pair should be activated
ERCOT staff presented some calculation examples and ERCOT’s draft comments on NPRR1301
ERCOT staff explained the calculation will involve looking at the absolute difference in shift factors for different constraints, not their relative size
ERCOT staff also noted that two shift factors of different impacts on a constraint would both be activated and would not be subject to the threshold test
ERCOT plans to file additional language and equations to clarify the calculation on the NPRR
Some stakeholders pushed back on ERCOT’s calculation and continued to have offline conversations with ERCOT
NPRR 1301 will continue at the next CMWG meeting

## Slide 6: Transient Security Assessment Tool (TSAT) Updates
ERCOT Provided an update on the TSAT
TSAT went into effect on January 7, 2026, as the primary source for generating GTC limits
ERCOT completed modeling improvement and computation capabilities to allow for multiple test scenarios to be running in parallel
ERCOT plans to continue testing the following GTCs: WESTEX, MCCAMY, ZAPSTR, TRDWEL, and BANDER in TSAT
ERCOT staff will continue to provide TSAT implementation updates quarterly at future CMWG meetings