PGRR Comments


	PGRR Number
	142
	PGRR Title
	In-kind Definition for Generation


	Date
	April 1, 2026


	Submitter’s Information

	Name
	Jason Burwen

	E-mail Address
	jason.burwen@gridstor.com

	Company
	GridStor LLC

	Phone Number
	503-313-0645

	Cell Number
	503-313-0645

	Market Segment
	Independent Generator


	Comments


GridStor submits these comments in support of the 3/11/26 Invenergy comments.  Planning Guide Revision Request (PGRR) 142 addresses a growing challenge for developers of Inverter-Based Resources (IBRs): as generation interconnection timelines have lengthened, the inverter equipment specified at the time of a request cannot be guaranteed to remain available by the time a project reaches the Quarterly Stability Assessment stage or energization.  
As IBR product lines change and equipment manufacturers regularly discontinue models, PGRR142 provides a clearer definition of in-kind equipment substitution that is not subject to Standard Generation Interconnection Agreement (SGIA) amendment, i.e., by requiring that replacement equipment be similar in performance to the original equipment. PGRR109, Dynamic Model Review Process Improvement for Inverter-Based Resource (IBR) Modification, provided guidance for determining whether replacement inverter equipment is similar in performance to the original inverter equipment.
	Revised Cover Page Language


None

	Revised Proposed Guide Language


None

142PGRR-05 GridStor Comments 040126 
Page 1 of 1
PUBLIC


