| PGRR Number | 145 | PGRR Title | Batch Zero Process for Large Load Interconnections |
| --- | --- | --- | --- |
| Date |  | April 8, 2026 |  |

| Submitter’s Information |  |
| --- | --- |
| Name | Harsh Naik |
| E-mail Address | Harsh.Naik@oncor.com |
| Company | Oncor Electric Delivery Company LLC |
| Phone Number |  |
| Cell Number | 979-243-4697 |
| Market Segment | Investor-Owned Utility (IOU) |

Comments

Oncor appreciates the opportunity to provide comments on Planning Guide Revision Request (PGRR) 145.

Oncor recommends that Large Loads addressed by Regional Planning Group (RPG) projects be recognized as base load not subject to additional study in the Batch Zero Process if the RPG projects were submitted prior to December 15, 2025 and received RPG acceptance or ERCOT endorsement on or before July 15, 2026.

Oncor developed RPG submittals addressing Large Loads in accordance with the processes applicable at the time of submission, which required substantial effort to demonstrate that these Large Loads created a reliability need for system improvements. Several RPG projects that include Large Loads were submitted prior to the effective date of PGRR115, Related to NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater, and are undergoing ERCOT’s final stages of independent review. These submittals have either received ERCOT endorsement after March 4, 2026, or are expected to receive endorsement prior to July 15, 2026.

If ERCOT determines to retain use of the March 4, 2026 date set forth in paragraph (3)(a) of Section 9.2.1.4 regarding which RPG related Large Loads are treated as base load, Oncor recommends that ERCOT modify paragraph (4)(b) of Section 9.2.1.4 such that the RPG submission date be used as the basis for ranking Large Loads within the RPG for study validity. RPG submission is the milestone controlled by Transmission Service Providers (TSPs) and reflects the point at which a Large Load has reached sufficient maturity and the reliability need to serve the load has been identified through the ERCOT RPG planning process.

Revised Cover Page Language

None

Revised Proposed Guide Language

None