## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2024-11 | 3 | 15.076 | 8.6 | 8.733
2024-12 | 3 | 15.322 | 8.6 | 8.786
2025-01 | 3 | 15.322 | 8.6 | 8.786
2025-02 | 3 | 15.322 | 8.6 | 8.786
2025-03 | 3 | 15.322 | 8.6 | 8.786
2025-04 | 3 | 15.537 | 8.6 | 8.84
2025-05 | 3 | 15.537 | 8.6 | 8.84
2025-06 | 3 | 15.537 | 8.6 | 8.84
2025-07 | 5 | 30.483 | 8.6 | 9.386
2025-08 | 5 | 60.644 | 16.5 | 31.586
2025-09 | 5 | 60.644 | 8.6 | 23.7
2025-10 | 6 | 64.677 | 32 | 32.8
2025-11 | 7 | 107.644 | 35.4 | 36.2
2025-12 | 7 | 107.644 | 35.4 | 49.9
2026-01 | 7 | 107.644 | 35.4 | 49.9

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
11/2024 | AR_ALD1 | 8859 | 5607 | 5571 | 5571 | 12 |  | 42 | 354.635 | 355.994 | 300 | 1202.923
11/2024 | BOERNE_ALD1 | 8859 | 3394 |  |  | 2 |  | 502 | 1103.48 |  |  | 85.923
11/2024 | WEBBS_ALD1 | 8859 | 5607 | 5570 | 5570 | 12 |  | 45 | 402.561 | 408.368 | 300 | 1445.921
12/2024 | AR_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 1 | 297.184 | 300.145 |  | 4481.708
12/2024 | BOERNE_ALD1 | 8994 | 3114 |  |  | 0 |  | 674 | 220.835 |  |  | 47.428
12/2024 | WEBBS_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 2 | 298.591 | 301.353 |  | 2587.401
01/2025 | AR_ALD1 | 8985 | 5612 | 5024 | 5024 | 121 |  | 0 | 532.236 | 378.981 | 300
01/2025 | BOERNE_ALD1 | 8985 | 1226 |  |  | 0 |  | 163 | 104.345 |  |  | 95.75
01/2025 | WEBBS_ALD1 | 8985 | 5612 | 5035 | 5035 | 149 |  | 10 | 462.505 | 346.788 | 300 | 1033.745
02/2025 | AR_ALD1 | 8158 | 5094 | 4213 | 4213 | 12 |  | 6 | 299.313 | 302.65 | 300 | 386.023
02/2025 | BOERNE_ALD1 | 8158 | 1530 |  |  | 0 |  | 431 | 71.209 |  |  | 256.919
02/2025 | WEBBS_ALD1 | 8158 | 5094 | 4219 | 4219 | 0 |  | 14 | 369.598 | 389.172 |  | 302.069
03/2025 | AR_ALD1 | 9092 | 5714 | 4578 | 4578 | 0 |  | 7 | 304.504 | 310.876 |  | 535.459
03/2025 | BOERNE_ALD1 | 9092 | 3493 |  |  | 1623 |  | 724 | 52.112 |  | 5 | 54.225
03/2025 | WEBBS_ALD1 | 9092 | 5714 | 4361 | 4361 | 0 |  | 4 | 317.093 | 327.559 |  | 352.929
04/2025 | AR_ALD1 | 8817 | 5528 | 4668 | 4668 | 0 |  | 12 | 314.283 | 324.903 |  | 1753.53
04/2025 | BOERNE_ALD1 | 8817 | 7266 |  |  | 4360 |  | 2739 | 82.353 |  | 5 | 44.827
04/2025 | WEBBS_ALD1 | 8817 | 5528 | 4832 | 4832 | 0 |  | 4 | 320.751 | 330.843 |  | 423.934
05/2025 | AR_ALD1 | 9132 | 8499 | 6131 | 6131 | 0 |  | 39 | 340.76 | 340.318 |  | 643.564
05/2025 | BOERNE_ALD1 | 9132 | 7631 |  |  | 5265 |  | 4649 | 46.317 |  | 10 | 54.555
05/2025 | WEBBS_ALD1 | 9132 | 8499 | 5999 | 5999 | 0 |  | 33 | 298.779 | 293.13 |  | 848.524
06/2025 | AR_ALD1 | 8891 | 8889 | 6449 | 6449 | 0 |  | 13 | 312.738 | 305.246 |  | 867.598
06/2025 | BOERNE_ALD1 | 8891 | 7295 |  |  | 5154 |  | 2760 | 64.934 |  | 10 | 38.839
06/2025 | WEBBS_ALD1 | 8891 | 8889 | 6413 | 6413 | 0 |  | 2 | 307.037 | 301.046 |  | 380.48
07/2025 | AR_ALD1 | 9176 | 9174 | 6375 | 6375 | 12 |  | 11 | 820.83 | 842.372 | 349.33 | 756.793
07/2025 | BOERNE_ALD1 | 9176 | 7006 |  |  | 5101 | 10 | 2311 | 56.613 |  | 10.359 | 45.029
07/2025 | MIDNT_ALD1 | 2048 | [6 empty] | 1818.182
07/2025 | SANSM_ALD1 | 2048 | [6 empty] | 1341.463
07/2025 | WEBBS_ALD1 | 9176 | 9174 | 6350 | 6350 | 12 |  | 10 | 777.64 | 822.892 | 370.159 | 819.87
08/2025 | AR_ALD1 | 9158 | 1498 | 1092 | 1092 | 0 |  | 0 | 1463.804 | 1548.394
08/2025 | BOERNE_ALD1 | 9158 | 3470 |  |  | 1220 | 0 | 587 | 483.705 |  | 10 | 67.91
08/2025 | MIDNT_ALD1 | 9158 | [6 empty] | 2364.865
08/2025 | SANSM_ALD1 | 9158 | 26 |  |  | 13 |  | 16 | 2395.122 |  | 760.464 | 42.563
08/2025 | WEBBS_ALD1 | 9158 | 1498 | 1067 | 1067 | 0 |  | 0 | 1006.277 | 1399.159
09/2025 | AR_ALD1 | 8884 | 3723 | 2227 |  | 1 |  | 0 | 1033.972 | 1281.172 | 5000
09/2025 | BOERNE_ALD1 | 8884 | 7432 |  |  | 5171 | 1 | 1304 | 99.291 |  | 30 | 74.635
09/2025 | MIDNT_ALD1 | 8884 | 34 |  |  |  |  | 33 | 4501.603 |  |  | 29.847
09/2025 | SANSM_ALD1 | 8884 | 34 |  |  |  |  | 33 | 4620.066 |  |  | 19.392
09/2025 | WEBBS_ALD1 | 8884 | 3723 | 2227 |  | 1 |  | 2 | 1054.151 | 1391.322 |  | 316.357
10/2025 | AR_ALD1 | 9105 | 9105 | 6050 |  |  |  | 8 | 566.46 | 649.506 |  | 408.224
10/2025 | BOERNE_ALD1 | 9105 | 7348 |  |  | 5106 | 1 | 1326 | 95.217 |  | 34 | 66.722
10/2025 | MIDNT_ALD1 | 9105 | 48 |  |  |  |  | 48 | 2750 |  |  | 13.399
10/2025 | SANSM_ALD1 | 9105 | 60 |  |  |  |  | 58 | 2843.216 |  |  | 13.462
10/2025 | WEBBS_ALD1 | 9105 | 9105 | 6026 |  |  |  | 25 | 685.995 | 780.312 |  | 121.784
11/2025 | AR_ALD1 | 8537 | 8537 | 6439 |  |  |  | 20 | 364.834 | 311.991 |  | 133.425
11/2025 | BOERNE_ALD1 | 8537 | 5176 |  |  | 3710 |  | 517 | 44.212 |  | 16.667 | 83.282
11/2025 | MIDNT_ALD1 | 8537 | [6 empty] | 588.235
11/2025 | SANSM_ALD1 | 8537 | [6 empty] | 5000
11/2025 | WEBBS_ALD1 | 8537 | 8537 | 6534 |  |  |  | 9 | 358.906 | 305.047 |  | 119.095

## Hourly Participation (11_2025)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
HE_1 | AR_ALD1 | 349 | 349 | 177 | 0 | 0 | 0 | 0 | 475.072 | 300
HE_1 | BOERNE_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | MIDNT_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | SANSM_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | WEBBS_ALD1 | 349 | 349 | 166 | 0 | 0 | 0 | 0 | 467.978 | 300
HE_2 | AR_ALD1 | 480 | 480 | 192 | 0 | 0 | 0 | 16 | 421.017 | 300 |  | 39.102
HE_2 | BOERNE_ALD1 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | MIDNT_ALD1 | 480 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | SANSM_ALD1 | 480 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | WEBBS_ALD1 | 480 | 480 | 180 | 0 | 0 | 0 | 8 | 421.499 | 300 |  | 38.576
HE_3 | AR_ALD1 | 349 | 349 | 203 | 0 | 0 | 0 | 0 | 465.256 | 300
HE_3 | BOERNE_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | MIDNT_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | SANSM_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | WEBBS_ALD1 | 349 | 349 | 202 | 0 | 0 | 0 | 0 | 468.492 | 300
HE_4 | AR_ALD1 | 349 | 349 | 204 | 0 | 0 | 0 | 0 | 464.873 | 300
HE_4 | BOERNE_ALD1 | 349 | 243 | 0 | 0 | 243 | 0 | 0 | 0
HE_4 | MIDNT_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | SANSM_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | WEBBS_ALD1 | 349 | 349 | 204 | 0 | 0 | 0 | 0 | 467.49 | 300
HE_5 | AR_ALD1 | 355 | 355 | 205 | 0 | 0 | 0 | 0 | 466.029 | 305.186
HE_5 | BOERNE_ALD1 | 355 | 271 | 0 | 0 | 271 | 0 | 0 | 0
HE_5 | MIDNT_ALD1 | 355 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | SANSM_ALD1 | 355 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | WEBBS_ALD1 | 355 | 355 | 205 | 0 | 0 | 0 | 0 | 460.84 | 300
HE_6 | AR_ALD1 | 350 | 350 | 183 | 0 | 0 | 0 | 0 | 524.621 | 417.461
HE_6 | BOERNE_ALD1 | 350 | 266 | 0 | 0 | 266 | 0 | 0 | 0
HE_6 | MIDNT_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | SANSM_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | WEBBS_ALD1 | 350 | 350 | 205 | 0 | 0 | 0 | 0 | 486.151 | 342.696
HE_7 | AR_ALD1 | 351 | 351 | 326 | 0 | 0 | 0 | 0 | 508.032 | 350.979
HE_7 | BOERNE_ALD1 | 351 | 267 | 0 | 0 | 267 | 0 | 0 | 0.353 |  | 30
HE_7 | MIDNT_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0
HE_7 | SANSM_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0
HE_7 | WEBBS_ALD1 | 351 | 351 | 316 | 0 | 0 | 0 | 0 | 474.967 | 315.865
HE_8 | AR_ALD1 | 348 | 348 | 215 | 0 | 0 | 0 | 0 | 575.233 | 472.664
HE_8 | BOERNE_ALD1 | 348 | 264 | 0 | 0 | 264 | 0 | 0 | 0
HE_8 | MIDNT_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0
HE_8 | SANSM_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0
HE_8 | WEBBS_ALD1 | 348 | 348 | 214 | 0 | 0 | 0 | 0 | 517.107 | 389.501
HE_9 | AR_ALD1 | 348 | 348 | 149 | 0 | 0 | 0 | 0 | 331.36 | 303.4
HE_9 | BOERNE_ALD1 | 348 | 264 | 0 | 0 | 264 | 0 | 0 | 0
HE_9 | MIDNT_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0
HE_9 | SANSM_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0
HE_9 | WEBBS_ALD1 | 348 | 348 | 149 | 0 | 0 | 0 | 0 | 327.011 | 300
HE_10 | AR_ALD1 | 353 | 353 | 314 | 0 | 0 | 0 | 0 | 300 | 300
HE_10 | BOERNE_ALD1 | 353 | 268 | 0 | 0 | 268 | 0 | 0 | 0
HE_10 | MIDNT_ALD1 | 353 | 0 | 0 | 0 | 0 | 0 | 0
HE_10 | SANSM_ALD1 | 353 | 0 | 0 | 0 | 0 | 0 | 0
HE_10 | WEBBS_ALD1 | 353 | 353 | 292 | 0 | 0 | 0 | 0 | 300 | 300
HE_11 | AR_ALD1 | 351 | 351 | 338 | 0 | 0 | 0 | 0 | 300 | 300
HE_11 | BOERNE_ALD1 | 351 | 267 | 0 | 0 | 267 | 0 | 0 | 0
HE_11 | MIDNT_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0
HE_11 | SANSM_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0
HE_11 | WEBBS_ALD1 | 351 | 351 | 336 | 0 | 0 | 0 | 0 | 300 | 300
HE_12 | AR_ALD1 | 350 | 350 | 338 | 0 | 0 | 0 | 0 | 300 | 300
HE_12 | BOERNE_ALD1 | 350 | 266 | 0 | 0 | 266 | 0 | 0 | 0
HE_12 | MIDNT_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_12 | SANSM_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0
HE_12 | WEBBS_ALD1 | 350 | 350 | 338 | 0 | 0 | 0 | 0 | 300 | 300
HE_13 | AR_ALD1 | 351 | 351 | 339 | 0 | 0 | 0 | 0 | 300 | 300
HE_13 | BOERNE_ALD1 | 351 | 267 | 0 | 0 | 267 | 0 | 0 | 0.353 |  | 30
HE_13 | MIDNT_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 1250
HE_13 | SANSM_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_13 | WEBBS_ALD1 | 351 | 351 | 339 | 0 | 0 | 0 | 0 | 300 | 300
HE_14 | AR_ALD1 | 348 | 348 | 336 | 0 | 0 | 0 | 0 | 300 | 300
HE_14 | BOERNE_ALD1 | 348 | 264 | 0 | 0 | 264 | 0 | 0 | 0
HE_14 | MIDNT_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0
HE_14 | SANSM_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0
HE_14 | WEBBS_ALD1 | 348 | 348 | 336 | 0 | 0 | 0 | 0 | 300 | 300
HE_15 | AR_ALD1 | 350 | 350 | 338 | 0 | 0 | 0 | 0 | 300 | 300
HE_15 | BOERNE_ALD1 | 350 | 266 | 0 | 0 | 266 | 0 | 0 | 0
HE_15 | MIDNT_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0
HE_15 | SANSM_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0
HE_15 | WEBBS_ALD1 | 350 | 350 | 338 | 0 | 0 | 0 | 0 | 300 | 300
HE_16 | AR_ALD1 | 354 | 354 | 342 | 0 | 0 | 0 | 0 | 300 | 300
HE_16 | BOERNE_ALD1 | 354 | 270 | 0 | 0 | 270 | 0 | 0 | 0.667 |  | 10
HE_16 | MIDNT_ALD1 | 354 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_16 | SANSM_ALD1 | 354 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_16 | WEBBS_ALD1 | 354 | 354 | 342 | 0 | 0 | 0 | 0 | 300 | 300
HE_17 | AR_ALD1 | 355 | 355 | 343 | 0 | 0 | 0 | 2 | 300 | 300 |  | 313.808
HE_17 | BOERNE_ALD1 | 355 | 267 | 0 | 0 | 267 | 0 | 1 | 0.337 |  | 30 | 18.708
HE_17 | MIDNT_ALD1 | 355 | 0 | 0 | 0 | 0 | 0 | 0
HE_17 | SANSM_ALD1 | 355 | 0 | 0 | 0 | 0 | 0 | 0
HE_17 | WEBBS_ALD1 | 355 | 355 | 343 | 0 | 0 | 0 | 0 | 300 | 300
HE_18 | AR_ALD1 | 352 | 352 | 329 | 0 | 0 | 0 | 0 | 300 | 300
HE_18 | BOERNE_ALD1 | 352 | 243 | 0 | 0 | 0 | 0 | 83 | 59.83 |  |  | 96.986
HE_18 | MIDNT_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0
HE_18 | SANSM_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0
HE_18 | WEBBS_ALD1 | 352 | 352 | 329 | 0 | 0 | 0 | 0 | 300 | 300
HE_19 | AR_ALD1 | 349 | 349 | 336 | 0 | 0 | 0 | 0 | 300 | 300
HE_19 | BOERNE_ALD1 | 349 | 240 | 0 | 0 | 0 | 0 | 111 | 30.287 |  |  | 79.956
HE_19 | MIDNT_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_19 | SANSM_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_19 | WEBBS_ALD1 | 349 | 349 | 336 | 0 | 0 | 0 | 0 | 300 | 300
HE_20 | AR_ALD1 | 350 | 350 | 338 | 0 | 0 | 0 | 2 | 301.042 | 301.079 |  | 707.625
HE_20 | BOERNE_ALD1 | 350 | 241 | 0 | 0 | 0 | 0 | 109 | 30 |  |  | 86.536
HE_20 | MIDNT_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0
HE_20 | SANSM_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0
HE_20 | WEBBS_ALD1 | 350 | 350 | 338 | 0 | 0 | 0 | 1 | 300.166 | 300.172 |  | 763.247
HE_21 | AR_ALD1 | 350 | 350 | 338 | 0 | 0 | 0 | 0 | 303.579 | 300
HE_21 | BOERNE_ALD1 | 350 | 241 | 0 | 0 | 0 | 0 | 94 | 29.914 |  |  | 81.944
HE_21 | MIDNT_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0
HE_21 | SANSM_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0
HE_21 | WEBBS_ALD1 | 350 | 350 | 338 | 0 | 0 | 0 | 0 | 300 | 300
HE_22 | AR_ALD1 | 349 | 349 | 325 | 0 | 0 | 0 | 0 | 300 | 300
HE_22 | BOERNE_ALD1 | 349 | 241 | 0 | 0 | 0 | 0 | 73 | 29.885 |  |  | 76.326
HE_22 | MIDNT_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_22 | SANSM_ALD1 | 349 | 0 | 0 | 0 | 0 | 0 | 0
HE_22 | WEBBS_ALD1 | 349 | 349 | 336 | 0 | 0 | 0 | 0 | 300 | 300
HE_23 | AR_ALD1 | 348 | 348 | 214 | 0 | 0 | 0 | 0 | 300 | 300
HE_23 | BOERNE_ALD1 | 348 | 240 | 0 | 0 | 0 | 0 | 46 | 30 |  |  | 74.044
HE_23 | MIDNT_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | SANSM_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | WEBBS_ALD1 | 348 | 348 | 325 | 0 | 0 | 0 | 0 | 300 | 300
HE_24 | AR_ALD1 | 348 | 348 | 17 | 0 | 0 | 0 | 0 | 300 | 300
HE_24 | BOERNE_ALD1 | 348 | 20 | 0 | 0 | 0 | 0 | 0 | 549.451
HE_24 | MIDNT_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0
HE_24 | SANSM_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_24 | WEBBS_ALD1 | 348 | 348 | 27 | 0 | 0 | 0 | 0 | 300 | 300