| Date: | April 13, 2026 |
| --- | --- |
| To: | Board of Directors |
| From: | Caitlin Smith, Technical Advisory Committee (TAC) Chair |
| Subject: | Unopposed Revision Requests Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: April 20-21, 2026 Item No.: 13.1

Issue: Consideration of the following Revision Requests: Nodal Protocol Revision Requests (NPRRs), Other Binding Document Revision Request (OBDRR), and Planning Guide Revision Request (PGRR), and Verifiable Cost Manual Revision Request (VCMRR) (with no opposing votes recorded): - NPRR1275, Expansion of Qualifying Pipeline Definition for Firm Fuel Supply Service in Phase 3 - NPRR1313, Adjustment to the Calculation of the Initial Standby Cost for RMR Resources - NPRR1314, Planning Guide Glossary Transition - NPRR1323, Correction to Inadvertent Removal of Real-Time MCPC Capping for NPRR1290 Phase 2 - URGENT - OBDRR055, Revisions to Non-Spinning Reserve Deployment and Recall Procedure for RTC+B - PGRR139, Related to NPRR1314, Planning Guide Glossary Transition; and - VCMRR047, Related to NPRR1314, Planning Guide Glossary Transition

Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote; (ii) For NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Board Review is required of all TAC Reports and Impact Analyses (Protocol Section 21.3.10) - NPRR1275, Expansion of Qualifying Pipeline Definition for Firm Fuel Supply Service in Phase 3 Sponsor: ERCOT Revision Description: This NPRR replaces the definition for Firm Fuel Supply Service (FFSS) Qualifying Pipeline with the definition recommended for approval by the TAC in NPRR1169, Expansion of Generation Resources Qualified to Provide Firm Fuel Supply Service in Phase 2 of the Service. Impact Analysis: No impact Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval TAC Report/Decision: On 3/25/26, TAC voted unanimously to recommend approval of NPRR1275 as recommended by PRS in the 3/11/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1275. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1275 and believes the market impact for NPRR1275, in line with recent discussions at the PUCT, expands the definition of FFSS Qualifying Pipeline and has the potential to increase the number of Resources able to offer into the upcoming 2025/2026 FFSS winter season. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1275. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1313, Adjustment to the Calculation of the Initial Standby Cost for RMR Resources Sponsor: ERCOT Revision Description: This NPRR changes the calculation of the Initial Standby Cost for Reliability Must Run (RMR) Resources from a constant hourly value over the term of the RMR Contract to an hourly value that could vary monthly during the term of the Agreement based on a monthly budget. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 3/25/26, TAC voted unanimously to recommend approval of NPRR1313 as recommended by PRS in the 3/11/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1313. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1313 and believes the changes to the calculation of the Initial Standy Cost for RMR Resources ensure that each month’s initial cost reflects the anticipated budget for that month and will allow for more predictability for Qualified Scheduling Entities (QSEs). IMM Opinion: IMM has no opinion on NPRR1313. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1314, Planning Guide Glossary Transition Sponsor: ERCOT Revision Description: This NPRR relocates each term and acronym from Planning Guide Section 2, Definitions and Acronyms, to Protocol Section 2, Definitions and Acronyms, and aligns related defined acronym usage. This NPRR also eliminates the overly-general defined acronyms ‘Current Year (CY)’ and ‘Future Year (FY)’ in effort to avoid potential future confusion. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 2/25/26, TAC voted unanimously to recommend approval of NPRR1314 as recommended by PRS in the 2/11/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1314. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1314 and believes that it provides a positive market impact through general system improvements by relocating each term and acronym from Planning Guide Section 2 to Protocol Section 2 and aligning related defined acronym usage. IMM Opinion: IMM has no opinion on NPRR1314. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1323, Correction to Inadvertent Removal of Real-Time MCPC Capping for NPRR1290 Phase 2 - URGENT Sponsor: ERCOT Revision Description: This NPRR reinserts Protocol language regarding the capping of Real-Time Market Clearing Prices for Capacity (MCPCs) at the effective Value of Lost Load (VOLL) in grey-box language for NPRR1290, Gap Resolutions and Clarifications for the Implementation of RTC+B. This capping of Real-Time MCPCs is part of existing Protocol language introduced as part of NPRR1268, RTC – Modification of Ancillary Service Demand Curves, and was inadvertently not included in the development of NPRR1290. Impact Analysis: $25K - $45K Proposed Effective Date: Upon system implementation – Priority 2026; Rank 4800 TAC Report/Decision: On 3/25/26, TAC voted unanimously to recommend approval of NPRR1323 as recommended by PRS in the 3/11/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1323. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1323 and believes the market impact for NPRR1323 resolves an unintended gap in the grey-box language for NPRR1290 related to the capping of Real-Time MCPCs at VOLL and the associated reporting requirements. IMM Opinion: IMM supports NPRR1323. Key Documents (including comments, ballots, reports and impact analyses) - OBDRR055, Revisions to Non-Spinning Reserve Deployment and Recall Procedure for RTC+B Sponsor: ERCOT Revision Description: This OBDRR updates the Non-Spinning Reserve Deployment and Recall Procedure Other Binding Document to align with how Non-Spinning Reserve (Non-Spin) is deployed with implementation of the Real Time Co-optimization plus Batteries (RTC+B) initiative. This OBDRR also enhances the trigger calculation that is used to recommend deployment of Non-Spin such that it takes available energy into account when assessing capability to meet the 30-minute out forecasted Load. Finally, the OBDRR includes edits to clarify and improve the document’s organization. Impact Analysis: Less than $5K Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 3/25/26, TAC voted to recommend approval of OBDRR055, as amended by the 3/11/25 ERCOT comments, and the 2/17/25 Impact Analysis. There was one abstention from the Independent Generator (Jupiter Power) Market Segment. ERCOT Opinion: ERCOT supports approval of OBDRR055. ERCOT Market Impact Statement: ERCOT staff has reviewed the OBDRR055 and believes it has a positive market impact because it aligns the Non-Spinning Reserve (Non-Spin) Deployment and Recall Procedure with RTC+B implementation, enhances the Non-Spin deployment trigger to better align with the RTC+B framework and the evolving needs of the ERCOT grid, and improves overall grid reliability by improving the situational awareness of the ERCOT System Operators during the deployment and recall of Non-Spin. IMM Opinion: IMM has no opinion on OBDRR055. Key Documents (including comments, ballots, reports and impact analyses) - PGRR139, Related to NPRR1314, Planning Guide Glossary Transition Sponsor: ERCOT Revision Description: This PGRR relocates each term and acronym from Planning Guide Section 2, Definitions and Acronyms, to Protocol Section 2, Definitions and Acronyms, and aligns related defined acronym usage. This PGRR also removes the seldom-used acronyms ‘Current Year (CY)’ and ‘Future Year (FY)’ in effort to avoid potential language confusion. Impact Analysis: No impact (There are no additional impacts to this PGRR beyond what was captured in the Impact Analysis for NPRR1314.) Proposed Effective Date: Upon implementation of NPRR1314 TAC Report/Decision: On 2/25/26, TAC voted unanimously to recommend approval of PGRR139 as recommended by ROS in the 2/5/26 ROS Report. ERCOT Opinion: ERCOT supports approval of PGRR139. ERCOT Market Impact Statement: ERCOT Staff has reviewed PGRR139 and believes that it provides a positive market impact through general system improvements by relocating each term and acronym from Planning Guide Section 2 to Protocol Section 2 and aligning related defined acronym usage. IMM Opinion: IMM has no opinion on PGRR139. Key Documents (including comments, ballots, reports and impact analyses) - VCMRR047, Related to NPRR1314, Planning Guide Glossary Transition Sponsor: ERCOT Revision Description: This VCMRR removes the association between the term “long-term service agreement” and the acronym “LTSA” which, in Planning Guide Section 2.2, represents the term “Long-Term System Assessment”. Impact Analysis: No impact (There are no additional impacts to this PGRR beyond what was captured in the Impact Analysis for NPRR1314.) Proposed Effective Date: Upon implementation of NPRR1314 TAC Report/Decision: On 2/25/26, TAC voted unanimously to recommend approval of VCMRR047 as recommended by WMS in the 2/4/26 WMS Report. ERCOT Opinion: ERCOT supports approval of VCMRR047. ERCOT Market Impact Statement: ERCOT Staff has reviewed VCMRR047 and believes that it provides a positive market impact through general system improvements by removing the association between the term “long-term service agreement” and the acronym “LTSA” which, in Planning Guide Section 2.2, represents the term “Long-Term System Assessment”. Independent Market Monitor (IMM) Opinion: IMM has no opinion on VCMRR047. Key Documents (including comments, ballots, reports and impact analyses) The TAC Reports and Impact Analyses for these Revision Requests are included in the ERCOT Board meeting materials. In addition, these Revision Requests and supporting materials are posted on the ERCOT website.

Key Factors Influencing Issue: The TAC met and discussed the issues regarding OBDRR055. The PRS met, discussed the issues, and submitted reports to TAC regarding NPRRs 1275, 1313, 1314, and 1323. The ROS met, discussed the issues, and submitted reports to TAC regarding PGRR139. The WMS met, discussed the issues, and submitted reports to TAC regarding VCMRR047.

Conclusion/Recommendation: As more specifically described above, TAC recommends that the Board recommend approval of NPRRs 1275, 1313, 1314, 1323; OBDRR055; PGRR139; and VCMRR047.

## ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

## BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to recommend approval of the following Nodal Protocol Revision Requests (NPRRs), Other Binding Document Revision Request (OBDRR), and Planning Guide Revision Request (PGRR), and Verifiable Cost Manual Revision Request (VCMRR):

- NPRR1275, Expansion of Qualifying Pipeline Definition for Firm Fuel Supply Service in Phase 3

- NPRR1313, Adjustment to the Calculation of the Initial Standby Cost for RMR Resources

- NPRR1314, Planning Guide Glossary Transition

- NPRR1323, Correction to Inadvertent Removal of Real-Time MCPC Capping for NPRR1290 Phase 2 - URGENT

- OBDRR055, Revisions to Non-Spinning Reserve Deployment and Recall Procedure for RTC+B

- PGRR139, Related to NPRR1314, Planning Guide Glossary Transition; and

- VCMRR047, Related to NPRR1314, Planning Guide Glossary Transition

THEREFORE, BE IT RESOLVED, that the ERCOT Board hereby recommends approval of NPRRs 1275, 1313, 1314, 1323; OBDRR055; PGRR139; and VCMRR047.

## CORPORATE SECRETARY’S CERTIFICATE

I, Brandon Gleason, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its ___________ meeting, the Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of ______________, 2026.

______________________________

Brandon Gleason

Assistant Corporate Secretary