| NPRR Number | 1308 | NPRR Title | Board Priority - Related to NOGRR282, Large Electronic Load Ride-Through Requirements |
| --- | --- | --- | --- |
| Date |  | April 13, 2026 |  |
| Submitter’s Information |  |  |  |
| Name |  | Patrick Gravois |  |
| E-mail Address |  | Patrick.Gravois@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-4695 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

As submitted, Nodal Operating Guide Revision Request (NOGRR) 282, Board Priority - Large Electronic Load Ride-Through Requirements, and its related Nodal Protocol Revision Request (NPRR) 1308 propose a new term,  Large Electronic Load (LEL), in order to subdivide the broader term, Large Load, to better delineate the unique characteristics of certain Large Loads and better define their expected operating behaviors.

However, another term within the Protocols, Low Emergency Limit, which is utilized within the Current Operating Plan (COP), already uses the acronym “LEL”.

To resolve the conflict and avoid confusion, these comments, along with companion comments to NOGRR282, revise the new Large Load term to be “Large Computational Load (LCL)” instead of “Large Electronic Load (LEL)”.

Revised Cover Page Language

| NPRR Number | 1308 | NPRR Title | Board Priority - Related to NOGRR282, Large Computational Load Ride-Through Requirements |
| --- | --- | --- | --- |
| Revision Description |  | This NPRR defines Large Computational Load (LCL). |  |
| Justification of Reason for Revision and Market Impacts |  | The LCL definition is needed to differentiate this type of load from other types of Large Loads. Due to the unique characteristics of LCLs, they require specific rules, such as frequency and voltage ride-through requirements. |  |

Revised Proposed Protocol Language

## 2.1	DEFINITIONS

## Large Load

One or more Facilities at a single site with an aggregate peak Demand greater than or equal to 75 MW behind one or more common Points of Interconnection (POIs) or Service Delivery Points.

Large Computational Load (LCL)

A Large Load in which 50% or greater of the Demand at the site consists of power electronic based load, specifically computational load, such as data centers and cryptocurrency mining facilities.

## 2.2	ACRONYMS AND ABBREVIATIONS

LCL	Large Computational Load