| NPRR Number | 1308 | NPRR Title | Board Priority - Related to NOGRR282, Large Computational Load Ride-Through Requirements |
| --- | --- | --- | --- |
| Date of Decision |  | April 15, 2026 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Urgent – On 12/8/25, the Board designated Nodal Protocol Revision Request (NPRR) 1308 a Board Priority Revision Request. |  |
| Estimated Impacts |  | Cost/Budgetary: None Project Duration: No project required |  |
| Proposed Effective Date |  | Upon system implementation of Nodal Operating Guide Revision Request (NOGRR) 282, Board Priority - Large Computational Load Ride-Through Requirements |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 2.2, Acronyms and Abbreviations |  |
| Related Documents Requiring Revision/Related Revision Requests |  | NOGRR282 |  |
| Revision Description |  | This NPRR defines Large Computational Load (LCL). |  |
| Reason for Revision |  | Strategic Plan Objective 1 – Be an industry leader for grid reliability and resilience Strategic Plan Objective 2 - Enhance the ERCOT region’s economic competitiveness with respect to trends in wholesale power rates and retail electricity prices to consumers Strategic Plan Objective 3 - Advance ERCOT, Inc. as an independent leading industry expert and an employer of choice by fostering innovation, investing in our people, and emphasizing the importance of our mission General system and/or process improvement(s) Regulatory requirements ERCOT Board/PUCT Directive (please select ONLY ONE – if more than one apply, please select the ONE that is most relevant) |  |
| Justification of Reason for Revision and Market Impacts |  | The LCL definition is needed to differentiate this type of load from other types of Large Loads. Due to the unique characteristics of LCLs, they require specific rules, such as frequency and voltage ride-through requirements. |  |
| PRS Decision |  | On 12/10/25, PRS voted unanimously to table NPRR1308 and refer the issue to ROS. All Market Segments participated in the vote. On 4/15/26, PRS voted to recommend approval of NPRR1308 as amended by the 4/13/26 ERCOT comments and to forward to TAC NPRR1308 and the 11/14/25 Impact Analysis. There was one opposing vote from the Consumer (Occidental) Market Segment. All Market Segments participated in the vote. |  |
| Summary of PRS Discussion |  | On 12/10/25, ERCOT Staff provided an overview of NPRR1308. Participants requested additional review by ROS alongside the related NOGRR282. On 4/15/26, participants noted the ROS endorsement of NPRR1308 and reviewed the 4/13/26 ERCOT comments. |  |

| Opinions |  |
| --- | --- |
| Credit Review | To be determined |
| Independent Market Monitor Opinion | To be determined |
| ERCOT Opinion | To be determined |
| ERCOT Market Impact Statement | To be determined |

| Sponsor |  |
| --- | --- |
| Name | Patrick Gravois |
| E-mail Address | Patrick.Gravois@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4695 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Google 120425 | Presented discussion topics related to NPRR1308 and system operating limits |
| ERCOT 121025 | Responded to the 12/4/25 Google comments |
| ROS 010826 | Requested PRS continue to table NPRR1308 |
| Data Center Coalition 020926 | Raised concerns with the proposed definition within NPRR1308 |
| ROS 040826 | Endorsed NPRR1308 as submitted |
| ERCOT 041326 | Replaced uses of “Large Electronic Load (LEL)” with “Large Computational Load (LCL)” to avoid conflicts with the existing term, Low Emergency Limit (LEL). |

Market Rules Notes

None

Proposed Protocol Language Revision

## 2.1	DEFINITIONS

## Large Load

One or more Facilities at a single site with an aggregate peak Demand greater than or equal to 75 MW behind one or more common Points of Interconnection (POIs) or Service Delivery Points.

### Large Computational Load (LCL)

A Large Load in which 50% or greater of the Demand at the site consists of power electronic based load, specifically computational load, such as data centers and cryptocurrency mining facilities.

## 2.2	ACRONYMS AND ABBREVIATIONS

LCL	Large Computational Load