| PGRR Number | 145 | PGRR Title | Batch Zero Process for Large Load Interconnections |
| --- | --- | --- | --- |
| Date |  | April 22, 2026 |  |

| Submitter’s Information |  |
| --- | --- |
| Name | Grant Huber |
| E-mail Address | grant@wiseadv.com |
| Company | Wise Energy Resources Ltd |
| Phone Number |  |
| Cell Number | (847) 727-9163 |
| Market Segment | Not applicable |

Comments

Wise Energy Resources Ltd (Wise) appreciates the opportunity to file these comments on Planning Guide Revision Request (PGRR) 145.  Wise owns over 3 GW of Large Load projects which have been under active development since 2023 in ERCOT North and Houston Zones. Several of these projects plan to develop load and generation at the same location.  Wise affiliates own over 200,000 acres, with much of that acreage located in the Permian Basin.

Wise supports the revisions to PGRR145 proposed by Joint Commenters on April 21, 2026 (PGRR145-49), especially the proposed addition of Planning Guide §9.2.1.2(1)(D).  This provision would allow a Large Load that elects to be studied with a zero MW import limit and is co-located with a new Resource to qualify to be studied in Batch Zero and be subject to reliability assessment and allocation.  As a practical matter, this is the least impactful form of “Bring Your Own Generation” (BYOG) that can be proposed - the load will have no impact on the transmission grid through its zero import limit, while the Resource is studied through the normal Generation Interconnection or Modification (GINR) process pursuant to Planning Guide Section 5.

From a commercial standpoint, enabling a load to go through the Batch Zero process and be awarded a zero MW import limit will facilitate the ability of the new Generation Resource and the Large Load customer to simultaneously move forward in their development process.  In these joint developments, the new Generation Resource depends on the future consumption by the Large Load customer to support its ability to finance the construction of the Resource.  As a result, initial approval of the Large Load, even with a zero MW import limit, through the Batch Zero process will allow the Large Load customer to confirm its ability to move forward with its development process on a timeline that coincides with the development of the Resource, ensuring that the Large Load is ready to consume energy from the Resource when it achieves commercial operation.  Thus, this approach will facilitate the development of new Generation Resources in ERCOT.

Revised Cover Page Language

None

Revised Proposed Guide Language

None