## Slide 1: Data and Information Products Update Jamie Lavas April 2026
Key Takeaways
Open Product Issue Recap & Upcoming Release Changes
Outline:
Product Issues
On-Cycle Release 4 (04/29-04/30)
On-Cycle Release 5 (05/27-05/28)
DRAFT On-Cycle Release 6 (06/24-06/25)
Future On-Cycle Release 7 (July)
Future On-Cycle Release 8 (August)
Future On-Cycle Release 9 (Sept)
Future On-Cycle Release 10 (Oct)
Future On-Cycle Release 11 (Dec)

## Slide 2: Open Product Issues
Release # | Summary of Issue | Issue Details
1 | Consolidated Transmission Outage Report | Dates Affected: Several posting days April 2 - April 7 Issue: Issues with data submissions where commas were utilized in the Global Index field resulting in values being dispersed into columns throughout the report Resolution: ERCOT Client Services worked with the MP to ensure commas were removed from future submissions. ERCOT business is working with the vendor to determine if error validation can be applied to the field on the submission side
2 | Intermittent database issue resulting in missing Actual Generation Data for certain CDR products | Dates Affected: 04/03/2026 0900 Interval Issue: Certain CDR products providing Actual Generation data were missing values during the identified timeframe EMIL ID Product Name np6-346-cd Actual System Load by Forecast Zone np6-344-cd Actual System Load by Study Area np6-345-cd Actual System Load by Weather Zone gen-55-cd Hourly Real-Time Load vs. Actual Report np4-738-cd Solar Power Production - Actual 5-Minute Averaged Values np4-746-cd Solar Power Production - Actual 5-Minute Averaged Values by Geographical Region np4-737-cd Solar Power Production - Hourly Averaged Actual and Forecasted Values np4-745-cd Solar Power Production - Hourly Averaged Actual and Forecasted Values by Geographical Region np4-733-cd Wind Power Production - Actual 5-Minute Averaged Values np4-743-cd Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region np4-732-cd Wind Power Production - Hourly Averaged Actual and Forecasted Values np4-742-cd Wind Power Production - Hourly Averaged Actual and Forecasted Values by Geographical Region

## Slide 3: Release Summary of Product Changes
Release # | Summary of Change | Change Details
4 | Removal of Extra Spaces from CDR Report | The following reports contain extra spaces in columns or rows that will be removed Removal of extra row with spaces after last row of data from: Summary Report of HDL and LDL ¦ NP6-915-CD ¦ Rpt ID 13081 State Estimator Load Report - Total ERCOT Generation ¦ NP6-625-CD ¦ Rpt ID 12358
4 | Additional public products added to the ERCOT Data Portal | The following data products will be added to the ERCOT Data Portal for public API access: State Estimator Load Report - Total ERCOT Generation¦ NP6-625-CD ¦ Rpt ID 12358 State Estimator Load Report – DC Ties Flows¦ NP6-626-CD ¦ Rpt ID 12359 Summary Report of HDL and LDL ¦ NP6-915-CD ¦ Rpt ID 13081 Real-Time Price for SOG ¦ NP6-326-CD ¦ Rpt ID 21115 TDSP ESIID Extract¦ ZP15-612 ¦ Rpt ID 203 Hourly Balancing Authority Operations Report ¦ EIA-930-CD ¦ Rpt ID 13457 Hourly RUC Active and Binding Transmission Constraints¦ NP5-755-CD ¦ Rpt ID 12336 RTM Price Corrections for LMPs by SOG Including Price Adders ¦ NP4-197-M ¦ Rpt ID 13045
4 | RTC Cleanup: RTM Price Corrections for LMPs by SOG Including Price Adders Public ¦ NP4-197-M ¦ Rpt ID 13045 | Remove columns: RTORPA_ORIG, RTORPA_CORR

## Slide 4: Release Summary of Product Changes
Release # | Summary of Change | Change Details
4 | Public Dashboard Legacy URL Link Removals | Legacy URLs for the following dashboards will be disabled: System Ancillary Services Capacity Monitor: https://www.ercot.com/content/cdr/html/as_capacity_monitor.html Capacity Available to SCED: https://www.ercot.com/content/cdr/html/scedUpDown_currentDay.html https://www.ercot.com/content/cdr/html/scedUpDown_previous90Minutes.html https://www.ercot.com/content/cdr/html/scedUpDown_previousDay1.html https://www.ercot.com/content/cdr/html/scedUpDown_previousDay2.html https://www.ercot.com/content/cdr/html/scedUpDown_previousDay3.html The RTC updated dashboards will remain available at the existing URLs: https://www.ercot.com/gridmktinfo/dashboards/ancillaryservicecapacitymonitor https://www.ercot.com/gridmktinfo/dashboards/capacityavailablesced

## Slide 5: Release Summary of Product Changes
Release # | Summary of Change | Change Details
5 | Update Column Names: 60-Day SCED Disclosure Report Public ¦ NP3-965-ER ¦ Rpt ID 13052 | Add the missing R to the end of the RRS sub-types in each of the following reports on the ERCOT Public and ERCOT Data Portal: 60-Day Load Resource Data in SCED: AS Capability RRSPFR, AS Capability RRSFFR, AS Capability RRSUFR 60-Day Generation Resource Data in SCED: AS Capability RRSPFR, AS Capability RRSFFR 60-Day ESR Data in SCED: AS Capability RRSPFR, AS Capability RRSFFR
5 | Report Renames for EMIL/MIS | NP1-302 ¦ Rpt ID 10039 Rename from AS Obligation and Responsibility to Ancillary Service Obligations Report NP8-544-ER ¦ Rpt ID23363 Rename from Monthly Deployment Performance QSE Summary Report for Non-CLRs Providing RRS and ECRS to Monthly Deployment Performance QSE Summary Report for Non-CLRs Providing RRS, ECRS, and NSPIN
5 | NP8-544-ER ¦ Rpt ID 23363 Report Changes | NP8-544-ER ¦ Rpt ID 23363 Report Rename : Monthly Deployment Performance QSE Summary Report for Non-CLRs Providing RRS and ECRS, and NSPIN Modify Report to include NSPIN and Addition of NSPIN_PERT Tab

## Slide 6: Release Summary of Product Changes
Release # | Summary of Change | Change Details
5 | Additional public products added to the ERCOT Data Portal | The following data products will be added to the ERCOT Data Portal for public API access: Hourly RMR Services Deployed ¦ NP5-108-CD ¦ Rpt ID 10016 DAM Electrically Similar Settlement Points¦ NP4-158-SG ¦ Rpt ID 13058 Confidentiality Expired Adjusted Meter Load Report¦ NP1-300 ¦ Rpt ID 12360 Exceptional Fuel Cost Submission Report ¦ NP4-494-ER ¦ Rpt ID 24276
5 | Additional archive files added to existing ERCOT Data Portal products | The following data products will have data backfilled with Historical and Monthly Archive files Real-Time Price for SOG ¦ NP6-326-CD 21115 Hourly Balancing Authority Operations Report ¦ EIA-930-CD ¦ Rpt ID 13457 Hourly RUC Active and Binding Transmission Constraints ¦ NP5-755-CD ¦ Rpt ID 12336
Off-Cycle | RTC Updates: Ancillary Service Obligations Report Public ¦ NP1-302 ¦ Rpt ID 10039 | Report Rename and Responsibility column removals: Reg Up Responsibility Reg Down Responsibility RRS Responsibility NSPIN Responsibility ECRS Responsibility First Run Date: 06/03/2026

## Slide 7: Release Summary of Product Changes
Release # | Summary of Change | Change Details
6 | CDR Report Changes | Available Resource Planned Outage Capacity Margin_7 Day ¦ NP3-162-CD ¦ 22469 Available Resource Planned Outage Capacity Margin_7 Day Plus¦ NP3-161-CD ¦ 22470 Column Additions: ESR MDRPOC MW Value for each hour: ResourcePOLESR Total HSL of Approved Planned ESR outages: AggApprovedResourcePOLESR Total HSL of Received Planned ESR outages: AggReceivedResourcePOLESR Column Renames:
6 | CDR Report Changes | NP6-625-CD ¦ Rpt ID 12358 State Estimator Load Report - Total ERCOT Generation Rename Column: DSTFlag renamed to RepeatedHourFlag

## Slide 8: Release Summary of Product Changes
Release # | Summary of Change | Change Details
6 | Additional public products added to the ERCOT Data Portal | The following data products will be added to the ERCOT Data Portal for public API access: Load Estimation Counts – Public ¦ COPG-316 ¦ Rpt ID 11130 DAM PTP Obligation Results by Settlement Point ¦ NP4-194-CD¦ Rpt ID 13042 Weather Assumptions ¦ NP4-722-CD ¦ Rpt ID 12325 Day Ahead Point-to-Point Option Price Report ¦ NP7-464-CD ¦ Rpt ID 10042 Peaker Net Margin ¦ NP4-790-CD ¦ Rpt ID 12348

## Slide 9: Questions/Comments?
Jlavas@ercot.com