## Slide 1
EdgeTunePower
WWW.EDGETUNEPOWER.COM

## Slide 2
Large Loads and System Stability
AI loads and network stability challenges
AI loads and generator shaft fatigue
AI load smoothing with Energy Storage
  Parallel
  In-line UPS
Considerations for early-stage technology selection
Live demo of Data Center Test-bed (digital twin in Real Time)

## Slide 3
Why, When, Where, How much

## Slide 4
Beauty comes from differences and harmony
What if they all just play one note?!
A well-known technique for Horror movies OST

## Slide 5: Magnitude and Frequency of oscillation

## Slide 6: Location, Location, and Location
Land
Transmission Capacity
Available Power
Network
Site Selection

## Slide 7: Nearby facility
Land
Transmission Capacity
Available Power
Network
Site Selection

## Slide 8: The Handshake (Oscillations)
Land
Transmission Capacity
Available Power
Network
Site Selection

## Slide 9: Energy storage could help in load smoothing
36 Hz
16 Hz
26 Hz

## Slide 10
36 Hz
16 Hz
26 Hz
Energy storage could help in load smoothing

## Slide 11: Energy Storage for load smoothing
Land
Transmission Capacity
Available Power
Network
Site Selection

## Slide 12
Early-Stage Technology Selection
Offline Electro Magnetic Transient (EMT) Studies
Less than 10 MW
EMT simulation

## Slide 13
Early-Stage Technology Selection
Real controller testing
Around30 MW
Hardware in the loop simulation

## Slide 14
What went wrong?
Milliseconds of delay can drastically change the results
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec

## Slide 15
Milliseconds of delay can drastically change the results
DNP3, MODBUS TCP/RTU, IEC-61850, IEEE C37 (Synchro phasor)
Differences in simulation and actual controllers
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
Communication Delay

## Slide 16
Nondeterministic (it could be anything)
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
20 msec
10 msec
Communication Delay

## Slide 17: Parallel setup
In-line (UPS) setup
Novel approach available in the market

## Slide 18: Parallel setup
20 ms delay
No delay
Parallel BESS (30 MW peak Seen at the POI)
In Line UPS BESS (Contant Power at the POI)
In-line (UPS) setup

## Slide 19: How to quantify and make decision? (it is Mechanical not Electrical)
Using the stress-lifespan approach, we developed a module in PSCAD to estimate the degradation of the lifespan caused by SSTI.
The module takes the torque signal form PSCAD, and uses the mechanical information inputted by the user to estimate lifespan degradation.
Generator type, shaft model and materials, load factor, surface factor, stress damping and correction, etc.

## Slide 20
Offline EMT can do the perfect job if we consider:
Accurate modeling
Benchmarking with Real Controller
Communication mediums must be considered
Long simulation might be needed (couple of minutes)
Several Scenarios must be considered

## Slide 21: Hardware in the loop testing and live demonstration (data center Testbed)

## Slide 22
as
THANK YOU
WWW.EDGETUNEPOWER.COM
Empowering Your Business At the Edge
s.maleki@edgetunepower .com
a.ghasaei@edgetunepower.com