## Slide 1: Strategic Discussion on Resource Adequacy and the Role of Demand Response Keith Collins Vice President, Commercial Operations Technical Advisory Committee Meeting April 29, 2026
Key Takeaways
ERCOT Board sees Demand Response as key resource to meet resource adequacy.
Charles River Associates Demand Response report has some proposed revisions to ERCOT Demand Response programs.
Discussions to occur on moving Demand Response solutions forward.
Purpose
Discuss the ERCOT Board’s view of Demand Response to address short and mid-term supply limitations; overview of the Charles River Associates Demand Response report; and next steps.
For information only
No action is requested; for discussion only.

## Slide 2: Strategic Challenges to ERCOT System
2
Even at the low end, loads are forecast to grow at significant rates in coming years
Supply chains limit short and mid-term options to meet growing demand
Combined, these challenges highlight the need for a range of solutions to ensure grid reliability and resource adequacy

## Slide 3: Strategic Demand Response Questions
3
Can demand response help address near-term resource adequacy concerns?
Are current demand response incentives aligned with system needs?
Can residential demand response be efficiently tapped to help address reliability?
Can existing demand response programs be improved to enhance efficiencies and expand potential?
Based on Board Discussion 04/21/26

## Slide 4: Examination of Short-Term Demand Response Solutions
4
Given the potential of demand response, ERCOT reached out to Charles River Associates to provide a high-level overview and examination of current and proposed programs within the ERCOT system, and to provide a comparison with other regions.

## Slide 5: Key Challenges identified in Charles River Associates report
ERCOT system faces scarcity as demand is expected to outpace new generation.
The 4CP transmission cost allocation method drives most demand response in ERCOT but does not correspond to the system's highest net-load peaks.
Retail demand response programs exist in the ERCOT region but are not integrated with wholesale markets or operations.
Emergency Response Service (ERS) inclusion of highly price-sensitive resources (primarily crypto miners) is driving ERS clearing prices to potentially inefficiently low levels.
The Aggregate Distributed Energy Resource (ADER) pilot has broadened opportunities for distribution-connected DER aggregations to engage in ERCOT markets; however, technical and participation challenges are likely to slow wider implementation.

## Slide 6: Key Takeaways from Charles River Associates report
Demand response offers a near-term solution to resource adequacy challenges.
Improved alignment of retail demand response could enhance reliability in nearer timeframes, especially given current needs.
ERCOT's proposed residential demand response (RDR) program fills a critical gap by systematically targeting net-load peaks across all seasons, addressing the absence of retail demand response programs focused on year-round system needs.
ERCOT's proposed RDR compensation rate (up to $105,000/MW-year initially) is roughly comparable to retail demand response rates in CAISO, though the RDR is not a guaranteed-payment capacity product.
Protocol reforms may be needed for ERS to address self-deployment.

## Slide 7: ERCOT Conclusions
Demand response could be a critical reliability bridge solution because load growth is forecast to outpace generation development.
Demand response can be deployed faster than new most generation and is the most immediate tool available.
Current demand response is misaligned.
The 4CP methodology drives large reductions during summer peak hours but not during net-load peaks — the intervals when the system is actually most stressed, including evenings and non-summer months. Additionally, these load reductions can not address needs in non-summer months.
Existing programs such as ERS and ADER can be enhanced to improve efficiencies and effectiveness.
Targeting and promoting residential demand response fills a gap in existing demand response programs.
Charles River Associates supports the targeting of residential demand response.
Charles River Associates noted that incentive premiums are warranted to overcome barriers to retail demand response participation in wholesale markets. Thus, continuing to incentivize retail demand response in the same way will likely not lead to meaningful growth in participation.
Address inefficient ERS pricing caused by highly price sensitive resource participation.
Enhance ADER pricing to better target congestion and codify program in Protocols.

## Slide 8: Next Steps
8
ERCOT will identify any near-term implications to current or proposed programs
ERCOT will work with the PUC and seek further guidance as appropriate
ERCOT will work with stakeholders to enhance and promote demand response solutions, including residential demand response
ERCOT will evaluate both residential demand response and DRRS+ as part of the Reliability Standard Assessment Study process
8
Key Takeaway: ERCOT intends to enhance and promote demand response programs with regulators and stakeholders.

## Slide 9: Questions/Comments?
Keith.Collins@ercot.com