## Slide 1: Revision Request Summary for 4/29/26 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NPRR1302, Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms | General system and/or process improvement(s) | No impact (impacts captured by PR461, Customer Service Management (CSM) Phase) | ERCOT supports approval of NPRR1302. ERCOT Staff has reviewed NPRR1302 and believes it facilitates streamlined digital processing of certain forms regarding data changes and compliance attestations, and supports efforts to reduce administrative costs, minimize email-based risks, and decrease manual data processing errors. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1302 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1302
NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1306. ERCOT Staff has reviewed NPRR1306 and believes that it provides a positive market impact and general system improvement through the replacement of Digital Certificates with more technology-neutral means whereby restricted MIS access is granted to certain Market Participant users by each individual Market Participant’s USA. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1306 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1306
NPRR1308, Board Priority - Related to NOGRR282, Large Computational Load Ride-Through Requirements – URGENT | Strategic Plan Objective 1 | No impact (impacts captured by NOGRR282) | ERCOT supports approval of NPRR1308. ERCOT Staff has reviewed NPRR1308 and believes the market impact for NPRR1308, along with NOGRR282, provides necessary requirements to reduce the reliability risk posed by Large Computational Loads (LCLs) unexpectedly tripping or transferring to backup generation when frequency and voltage excursions within a specified range occur. Without these requirements, events involving LCL loss would increase in magnitude, potentially leading to system frequency and voltage instability. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1308 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1308
NPRR1309, Board Priority - Dispatchable Reliability Reserve Service Ancillary Service – URGENT | Regulatory Requirements | Between $3.0M and $5.0M | ERCOT supports approval of NPRR1309. ERCOT Staff has reviewed NPRR1309 and believes the market impact for NPRR1309, along with NOGRR283, meets the statutory obligation to create DRRS pursuant to Public Utility Regulatory Act § 39.159(d) | See 4/28/26 Credit WG comments | IMM opposes NPRR1309
NPRR1318, Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1318. ERCOT staff has reviewed NPRR1318 and determined that the Incentive Factor should be excluded from payments for additional emissions allowance purchases and outside attorney fees approved by ERCOT, as these costs are not considered standard operational expenses. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1318 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1318

## Slide 2: Revision Request Summary for 4/29/26 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NPRR1322, 60-Day Disclosure of the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1322. ERCOT Staff has reviewed NPRR1322 and believes the inclusion and disclosure of the Ancillary Service Only Awards report with NPRR1322 aligns with the Protocols, requiring ERCOT to post Qualified Scheduling Entities (QSE) Day-Ahead Market (DAM) Offers and Awards 60 days after the applicable Operating Day. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1322 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1322
NPRR1324, Clarification of the Process to Determine RUC Warmth State | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1324. ERCOT Staff has reviewed NPRR1324 and believes it ensures the Protocols address the process for determining the startup warmth state of the block of contiguous RUC-Committed Hours. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1324 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1324
PGRR133, Clarifying Legacy Generation Breaker Control for PGRR115 Implementation – URGENT | General system and/or process improvement(s) | No impact (impacts captured by NPRR1234) | ERCOT supports approval of PGRR133. ERCOT Staff has reviewed PGRR133 and believes the market impact for PGRR133 modifies approved PGRR115 requirements in a way that provides a reasonable, temporary accommodation for existing generators with a Resource Commissioning Date on or before December 31, 2025 to maintain their current configuration until such time a modification changing or adding a POI to the facility is made. | Not applicable | IMM has no opinion on PGRR133
NOGRR282, Board Priority - Large Electronic Load Ride-Through Requirements – URGENT | Strategic Plan Objective 1 | $600K - $750K (O&M Staffing) | ERCOT supports approval of NOGRR282. ERCOT Staff has reviewed NOGRR282 and believes the market impact for NOGRR282 provides necessary requirements to reduce the reliability risk posed by Large Computational Loads (LCLs) unexpectedly tripping or transferring to backup generation when frequency and voltage excursions within a specified range occur. Without these requirements, events involving LCL loss would increase in magnitude, potentially leading to system frequency and voltage instability. | Not applicable | IMM has no opinion on NOGRR282
NOGRR283, Board Priority - Related to NPRR1309, Dispatchable Reliability Reserve Service Ancillary Service – URGENT | Regulatory Requirements | No impact (impacts captured by NPRR1309) | ERCOT supports approval of NOGRR283. ERCOT Staff has reviewed NOGRR283 and believes the market impact for NOGRR283, along with NPRR1309, meets the statutory obligation to create DRRS pursuant to Public Utility Regulatory Act § 39.159(d). | Not applicable | IMM has no opinion on NOGRR283

## Slide 3: Revision Request Summary for 4/29/26 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NOGRR281, Related to NPRR1307, Revised Definition of Mitigation Plan | General system and/or process improvement(s) | No impact (impacts captured by NPRR1307) | ERCOT supports approval of NOGRR281. ERCOT Staff has reviewed NOGRR281 and believes it modifies when an approved Mitigation Plan can be executed, allowing for the use of pre-contingency actions under specific conditions that threaten grid reliability, and clarifies when a Transmission Operator (TO) can execute the plan without instruction from ERCOT. | Not applicable | Awaiting NPRR1307