## Slide 1
Item 5: PRS Report
Diana Coleman
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
April 29, 2026

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1302, Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms
NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access
NPRR1318, Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs
NPRR1322, 60-Day Disclosure of the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards
NPRR1324, Clarification of the Process to Determine RUC Warmth State

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR1308, Board Priority - Related to NOGRR282, Large Computational Load Ride-Through Requirements – URGENT
  IA: No Impact Priority N/A; Rank N/A
NPRR1309, Board Priority - Dispatchable Reliability Reserve Service Ancillary Service
  IA: Between $3.0M and $5.0M Priority 2026; Rank 440

## Slide 4: Appendix

## Slide 5: NPRR1302, Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms
Sponsor: ERCOT
Proposed Effective Date: Upon implementation of PR461, Customer Service Management (CSM) Phase 2
Estimated Impacts: No impact (There are no additional impacts to this NPRR beyond what was captured in project PR461)
Revision Description: This NPRR introduces a new portal for Market Participants (the Market Participant Service Portal) designed to automate interactions between ERCOT and Market Participants currently managed via email-based communications and manual processes over the next few years. This NPRR changes Protocol language to require Market Participants to submit certain forms to ERCOT directly through the online portal, rather than submitting those forms via email, with the long-term goal being that all forms from MPs would eventually be submitted through the Market Participant Service Portal rather than submitted via email. Specifically, his NPRR moves the submission of Section 23 Form E: Notice of Change of Information, and Section 23 Form S: Reporting and Attestation Regarding Purchase of Critical Electric Grid Equipment (CEGE) and Critical Electric Grid Services (CEGS) from a Lone Star Infrastructure Protection Act (LSIPA) Designated Company or LSIPA Designated Country, to the Market Participant Service Portal.
PRS Decision: On 3/11/26, PRS voted unanimously to recommend approval of NPRR1302 as amended by the 3/6/26 ERCOT comments as revised by PRS. On 4/15/26, PRS voted unanimously to endorse and forward to TAC the 3/11/26 PRS Report as amended by the 4/9/26 ERCOT comments and 9/23/25 Impact Analysis for NPRR1302.

## Slide 6: NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access
Sponsor: ERCOT
Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval
Estimated Impacts: No impact
Revision Description: This NPRR replaces the concept of “Digital Certificates” throughout the Protocols with references to more technology-neutral means whereby restricted Market Information System (MIS) access is granted to certain Market Participant users by each individual Market Participant’s User Security Administrator (USA).
PRS Decision: On 3/11/26, PRS voted unanimously to recommend approval of NPRR1306 as revised by PRS. On 4/15/26, PRS voted unanimously to endorse and forward to TAC the 3/11/26 PRS Report and 10/28/25 Impact Analysis for NPRR1306

## Slide 7: NPRR1308, Board Priority - Related to NOGRR282, Large Computational Load Ride-Through Requirements – URGENT
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation of Nodal Operating Guide Revision Request (NOGRR) 282, Board Priority - Large Computational Load Ride-Through Requirements
Estimated Impacts: No impact (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NOGRR282)
Revision Description: This NPRR defines Large Computational Load (LCL).
PRS Decision: On 4/15/26, PRS voted to recommend approval of NPRR1308 as amended by the 4/13/26 ERCOT comments and to forward to TAC NPRR1308 and the 11/14/25 Impact Analysis. There was one opposing vote from the Consumer (Occidental) Market Segment.
CFSG Review: Pending

## Slide 8: NPRR1309, Board Priority - Dispatchable Reliability Reserve Service Ancillary Service
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation – Priority 2026; Rank 440
Estimated Impacts: Between $3.0M and $5.0M
Revision Description: This NPRR develops Dispatchable Reliability Reserve Service (DRRS) as a new Ancillary Service
PRS Decision: On 4/15/26, PRS voted to recommend approval of NPRR1309 as amended by the 4/9/26 Joint Commenters comments as revised by PRS and to forward to TAC NPRR1309 and the 11/20/25 Impact Analysis with a recommended priority of 2026 and rank of 440. There were two opposing votes from the Independent Generator (Jupiter Power, Invenergy) Market Segment and four abstentions from the Independent Power Marketer (IPM) (2) (Tenaska, SENA) and Municipal (2) (Austin Energy, GEUS) Market Segments.
CFSG Review: Pending

## Slide 9: NPRR1318, Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs
Sponsor: ERCOT
Proposed Effective Date: The first of the month following PUCT approval
Estimated Impacts: No impact
Revision Description: This NPRR excludes the Incentive Factor to ERCOT-approved costs related to additional emissions allowance purchases and ERCOT-approved outside attorney fees.
PRS Decision: On 3/11/26, PRS voted unanimously to recommend approval of NPRR1318 as submitted. On 4/15/26, PRS voted unanimously to endorse and forward to TAC the 3/11/26 PRS Report and 12/23/25 Impact Analysis for NPRR1318.

## Slide 10: NPRR1322, 60-Day Disclosure of the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards
Sponsor: ERCOT
Proposed Effective Date: The first of the month following PUCT approval
Estimated Impacts: No impact
Revision Description: This NPRR corrects the absence of a report posted to the ERCOT website that discloses the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards for the applicable Operating Day 60 days prior to the current Operating Day by adding a file containing these awards in the existing 60-Day DAM Disclosure report.
PRS Decision: On 3/11/26, PRS voted unanimously to recommend approval of NPRR1322 as submitted. On 4/15/26, PRS voted unanimously to endorse and forward to TAC the 3/11/26 PRS Report and 2/20/26 Impact Analysis for NPRR1322.

## Slide 11: NPRR1324, Clarification of the Process to Determine RUC Warmth State
Sponsor: ERCOT
Proposed Effective Date: The first of the month following PUCT approval
Estimated Impacts: No impact
Revision Description: This NPRR clarifies the process currently used by ERCOT to determine the startup warmth state (i.e., hot, intermediate, or cold) of a block of contiguous Reliability Unit Commitment (RUC)-Committed Hours.
PRS Decision: On 3/11/26, PRS voted unanimously to recommend approval of NPRR1324 as submitted. On 4/15/26, PRS voted unanimously to endorse and forward to TAC the 3/11/26 PRS Report and 2/24/26 Impact Analysis for NPRR1324.

## Slide 12: 2026 Release Targets – Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
January 1/28-1/29 | February 2/25-2/26 | March 3/25-3/26 | April 4/29-4/30 | May 5/27-5/28 | June 6/24-6/25
NPRR1234(c) PGRR131 NPRR1283 NPRR1285 NPRR1299 | NPRR1266 NPRR1277 | NPRR1287 Add’l Public Data Products in ERCOT Data Portal | CRR Historical Data Removal |  | SCR820
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R4
R5
R6
July 7/29-7/30 | August 8/26-8/27 | September 9/30-10/1 | October 10/28-10/29 |  | December 12/16-12/17
DPC Automation |  | NPRR1198 NPRR1303 | NPRR1281 |  | 
R7
R8
R10
R11
R3
R9
E
RTC+B Stabilization
NPRR1234(c) – RIOO changes for End-Use
Industry Classification to Loads
1/1
ü
ü
ü
ü
ü
2/1
SCR820 TO/QSE Testing (see 2/19/2026 TWG)
P
3/2
NS
E
ü
ü
3/1
ü
ü
E
Cipher Security Upgrades (see 2/19/2026 TWG)
4/24
E