## Slide 1
ROS Report – April 02, 2026
Sandeep Borkar
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
NOGRR282, Board Priority - Large Electronic Load Ride-Through Requirements (DWG) (SPWG)
  ERCOT and various commenters previewed latest set of comments
  ROS considered and rejected a motion to table
  Additional comments beyond ROS’s scope will need to be addressed at TAC and ERCOT Board
  To endorse and forward to TAC NOGRR282, as amended by the 3/27/26 ERCOT comments as revised by ROS and the 11/14/25 Impact Analysis
    8 Abstains : Consumers, Cooperatives, Independent Generators, Independent Power Marketers, Independent REP
    1 No : Consumers

## Slide 3: Voting Items
NPRR1308, Board Priority – Related to NOGRR282, Large Electronic Load Ride-Through Requirements
  Discussion around expanding the definition to all large loads
  To endorse NPRR1308 as submitted
    3 Abstains : Consumers, Coop, Independent Power Marketers
    1 No : Consumers
NOGRR283, Board Priority - Related to NPRR1309, Dispatchable Reliability Reserve Service Ancillary Service)
  ERCOT may file additional comments based on updates to the NPRR 1309.
  To recommend approval of NOGRR283 as submitted and to forward to TAC NOGRR283 and the 11/20/25 Impact Analysis

## Slide 4: Voting Items
PGRR143, Steady State Planning Schedule Posting Location Update
  Administrative in nature
  Moves the posting of the Model Data Submittal schedule from the MIS Secure Area to the ERCOT website
  To endorse and forward to TAC the 3/5/26 ROS Report and 2/17/26 Impact Analysis for PGRR143
PGRR133, Clarifying Legacy Generation Breaker Control for PGRR115 Implementation
  To recommend approval as amended by the 1/28/26 Joint Commenters comments and to forward PGRR133 to TAC

## Slide 5: Recent ROS Actions
NOGRR286, Addition of 765-kV Operational Voltage Limits
  New at ROS: submitted by AEP, LCRA TSC, Oncor
  Establishes necessary operational guidelines to support the reliable operation of 765-kV equipment
  Tabled and referred to VPWG
PGRR145, Batch Zero Process for Large Load Interconnections
  Discussed revisions based on stakeholder comments and PUC guidance at the 4/23 Special ROS
  Target vote : May 7 ROS meeting

## Slide 6: NOGRRs under ROS Review
NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
NOGRR282, Board Priority - Large Electronic Load Ride-Through Requirements (DWG) (SPWG)
NOGRR283, Board Priority - Related to NPRR1309, Dispatchable Reliability Reserve Service Ancillary Service
NOGRR284, Related to NPRR1310, Dispatchable Reliability Reserve Service Plus Energy Storage Resource Participation and Release Factor

## Slide 7: PGRRs under ROS Review
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR122, Reliability Performance Criteria for Loss of Load (DWG, PLWG)
PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
PGRR124, ESR Maintenance Exception to Modifications (DWG, PLWG)
PGRR126, Related to NPRR1284, Guaranteed Reliability Load Process (PLWG)
PGRR128, Regional Transmission Plan Review of Grid Enhancing Technologies (PLWG)
PGRR130, Related to NPRR1295, GTC Exit Solutions (PLWG)
PGRR133, Clarifying Legacy Generation Breaker Control for PGRR115 Implementation

## Slide 8: PGRRs under ROS Review
PGRR134, Interconnection Studies Reform for Dispatchable Loads (PLWG)
PGRR136, Large Load Interconnection Study Scope Documentation
PGRR138, Large Load Interconnection Study Review and Approval Process
PGRR140, Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation (NDSWG, PLWG)
PGRR141, Large Load Interconnection Study Reform for Substantiated Load (PLWG)
PGRR142, In-kind Definition for Generation (DWG, PLWG)
PGRR143, Steady State Planning Schedule Posting Location Update
PGRR144, Dynamic Model Submission and Review Requirements for Large Loads including Large Electronic Loads (DWG, PLWG)

## Slide 9: RGRRs under ROS Review
RRGRR038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

## Slide 10: NPRRs under ROS Review
NPRR1272, Voltage Support at Private Use Networks (PLWG, VPWG)
NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service (OWG)
NPRR1284, Guaranteed Reliability Load Process (PLWG)
NPRR1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation (PLWG)
NPRR1295, GTC Exit Solutions (PLWG)
NPRR1308, Board Priority – Related to NOGRR282, Large Electronic Load Ride-Through Requirements
NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation (NDSWG, PLWG)
NPRR1319, Modifications to Seasonal Mothball Periods and Clarification to Evaluation Process

## Slide 11: Future Meetings
ROS
  April 14, 2026 – Webex Only (PGRR145 focus)
  April 23, 2026 (PGRR145 focus)
  May 7, 2026