## Slide 1: CDR, Reliability Assessment and NERC LTRA Update Pete Warnken ERCOT Resource Adequacy Department Supply Analysis Working Group April 30, 2026

## Slide 2: May 2026 Capacity, Demand and Reserves (CDR) Report
Due to ongoing Long Term Load Forecast (LTLF) development activities, ERCOT will not be releasing the CDR in May
Expect the LTLF status and “path forward” to be discussed at the May 7th PUCT Open Meeting
Releasing just one CDR report in 2026 is on the table, targeting no sooner than 5-6 weeks after LTLF approval

## Slide 3: Triennial Reliability Assessment
Based on the LTLF adjustment process per PURA §25.370(e)(2), ERCOT will work with the PUCT to establish revised deadlines for SERVM probabilistic simulations, market design option analysis, and Reliability Assessment results submission
Discussion on the status and next steps for the final ERCOT/PUCT staff modeling assumptions expected at the May 7th PUCT Open Meeting
  PUCT staff preparing a memo with their recommendation for the CONE reference technology (large frame combustion turbine) and recommended revised schedule dates for Commissioner consideration

## Slide 4: NERC 2026 Long Term Reliability Assessment
Load and resource forecast data submission deadlines:
  June 12, preliminary data form
  July 17, final data form
  October 30, cut-off for data changes
ERCOT is considering developing a provisional large load forecast to meet the June 12 data form submission deadline
Based on the current CDR preparation work, ERCOT will have the resource forecast data ready in time. This can be shared with SAWG when available
“Reference Margin Level” development strategy?
Probabilistic Assessment work scheduling issues will need to be worked out with NERC staff