## Slide 1: SERVM Projects associated with the 2026 Reliability Assessment Pete Warnken ERCOT Resource Adequacy Department Supply Analysis Working Group April 30, 2026

## Slide 2: 2026 SERVM Project Descriptions – No Change since March Meeting
Modeling Change | Status | Description
AORDC/DRRS |  | PowerGEM is shifting reserve product allocation in SERVM from a hierarchical approach to demand curve-based optimization to align with ERCOT AORDC/DRRS implementation
Senate Bill 6 Net Metering Arrangements |  | PowerGEM will model the net metering arrangements of large loads co-located with existing generation, including curtailment conditions imposed during emergency conditions that are expected to be approved by the PUCT
Zonal Reliability / Supply Deliverability Study |  | Conduct a 2029 zonal simulation, iterating between TARA and SERVM to calibrate zonal boundaries and transfer limits so the SERVM zonal model provides a more realistic representation of system deliverability and reliability
Emergency Pricing Program |  | PowerGEM will implement the EPP in SERVM, capping prices at $5,000/MWh for 12 hours within a rolling 24-hour period

## Slide 3: 2026 SERVM Project Schedule – No Change since March Meeting
Schedule is dependent on finalized inputs, including CDR, LTRA, and load forecast.