## Slide 1: SSWG Report to ROS
May 7, 2026
Chair: Chris Ramirez (cramirez@wettllc.com)
Vice Chair: Weiwei Hu (weiwei.hu@austinenergy.com)

## Slide 2: SSWG Report
Key Updates
26SSWG Case Build #1
  Currently Ongoing
  In-Person Tuning Meeting held April 27th – 29th
  Target Posting: May 22nd
  Next Business Meeting: June 3rd

## Slide 3: SSWG Report
SSWG Procedure Manual Revisions
  Section 4.3.3 Generation Dispatch Methodology for Planning Purposes:
    Battery Storage Energy Resources updated to Transmission Energy Storage Resources.
    Specifying that TESRs are online for VAR support with no real power contributions.
    Transmission In-Service Dates added for associated SSWG Cases.
  Section 4.3.3.1 Extraordinary Dispatch Conditions:
    A rework of extraordinary dispatch to align with PGRR127 (PG Section 6.9).
  Description of Zones in SSWG Cases:
    Zone 319 added for CNP 765 Auto Tertiaries.
  Appendix E – Load ID Prefixes:
    Load ID Prefix A# added for generator station loads / auxiliary loads.