## Slide 1: May PLWG Update
Mina Turner, PLWG Chair
Kiran Kota, PLWG Vice-Chair
May 7th , 2026

## Slide 2
PGRR 128, Regional Planning Group Review of Grid Enhancing Technologies
  TEBA filed comments to remove the RPG and RTP obligations and added an annual forum to be hosted by ERCOT on advanced transmission technologies.
  ERCOT expressed concerns about including the forum requirement in a binding planning guide, seeking to understand the intention behind this proposal. TEBA explained need to have a record to ensure continuous discussion.
  Agreement for TEBA and ERCOT to collaborate on potential wording adjustment.
  TEBA agreed to table one more month with the goal to send to ROS for vote at the next PLWG meeting.
PGRR 130 - Related to NPRR 1295, GTC Exit Solutions
  Ongoing collaboration with ERCOT.
  Still lack of consensus on language. Sponsors will continue efforts to improve language.
  PGRR tabled another month for further discussion

## Slide 3
PGRR 134 – Interconnection Studies Reform for Dispatchable Loads
  Discussion at PLWG whether this PGRR should be withdrawn due PGRR 145 inclusion of CLR loads.
  PGRR will remain tabled at PLWG until further clarity, likely by July.
PGRR 140 – Related to NPRR1317, Creation of Non-Settled Generator (NSG) and Clarification of the Types, Usage, and Registration of Distributed Generation
  Ongoing discussions with ERCOT with no timeline for revisions or proposal.
  Concerns were raised about the definition of "non-settled generator" and its implications for energy storage systems (ESS) and resources.
  The current definition might classify all energy storage systems as generators, creating potential issues for non-generator systems like battery storage used by data centers.
  The topic of ESS is emphasized to ensure accurate classification and avoid potential misclassification as generators.
  The decision was made to keep PGRR140 tabled for another month, awaiting further updates and revisions from ERCOT.

## Slide 4
PGRR 141 – Large Load Interconnection Study Reform for Substantiated Load
  PGRR was previously sent to ROS for a vote and was sent back to PLWG for further discussion.
  No Comments filed or further discussion.
  Group consensus is to keep PGRR141 tabled until batch zero discussions provide more clarity
  Continue to be tabled at PLWG.
PGRR 142 – In-Kind Definition for Generation
  Term 'in kind' for generation equipment replacement in two scenarios: (1) replacing equipment with the same or similar specifications when the original model is no longer manufactured; and (2) replacing equipment from a defunct manufacturer with a comparable alternative.
  Comments from multiple stakeholders. The need for a clear definition to prevent replacing equipment and concerns for potential loopholes allowing for significant equipment changes under the guise of “in-kind” replacement.
  Discussion on impacts of the proposed definition on repower process. Need to perform studies to maintain system reliability.
  Continue to be tabled at PLWG to refine the definition and address ERCOT concerns.

## Slide 5
PGRR 144 – Dynamic Model Submission and Review Requirements for Large Loads Including Large Electronic Loads
  ERCOT presented a slide deck on comments received on PGRR 144. Objective of PGRR144 is to clarify dynamic model submission requirements and improve the review process for larger loads.
  Concerns were raised regarding Section 6.2, paragraph six, about model quality tests for large loads.
  The review process for potential modifications to existing large electronic loads was discussed, focusing on changes affecting ride-through capability. ERCOT clarified that existing operations will not be affected by the modification review process.
  Stakeholders expressed concern that language might discourage submission of accurate model information and potential business implications.
  ERCOT would like feedback via email.
  A review of language modifications will be conducted based on the feedback received.
  The discussion on PGRR144 will be tabled for another month to allow for further review.

## Slide 6
NPRR 1286 – Establish Multi-Value Criteria for Resiliency Related Transmission Project Evaluation – Sponsor still in conversation with ERCOT
  NPRR had previously been at PLWG and moved to ROS.
  TIEC raised concerns about ERCOT’s methodology that values resiliency benefits based on total project costs rather than actual resiliency value.
  TIEC recommends opposing or tabling the NPRR until a better methodology valuing resiliency benefits is developed.
  ERCOT addressed TIEC's concerns and highlighted continuous challenges in accurately quantifying resilience benefits.
  ERCOT acknowledges their proposed method is not perfect but suggests moving forward with a vote to have a criteria in place.
  ERCOT evaluated TIEC's three alternative proposals but found issues with all of them, pertaining to practicality and alignment with commission rules.
  ERCOT is open to revisiting and revising the methodology once better industry practices are established.
  ERCOT highlighted the urgency in establishing a multivalent criteria due to pressing deadlines, though no strict timeline exists.
  Discussion concluded with decision to move NPRR1286 back to ROS for a vote.

## Slide 7
Tabled Items
PGRR 126- Related to NPRR 1284
PGRR 122 -Reliability Performance Criteria for Loss of Load – Pending ongoing large load conversations.
PGRR 124 - ESR Maintenance Exception to Modifications- Sponsor would like to continue to table while they have conversations with ERCOT.

## Slide 8: Questions ?