## Slide 1
ERCOT TECHNICAL ADVISORY COMMITTEE · MAY 13, 2026
PGRR145
The RPG Load Allocation Issue
Originating loads should retain the RPG capacity their projects justified
Presented by
Clayton Greer | VP, Energy Division
Cholla Petroleum, Inc.

## Slide 2
Background
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
2
How we got here: three converging threads
INDUSTRY CONTEXT
Large Load Interconnection
Data-center driven load growth flooded ERCOT with interconnection requests
ERCOT created an Interim Process for large-load interconnection (3/5/22)
PGRR115 codified the LLIS process — effective Dec 15, 2025
Just 3 days later, ERCOT announced it had to move to a Batch Study process — the origin of PGRR145
REGIONAL CONSTRAINT
The Southern DFW Dilemma
Southern DFW became a data-center hot spot — Oncor received tens of GW in requests
Interim Process couldn't handle the volume; Oncor launched a cluster study (2/24)
Became the Southern DFW Load Interconnection & Grid Strengthening Project (25RPG004)
Followed by RTP-derived projects — 25RPG038, 25RPG040/042
All Oncor southern-DFW loads placed in these studies; other TSPs stayed on Interim Process
CHOLLA'S VENUS SITE
What Cholla Filed
Submitted to Oncor October 2023 — 2½ years waiting for a path
Phase 1: 400 MW filed October 2023
Phase 2: 2,000 MW filed March 2024
Feb '25 — Oncor allocated 150 MW to Southern DFW project
Feb '25 — Oncor allocated 250 MW to RTP-derived sets
In-service target communicated by Oncor: December 2028

## Slide 3
The Numbers That Matter
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
3
Five figures that frame this dispute
2,400 MW
Cholla's Venus Site
Phase 1 (400 MW) + Phase 2 (2,000 MW) filed 2023–2024
400 MW
Allocated to Oncor projects
150 MW to Southern DFW + 250 MW to RTP-derived sets (Feb '25)
1+ yr
Southern DFW approval time
Beyond the 150-day window in Planning Guide §3.11.4.7
2.9 GW
Added by Southern DFW (Option 3)
Long-term capability beyond the 4,064 MW originally identified
11 GW
Added by '24 RTP-derived sets
Additional DFW-area capacity over original study

## Slide 4
The Problem
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
4
ERCOT allowed later filers to consume capacity that was justified by — and assigned to — earlier loads.
RPG projects were treated as generic capacity
Sensible when projects exist for generic load growth — improves utilization
Wrong when the project was justified by specific, named Large Loads
Double-counts the capability the project was built to provide
Southern DFW approval took over a year
Beyond the 150-day window in Planning Guide §3.11.4.7
During the delay, other TSPs were allowed to point to the project
Oncor loads that justified the project could not draw against it until approval
ERCOT now refuses to seat the originating loads
Lacks a study showing all loads can be served simultaneously
Gave away capacity already assigned — and asks originators to absorb the loss
“
ERCOT has allowed the Permian Basin Reliability Plan loads to move forward.
Why is PGRR145 treating the Oncor southern DFW and RTP-derived loads differently?

## Slide 5
A Picture Is Worth a Thousand Words
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
5
While the original loads waited for dinner to be "blessed," later loads sat down and ate.

## Slide 6
The Permian Parallel
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
6
Same structural facts. Different ERCOT treatment.
PERMIAN BASIN LOADS
Direct Base Load eligibility
TSP-identified Large Loads supported transmission projects
ERCOT relied on those loads in its planning process
PGRR145 §9.2.1.1(1)(d) gives Permian loads a clean Base-Load path
Bypasses the §9.2.1.4 study-validity test entirely
ONCOR SOUTHERN DFW LOADS
No Base Load path
TSP-identified Large Loads supported transmission projects
ERCOT relied on those loads in its planning process
Must satisfy §9.2.1.4 study-validity test
Fails it because ERCOT's approval slipped 13 days past the 3/4/26 cutoff
STRUCTURAL TEST
In both cases: a certificated TSP identified Large Loads that established the need for specific projects; ERCOT relied on those loads in planning; and the resulting projects determine Batch Zero treatment. The relevant comparison isn't geography — it's structure.

## Slide 7
A Disingenuous Demonstration
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
7
ERCOT's May 4 Batch Study Workshop (slides 34–35) used this to argue against the originating loads:
Why this is misleading
Frames a sequencing question (who filed first?) as a validation question (who's validated first?) — but the only reason later filers got validated first is that originators had to wait for project approval while later filers were allowed to use the same capacity the moment they filed.
Implies later-developed projects would displace earlier ones — nonsense.
Ignores that the justifying loads were in the planning record well before the loads ERCOT later approved.
WHAT ACTUALLY HAPPENED: ERCOT let later loads use the RPG projects' capacity to get their own studies approved. That should not have been allowed. Had it not been, those later loads would have had to restudy — exactly the Batch 0 Studied treatment Cholla now proposes for them.

## Slide 8
The Example Is Factually Impossible
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
8
ERCOT's slide shows a project submitted April 10, 2025. The actual chronology cannot support that.
Feb 2024
2024 RTP cutoff
Feb 2025
25RPG004 submitted
Apr 2025
ERCOT example date
Mar 2026
25RPG004 recommended
May 2026
RTP sets endorsed
Loads supporting Southern DFW & RTP sets had to be in the planning record across this entire span — over a year before ERCOT's example date.
ERCOT'S FRAMING
"Backdating"
Likely reflects LLIS-system submission dates — not when loads actually entered the TSP planning record.
LLIS submissions for these loads didn't happen until after PGRR115 took effect (12/15/25) — even though the loads had been in Oncor's record since 2023–2024.
WHAT THE FACTS SHOW
Documented, not hypothetical
Use the date the load entered the TSP planning record — a real milestone, in Oncor's records and the RPG submission record.
Not a fictional priority date. The data limitation is in ERCOT's reporting system — not in the underlying planning history.

## Slide 9
What's At Stake
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
9
The difference between Base Load and studied-load placement could be years, not weeks.
BASE LOAD TREATMENT
Dec 2028
In-service target communicated by Oncor when allocating Venus's project capability.
Built on years of planning, tens of millions invested, and the only interconnection path Oncor offered.
STUDIED-LOAD PLACEMENT
2033+
Originating loads may be pushed into the Batch Zero studied-load pool — pushing energization to 2033 or later.
Concern grounded in Oncor's recently proposed 2034 projects — a signal that DFW-area transmission constraints may already be emerging.
→
This is why mitigation matters — and why we should pursue every lever available to keep originating loads on schedule. (See next: Mitigating Factors.)

## Slide 10
Proposed Solution
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
10
CHOLLA'S ASK
Move the RPG load cutoff from March 4 → July 10, 2026
Captures the Southern DFW project (25RPG004) and the '24 RTP-derived sets (25RPG038, 040/042) within the cutoff.
AEP & UCS CONCEPT
Batch 0 Study the impacted loads
Re-study the loads tied to disputed RPG projects so a defensible allocation can be made.
Cholla agrees with the concept —
but the mechanism should apply to later filers, not to originators.
CHOLLA'S REFINEMENT
True Reliability-Based Ordering
Studies were performed specifically for originating loads — not later filers.
ERCOT should not have allowed later filers to use the capacity those projects unlocked.
Later filers — not originators — would then be Batch 0 Studied.

## Slide 11
Mitigating Factors
CHOLLA PGRR145
Technical Advisory Committee · May 13, 2026
11
If a delay does emerge, we should pursue every lever available to minimize the impact.
CAPACITY
RPG studies are uncovering more headroom
Southern DFW approved with 2.9 GW additional capability beyond the original study
'24 RTP-derived sets studied with 11 GW additional capacity in the DFW area
Originating loads AND other approved loads may both be servable
ERCOT's ongoing study-validity review should be expedited
SEQUENCING
TSPs have latitude to mitigate impacts
Prioritize impacted loads in TSP planning queues
Employ more external resources where available
Modify schedules to bring originating loads online first
LOAD-SIDE TOOLS
Loads can share the burden
PCLR (Provisional Controllable Load Resource) commitments
WLPUN (Withdrawal-Limited Private Use Network) where applicable
Operational flexibility from the data-center loads themselves
We can solve this together — fix the cutoff, expedite the confirmation studies, and use load-side tools.

## Slide 12
DISCUSSION
Questions?
Please remember:
Your question's place in line was established the moment you raised your hand
— not the moment your hand was independently reviewed.
TODAY'S ASK
Move the RPG load cutoff to July 10, 2026
Apply Batch 0 Studied to later filers — not originators
CONTACT
Clayton Greer · Cholla Petroleum, Inc.
clayton@chollainc.com · 512-497-2986