| PGRR Number | 142 | PGRR Title | In-kind Definition for Generation |
| --- | --- | --- | --- |

| Date | May 18, 2026 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Kevin Hanson |
| E-mail Address | khanson@invenergy.com |
| Company | Invenergy |
| Phone Number | 713-884-9202 |
| Cell Number | 713-884-9202 |
| Market Segment | Independent Generators |

Comments

Invenergy filed Planning Guide Revision Request (PGRR) 142, In-kind Definition for Generation, to add a definition of “in-kind” when used in Planning Guide Section 5.2.1, Applicability.  This revision does not change the applicability of Section 5 in any way.  It simply adds the definition.

At the April 24, 2026 Large Load Working Group (LLWG) meeting, ERCOT Staff made comments that “same or better” could be used for Large Load performance.  These comments modify paragraph (2) of Section 5.2.1 in the 4/10/26 ERCOT comments to add “or better” and remove “and hardware” since hardware upgrades have not been a requirement under Nodal Operating Guide Revision Request (NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements.

Revised Proposed Guide Language

### 5.2.1	Applicability

(1)	The requirements in Section 5, Generator Interconnection or Modification, apply to the following:

(a)	Any Entity proposing to interconnect any generator with an aggregate nameplate capacity of one MW or greater, including but not limited to any Generation Resource or Energy Storage Resource (ESR), to the ERCOT System;

(b)	Any Entity proposing to interconnect a Settlement Only Generator (SOG) to the ERCOT System; or

(c)	Any Resource Entity seeking to modify a Generation Resource, ESR, or SOG that is connected to the ERCOT System by:

(i)	Increasing the real power rating from that shown in the latest Resource Registration data by one MW or greater within a single year;

(ii)	Changing the inverter, turbine, generator, battery modules, or power converter associated with a facility with an aggregate real power rating of ten MW or greater, unless the replacement is in-kind;

(iii)	Modifying any control settings or equipment of Inverter-Based Resources (IBRs) that impact the dynamic response (such as voltage, frequency, and current injections) at the Point of Interconnection (POI) in a manner that is deemed to require further study in accordance with the process outlined in paragraph (6) of Section 5.5, Generator Commissioning and Continuing Operations;

(iv)	Changing or adding a POI to a facility with an aggregate real power rating of ten MW or greater; or

(v)	Increasing the aggregate nameplate capacity of a generator less than ten MW to ten MW or greater.

(2)	For purposes of Section 5, the term “in-kind” shall be defined as available equipment that has the same or better specifications as the original equipment.

(3)	For the purposes of Section 5, the term “generator” includes but is not limited to a Generation Resource, SOG, and ESR.

(4)	For the purposes of determining the appropriate requirements in Section 5, a generator is considered a “large generator” if it currently has or is proposed to have an aggregate nameplate capacity of ten MW or greater.  A generator is considered a “small generator” if it currently has or is proposed to have an aggregate nameplate capacity of less than ten MW.

(5)	Notwithstanding paragraph (4), above, if a Resource Entity is proposing to increase the real power rating of an existing generator by one MW or greater but less than ten MW, that generator shall be considered a small generator for the purposes of the interconnection process described in Section 5.

(6)	Notwithstanding paragraphs (4) and (5), above, if a Resource Entity is proposing to increase a generator’s real power rating by ten MW or more, or is proposing to increase a generator’s real power rating from less than ten MW to ten MW or more, that generator shall be considered a large generator for the purposes of the interconnection process described in Section 5.

(7)	For the purposes of determining the appropriate requirements in Section 5, ERCOT may require two or more separate generator interconnection requests to the same substation to follow the interconnection process applicable to the large generators, if, following the proposed change, those generators would have an aggregate nameplate capacity of ten MW or greater, and the projects are proposed by the same Entity or Affiliates.

(8)	For a new or modified generator that has been designated as a Self-Limiting Facility or as a component of a Self-Limiting Facility, the categorization of the generator as a small generator or large generator pursuant to paragraphs (4) through (6) above shall be determined using the Self-Limiting Facility’s established limit on the total MW Injection, or if applicable, the proposed increase in that value instead of the nameplate capacity of the Self-Limiting Facility.