| PGRR Number | 145 | PGRR Title | Batch Zero Process for Large Load Interconnections |
| --- | --- | --- | --- |
| Date |  | May 18, 2026 |  |

| Submitter’s Information |  |
| --- | --- |
| Name | Grant Huber / Jimmy Glotfelty |
| E-mail Address | grant@wiseadv.com / jglotfelty@icloud.com |
| Company | Wise Energy Resources Ltd |
| Phone Number |  |
| Cell Number | (847) 727-9163; (832) 808-6271 |
| Market Segment | Not applicable |

Comments

Wise Energy Resources Ltd (Wise) appreciates the opportunity to file these comments on Planning Guide Revision Request (PGRR) 145. Wise supports the comments Reliant Energy Retail Services LLC (Reliant) submitted on May 16, 2026.

In its comments submitted on May 4, 2026, United Cooperative Services (UCS) appropriately identified fundamental inequities that have occurred to Large Loads seeking to interconnect at or near the boundary between an investor-owned electric utility and a neighboring electric cooperative or municipal electric utility.  Wise has experienced these issues.  At the same time, Wise appreciates concerns ERCOT and PUCT Staff have expressed regarding broadening the inclusion criteria for Batch Zero for both base load and studied load categories.  Reliant’s proposal strikes an appropriate balance to address the inequities UCS identified as well as the concern ERCOT and PUCT Staff have expressed by broadening the inclusion criteria UCS (as revised by Sailfish Investors, LLC in their comments submitted on May 4, 2026) proposed only for Large Loads associated with a Withdrawal-Limited Private Use Network (WLPUN) or a Provisional Controllable Load Resource (PCLR).

Flexible, grid-friendly arrangements such as WLPUNs and PCLRs should be encouraged.  Providing a Large Load that seeks to participate in one of these arrangements additional time to resolve the delays to their studies that resulted from the complexities arising from situations UCS described will facilitate the development of new Generation Resources in ERCOT in connection with WLPUNs and development of additional flexibility on the grid through PCLRs.

Revised Cover Page Language

None

Revised Proposed Guide Language

None