| PGRR Number | 145 | PGRR Title | Batch Zero Process for Large Load Interconnections |
| --- | --- | --- | --- |

| Date | May 18, 2026 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Ryan Hughes |
| E-mail Address | ryan@sailfishinvestors.com |
| Company | Sailfish Investors, LLC |
| Phone Number | 617-240-3700 |
| Cell Number |  |
| Market Segment | Not applicable |

Comments

Sailfish Investors, LLC (“Sailfish”) appreciates the opportunity to provide these comments on Planning Guide Revision Request (PGRR) 145. These comments are in response to (i) Reliant’s May 16, 2026 comments, (ii) Cholla’s May 17, 2026 comments, and (iii) Agentic Infrastructure’s May 18, 2026 comments.

Sailfish generally supports Reliant’s comments and agrees with the core policy objective of providing a workable Batch Zero path for advanced Large Load projects that pursue flexible, grid-friendly structures such as WLPUNs and PCLRs. Reliant correctly identifies that these structures can reduce transmission-system impacts, provide ERCOT with more manageable study assumptions and encourage large-load developers to pursue arrangements that are more responsive to grid conditions. Sailfish also agrees that the compressed timeline for WLPUN and PCLR implementation supports additional procedural flexibility for projects pursuing those arrangements.

Sailfish’s clarification is limited to drafting structure. Sailfish supports Reliant’s proposed WLPUN/PCLR clarification, but recommends that any WLPUN/PCLR-specific language be implemented in a manner that does not appear to narrow, condition or otherwise limit the separate eligibility pathway in Section 9.2.1.2(1)(a)(iii). In other words, WLPUN and PCLR treatment should provide an additional clarification for projects electing those structures, not become a prerequisite for Large Loads that otherwise qualify for inclusion as studied and allocated load in Batch Zero under Section 9.2.1.2(1)(a)(iii).

Sailfish therefore recommends that ERCOT and stakeholders preserve Section 9.2.1.2(1)(a)(iii) as an independent eligibility pathway for qualifying Large Loads, while placing any WLPUN/PCLR-specific implementation details in a separate clause or subsection that expressly operates “in addition to, and not in limitation of,” the general studied-load eligibility criteria.  This would preserve the benefit of Reliant’s proposal without creating unnecessary and unintended ambiguity that WLPUN or PCLR status is required for Section 9.2.1.2(1)(a)(iii) inclusion.

Revised Cover Page Language

None

Revised Proposed Guide Language

None