| NPRR Number | 1286 | NPRR Title | Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation |
| --- | --- | --- | --- |
| Date |  | May 19, 2026 |  |
| Submitter’s Information |  |  |  |
| Name |  | Beth Garza |  |
| E-mail Address |  | bethgarza.work@gmail.com |  |
| Company |  | TAC Residential Consumer Representative |  |
| Phone Number |  | 512-762-5905 |  |
| Cell Number |  |  |  |
| Market Segment |  | Consumers |  |

Comments

On behalf of Residential Consumers, I support the efforts of TIEC to more effectively quantify the resiliency benefits associated with a proposed transmission project, as evidenced by their 9/19/25 and 3/10/26 comments.  I also understand ERCOT’s desire to develop an easy to administer criteria for use in the forthcoming Grid Reliability and Resiliency Assessment (GRRA) due at the end of this year.

Without a specific assessment of resiliency benefits attributed to proposed transmission, I propose reducing the gap the resiliency benefits must fill.

These comments are provided on top of ERCOT’s most recent (8/22/25) redlines  ignoring the improvements proposed by TIEC in their 9/19/25 redlined comments.

Revised Proposed Protocol Language

3.11.2	Planning Criteria

(1)	ERCOT and Transmission Service Providers (TSPs) shall evaluate the need for transmission system improvements and the relative value of alternative improvements based on established reliability, economic, and multi-value criteria.

(2)	The reliability criteria are established by the Planning Guide, Operating Guides, and the North American Electric Reliability Corporation (NERC) Reliability Standards.

(3)	ERCOT shall attempt to meet these reliability criteria as economically as possible and shall actively study the need for economic projects to meet this goal.

(4)	For economic projects, the net economic benefit of a proposed project, or set of projects, will be assessed over the project’s life based on the net benefit that is reasonably expected to accrue from the project as demonstrated through the production cost savings test or the congestion cost savings test.  The current set of financial assumptions upon which the revenue requirement calculations for these tests are based will be reviewed annually, updated as necessary by ERCOT, and posted on the ERCOT website.  The expected economic benefits are based on chronological simulations of the security-constrained unit commitment and economic dispatch of the generators connected to the ERCOT Transmission Grid to serve the expected ERCOT System Load over the planning horizon, comparing simulations with and without the project.  These market simulations are intended to provide a reasonable representation of how the ERCOT System is expected to be operated over the simulated time period.  From a practical standpoint, it is not feasible to perform these simulations for the entire 30 to 40 year expected life of the project.  Therefore, the economic benefits are projected over the period for which simulations are feasible, which is the planning horizon established in Planning Guide Section 3.1.1.2, Regional Transmission Plan, and a qualitative assessment is made of whether the factors driving the economic benefits due to the project can reasonably be expected to continue.

(5)	To determine the economic benefits of a proposed project under the production cost savings test, the revenue requirement of the capital cost of the project is compared to the expected savings in system production costs resulting from the project over the expected life of the project.  Outputs from the market simulations described in paragraph (4) above will be used to provide an estimate of the expected reduction in total system-wide production cost due to the project.  Other adequately quantifiable and ongoing direct and indirect costs and benefits to the transmission system attributable to the project may be considered as appropriate.  If the levelized ERCOT-wide annual production cost savings equals or exceeds the first-year annual revenue requirement of the transmission project, the project will be deemed to demonstrate sufficient economic benefit and will be recommended.  ERCOT will publish requested non-confidential modeling inputs, assumptions, and outputs utilized in the production cost savings test if that information can be feasibly provided.

(6)	To determine the economic benefits of a proposed project under the congestion cost savings test, the revenue requirement of the capital cost of the project is compared to the expected system-wide consumer energy cost reduction resulting from the project over the expected life of the project.  Outputs from the market simulations described in paragraph (4) above will be used to provide an estimate of the expected reduction in total system-wide consumer energy cost due to the project.  In the market simulations, system-wide consumer energy cost will be calculated using hourly load in MWh multiplied by hourly load nodal energy prices in $/MWh.  Other adequately quantifiable and ongoing direct and indirect costs and benefits to the transmission system attributable to the project may be considered as appropriate.  If the levelized system-wide consumer energy cost reduction equals or exceeds the average of the first three years’ annual revenue requirement for the project, the project will be deemed to demonstrate sufficient economic benefit and will be recommended.  ERCOT will publish requested non-confidential modeling inputs, assumptions, and outputs utilized in the congestion cost savings test if that information can be feasibly provided.

(7)	To meet multi-value criteria, a project submitted as a reliability or economic project must, both, address a resiliency issue identified in a Grid Reliability and Resiliency Assessment (GRRA) required by Planning Guide Section 3.1.1.6, Grid Reliability and Resiliency Assessment (GRRA), and meet at least one of the below criteria, as demonstrated using the cases published in the Regional Transmission Plan:

(a)	Prevent thermal loading above 90% of the applicable ratings for planning events in which non-consequential load loss is prohibited as established by the Planning Guide and NERC Reliability Standards;

(b)	Prevent voltage levels from getting below the low voltage limits plus 0.05 or above the high voltage limits minus 0.01 per unit for planning events in which non-consequential load loss is prohibited as established by the Planning Guide and NERC Reliability Standards;

(c)	Result in levelized ERCOT-wide annual production cost savings of at least 95% of the first-year annual revenue requirement of the project; or

(d)	Result in levelized system-wide consumer energy cost reduction of at least 95% of the average of the first three years’ annual revenue requirement of the project.