| Date: | May 22, 2026 |
| --- | --- |
| To: | Board of Directors |
| From: | Caitlin Smith, Technical Advisory Committee (TAC) Chair |
| Subject: | Unopposed Revision Requests Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: June 1 – 2, 2026 Item No.: 13.1

Issue: Consideration of the following Revision Requests: Nodal Protocol Revision Requests (NPRRs), Commercial Operations Market Guide Revision Request (COPMGRR), Nodal Operating Guide Revision Request (NOGRR), Planning Guide Revision Requests (PGRRs), Retail Market Guide Revision Request (RMGRR), and Verifiable Cost Manual Revision Request (VCMRR) (with no opposing votes recorded): - NPRR1264, Creation of a New Energy Attribute Certificate Program - NPRR1302, Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms - NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access - NPRR1307, Revised Definition of Mitigation Plan - NPRR1316, Implement an Annual ERCOT RFI Process to Gather Information Related to Retirement and Mothballing Plans of Select Resources - NPRR1318, Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs - NPRR1322, 60-Day Disclosure of the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards - NPRR1324, Clarification of the Process to Determine RUC Warmth State - NPRR1325, Related to PGRR145, Batch Zero Process for Large Load Interconnections – URGENT - NPRR1327, As-Built for NPRR1281, Improvements to Alternate FFSS Resource Designation - NPRR1330, Mitigated Offer Caps for RMR Units - COPMGRR052, Related to NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access - NOGRR281, Related to NPRR1307, Revised Definition of Mitigation Plan - PGRR133, Clarifying Legacy Generation Breaker Control for PGRR115 Implementation - PGRR143, Steady State Planning Schedule Posting Location Update - PGRR145, Batch Zero Process for Large Load Interconnections – URGENT - RMGRR184, Related to NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access - VCMRR045, Related to NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access

Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote; (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Board Review is required of all TAC Reports and Impact Analyses (Protocol Section 21.3.10) - NPRR1264, Creation of a New Energy Attribute Certificate Program Sponsor: Texas Energy Buyers Alliance (TEBA)/Goff Policy Revision Description: This NPRR introduces the concept of Energy Attribute Certificates (EACs). EACs can be earned by any generator, regardless of fuel type. By introducing EACs, this NPRR also allows all generators, such as energy storage generators, nuclear generators, or other generators to participate in the program, and add specificity to their attributes so buyers and sellers know what they are transacting. To add value to the EAC program, this NPRR creates a new category of participants – third-party certification programs. EAC Account Holders may use these third parties to provide documentation to ERCOT and other Market Participants about how they charged energy storage devices, provided fuel for generators, or met certain operational characteristics to be determined by Market Participants. This NPRR also allows ERCOT to allow a third-party administrator to administer the program. Impact Analysis: Phase 1: No impact; Phase 2: Between $150K and $200K Proposed Effective Date: Phase 1: The first of the month following Public Utility Commission of Texas (PUCT) approval; Phase 2: Upon system implementation – Priority 2027; Rank 4910 TAC Report/Decision: On 5/13/26, TAC voted unanimously to recommend approval of NPRR1264 as recommended by PRS in the 5/6/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1264. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1264 and believes that it provides a positive market impact by enhancing the ERCOT region’s economic competitiveness with the introduction of an EACs program that can be earned by any generator, regardless of fuel type, and administered by a third-party administrator. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1264. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1302, Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms Sponsor: ERCOT Revision Description: This NPRR introduces a new portal for Market Participants (the Market Participant Service Portal) designed to automate interactions between ERCOT and Market Participants currently managed via email-based communications and manual processes over the next few years. Impact Analysis: No impact (There are no additional impacts to this NPRR beyond what was captured in PR461, Customer Service Management (CSM) Phase 2) Proposed Effective Date: Upon implementation of PR461 TAC Report/Decision: On 5/19/26, TAC voted unanimously to recommend approval of NPRR1302 as recommended by PRS in the 4/15/26 PRS Report as amended by the 5/12/26 ERCOT comments. ERCOT Opinion: ERCOT supports approval of NPRR1302. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1302 and believes it facilitates streamlined digital processing of certain forms regarding data changes and compliance attestations, and supports efforts to reduce administrative costs, minimize email-based risks, and decrease manual data processing errors. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1302. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1306, Implement an Annual ERCOT RFI Process to Gather Information Related to Retirement and Mothballing Plans of Select Resources Sponsor: ERCOT Revision Description: This NPRR replaces the concept of “Digital Certificates” throughout the Protocols with references to more technology-neutral means whereby restricted Market Information System (MIS) access is granted to certain Market Participant users by each individual Market Participant’s User Security Administrator (USA). Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 5/19/26, TAC voted unanimously to recommend approval of NPRR1306 as recommended by PRS in the 4/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1306. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1306 and believes that it provides a positive market impact and general system improvement through the replacement of Digital Certificates with more technology-neutral means whereby restricted MIS access is granted to certain Market Participant users by each individual Market Participant’s USA. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1306. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1307, Revised Definition of Mitigation Plan Sponsor: ERCOT Revision Description: This NPRR adds the use of pre-contingency Load shed in certain conditions to the Mitigation Plan definition. It also incorporates pre-contingency Load shedding into the Reliability Deployment Price Adder (RDPA). Impact Analysis: Between $200k and $300k Proposed Effective Date: Upon system implementation TAC Report/Decision: On 5/13/26, TAC voted unanimously to recommend approval of NPRR1307 as recommended by PRS in the 5/6/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1307. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1307 and believes that it modifies the definition of a Mitigation Plan to document the use of pre-contingency Load shed under specific conditions that threaten grid reliability and accounts for the market impacts of these actions in RDPA. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1307. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1316, Implement an Annual ERCOT RFI Process to Gather Information Related to Retirement and Mothballing Plans of Select Resources Sponsor: ERCOT Revision Description: This NPRR adds an annual requirement for any Resource Entity that owns or operates a thermal generating unit identified by ERCOT, through the use of a screening model, to be at risk of being retired or mothballed, and which has not yet already been listed in a Notification of Suspension of Operations (NSO) form, to respond to a request for information from ERCOT regarding public or non-public retirement or mothball plans. Impact Analysis: Less than $10k (Operations & Maintenance (O&M)) Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 5/13/26, TAC voted unanimously to recommend approval of NPRR1316 as recommended by PRS in the 5/6/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1316. ERCOT Market Impact Statement: ERCOT Staff believes NPRR1316's addition of an annual requirement for any Resource Entity that owns or operates a thermal generating unit identified by ERCOT to respond to a request for information regarding public or non-public retirement or mothball plans will enable ERCOT to better evaluate the possible future states of the system for longer-term Resource adequacy risk assessment, improve communication with Resource Entities for efficient Reliability Must-Run (RMR) Agreements, and allow more informed proposed Must-Run Alternatives (MRAs) to be prepared and considered along with a multi-month RMR Agreement. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1316. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1318, Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs Sponsor: ERCOT Revision Description: This NPRR excludes the Incentive Factor from ERCOT-approved costs related to additional emissions allowance purchases and ERCOT-approved outside attorney fees. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 4/29/26, TAC voted unanimously to recommend approval of NPRR1318 as recommended by PRS in the 4/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1318. ERCOT Market Impact Statement: ERCOT staff has determined that the Incentive Factor should be excluded from payments for additional emissions allowance purchases and outside attorney fees approved by ERCOT, as these costs are not considered standard operational expenses. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1318. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1322, 60-Day Disclosure of the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards Sponsor: ERCOT Revision Description: This NPRR corrects the absence of a report posted to the ERCOT website that discloses the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards for the applicable Operating Day 60 days prior to the current Operating Day by adding a file containing these awards in the existing 60-Day DAM Disclosure report. Impact Analysis: No impact Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 4/29/26, TAC voted unanimously to recommend approval of NPRR1322 as recommended by PRS in the 4/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1322. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1322 and believes the inclusion and disclosure of the Ancillary Service Only Awards report with NPRR1322 aligns with the Protocols, requiring ERCOT to post Qualified Scheduling Entities (QSE) DAM Offers and Awards 60 days after the applicable Operating Day. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1322. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1324, Clarification of the Process to Determine RUC Warmth State Sponsor: ERCOT Revision Description: This NPRR clarifies the process currently used by ERCOT to determine the startup warmth state (i.e., hot, intermediate, or cold) of a block of contiguous Reliability Unit Commitment (RUC)-Committed Hours. Impact Analysis: None Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 4/29/26, TAC voted unanimously to recommend approval of NPRR1324 as recommended by PRS in the 4/15/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1324. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1324 and believes it ensures the Protocols address the process for determining the startup warmth state of the block of contiguous RUC-Committed Hours. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1324. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1325, Related to PGRR145, Batch Zero Process for Large Load Interconnections – URGENT Sponsor: ERCOT Revision Description: This NPRR defines essential terminology related to the transitional Large Load interconnection process, the Batch Zero Process, and modifies the Regional Planning Group (RPG) procedures to allow for a new category of projects that result from the Batch Zero Process. Impact Analysis: No impact (There are no additional impacts to this NPRR beyond what was captured in PGRR145, Batch Zero Process for Large Load Interconnections) Proposed Effective Date: Upon implementation of PGRR145 TAC Report/Decision: On 5/19/25, TAC voted unanimously to recommend approval of NPRR1325 as recommended by PRS in the 5/6/26 PRS Report as amended by the 5/15/26 ERCOT comments. ERCOT Opinion: ERCOT supports approval of NPRR1325. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1325 and believes the market impact for NPRR1325, along with PGRR145, effectively and reliably facilitates the transition of the Large Load interconnection process from an individual study-based approach to a batch study-based approach that allocates available transmission capacity for studied and committed Large Loads and, to the extent feasible, results in an actionable transmission plan. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1325. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1327, As-Built for NPRR1281, Improvements to Alternate FFSS Resource Designation Sponsor: ERCOT Revision Description: This NPRR documents the as-built solution for NPRR1281, Improvements to Alternate FFSS Resource Designation, which is currently under implementation. Impact Analysis: No impact (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR1281) Proposed Effective Date: Upon implementation of NPRR1281 TAC Report/Decision: On 5/13/26, TAC voted unanimously to recommend approval of NPRR1327 as recommended by PRS in the 5/6/26 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR1327. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1327 and believes it makes the necessary clarification during the implementation of NPRR1281 in scenarios where a QSE replaces a primary FFSS Resource (FFSSR) with an alternate Resource and has multiple alternates available, and additionally makes a revision to the calculation of FSSHREAF to align language with the current system implementation. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1327. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1330, Mitigated Offer Caps for RMR Units Sponsor: ERCOT Revision Description: This NPRR establishes a process to set the Mitigated Offer Cap (MOC) for RMR Units that is consistent with the adopted policy of ensuring that out-of-market units do not interfere with market outcomes. Impact Analysis: No impact Proposed Effective Date: July 16, 2026 TAC Report/Decision: On 5/13/26, TAC voted to recommend approval of NPRR1330 as recommended by PRS in the 5/6/26 PRS Report with a recommended effective date of July 16, 2026. There were two abstentions from the Consumer (CMC Steel and Air Liquide) Market Segment. ERCOT Opinion: ERCOT supports the approval of NPRR1330. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1330 and believes it establishes a process to set the MOC for RMR Units that is consistent with the adopted policy of ensuring out-of-market units do not interfere with market outcomes. Independent Market Monitor (IMM) Opinion: IMM supports NPRR1330. Key Documents (including comments, ballots, reports and impact analyses) - COPMGRR052, Related to NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access Sponsor: TEBA/Goff Policy Revision Description: This COPMGRR replaces the concept of “Digital Certificates” throughout the Commercial Operations Market Guide with a new concept where individuals affiliated with a Market Participant can be granted certain restricted access by each individual Market Participant’s USA. Impact Analysis: No impact (There are no additional impacts to this COPMGRR beyond what was captured in the Impact Analysis for NPRR1306) Proposed Effective Date: Upon implementation of NPRR1306 TAC Report/Decision: On 5/19/26, TAC unanimously voted to recommend approval of COPMGRR052 as recommended by WMS in the 5/8/26 WMS Report. ERCOT Opinion: ERCOT supports approval of COPMGRR052. ERCOT Market Impact Statement: ERCOT Staff has reviewed COPMGRR052 and believes that it provides a positive market impact and general system improvement through the replacement of Digital Certificates with more technology-neutral means whereby restricted MIS access is granted to certain Market Participant users by each individual Market Participant’s USA. Independent Market Monitor (IMM) Opinion: IMM has no opinion on COPMGRR052. Key Documents (including comments, ballots, reports and impact analyses) - NOGRR281, Related to NPRR1307, Revised Definition of Mitigation Plan Sponsor: ERCOT Revision Description: This NOGRR modifies when an approved Mitigation Plan can be executed. Impact Analysis: No impact (There are no additional impacts to this NOGRR beyond what was captured in the Impact Analysis for NPRR1307) Proposed Effective Date: Upon system implementation of NPRR1307 TAC Report/Decision: On 5/13/26, TAC voted unanimously to recommend approval of NOGRR281 as recommended by ROS in the 2/5/26 ROS Report. ERCOT Opinion: ERCOT supports approval of NOGRR281. ERCOT Market Impact Statement: ERCOT Staff has reviewed NOGRR281 and believes it modifies when an approved Mitigation Plan can be executed, allowing for the use of pre-contingency actions under specific conditions that threaten grid reliability, and clarifies when a Transmission Operator (TO) can execute the plan without instruction from ERCOT. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NOGRR281. Key Documents (including comments, ballots, reports and impact analyses) - PGRR133, Clarifying Legacy Generation Breaker Control for PGRR115 Implementation Sponsor: Vistra Operations Company LLC Revision Description: This PGRR corrects for unintentional operational risk in grey-boxed language adopted in PGRR115, Related to NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater. Impact Analysis: No impact (There are no additional impacts to this PGRR beyond what was captured in the Impact Analysis for NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater) Proposed Effective Date: Upon system implementation of NPRR1234 TAC Report/Decision: On 4/29/26, TAC voted unanimously to recommend approval of PGRR133 as recommended by ROS in the 4/2/26 ROS Report; and the 4/22/26 Impact Analysis. ERCOT Opinion: ERCOT supports approval of PGRR133. ERCOT Market Impact Statement: ERCOT Staff has reviewed PGRR133 and believes the market impact for PGRR133 modifies approved PGRR115 requirements in a way that provides a reasonable, temporary accommodation for existing generators with a Resource Commissioning Date on or before December 31, 2025 to maintain their current configuration until such time a modification changing or adding a POI to the facility is made. Independent Market Monitor (IMM) Opinion: IMM has no opinion on PGRR133. Key Documents (including comments, ballots, reports and impact analyses) - PGRR143, Steady State Planning Schedule Posting Location Update Sponsor: ERCOT Revision Description: This PGRR moves the posting of the Annual Planning Model Data Submittal schedule from the MIS Secure Area to the ERCOT website. Impact Analysis: Less than $5K (O&M) Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 4/29/26, TAC voted unanimously to recommend approval of PGRR143 as recommended by ROS in the 4/2/26 ROS Report. ERCOT Opinion: ERCOT supports approval of PGRR143. ERCOT Market Impact Statement: ERCOT Staff believe moving the official posting location of the Annual Planning Model Data Submittal from the MIS Secure Area to the ERCOT website removes the duplicative posting locations to streamline compliance requirements. Independent Market Monitor (IMM) Opinion: IMM has no opinion on PGRR143. Key Documents (including comments, ballots, reports and impact analyses) - PGRR145, Batch Zero Process for Large Load Interconnections – URGENT Sponsor: ERCOT Revision Description: This PGRR creates a transitional Batch Zero for ERCOT to study on a system-wide basis the reliability impacts of Large Loads that meet certain study maturity and commitment criteria. Impact Analysis: Batch Zero and Withdrawal-Limited Private Use Network (WLPUN) - $3.6M-$4.5M Annual Recurring Operations and Maintenance (O&M); Provisional Controllable Load Resource (PCLR) - Between $300K and $400K Proposed Effective Date: The day following PUCT approval (Batch Zero and WLPUN); Upon system implementation – Priority 2027; Rank 450 (PCLR) TAC Report/Decision: On 5/19/26, TAC voted to recommend approval of PGRR145 as recommended by ROS in the 5/7/26 ROS Report as amended by the 5/18/26 ERCOT comments and the 5/18/26 Revised Impact Analysis with a recommended effective date of the day following PUCT approval for Batch Zero and WLPUN and upon system implementation for PCLR with a recommended priority of 2027 and rank of 450. There was one abstention from the Cooperative (GSEC) Market Segment. ERCOT Opinion: ERCOT supports approval of PGRR145. ERCOT Market Impact Statement: ERCOT Staff has reviewed PGRR145 and believes the market impact for PGRR145, along with NPRR1325, effectively and reliably facilitates the transition of the Large Load interconnection process from an individual study-based approach to a batch study-based approach that allocates available transmission capacity for studied and committed Large Loads and, to the extent feasible, results in an actionable transmission plan. Independent Market Monitor (IMM) Opinion: IMM has no opinion on PGRR145. Key Documents (including comments, ballots, reports and impact analyses) - RMGRR184, Related to NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access Sponsor: TEBA/Goff Policy Revision Description: This RMGRR replaces the concept of “Digital Certificates” throughout the Retail Market Guide with a new concept where individuals affiliated with a Market Participant can be granted certain restricted access by each individual Market Participant’s USA. Impact Analysis: No impact (There are no additional impacts to this RMGRR beyond what was captured in the Impact Analysis for NPRR1306) Proposed Effective Date: Upon implementation of NPRR1306. TAC Report/Decision: On 5/19/26, TAC unanimously voted to recommend approval of RMGRR184 as recommended by RMS in the 5/12/26 RMS Report. ERCOT Opinion: ERCOT supports approval of RMGRR184. ERCOT Market Impact Statement: ERCOT Staff has reviewed RMGRR184 and believes that it provides a positive market impact and general system improvement through the replacement of Digital Certificates with more technology-neutral means whereby restricted MIS access is granted to certain Market Participant users by each individual Market Participant’s USA. Independent Market Monitor (IMM) Opinion: IMM has no opinion on RMGRR184. Key Documents (including comments, ballots, reports and impact analyses) - VCMRR045, Related to NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access Sponsor: TEBA/Goff Policy Revision Description: This VCMRR replaces the concept of “Digital Certificates” throughout the Verifiable Cost Manual with a new concept where individuals affiliated with a Market Participant can be granted certain restricted access by each individual Market Participant’s USA. Impact Analysis: No impact (There are no additional impacts to this VCMRR beyond what was captured in the Impact Analysis for NPRR1306) Proposed Effective Date: Upon implementation of NPRR1306. TAC Report/Decision: On 5/19/26, TAC unanimously voted to recommend approval of VCMRR045 as recommended by WMS in the 5/8/26 WMS Report. ERCOT Opinion: ERCOT supports approval of VCMRR045. ERCOT Market Impact Statement: ERCOT Staff has reviewed VCMRR045 and believes that it provides a positive market impact and general system improvement through the replacement of Digital Certificates with more technology-neutral means whereby restricted MIS access is granted to certain Market Participant users by each individual Market Participant’s USA. Independent Market Monitor (IMM) Opinion: IMM has no opinion on VCMRR045. Key Documents (including comments, ballots, reports and impact analyses)

Key Factors Influencing Issue: The PRS met, discussed the issues, and submitted reports to TAC regarding NPRRs 1264, 1302, 1306, 1307, 1316, 1318, 1322, 1324, 1325, 1327, and 1330. The ROS met, discussed the issues, and submitted reports to TAC regarding NOGRR281; and PGRRs 133, 143 and 145. The RMS met, discussed the issues, and submitted a report to TAC regarding RMGRR184. The WMS met, discussed the issues, and submitted reports to TAC regarding COPMGRR052 and VCMRR045.

Conclusion/Recommendation: As more specifically described above, TAC recommends that the Board recommend approval of NPRRs 1264, 1302, 1306, 1307, 1316, 1318, 1322, 1324, 1325, 1327, and 1330; COPMGRR052; NOGRR281; PGRRs 133, 143, and 145; RMGRR184; and VCMRR045.

## ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

## BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to Nodal Protocol Revision Requests (NPRRs), Commercial Operations Market Guide Revision Request (COPMGRR), Nodal Operating Guide Revision Request (NOGRR), Planning Guide Revision Requests (PGRRs), Retail Market Guide Revision Request (RMGRR), and Verifiable Cost Manual Revision Request (VCMRR):

- NPRR1264, Creation of a New Energy Attribute Certificate Program

- NPRR1302, 	Addition of a Market Participant Service Portal within the MIS Certified Area and Revision of Forms

- NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access

- NPRR1307, Revised Definition of Mitigation Plan

- NPRR1316, Implement an Annual ERCOT RFI Process to Gather Information Related to Retirement and Mothballing Plans of Select Resources

- NPRR1318, Specific Exclusion of the Incentive Factor to ERCOT Approved Outside Attorney Fees and Approved Emissions Costs

- NPRR1322, 60-Day Disclosure of the Day-Ahead Market (DAM) Ancillary Service Only Offer Awards

- NPRR1324, Clarification of the Process to Determine RUC Warmth State

- NPRR1325, Related to PGRR145, Batch Zero Process for Large Load Interconnections – URGENT

- NPRR1327, As-Built for NPRR1281, Improvements to Alternate FFSS Resource Designation

- NPRR1330, Mitigated Offer Caps for RMR Units

- COPMGRR052, Related to NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access

- NOGRR281, Related to NPRR1307, Revised Definition of Mitigation Plan

- PGRR133, Clarifying Legacy Generation Breaker Control for PGRR115 Implementation

- PGRR143, Steady State Planning Schedule Posting Location Update

- PGRR145, Batch Zero Process for Large Load Interconnections – URGENT

- RMGRR184, Related to NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access

- VCMRR045, Related to NPRR1306, Removal of Digital Certificate References for Market Participants with ERCOT MIS Access

THEREFORE, BE IT RESOLVED, that the ERCOT Board hereby recommends approval of NPRRs 1264, 1302, 1306, 1307, 1316, 1318, 1322, 1324, 1325, 1327, and 1330; COPMGRR052; NOGRR281; PGRRs 133, 143, and 145; RMGRR184; and VCMRR045.

## CORPORATE SECRETARY’S CERTIFICATE

I, Brandon Gleason, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its June 1-2, 2026 meeting, the Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of ______________, 2026.

______________________________

Brandon Gleason

Assistant Corporate Secretary