| NPRR Number | 1328 | NPRR Title | Establishment of Generation Firming Program |
| --- | --- | --- | --- |
| Date |  | May 22, 2026 |  |
| Submitter’s Information |  |  |  |
| Name |  | Mark Stover |  |
| E-mail Address |  | marks@txsolarstorage.org |  |
| Company |  | Texas Solar+Storage Association (TSSA) |  |
| Phone Number |  |  |  |
| Cell Number |  | 512-826-5516 |  |
| Market Segment |  | Not applicable |  |

Comments

The Texas Solar+Storage Association (TSSA) submits these comments in response to the ERCOT Comments (April 14, 2026) on Nodal Protocol Revision Request (NPRR) 1328 and offers proposed revisions to better align ERCOT’s proposed Protocol revisions with 16 Texas Administrative Code §25.65 adopted by the Public Utility Commission of Texas (PUCT) on December 18, 2025, to clarify firming program elements, and to provide greater transparency to Market Participants.

- ERCOT should correct the Firming Capacity Penalty Charge Formula consistent with the PUCT Firming Rule to ensure that capacity that is awarded in the DAM is exempted and not double penalized.

- The Firming Transfer Process should include reasonable deadlines for ERCOT to validate transfers and allow QSEs adequate time to resolve issues with an unconfirmed trade to ensure an orderly and flexible process that enables retroactive trading through the end of the Season, per the PUCT Firming Rule.

- ERCOT should apply the same criteria in the NERC probabilistic assessment that is used in the MORA to determine high risk hours for the baseline period as the hours during which the probability of an EEA (or Capacity Available for Operating Reserves (CAFOR) falling below 2,500 MW) exceeds 10%.

- The PUN attestation deadline that requires notification to ERCOT within 30 days of the Resource Commissioning Date should be deleted.  Instead, any Generation Resource that becomes a part of a PUN can be exempted from firming requirements once the Generation Resource provides notice that it is otherwise qualified for an exemption from the firming requirements under the Firming Rule (i.e., that more than 50% of its nameplate capacity is dedicated to serving the load within the PUN).

- ERCOT should provide notice of the Seasonal Average Generation Capability (SAGC) and Baseline Period (which includes ramping and high risk hours) no fewer  than 30 days prior to the beginning of each Firming Season.

- ERCOT should provide notice of Generation Resource performance during Low Operating Reserve Hours within 10 calendar days after the end of the Firming Season.

- Language in the Protocols must reflect the language adopted by the PUCT in the Firming Rule to provide clarity and consistency.

- The Firming Capacity Penalty Charge Formula Should be Corrected

ERCOT’s formula in proposed Section 28.8 Firming Capacity Penalty appears to inadequately exempt the portion of a Generation Resource that has a day-ahead energy or ancillary service obligation from the firming requirement and the assignment of any potential firming penalty.

TSSA offers recommended revisions to correct the formula to ensure that this capacity is exempt from a firming penalty consistent with PUCT rule §25.65(f)(2)(C).

PUCT Rule §25.65 provides that:

“The portion of capacity of an electric generation facility that is awarded energy or ancillary services in the day ahead market is exempt from assignment of a financial penalty during the applicable hour.”

Under the Firming Rule, Generation Resources subject to the firming requirements will incur a financial penalty if the Generation Resource fails to satisfy its firming performance obligation. However, the rule specifically exempts “the portion of capacity…that is awarded energy and ancillary services in the day ahead market …” from this performance obligation and the assignment of any firming financial penalty in recognition that this capacity is already subject to a penalty under current ERCOT Protocols for non-performance. The PUCT declined to subject capacity that had been awarded in the DAM to double penalties, so it exempted that portion from any potential firming penalties.

The remaining capacity of the Generation Resource subject to the Firming Rule that is not awarded in the DAM (and not subject to another exemption) will be required to meet its firming performance obligation under the rule and will incur a financial penalty if the firming obligation is not met for that portion of the capacity not awarded in the DAM.

The PUCT discussed this exemption in the preamble adopting the Rule:

“The commission adopts Southern Power’s recommendation to clarify that only the portion of an electric generating facility that is subject to a performance obligation for capacity that cleared in the DAM is exempt from the performance requirements under the adopted rule.”  (Order at 83).

“This approach ensures that the portion of the electric generating facility that is not awarded in the DAM is still subject to the performance requirements under the adopted rule and recognizes that for the portion awarded in the DAM, the electric generating facility is already incentivized to perform because of the risk of a financial penalty for failure to perform under its obligations in the DAM.” (Order at 85).

However, ERCOT’s proposed formula does not accurately exempt the portion of capacity awarded in the DAM under scenarios in which firming capacity is purchased through a trade for the remaining capacity subject to SAGC performance obligations under the rule.

TSSA provides several examples to illustrate the problem using ERCOT’s proposed formula:

ERCOT’s Proposed formula (Section 28.8(5) Firming Capacity Penalty Charge)

FCPQ = Max (0, FCRQ – Max (FCAV, DAESR + DAASQ, RCCRS)

Where:

FCRQ = SAGC + FTCS

FCAV = HATHSL + FTCP

Using the inputs below:

SAGC = 100 MW

FTCS = 0 MW

HATHSL = 10 MW

DAESR + DAASQ = 50 MW

RCCRS = 0 MW

The three scenarios discussed below illustrate the penalty calculation (FCPQ) for a Generation Resource that purchases different levels of firming transfer capacity (FTCP).

- Scenario 1, the Generating Resource makes no firming capacity purchases, i.e., FTCP = 0.

FCPQ = Max (0, 100 + 0 – Max (10 + 0, 50, 0) = Max (0, 100 – 50) = 50 MW

In scenario 1, the Generation Resource has a 100 MW SAGC firming performance obligation but is awarded 50 MW in the DAM for the firming hour.  The Generation Resource has 10 MW available in real-time to meet its DA award.  The Generation Resource makes no purchase to acquire offsetting firming capacity from another firming resource.

Under ERCOT’s proposed formula, the Generation Resource is subject to a firming penalty for 50 MW. This is in addition to 40 MW of non-performance penalties associated with the Generation Resource failing to meet its full DA obligations.  In this scenario, the formula provides a value consistent with the Firming Rule.

- Scenario 2 modifies Scenario 1 by having the Generation Resource purchase 50 MW of firming capacity to offset the 50 MW of firming shortfall in Scenario 1. FTCP = 50 MW.

FCPQ = Max (0, 100 +0 – Max (10 + 50, 50, 0) = Max(0, 100 – 60) = 40 MW

In scenario 2, even though the Generation Resource purchased 50 MW of firming transfer capacity to offset the entire 50 MW SAGC shortfall that occurred in Scenario 1, the formula still subjects the Generation Resource to a firming penalty on 40 MW (capacity awarded in the DAM that the rule exempts from firming penalties).  The Generation Resource is also subject to an additional non-performance penalty for the 40 MW associated with not meeting its DAM obligations.

This results in double penalty on the DA capacity. This outcome is not consistent with the PUCT’s Order in which the 50 MW firming transfer capacity purchase should have offset the 50 MW SAGC shortfall that would have occurred, if not for the purchase. Under the rule, the Generation Resource should have had 0 MW subject to the firming penalty (due to the firming trade) and 40 MW subject to penalties for non-performance in meeting the DAM obligation.

- In Scenario 3, the Generation Resource purchases 90 MW of firming transfer capacity, FTCP = 90 MW.

FCPQ = Max (0, 100 + 0 – Max (10 + 90, 50, 0) = Max(0, 100 – 100) = 0 MW

Under this scenario, the Generation Resource must purchase 90 MW of firming capacity to meet a 50 MW SAGC firming obligation. The Generation Resource is also subject to penalties on 40 MW awarded in the DAM for non-performance.  If the formula was working correctly, the Generation Resource should have had to purchase only 50MW of capacity to meet its 50 MW SAGC firming obligation.

In summary, the formula proposed by ERCOT discounts the firming transfer purchase by an amount equal to the shortfall from the DAM obligation and potentially duplicates the penalties from firming with the penalties from non-performance in day-ahead energy, ancillary service or reliability service obligation. This results in Generation Resources having to procure excessive firming capacity to offset the shortfall (90 MW in this case) to cure a shortfall of 50 MW absent any trades.

TSSA Recommendation

TSSA recommends the following changes to the formula in Section 28.8(5)(a) consistent with the Firming Rule to ensure that the portion of capacity that is awarded in the DAM is exempted from the firming rule and not double penalized.  This will ensure that any potential firming penalty applies only to the portion of the Generation Resource’s SAGC firming obligation that is not already subject to another penalty or obligation from a day ahead or reliability commitment if the Generation Resource does not meet its SAGC performance obligation:

FCPQ = Max (0, FCRQ – Max (FCAV, DAESR + DAASQ, RCCRS) – FTCP)

Where:

FCRQ= SAGC + FTCS

FCAV = HATHSL

Under the same example scenarios above, the results now correctly ensure that the 50 MW firming transfer capacity purchase in scenario 2 offsets the entire shortfall that occurred in scenario 1, providing a MW for MW offset as required by the Firming Rule.

- Scenario 1, no firming transfer purchase, the shortfall is calculated as

FCPQ = max(0, 100 – max(10, 50, 0) - 0) = 50 MW

- In Scenario 2, the Generation Resource purchases firming transfer capacity of 50 MW to cure the SAGC performance shortfall that occurred in scenario 1. FTCP = 50 MW

FCPQ = max(0, 100 – max(10, 50, 0) - 50) = 0 MW

TSSA has provided redlines to correct the formula.

- The Firming Transfer Validation Process Should Include Reasonable Deadlines

The Firming Rule §25.65(g)(3) requires that all trade arrangements must be confirmed by ERCOT before the firming obligation (and the risk for financial penalty) is transferred to the QSE providing the firming service.  Therefore, it is essential that the transfer process allows sufficient time for QSEs to submit transfers, ERCOT to validate those transfers, and QSEs to correct and resubmit unvalidated transfers through the end of the Firming Season.  TSSA recommends that reasonable deadlines be included to ensure an orderly and flexible firming transfer process that enables retroactive trading through the end of each season.

In Section 28.5, ERCOT proposes a window for each season for QSEs to submit Firming Transfers. The window begins at the beginning of each season and ends within 30 days of the end of the Firming Season. Although all trades must be submitted by QSEs and validated by ERCOT within this window of time, the Protocol does not include any specific deadlines.

If ERCOT notifies a QSE that a submitted transfer is invalid, regardless of when ERCOT makes that determination, QSEs have to modify and correct the transfer and have it approved within the same window. In a scenario where ERCOT makes the determination that a transfer is invalid on the last day of the transfer window, the proposed Protocol language does not allow QSEs adequate time to correct and resubmit their transfers. Such an outcome would hinder the ability of QSEs to submit retroactive transfers for Low Operation Reserve Hours that occur late in the Firming Season.

TSSA Recommendation

TSSA recommends adding reasonable deadlines to the Firming Transfer process.  The firming trading window should be defined as the period beginning with the beginning of each season and ending 30 days after the end of each season. If QSEs timely submit trades within the firming trading window, ERCOT must confirm the validity of the trades and communicate its determination within 10 calendar days of the QSE submission. QSEs will have the later of ten calendar days from the date of receiving ERCOT’s notification or through the end of the firming transfer window to correct and resubmit transfers, whichever is later.

This modification ensures that the transfer validation process is transparent, orderly, and flexible for both ERCOT and QSEs. If ERCOT determines a trade arrangement is invalid close to the end of transfer window, TSSA’s recommendation will allow QSEs to have sufficient time to make corrections. All transfers are finalized no later than 40 days after the end of the season.  TSSA’s recommended changes also ensure that transfers submitted in the early part of the window are evaluated on a timely basis by ERCOT.

- Identification of High-risk Hours Should Use the Same Criteria as the MORA

In Section 28.4(2) Firming Baseline Period, ERCOT defines the baseline period to include any “high-risk” hours ERCOT identifies using ERCOT’s annual NERC Probabilistic Assessment for that season consistent with PUCT Rule §25.65(b)(1). However, ERCOT has not provided the methodology or the criteria that it will use to identify those “high-risk” hours.  Without this information, Market Participants are unable to understand or manage the potential risk nor perform their own calculations prior to ERCOT’s notification of the baseline period.

Furthermore, the lack of transparency regarding how EROCT determines the high-risk hours means that ERCOT’s calculation may change from season to season or year to year with an unknown number of hours being identified in the baseline period.  Market participants require transparency and certainty to calculate and manage their own risks and to ensure that “high risk” hours truly reflect high risk conditions.

In addition, it is unknown at this time the specifics regarding the order of operations for curtailing large loads in ERCOT as that topic is being discussed as part of ongoing rules to implement SB6 (Texas Legislative Regular Session 2025). Given the magnitude of the large loads projected in ERCOT, the ability and the order in which this resource is used to maintain operating reserves in ERCOT could influence the risk of an EEA in ERCOT.

Using the latest NERC probabilistic assessment, conducted in 2025 for the 2027 and 2029 study years, ERCOT published the reliability metrics and a monthly heatmap of the distribution of Expected Unserved Energy (EUE), among each month, as shown in Tables 1 & 2.

Table 1 – 2025 Probabilistic Assessment Reliability Metrics

Table 2 – 2025 Probabilistic Assessment EUE Heatmap

However, these results do not indicate which of these hours are considered “high-risk,” nor the level of EUE or percentage of annual EUE that ERCOT considers “high-risk”. The results also acknowledge significant uncertainty in the standards for integrating large loads into ERCOT.

As ERCOT states in the presentation, the heatmaps show the percentage of annual EUE that is distributed in a particular hour of day for a particular season. The distribution could show the percentage of the EUE risk in that particular hour in each month, regardless of the magnitude of EUE projected.

Without mapping to the reliability metrics used for the PUCT approved reliability standard, the results of the probabilistic assessment do not indicate whether the risk in any given hour or any given month is high, low, or moderate for purposes of the firming program.

TSSA Recommendation

TSSA recommends that ERCOT should apply the same criteria in the NERC Probabilistic Assessment that is used in the MORA to determine high risk hours for the baseline period as the hours during which the probability of an EEA (or Capacity Available for Operating Reserves (CAFOR) falling below 2,500 MW) exceeds 10%.

In the MORA report, which market participants understand and utilize, ERCOT publishes the probability of CAFOR falling below 2,500 MW for each hour of the day in that month which translates to the risk of an Energy Emergency Alert (EEA). ERCOT states that an EEA probability above 10% indicates an elevated reserve adequacy risk.

TSSA also recommends that, consistent with the Commission guidance in the Triennial Reliability Assessment proceeding, ERCOT should treat large load curtailments as a resource prior to declaring an EEA in the reliability assessments.

TSSA recommends that ERCOT revisit this definition once the standards for integrating large loads and large load demand management rules to implement SB 6 are adopted.

- Generation Resources Should be Allowed to Provide the PUN Attestation at any Time

ERCOT proposes in Section 28.2.1(2)(g) that Generation resources that are co-located with load in a Prive Use Network in which more than 50% of the Generation Resource’s nameplate capacity is dedicated to the load within the PUN are exempt from firming performance obligations consistent with PUCT Rule 25.65(d)(7).  However, Section 28.2.1(3), requires a Resource Entity (RE) to submit an attestation form within 30 days of the Resource Commissioning Date.  It appears that the attestation can only be made at this time in order for the Generation Resource to be exempt from the firming requirements.

TSSA agrees that it is reasonable for ERCOT to rely on an attestation provided by an RE on behalf of its co-located Generation Resource to determine if the Generation Resource is Exempt from firming requirements.  However, the Firming Rule exempts these arrangements by law and there is simply no requirement in the PUCT rule that an attestation is required or required by a certain date to preserve that exemption.

Furthermore, the deadline in the proposed language is arbitrary and impractical.  For example, a Generation Resource may not be part of a PUN at the Resource Commissioning Date but could choose to transition to a PUN arrangement later. However, under this scenario, ERCOT’s proposed language would seemingly disqualify the otherwise qualified co-located Generation Resource from the firming exemption contrary to the Firming Rule. This scenario is not acceptable.

TSSA Recommendation

TSSA recommends that the language requiring an attestation within 30 days of the Resource Commissioning date be deleted.  Instead, any Generation Resource that becomes a part of a PUN can be exempted from firming requirements once the Resource Entity on behalf of the Generation Resource provides notice that it is otherwise qualified for an exemption from the firming requirements under the Firming Rule (i.e., that more than 50% of its nameplate capacity is dedicated to the PUN).

- ERCOT should provide Notice of the SAGC and Baseline Period no Fewer than 30 Days Prior to each Season.

Under Section 28.3.1, ERCOT proposes to give notice of the SAGC for each Generating Resource and notice of the Baseline Period (which includes ramping and high-risk hours) “at least ten days” prior to the beginning of each Firming Season.  This provides an extremely short and largely unworkable timeframe for Generation Resources to develop and execute firming mitigation plans prior to the Firming Season, especially for any high-risk hour that may occur early in the Firming Season.  Although retroactive trading is allowed, some Generation Resources will find it more practical or economic to secure trading arrangements before a Low Operation Reserve Hour occurs.

Additionally, ERCOT will develop the NERC Probabilistic Assessment annually, so this information should be readily available well in advance prior to the beginning of each Firming Season.  In fact, the PUCT noted a benefit of using the NERC Probability Assessment provides Generation Resources with advance notice of the high-risk hours and this should be reflected in the Protocols: “… the commission moves forward with the NERC Probabilistic Assessment recommended by TCPA and Vistra. This will also provide owners and operators with more notice on which hours will be included within the baseline period in each season.” (Order at 43).

TSSA Recommendation

TSSA recommends that the Protocol language in Section 28.3.1(1) and (2) be modified to require notice of the SAGC and Firming Baseline Period at least 30 days prior to the beginning of each Firming Season to allow Generation Resources sufficient time to understand their risk profile and secure appropriate transfers.

- ERCOT Should provide Notice of Generation Resource Performance During Low Operating Reserve Hours within 10 Calendar Days after the end of the Firming Season

ERCOT proposes in Section 28.3.1 that it will post the quantity indicating whether Generation Resources were long or short during Low Operation Reserve Hours but provides no deadline by which that notice occurs, which exposes market participants to unnecessary uncertainty.

TSSA Recommendation:

TSSA recommends that the Protocol language include a deadline of 10 calendar days after the end of each Firming Season for ERCOT to post the quantity indicating whether resources subject to firming performance obligations were long or short during Low Operating Reserve Hours.  This will allow Generation Resources the ability to timely verify performance and calculate any owed penalties or incentives prior to settlement.

- Language in the Protocols should reflect the language adopted by the PUCT in the Firming Rule to provide clarity and consistency.

With the noted exceptions discussed above, the language that ERCOT proposes in NPRR 1328 generally tracks the language adopted by the PUCT in the Firming Rule, which TSSA appreciates.  However, there are a few instances in which the language departs from the rule or is worded in a way in which the intent is not clear.

TSSA Recommendation:

TSSA recommends that language in Protocol Sections 2.1, 28.1(2), 28.7(1)(e), be modified to remove ambiguity and to ensure consistency with the language used in the Order adopting the Firming Rule.  These corrections are not meant to substantively change the Firming Program but simply to ensure uniformity and consistency of the Protocol language with the Commission’s Order adopting the Firming Rule to avoid confusion or ambiguity.

Furthermore, TSSA would appreciate further discussion regarding Section 28.7(1)(e) concerning SWGR combined cycle components and Section 28.7(2)(B) regarding exemptions for reliability service.

Section 2.1 defines a Low Operation Reserve Hour (LORH).  The LORH identifies how ERCOT determines the hours within the Baseline Period for which Generation Resources have a firming performance obligation.  The proposed language should mirror the phrasing in the rule that provides important clarifications.  Specifically, Firming Rule §25.65(d) provides:  “The low operation reserve hours are limited to a maximum of 15 hours per season.  There is no performance requirement in a season that does not experience a low operation reserve hour.”  TSSA has provided suggested edits to conform the Protocol language with the Firming Rule.

Section 28.1(2) should be modified consistent with the language used in the Order at page 69 that the purpose of the Firming Program is “to incentivize owners and operators of generating facilities to ensure that their electric generating facilities are available at their average capability in a given season during hours with tight conditions due to low operation reserves that occur within that season.”  TSSA has provided suggested edits to conform the Protocol language with the language from the Order adopting the Firming Rule.

Section 28.7(1)(e) should be modified to track the language of the Firming Rule §25.65(f)(20(D) to include the phrase “for the applicable hour.”  The Order at page 81 explains the need for this change: “The commission adopts ERCOT's recommendation to exempt a switchable generation resource that is committed to a neighboring ISO or RTO for the applicable hour rather than the applicable season. This aligns with the rest of the adopted rule. Moreover, this is consistent with the fact that a switchable generation resource may not be committed to the neighboring ISO or RTO for an entire season, or the definition of the relevant season may differ for the neighboring ISO or RTO.”  TSSA has provided suggested edits to conform the Protocol language with the Firming Rule.

Additionally, Section 28.7(1)(e) proposes to add the following: “If the SWGR is a Combined Cyle with any of its components committed to a neighboring Independent System Operator or Regional Transmission Organization, then the entire Combined Cycle Train is exempt.”  It appears that this language is not included in rule §25.65.  TSSA has not proposed edits at this time but would appreciate discussion on this issue.

Section 28.7(2) lists the exemptions identified in the Firming Rule §25.65(f)(2).  TSSA notes that the Protocol language does not include the language in rule §25.65(f)(2)(D) which exempts the portion of capacity of a Generation Resource that “is awarded an ancillary service or reliability service that has an associated penalty or claw back for failure to perform” during a Low Operation Reserve Hour.  However, ERCOT does include in Protocol Section 28.7(2)(b) an exemption for the capacity that is contracted for Black Start Service and Firm Fuel Supply Service for any applicable Low Operation Reserve Hour.  This sentence appears to incorporate the reliability service exemption in the rule, but TSSA notes that it may be preferable to include the language in the Firming Rule with the phrase “including” followed by the language in Protocol section 28.7(2)(b)(i) and (ii) so that the Protocol is flexible enough to incorporate future reliability programs without needing to go through the revision process. TSSA has not proposed edits at this time but would appreciate discussion on this issue.

TSSA appreciates the opportunity to discuss our recommendations at the May 26, 2026 WMWG meeting.

Revised Cover Page Language

None

Revised Proposed Protocol Language

1.3.1.1	Items Considered Protected Information

(1)	Subject to the exclusions set out in Section 1.3.1.2, Items Not Considered Protected Information, and in Section 3.2.5, Publication of Resource and Load Information, “Protected Information” is information containing or revealing any of the following:

(a)	Base Points, as calculated by ERCOT.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(b)	Bids, offers, or pricing information identifiable to a specific Qualified Scheduling Entity (QSE) or Resource.  The Protected Information status of part of this information shall expire 60 days after the applicable Operating Day, as follows:

(i)	Ancillary Service Offers by Operating Hour or Security-Constrained Economic Dispatch (SCED) interval for each Resource for all Ancillary Services submitted for the Day-Ahead Market (DAM) or Real-Time Market (RTM);

(ii)	The quantity of Ancillary Service offered by Operating Hour or SCED interval for each Resource for all Ancillary Service submitted for the DAM or RTM; and

(iii)	A Resource’s Energy Offer Curve prices and quantities by Operating Hour or SCED interval.  The Protected Information status of this information shall expire within seven days after the applicable Operating Day if required to be posted as part of paragraph (6) of Section 3.2.5 and within two days after the applicable Operating Day if required to be posted as part of paragraph (8) of Section 3.2.5;

[NPRR1188: Replace paragraph (iii) above with the following upon system implementation:] (iii) The prices and quantities presented in a Resource’s Energy Offer Curve or Energy Bid Curve by Operating Hour or SCED interval. The Protected Information status of this information shall expire within seven days after the applicable Operating Day if required to be posted as part of paragraph (6) of Section 3.2.5 and within two days after the applicable Operating Day if required to be posted as part of paragraph (8) of Section 3.2.5;

(c)	Status of Resources, including Outages, limitations, or scheduled or metered Resource data.  The Protected Information status of this information shall expire as follows:

(i)	For each Forced Outage, Maintenance Outage, or Forced Derate of a Generation Resource or Energy Storage Resource (ESR) that occurs during or extends into an Operating Day, the Protected Information status of the following information shall expire three days after the applicable Operating Day:

(A)	The name and unit code of the Resource affected;

(B)	The Resource’s fuel type;

(C)	The type of Outage or derate;

(D)	The start date/time and the planned and actual end date/time;

(E)	The Resource’s applicable Seasonal net maximum sustainable rating;

(F)	The available and outaged MW during the Outage or derate; and

(G)	The entry in the “nature of work” field in the Outage Scheduler and any other information concerning the cause of the Outage or derate;

(ii)	For each Resource Outage or Forced Derate that occurs during, or that extends into, any time period in which ERCOT has declared an Energy Emergency Alert (EEA), ERCOT may immediately disclose the information identified in paragraph (i) above to a state Governmental Authority, the office of the Governor of Texas, the office of the Lieutenant Governor of Texas, or any member of the Texas Legislature, if requested; and

(iii)	For all other information, the Protected Information status shall expire 60 days after the applicable Operating Day;

(d)	Current Operating Plans (COPs).  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(e)	Ancillary Service Trades, Energy Trades, and Capacity Trades identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(f)	Ancillary Service awards identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(g)	Dispatch Instructions identifiable to a specific QSE or Resource, except for Reliability Unit Commitment (RUC) commitments and decommitments as provided in Section 5.5.3, Communication of RUC Commitments and Decommitments.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(h)	Raw and Adjusted Metered Load (AML) data (demand and energy) identifiable to:

(i)	A specific QSE or Load Serving Entity (LSE).  The Protected Information status of this information shall expire 180 days after the applicable Operating Day; or

(ii)	A specific Customer or Electric Service Identifier (ESI ID);

(i)	Wholesale Storage Load (WSL) data identifiable to a specific QSE.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(j)	Settlement Statements and Invoices identifiable to a specific QSE.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(k)	Number of ESI IDs identifiable to a specific LSE.  The Protected Information status of this information shall expire 365 days after the applicable Operating Day;

(l)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available.  The Protected Information status of certain generation interconnection request information expires as provided in Section 1.3.1.4, Expiration of Protected Information Status;

(m)	Resource-specific costs, design and engineering data, including such data submitted in connection with a verifiable cost appeal;

(n)	Congestion Revenue Right (CRR) credit limits, the identity of bidders in a CRR Auction, or other bidding information identifiable to a specific CRR Account Holder.  The Protected Information status of this information shall expire as follows:

(i)	The Protected Information status of the identities of CRR bidders that become CRR Owners and the number and type of CRRs that they each own shall expire at the end of the CRR Auction in which the CRRs were first sold; and

(ii)	The Protected Information status of all other CRR information identified above in item (n) shall expire six months after the end of the year in which the CRR was effective.

(o)	Renewable Energy Credit (REC) account balances.  The Protected Information status of this information shall expire three years after the REC Settlement period ends;

(p)	Credit limits identifiable to a specific QSE;

(q)	Any information that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information that is expressly designated not to be Protected Information by Section 1.3.1.2 or that, pursuant to Section 1.3.1.4, is no longer confidential;

(r)	Any information compiled by a Market Participant on a Customer that in the normal course of a Market Participant’s business that makes possible the identification of any individual Customer by matching such information with the Customer’s name, address, account number, type of classification service, historical electricity usage, expected patterns of use, types of facilities used in providing service, individual contract terms and conditions, price, current charges, billing record, or any other information that a Customer has expressly requested not be disclosed (“Proprietary Customer Information”) unless the Customer has authorized the release for public disclosure of that information in a manner approved by the Public Utility Commission of Texas (PUCT).  Information that is redacted or organized in such a way as to make it impossible to identify the Customer to whom the information relates does not constitute Proprietary Customer Information;

(s)	Any software, products of software, or other vendor information that ERCOT is required to keep confidential under its agreements;

(t)	QSE, Transmission Service Provider (TSP), and Distribution Service Provider (DSP) backup plans collected by ERCOT under the Protocols or Other Binding Documents;

[NPRR857: Replace item (t) above with the following upon system implementation and satisfying the following conditions: (1) Southern Cross provides ERCOT with funds to cover the entire estimated cost of the project; and (2) Southern Cross has signed an interconnection agreement with a TSP and the TSP gives ERCOT written notice that Southern Cross has provided it with: (a) Notice to proceed with the construction of the interconnection; and (b) The financial security required to fund the interconnection facilities:] (t) QSE, Transmission Service Provider (TSP), Direct Current Tie Operator (DCTO), and Distribution Service Provider (DSP) backup plans collected by ERCOT under the Protocols or Other Binding Documents;

(u)	Direct Current Tie (DC Tie) Schedule information.  The Protected Information status of this information shall expire on the date on which ERCOT files the report with the PUCT that is required by P.U.C. Subst. R. 25.192, Transmission Rates for Export from ERCOT, relating to energy imported and exported over DC Ties interconnected to the ERCOT System;

(v)	Any Texas Standard Electronic Transaction (TX SET) transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph does not apply to ERCOT’s compliance with:

(i)	PUCT Substantive Rules on performance measure reporting;

(ii)	These Protocols or Other Binding Documents; or

(iii)	Any Technical Advisory Committee (TAC)-approved reporting requirements;

(w)	Information concerning the probability of return to service and expected lead time for returning to service for a Mothballed Generation Resource or Mothballed ESR, submitted pursuant to Section 3.14.1.9, Generation Resource/Energy Storage Resource Status Updates;

(x)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity;

(y)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Section 6.5.9.3.1, Operating Condition Notice, Section 6.5.9.3.2, Advisory, and Section 6.5.9.3.3, Watch, and as defined by the Operating Guides;

(z)	Non-public financial information provided by a Counter-Party to ERCOT pursuant to meeting its credit qualification requirements as well as the QSE’s form of credit support;

(aa)	Emergency operations plans submitted pursuant to P.U.C. Subst. R. 25.53, Electric Service Emergency Operations Plans;

(bb)	Information provided by a Counter-Party under Section 16.16.3, Verification of Risk Management Framework;

(cc)	Any data related to Load response capabilities that are self-arranged by the LSE or pursuant to a bilateral agreement between a specific LSE and its Customers, other than data either related to any service procured by ERCOT or non-LSE-specific aggregated data.  Such data includes pricing, dispatch instructions, and other proprietary information of the Load response product;

(dd)	Status of Settlement Only Generators (SOGs), including Outages, limitations, or scheduled or metered output data, except that ERCOT may disclose output data from an SOG as part of an extract or forwarded TX SET transaction provided to the LSE associated with the ESI ID of the Premise where the SOG is located.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

[NPRR829 and NPRR995: Replace applicable portions of paragraph (dd) above with the following upon system implementation:] (dd) Status of Settlement Only Generators (SOGs) and Settlement Only Energy Storage System (SOESS), including Outages, limitations, schedules, metered output and withdrawal data, or data telemetered for use in the calculation of Real-Time Liability (RTL) as described in Section 16.11.4.3.2, Real-Time Liability Estimate, except that ERCOT may disclose metered output and withdrawal data from an SOG or SOESS as part of an extract or forwarded TX SET transaction provided to the LSE associated with the ESI ID of the Premise where the SOG is located. The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(ee)	Any documents or data submitted to ERCOT in connection with an Alternative Dispute Resolution (ADR) proceeding.  The Protected Information status of this information shall expire upon ERCOT’s issuance of a Market Notice indicating the disposition of the ADR proceeding pursuant to paragraph (1) of Section 20.9, Resolution of Alternative Dispute Resolution Proceedings and Notification to Market Participants, except to the extent the information continues to qualify as Protected Information pursuant to another paragraph of this Section 1.3.1.1;

(ff)	Reasons for and future expectations of overrides to a specific Resource’s High Dispatch Limit (HDL) or Low Dispatch Limit (LDL).  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(gg)	Information provided to ERCOT under Section 16.18, Cybersecurity Incident Notification, except that ERCOT may disclose general information concerning a Cybersecurity Incident in a Market Notice in accordance with paragraph (5) of Section 16.18 to assist Market Participants in mitigating risk associated with a Cybersecurity Incident;

(hh)	Information disclosed in response to paragraphs (1)-(4) of the Natural Gas Pipeline Coordination section of Section 22, Attachment K, Declaration of Natural Gas Pipeline Coordination, submitted to ERCOT in accordance with Section 3.21, Submission of Declarations of Natural Gas Pipeline Coordination.  The Protected Information status of Resource Outage information shall expire as provided in paragraph (1)(c) of Section 1.3.1.1;

(ii)	Information concerning weatherization activities submitted to, obtained by, or generated by ERCOT in connection with P.U.C. Subst. R. 25.55, Weather Emergency Preparedness, if such information allows the identification of any Resource or Resource Entity;

(jj)	Information provided to ERCOT:

(i)	By a QSE under paragraph (3) of Section 3.14.5, Firm Fuel Supply Service, as part of an offer to provide Firm Fuel Supply Service (FFSS), except that within ten Business Days of issuing FFSS awards, ERCOT may disclose the identity of all Generation Resources that were offered as primary Generation Resources or alternate Generation Resources to provide FFSS for the most recent procurement period, including prices and quantities offered;

(ii)	By a Resource Entity under paragraph (2) of Section 8.1.1.2.1.6, Firm Fuel Supply Service Resource Qualification, Testing, Decertification, and Recertification, as part of the voluntary process for ERCOT certification of a FFSS Qualified Contract; or

(iii)	By a Resource Entity in a Force Majeure Event report required under paragraph (14) of Section 8.1.1.2.6;

(kk)	Information provided to ERCOT pursuant to Section 16.2.1.1, QSE Background Check Process, or Section 16.8.1.1, CRR Account Holder Background Check Process;

(ll)	Information concerning coal or lignite inventory provided by a QSE under Section 3.24, Notification of Low Coal and Lignite Inventory Levels; and

(mm)	Certain information associated with the Generation Firming Program administered by ERCOT.  The Protected Information status of such information shall expire 180 days after the end of the applicable Firming Season.  Applicable information consists of:

(i)	Resource-specific Seasonal Average Generation Capability;

(ii)	Resource-specific seasonal capacity to provide Firming Service; and

(iii)	Confirmed Firming Transfers.

## 2.1	DEFINITIONS

Firming Baseline Period

A daily set of hours associated with the Generation Firming Program and determined in accordance with the methodology established in Section 28.4, Firming Baseline Period.

Firming Season

The Firming Seasons during which the Generation Firming Program applies consist of the following months: winter months are December, January, and February; spring months are March, April, and May; summer months are June, July, August, and September; and fall months are October and November.

Firming Service

A service under which the Qualified Scheduling Entity (QSE) for a Generation Resource that has a performance obligation under the Generation Firming Program transfers such obligation to the QSE of another eligible Resource.  Provision of the service is communicated to ERCOT through a confirmed Firming Transfer.

Firming Transfer

A financial transaction that transfers a performance obligation under the Generation Firming Program from one Resource to another eligible Resource.

Generation Firming Program

The program established by the Public Utility Commission of Texas (PUCT) in 16 Texas Administrative Code Section 25.65 and further described herein in Section 28, Generation Firming Program.

Low Operation Reserve Hour

An hour within a Firming Baseline Period when the Physical Responsive Capability (PRC) falls below 3,000 megawatts (MW) for at least 15 consecutive minutes.  The number of Low Operation Reserve Hours is limited to  a maximum of 15 hours per Firming Season.  There is no performance requirement in a Firming Season that does not experience a Low Operation Reserve Hour.  If more than 15 hours in a Firming Season meet these criteria, then the 15 hours with the lowest PRC levels during that Firming Season will apply.

Seasonal Average Generation Capability (SAGC)

The rated capacity in megawatts that a Generation Resource is expected to operate at, or be available to operate at, for purposes of the Generation Firming Program during a Low Operation Reserve Hour in a Firming Season.

## 2.2	ACRONYMS AND ABBREVIATIONS

SAGC	Seasonal Average Generation Capability

### 9.5.3	Real-Time Market Settlement Charge Types

(1)	ERCOT shall provide, on each RTM Settlement Statement, the dollar amount for each RTM Settlement charge and payment.  The RTM Settlement “Charge Types” are:

(a)	Section 5.7.1, RUC Make-Whole Payment;

(b)	Section 5.7.2, RUC Clawback Charge;

(c)	Section 5.7.3, Payment When ERCOT Decommits a QSE-Committed Resource;

(d)	Section 5.7.4.1, RUC Capacity-Short Charge;

(e)	Section 5.7.4.2, RUC Make-Whole Uplift Charge;

(f)	Section 5.7.5, RUC Clawback Payment;

(g)	Section 5.7.6, RUC Decommitment Charge;

(h)	Section 6.6.3.1, Real-Time Energy Imbalance Payment or Charge at a Resource Node;

(i)	Section 6.6.3.2, Real-Time Energy Imbalance Payment or Charge at a Load Zone;

(j)	Section 6.6.3.3, Real-Time Energy Imbalance Payment or Charge at a Hub;

(k)	Section 6.6.3.4, Real-Time Energy Payment for DC Tie Import;

(l)	Section 6.6.3.5, Real-Time Payment for a Block Load Transfer Point;

(m)	Section 6.6.3.6, Real-Time High Dispatch Limit Override Energy Payment;

(n)	Section 6.6.3.7, Real-Time High Dispatch Limit Override Energy Charge;

(o)	Section 6.6.3.8, Real-Time Payment or Charge for Energy from a Settlement Only Distribution Generator (SODG) or a Settlement Only Transmission Generator (SOTG);

(p)	Section 6.6.4, Real-Time Congestion Payment or Charge for Self-Schedules;

(q)	Section 6.6.5.2, Set Point Deviation Charge for Over Generation;

(r)	Section 6.6.5.2.1, Set Point Deviation Charge for Under Generation;

(s)	Section 6.6.5.3, Controllable Load Resource Set Point Deviation Charge for Over Consumption;

(t)	Section 6.6.5.3.1, Controllable Load Resource Set Point Deviation Charge for Under Consumption;

(u)	Section 6.6.5.4, IRR Generation Resource Set Point Deviation Charge;

(v)	Section 6.6.5.7, Set Point Deviation Payment;

(w)	Section 6.6.6.1, RMR Standby Payment;

(x)	Section 6.6.6.2, RMR Payment for Energy;

(y)	Section 6.6.6.3, RMR Adjustment Charge;

(z)	Section 6.6.6.4, RMR Charge for Unexcused Misconduct;

(aa)	Section 6.6.6.5, RMR Service Charge;

(bb)	Section 6.6.6.6, Method for Reconciling RMR Actual Eligible Costs, RMR and MRA Contributed Capital Expenditures, and Miscellaneous RMR Incurred Expenses;

(cc)	Paragraph (3) of Section 6.6.7.1, Voltage Support Service Payments;

(dd)	Paragraph (5) of Section 6.6.7.1;

(ee)	Section 6.6.7.2, Voltage Support Charge;

(ff)	Section 6.6.8.1, Black Start Hourly Standby Fee Payment;

(gg)	Section 6.6.8.2, Black Start Capacity Charge;

(hh)	Section 6.6.9.1, Payment for Emergency Operations Settlement;

(ii)	Section 6.6.9.2, Charge for Emergency Operations Settlement;

(jj)	Section 6.6.10, Real-Time Revenue Neutrality Allocation;

(kk)	Section 6.6.11.1, Emergency Response Service Capacity Payments;

(ll)	Section 6.6.11.2, Emergency Response Service Capacity Charge;

(mm)	Section 6.6.14.2, Firm Fuel Supply Service Hourly Standby Fee Payment and Fuel Replacement Cost Recovery;

(nn)	Section 6.6.14.3, Firm Fuel Supply Service Capacity Charge;

(oo)	Section 6.7.1, Real-Time Settlement for Updated Day-Ahead Market Ancillary Service Obligations;

(pp) 	Section 6.7.2.2, Regulation Up Service Payments and Charges;

(qq) 	Section 6.7.2.3, Regulation Down Service Payments and Charges;

(rr) 	Section 6.7.2.4, Responsive Reserve Payments and Charges;

(ss) 	Section 6.7.2.5	, Non-Spinning Reserve Service Payments and Charges;

(tt) 	Section 6.7.2.6	, ERCOT Contingency Reserve Service Payments and Charges;

(uu) 	Section 6.7.2.7	, Real-Time Derated Ancillary Service Capability Payment;

(vv) 	Section 6.7.2.8	, Real-Time Derated Ancillary Service Capability Charge;

(ww)	Section 6.7.3, Real-Time Ancillary Service Revenue Neutrality Allocation;

(xx)	Section 7.9.2.1, Payments and Charges for PTP Obligations Settled in Real-Time;

(yy)	Section 9.16.1, ERCOT System Administration Fee;

(zz)	Section 28.8, Firming Capacity Penalty Charge;

(aaa)	Section 28.9, Firming Capacity Incentive Payment; and

(bbb)	Section 28.10, Firming Capacity Surplus Payment Allocation to Load.

[NPRR841, NPRR885, NPRR963, NPRR995, NPRR1216, and NPRR1229: Replace applicable portions of paragraph (1) above with the following upon system implementation:] (1) ERCOT shall provide, on each RTM Settlement Statement, the dollar amount for each RTM Settlement charge and payment. The RTM Settlement “Charge Types” are: (a) Section 5.7.1, RUC Make-Whole Payment; (b) Section 5.7.2, RUC Clawback Charge; (c) Section 5.7.3, Payment When ERCOT Decommits a QSE-Committed Resource; (d) Section 5.7.4.1, RUC Capacity-Short Charge; (e) Section 5.7.4.2, RUC Make-Whole Uplift Charge; (f) Section 5.7.5, RUC Clawback Payment; (g) Section 5.7.6, RUC Decommitment Charge; (h) Section 6.6.3.1, Real-Time Energy Imbalance Payment or Charge at a Resource Node; (i) Section 6.6.3.2, Real-Time Energy Imbalance Payment or Charge at a Load Zone; (j) Section 6.6.3.3, Real-Time Energy Imbalance Payment or Charge at a Hub; (k) Section 6.6.3.4, Real-Time Energy Payment for DC Tie Import; (l) Section 6.6.3.5, Real-Time Payment for a Block Load Transfer Point; (m) Section 6.6.3.6, Real-Time High Dispatch Limit Override Energy Payment; (n) Section 6.6.3.7, Real-Time High Dispatch Limit Override Energy Charge; (o) Section 6.6.3.8, Real-Time Payment or Charge for Energy from a Settlement Only Distribution Generator (SODG), Settlement Only Transmission Generator (SOTG), Settlement Only Distribution Energy Storage System (SODESS), or Settlement Only Transmission Energy Storage System (SOTESS); (p) Section 6.6.3.9, Real-Time Constraint Management Plan Cost Recovery Payment; (q) Section 6.6.3.10, Real-Time Constraint Management Plan Cost Recovery Charge; (r) Section 6.6.4, Real-Time Congestion Payment or Charge for Self-Schedules; (s) Section 6.6.5.2, Set Point Deviation Charge for Over Generation; (t) Section 6.6.5.2.1, Set Point Deviation Charge for Under Generation; (u) Section 6.6.5.3, Controllable Load Resource Set Point Deviation Charge for Over Consumption; (v) Section 6.6.5.3.1, Controllable Load Resource Set Point Deviation Charge for Under Consumption; (w) Section 6.6.5.4, IRR Generation Resource Set Point Deviation Charge; (x) Section 6.6.5.7, Set Point Deviation Payment; (y) Section 6.6.5.5, Energy Storage Resource Set Point Deviation Charge for Over Performance; (z) Section 6.6.5.5.1, Energy Storage Resource Set Point Deviation Charge for Under Performance; (aa) Section 6.6.6.1, RMR Standby Payment; (bb) Section 6.6.6.2, RMR Payment for Energy; (cc) Section 6.6.6.3, RMR Adjustment Charge; (dd) Section 6.6.6.4, RMR Charge for Unexcused Misconduct; (ee) Section 6.6.6.5, RMR Service Charge; (ff) Section 6.6.6.6, Method for Reconciling RMR Actual Eligible Costs, RMR and MRA Contributed Capital Expenditures, and Miscellaneous RMR Incurred Expenses; (gg) Section 6.6.6.7, MRA Standby Payment; (hh) Section 6.6.6.8, MRA Contributed Capital Expenditures Payment; (ii) Section 6.6.6.9, MRA Payment for Deployment Event; (jj) Section 6.6.6.10, MRA Variable Payment for Deployment; (kk) Section 6.6.6.11, MRA Charge for Unexcused Misconduct; (ll) Section 6.6.6.12, MRA Service Charge; (mm) Paragraph (3) of Section 6.6.7.1, Voltage Support Service Payments; (nn) Paragraph (5) of Section 6.6.7.1; (oo) Section 6.6.7.2, Voltage Support Charge; (pp) Section 6.6.8.1, Black Start Hourly Standby Fee Payment; (qq) Section 6.6.8.2, Black Start Capacity Charge; (rr) Section 6.6.9.1, Payment for Emergency Operations Settlement; (ss) Section 6.6.9.2, Charge for Emergency Operations Settlement; (tt) Section 6.6.10, Real-Time Revenue Neutrality Allocation; (uu) Section 6.6.11.1, Emergency Response Service Capacity Payments; (vv) Section 6.6.11.2, Emergency Response Service Capacity Charge; (ww) Section 6.6.14.2, Firm Fuel Supply Service Hourly Standby Fee Payment and Fuel Replacement Cost Recovery; (xx) Section 6.6.14.3, Firm Fuel Supply Service Capacity Charge; (yy) Section 6.7.1, Real-Time Settlement for Updated Day-Ahead Market Ancillary Service Obligations; (zz) Section 6.7.2.2, Regulation Up Service Payments and Charges; (aaa) Section 6.7.2.3, Regulation Down Service Payments and Charges; (bbb) Section 6.7.2.4, Responsive Reserve Payments and Charges; (ccc) Section 6.7.2.5 , Non-Spinning Reserve Service Payments and Charges; (ddd) Section 6.7.2.6 , ERCOT Contingency Reserve Service Payments and Charges; (eee) Section 6.7.2.7 , Real-Time Derated Ancillary Service Capability Payment; (fff) Section 6.7.2.8 , Real-Time Derated Ancillary Service Capability Charge; (ggg) Section 6.7.3, Real-Time Ancillary Service Revenue Neutrality Allocation; (hhh) Section 6.8.2, Recovery of Operating Losses During an LCAP or ECAP Effective Period; (iii) Section 6.8.3, Charges for Operating Losses During an LCAP or ECAP Effective Period; (jjj) Section 7.9.2.1, Payments and Charges for PTP Obligations Settled in Real-Time; (kkk) Section 9.16.1, ERCOT System Administration Fee; (lll) Section 28.8, Firming Capacity Penalty Charge; (mmm) Section 28.9, Firming Capacity Incentive Payment; and (nnn) Section 28.10, Firming Capacity Surplus Payment Allocation to Load.

(2)	In the event that ERCOT is unable to execute the Day-Ahead Market (DAM), ERCOT shall provide, on each RTM Settlement Statement, the dollar amount for the following RTM Congestion Revenue Right (CRR) Settlement charges and payments:

(a)	Section 7.9.2.4, Payments for FGRs in Real-Time; and

(b)	Section 7.9.2.5, Payments and Charges for PTP Obligations with Refund in Real-Time.

# ERCOT Nodal Protocols

# Section 23

# Form V:  Attestation for Exemption from Generation Firming Program of Generation Resource Serving Load Within a Private Use Network

# TBD

Attestation for Exemption from Generation Firming Program of Generation Resource Serving Load within a Private Use Network

A Resource Entity that represents a Generation Resource that is co-located with a load in a Private Use Network and that is included in an original Standard Generation Interconnection Agreement (SGIA) executed on or after January 1, 2027, shall use this form to attest that the Generation Resource is exempted, if applicable, from the performance obligations under the Generation Firming Program, as described in Section 28, Generation Firming Program.

The form can be submitted to ERCOT via email to MPRegistration@ercot.com or via facsimile to (512) 225-7079.

Resource Entity:

Resource Entity DUNS Number:

Generation Resource Name:

I hereby attest that the Generation Resource referenced herein is co-located with a load in a Private Use Network and that more than 50% of the nameplate capacity of such Generation Resource is dedicated to serving the load within the Private Use Network.  In accordance with 16 Texas Administrative Code § 25.65(d)(7), I understand that ERCOT will rely on this attestation to determine that the performance obligations of the Generation Firming Program do not apply to the Generation Resource.

By signing below, I certify that I am authorized to bind the Resource Entity listed above, that I am authorized to execute and submit this attestation on behalf of the above Resource Entity and its Generation Resource, and that the statements contained herein are true and correct.

Signature: ________________________________

Name: ________________________________

Title: ________________________________

Date: ________________

# 28	GENERATION FIRMING PROGRAM

## 28.1	Overview

(1)	The Public Utility Commission of Texas (PUCT) adopted the Generation Firming Program in 16 Texas Administrative Code § 25.65 and required ERCOT to implement this program.  Public Utility Regulatory Act § 39.1592 requires the implementation and operation of the Generation Firming Program.

(2)	The purpose of the Generation Firming Program is to incentivize Generation Resources to operate, or be available to operate, at or above the Resource’s Seasonal Average Generation Capability (SAGC) during Low Operation Reserve Hours in a Firming Season.  This obligation may be satisfied by the Generation Resource’s own performance or via a confirmed Firming Transfer with an eligible Resource.

## 28.2	Generation Firming Program Applicability to Resources

### 28.2.1		Resources Subject to a Firming Performance Obligation

(1)	Performance obligations under the Generation Firming Program apply to Generation Resources for a particular Firming Season that meet the following criteria, unless otherwise exempted by the criteria specified in paragraph (2) below:

(a)	The Generation Resource is included in an original Standard Generation Interconnection Agreement (SGIA) executed on or after January 1, 2027; and

(b)	That Generation Resource has been in operation for at least 12 months prior to the beginning of the Firming Season, with the first date of operation defined as the Generation Resource’s Resource Commissioning Date.

(2)	Generation Firming Program performance obligations do not apply to the following:

(a)	Energy Storage Resources (ESRs);

(b)	Generation Resources providing Must-Run Alternative (MRA) Service for the MRA Contracted Hour(s);

(c)	Reliability Must-Run (RMR) Units;

(d)	Generation Resources contracted by ERCOT under paragraph (4) of Section 6.5.1.1, ERCOT Control Area Authority, for those hours applicable to the contract with ERCOT;

(e)	Settlement Only Generators (SOGs);

(f)	Resources that are registered with the Public Utility Commission of Texas (PUCT) as a self-generator; or

(g)	Generation Resources that are co-located with a load in a Private Use Network provided that greater than 50% of the Generation Resource’s nameplate capacity is dedicated to serving the load within the Private Use Network, as further described in paragraph (3) below.

(3)	To determine if a Generation Resource is exempt under paragraph (2)(g) above, ERCOT shall rely on an attestation provided by the Resource Entity on behalf of its Generation Resource using the form in Section 23 Form V, Attestation for Exemption from Generation Firming Program of Generation Resource Serving Load Within a Private Use Network.

### 28.2.2		Resources Eligible to Provide Firming Service

(1)	The following types of Resources may provide Firming Service through a confirmed Firming Transfer:

(a)	A Generation Resource, including a Distribution Generation Resource (DGR);

(b)	An Energy Storage Resource (ESR), including a Distribution Energy Storage Resource (DESR); or

(c)	A Load Resource.

## 28.3	Generation Firming Program Market Timeline

### 28.3.1		Pre-Season

(1)	ERCOT shall post on the Market Information System (MIS) Certified Area the Seasonal Average Generation Capability for each Generation Resource at least ten days prior to the beginning of the Firming Season.

(2)	ERCOT shall post the Firming Baseline Period for each Firming Season on the ERCOT website at least ten days prior to the beginning of the Firming Season.

### 28.3.2	Post-Season

(1)	ERCOT shall post the quantity indicating whether the Resources subject to firming performance obligations were long or short during the Low Operation Reserve Hours as described in paragraph (2) of Section 28.8, Firming Capacity Penalty Charge within ten calendar days after the end of the applicable Firming Season.

(2)	ERCOT shall post the Settlement for the Firming Season on the RTM Final Settlement, and for any subsequent Settlement runs, for the last Operating Day of each Firming Season.

(3)	Not later than 75 days after each Firming Season in which there were Low Operation Reserve Hours and the firming performance obligations were accordingly triggered, ERCOT shall file a post-season report with the Public Utility Commission of Texas (PUCT) summarizing qualifying hours, settled financial penalties and financial incentives, and predominant causes for any exemptions.  ERCOT may file the post-season report with the quarterly reports that ERCOT is required to file pursuant to 16 Texas Administrative Code § 25.362(i)(3).

## 28.4	Firming Baseline Period

(1)	ERCOT shall define the Firming Baseline Period for the upcoming Firming Season.  The Firming Baseline Period shall include the morning and evening ramp hours identified in the following table:

| Firming Season | Morning Ramp Hours | Evening Ramp Hours |
| --- | --- | --- |
| Winter | Hours Ending 5, 6, and 7 | Hours Ending 16, 17, and 18 |
| Spring | Hours Ending 5, 6, and 7 | Hours Ending 18, 19, and 20 |
| Summer | Hours Ending 5, 6, and 7 | Hours Ending 18, 19, 20, and 21 |
| Fall | Hours Ending 5, 6, and 7 | Hours Ending 17, 18, and 19 |

(2)	In addition to the hours identified in paragraph (1) above, the Firming Baseline Period for a Firming Season shall include any high-risk hours identified using ERCOT’s annual North American Electric Reliability Corporation (NERC) probabilistic assessment for that season based upon the criteria that the probability of CAFOR falling below 2500 MW for each hour of the day in that month is above 10%.  ERCOT will use the latest available NERC probabilistic assessment results to make this determination.

## 28.5	Firming Transfers

(1)	The window for submitting Firming Transfers begins at the start of the applicable Firming Season and ends 30 days after the end of each Firming Season.  QSEs must submit and confirm Firming Transfers within this window.

(2)	ERCOT shall notify each QSE through the Messaging System of any of its Firming Transfers that are invalid within ten calendar days after the QSE submits and confirms the Firming Transfer.  The QSE may correct and resubmit any invalid Firming Transfer within ten calendar days of receiving ERCOT’s notification that the trade is invalid or by the end of the window for submitting Firming Transfers, whichever occurs later.  All transfers will be finalized within 40 days of the end of the Firming Season.

### 28.5.1	Firming Transfer Criteria

(1)	A Firming Transfer must be submitted by a QSE and must include the following information:

(a)	The buying QSE;

(b)	The buying Resource;

(c)	The selling QSE;

(d)	The selling Resource;

(e)	The quantity in megawatts (MW); and

(f)	The first hour and last hour of the transfer.

(2)	A Firming Transfer must be confirmed by both the buyer and seller to be considered valid.

(3)	A Firming Transfer may be between two Resources that are associated with the same QSE.  In such cases, the buying QSE and the selling QSE will be the same QSE for the Firming Transfer submission.

(4)	A selling Resource may provide Firming Service to more than one buying Resource for the same hour.

(5) 	The minimum amount that can be submitted in a Firming Transfer is 1 MW rounded to the nearest tenth.

### 28.5.2	Firming Transfer Validation

(1)	A validated Firming Transfer is a Firming Transfer that ERCOT has determined meets the criteria listed in Section 28.5.1, Firming Transfer Criteria.  Only one confirmed Firming Transfer is permitted between two Resources for the same hour.

(2)	When a Firming Transfer is reported to ERCOT, ERCOT shall notify both the buying and selling QSEs via the Messaging System, if available, and on the Market Information System (MIS) Certified Area.  If the same QSE is both the buying and selling QSE, only one notification to the QSE will be provided.

(3)	ERCOT shall continuously validate Firming Transfers and continuously display on the MIS Certified Area information that allows any QSE named in a Firming Transfer to view confirmed and unconfirmed Firming Transfers.

(4)	In cases in which the same QSE is not both the buying and selling QSE, the QSE that first reports the Firming Transfer to ERCOT is deemed to have confirmed the Firming Transfer unless it subsequently affirmatively rejects it.  The QSE that first reports a Firming Transfer may reject, edit, or delete a Firming Transfer that its counterpart QSE has not confirmed.  The counterpart QSE is deemed to have confirmed the Firming Transfer when it submits to ERCOT an identical Firming Transfer.  After both the buyer QSE and seller QSE have confirmed a Firming Transfer, either party may reject it at any time prior to the deadline for reporting Firming Transfers.

(5)	For cases in which the same QSE is both the buying and selling QSE, the Firming Transfer will be deemed to be confirmed upon ERCOT receiving the initial valid submission. The confirmed Firming Transfer may be rejected by the submitting QSE at any time prior to deadline for reporting Firming Transfers.

## 28.6		Expected Resource Availability

(1)	ERCOT shall calculate the Seasonal Average Generation Capability (SAGC) for each Firming Season for each Generation Resource as follows:

SAGC q, r, s	=	Min [(1/n) * Σy (THSL q, r, y / SRC q, r, s), 0.75] * SBSRC q, r, s

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| SAGC q, r, s | MW | Seasonal Average Generation Capability—The MW quantity the Resource is expected to operate or be available to operate at during a Low Operation Reserve Hour for the Resource r represented by the QSE q for the Firming Season s. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. This value is rounded to the nearest tenth. |
| SRC q, r, s | MW | Seasonal Rated Capacity —The applicable Seasonal net maximum sustainable rating, as registered with ERCOT, for the Resource r represented by the QSE q for the corresponding historical season s. Where for a Combined Cycle Train, the Resource r is the largest Combined Cycle Generation Resource within the Combined Cycle Train. |
| SBSRC q, r, s | MW | Season Beginning Seasonal Rated Capacity —The applicable Seasonal net maximum sustainable rating, as registered with ERCOT, for the Resource r represented by the QSE q for the given Firming Season s. Where for a Combined Cycle Train, the Resource r is the largest Combined Cycle Generation Resource within the Combined Cycle Train. |
| THSL q, r, y | MW | Telemetered High Sustained Limit—The High Sustained Limit (HSL) of the Resource r represented by QSE q as telemetered to ERCOT, for the SCED interval y. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| q | none | A QSE. |
| r | none | A Generation Resource. |
| s | none | The Firming Season. |
| y | none | A SCED interval in the Firming Season, limited to a period equal to the lesser of the last five years and the time since the Generation Resource’s Resource Commissioning Date. |
| n | none | The total number of SCED intervals in the Firming Season within a period equal to the lesser of the last five years and the time since the Generation Resource’s Resource Commissioning Date. |

## 28.7		Exemptions from Firming Performance Obligations

(1)	A Resource that is subject to firming performance obligations, as defined in Section 28.2.1, Resources Subject to a Firming Performance Obligation, and is not providing Firming Service through a confirmed Firming Transfer shall be fully exempt from the firming capacity penalty charge as described in Section 28.8, Firming Capacity Penalty Charge, if any of the following circumstances are applicable during a Low Operation Reserve Hour:

(a)	The Resource has an ERCOT-approved Planned Outage, Opportunity Outage, or derate;

(b)	The Resource is limited from generating due to a transmission Outage;

(c)	A Market Suspension event occurs;

(d)	The Resource is subject to a derate or Outage to satisfy environmental compliance requirements; or

(e)	The Resource is a Switchable Generation Resource (SWGR) that is committed to a neighboring Independent System Operator or Regional Transmission Organization for the applicable hour.  If the SWGR is a Combined Cycle with any of its components committed to a neighboring Independent System Operator or Regional Transmission Organization, then the entire Combined Cycle Train is exempt.

(2)	A Resource that is subject to firming performance obligations, as defined in Section 28.2.1, Resources Subject to a Firming Performance Obligation, and is not providing Firming Service through a confirmed Firming Transfer shall be exempt or partially exempt from the firming capacity penalty charge as described in Section 28.8 during a Low Operation Reserve Hour for:

(a)	The portion of the awarded energy or Ancillary Services in the Day-Ahead Market (DAM) for that hour; or

(b)	The Resource capacity contracted for reliability services during that hour, including:

(i)	Black Start Service (BSS): Only the primary Resource will be exempt, unless it is on Outage in which case the alternate Resource will be exempt if it is available during the Low Operation Reserve Hour; or

(ii)	Firm Fuel Supply Service (FFSS): Only the Resource, primary or alternate, that is carrying the FFSS obligation during the Low Operation Reserve Hour will be exempt.

(3)	The exemptions in this Section 28.7 do not apply to any Resource that is providing Firming Service through a confirmed Firming Transfer.

## 28.8		Firming Capacity Penalty Charge

(1)	For each Firming Season, ERCOT shall impose a financial penalty on any Qualified Scheduling Entity (QSE) representing a Generation Resource that fails to satisfy its firming performance obligations pursuant to Section 28.6, Expected Resource Availability.   The QSE representing a Resource that assumes a Firming Service obligation also assumes responsibility for the financial penalty if that Resource fails to satisfy the firming performance obligation.

(2)	ERCOT will calculate the Firming Capacity Penalty Quantity (FCPQ) amount, excluding any Firming Transfers, for the Low Operation Reserve Hours for the Firming Season on the Real-Time Market (RTM) Initial Settlement, and any subsequent Settlement runs prior to the RTM Final Settlement, for the last Operating Day of the Firming Season. For the RTM Final Settlement and any subsequent Settlement runs, ERCOT will calculate the FCPQ including any Firming Transfers.

(3)	The firming capacity penalty charge will be assessed on the RTM Final Settlement, and any subsequent Settlement run, for the last Operating Day of each Firming Season.

(4)	The firming capacity penalty price during a Low Operation Reserve Hour is calculated as follows:

FCPPR h = 0.2 * DASWCAPH h

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| FCPPR h | $/MWh | Firming Capacity Penalty Price¾ The firming capacity penalty price for the hour h. |
| DASWCAPH h | $/MWh | Day-Ahead System-Wide Offer Cap for the Hour—The effective Day-Ahead System-Wide Offer Cap (DASWCAP), as described in Section 4.4.11, Day-Ahead and Real-Time System-Wide Offer Caps, for the hour h.. |
| h | none | The Low Operation Reserve Hour. |

(5)	The firming capacity penalty charge for a Resource that fails to provide or be available to provide its firming performance obligation during a Low Operation Reserve Hour is calculated as follows:

FCPAMT q, r, h = FCPQ q, r, h * FCPPR h

Where:

(a)	For Resources that are subject to firming performance obligations, as defined in Section 28.2.1, Resources Subject to a Firming Performance Obligation, the FCPQ is calculated as follows:

FCPQ q, r, h = Max (0, FCRQ q, r, h – Max (FCAV q, r, h, DAESR q, p, r, h + DAASQ q, r, h, RCCRS q, r, h) – FTCP q, r, h).

Where:

FCRQ q, r, h = SAGC q, r, s + FTCS q, r, h

FCAV q, r, h = HATHSL q, r, h

DAASQ q, r, h = PCRUR r, q, DAM, h + PCRDR r, q, DAM, h + PCECRR r, q, DAM, h +

PCNSR r, q, DAM, h + PCRRR r, q, DAM, h

Where:

HATHSL q, r, h = Σy (RTHSL q, r, y * TLMP y, h)/3600

(b)	For Resources that are not subject to firming performance obligations, as defined in Section 28.2.1, Resources Subject to a Firming Performance Obligation, but have a Firming Service obligation based on a confirmed Firming Transfer, the FCPQ is calculated as follows:

FCPQ q, r, h = Max (0, FCRQ q, r, h – FCAV q, r, h)

Where:

FCRQ q, r, h = FTCS q, r, h

For a Transmission Generation Resource:

FCAV q, r, h = HATHSL q, r, h – SAGC q, r, s + FTCP q, r, h

For an Energy Storage Resource (ESR), including a Distribution Energy Storage Resource (DESR):

FCAV q, r, h = Min (HATHSL q, r, h, (SOCBH q, r, h – SOCBHM q, r, h)) + FTCP q, r, h

For a Distribution Generation Resource (DGR):

FCAV q, r, h = HATHSL q, r, h + FTCP q, r, h

For a Load Resource other than a Controllable Load Resource (CLR):

FCAV q, r, h = HATNPC q, r, h – HATLPC q, r, h + HADAL q, r, h + FTCP q, r, h

For a CLR:

FCAV q, r, h = HATMPC q, r, h – HATLPC q, r, h + FTCP q, r, h

Where:

HATNPC q, r, h = Σy (RTNPC q, r, y * TLMP y, h)/3600

HATLPC q, r, h = Σy (RTLPC q, r, y * TLMP y, h)/3600

HADAL q, r, h = Σy (RTDAS q, r, y * TLMP y, h)/3600

HATMPC q, r, h = Σy (RTMPC q, r, y * TLMP y, h)/3600

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| FCPAMT q, r, h | $ | Firming Capacity Penalty Amount¾ The amount charged to Resource r represented by the QSE q that was short compared to its obligation to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| FCPQ q, r, h | MW | Firming Capacity Penalty Quantity ¾The MW quantity that the Resource r represented by the QSE q was short compared to its obligation to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| FCPPR h | $/MWh | Firming Capacity Penalty Price¾ The firming capacity penalty price for the hour h. |
| FCRQ q, r, h | MW | Firming Capacity Requirement Quantity—The MW quantity that the Resource r represented by the QSE q is required to provide or be available to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| FCAV q, r, h | MW | Firming Capacity Availability—The MW quantity that the Resource r represented by the QSE q was available to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| FTCS q, r, h | MW | Firming Transfer Capacity Sales—The MW quantity sold by the Resource r represented by the QSE q to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| FTCP q, r, h | MW | Firming Transfer Capacity Purchases—The MW quantity bought by the Resource r represented by the QSE q to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| DAESR q, p, r, h | MW | Day-Ahead Energy Sale from Resource per QSE by Settlement Point per Resource by hour—The amount of energy cleared through Three-Part Supply Offers in the Day-Ahead Market (DAM) for Resource r at Resource Node p represented by QSE q for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Generation Resource within the Combined Cycle Train. |
| DAASQ q, r, h | MW | Day-Ahead Awarded Ancillary Services Quantity—The total Ancillary Service quantity awarded in the DAM to the Resource r represented by the QSE q for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Generation Resource within the Combined Cycle Train. |
| RCCRS q, r, h | MW | Resource Capacity Contracted for Reliability Service—The contracted or awarded capacity for the reliability services described in Section 28.7(2)(b) for the Resource r represented by the QSE q for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| PCRUR r, q, DAM, h | MW | Procured Capacity for Reg-Up from Resource per Resource per QSE per hour in DAM—The Regulation Up (Reg-Up) capacity quantity awarded to QSE q in the DAM for Resource r for the hour h. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| PCRDR r, q, DAM, h | MW | Procured Capacity for Reg-Down from Resource per Resource per QSE per hour in DAM—The Regulation Down (Reg-Down) capacity quantity awarded to QSE q in the DAM for Resource r for the hour h. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| PCECRR r, q, DAM, h | MW | Procured Capacity for ERCOT Contingency Reserve Service from Resource per Resource per QSE per hour in DAM—The ERCOT Contingency Reserve Service (ECRS) capacity quantity awarded to QSE q in the DAM for Resource r for the hour h. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| PCNSR r, q, DAM, h | MW | Procured Capacity for Non-Spin from Resource per Resource per QSE per hour in DAM—The Non-Spinning Reserve (Non-Spin) capacity quantity awarded to QSE q in the DAM for Resource r for the hour h. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| PCRRR r, q, DAM, h | MW | Procured Capacity for Responsive Reserve from Resource per Resource per QSE per hour in DAM—The Responsive Reserve (RRS) capacity quantity awarded to QSE q in the DAM for Resource r for the hour h. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| SAGC q, r, s | MW | Seasonal Average Generation Capability—The MW quantity the Resource is expected to operate at or be available to operate at during a Low Operation Reserve Hour for the Resource r represented by the QSE q for the season s, as described in Section 28.6,Expected Resource Availability. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| HATHSL q, r, h | MW | Hourly Average Telemetered High Sustained Limit—The time-weighted average telemetered High Sustained Limit of the Resource r represented by QSE q for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. This value is rounded to the nearest tenth. |
| RTHSL q, r, y | MW | Real-Time Telemetered High Sustained Limit —The Real-Time telemetered High Sustained Limit of the Resource r represented by QSE q for SCED interval y when the Resource r shows available. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| HATNPC q, r, h | MW | Hourly Average Telemetered Net Power Consumption per QSE per Load Resource per hour—The time-weighted average telemetered net power consumption of the Load Resource, other than a Controllable Load Resource, r represented by QSE q for the hour h. |
| RTNPC q, r, y | MW | Real-Time Telemetered Net Power Consumption per QSE per Load Resource per SCED interval—The Real-Time telemetered net power consumption of the Load Resource, other than a Controllable Load Resource, r represented by QSE q for SCED interval y. |
| HATLPC q, r, h | MW | Hourly Average Telemetered Low Power Consumption per QSE per Load Resource per hour—The time-weighted average telemetered Low Power Consumption of the Load Resource r represented by QSE q for the hour h. |
| RTLPC q, r, y | MW | Real-Time Telemetered Low Power Consumption per QSE per Load Resource per SCED interval—The Real-Time telemetered Low Power Consumption of Load Resource r represented by QSE q for SCED interval y. |
| HADAL q, r, h | MW | Hourly Average Deployed Amount per QSE per Load Resources per hour— The time-weighted average deployed MW amount for the Load Resource, other than a Controllable Load Resource, r represented by QSE q for the hour h. |
| RTDAS q, r, y | MW | Real-Time Deployed Ancillary Service per QSE per Load Resource per SCED interval —The total amount of Ancillary Service deployed by ERCOT XML messages for the Load Resource, other than a Controllable Load Resource, r represented by QSE q for SCED interval y. |
| HATMPC q, r, h | MW | Hourly Average Telemetered Maximum Power Consumption per QSE per Load Resource per hour—The time-weighted average telemetered Maximum Power Consumption of the Controllable Load Resource r represented by QSE q for the hour h. |
| RTMPC q, r, y | MW | Real-Time Telemetered Maximum Power Consumption per QSE per Load Resource per SCED interval—The Real-Time telemetered Maximum Power Consumption of Controllable Load Resource r represented by QSE q for SCED interval y. |
| SOCBH q, r, h | MWh | State of Charge at the beginning of the Hour per QSE per Resource per hour—The telemetered State of Charge (SOC) for the ESR r represented by QSE q at the start of the hour h using data from the first SCED Interval within hour h. |
| SOCBHM q, r, h | MWh | State of Charge at the beginning of the Hour Minimum per QSE per Resource per hour—The telemetered minimum amount of State of Charge for the ESR r represented by QSE q at the start of the hour h using data from the first SCED Interval within hour h. |
| TLMP y, h | second | Duration of SCED interval—The duration of the SCED interval y in operating hour h. |
| q | none | A QSE. |
| r | none | A Resource. |
| p | none | A Resource Node Settlement Point. |
| h | none | The Low Operation Reserve Hour. |
| y | none | The SCED Interval. |
| s | none | The Firming Season. |

(6)	The total firming capacity penalty charge for the Firming Season is calculated as follows:

FCPAMTTOT s = FCPAMTQSETOT q, s

Where:

FCPAMTQSETOT q, s = Σr  Σh FCPAMT q, r, h

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| FCPAMTTOT s | $ | Firming Capacity Penalty Amount Total—The total of the charges to all QSEs for firming capacity penalties for the season s. |
| FCPAMTQSETOT q, s | $ | Firming Capacity Penalty Amount QSE Total per QSE—The total firming capacity penalty charges to QSE q for the season s. |
| FCPAMT q, r, h | $ | Firming Capacity Penalty Amount—The amount charged to Resource r represented by the QSE q that was short compared to its obligation to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| q | none | A QSE. |
| r | none | A Resource. |
| h | none | The Low Operation Reserve Hour. |
| s | none | The Firming Season. |

## 28.9		Firming Capacity Incentive Payment

(1)	For each Firming Season, ERCOT will pay a financial incentive to a QSE representing a Generation Resource that operates or is available to operate above its Seasonal Average Generation Capability (SAGC) during a Low Operation Reserve Hour, subject to the existence of firming capacity penalty charges for the season.  Only Resources that are subject to firming performance obligations, as defined in Section 28.2.1, Resources Subject to a Firming Performance Obligation, are eligible for this payment. Resources that are not subject to firming performance obligations, as defined in Section 28.2.1, Resources Subject to a Firming Performance Obligation, are not eligible for this payment.

(2)	The firming capacity incentive payment will be calculated on the RTM Final Settlement, and any subsequent Settlement run, for the last Operating Day of each Firming Season.

(3)	The firming capacity incentive price for the Firming Season is calculated as follows:

FCIPR s = Min (FCPAMTTOT s / FCIQTOT s, 1000)

Where:

FCIQTOT s = Σr  Σh FCIQ q, r, h

FCIQ q, r, h  = Max (0, FCAV q, r, h – FTCP q, r, h – FCRQ q, r, h)

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| FCIPR s | $/MWh | Firming Capacity Incentive Price ¾The calculated price for season s used to determine the firming capacity incentive amount. |
| FCPAMTTOT s | $ | Firming Capacity Penalty Amount Total ¾The total of the charges to all QSEs for firming capacity penalties for the season s. |
| FCIQTOT s | MW | Firming Capacity Incentive Quantity Total ¾The sum of the MW quantities for the season s for all Resources that were long compared to their obligation to provide firming capacity for the Low Operation Reserve Hour. |
| FCIQ q, r, h | MW | Firming Capacity Incentive Quantity ¾The MW quantity that the Resource r represented by the QSE q was long compared to its obligation to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| FCAV q, r, h | MW | Firming Capacity Availability—The MW quantity that the Resource r represented by the QSE q was available to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| FTCP q, r, h | MW | Firming Transfer Capacity Purchases—The MW quantity bought by the Resource r represented by the QSE q to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| FCRQ q, r, h | MW | Firming Capacity Requirement—The MW quantity that the Resource r represented by the QSE q is required to provide or be available to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| q | none | A QSE. |
| r | none | A Generation Resource. |
| h | none | The Low Operation Reserve Hour. |
| s | none | The Firming Season. |

(4)	The firming capacity incentive payment for a Resource that operates, or is available to operate, above its SAGC during a Low Operation Reserve Hour is calculated as follows:

FCIAMT q, r, h = (-1) * FCIPR s * FCIQ q, r, h

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| FCIAMT q, r, h | $ | Firming Capacity Incentive Amount ¾The amount paid to the Resource r represented by the QSE q that was long compared to its obligation to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| FCIPR s | $/MWh | Firming Capacity Incentive Price ¾The calculated price for season s used to determine the firming capacity incentive amount. |
| FCIQ q, r, h | MW | Firming Capacity Incentive Quantity ¾The MW quantity that the Resource r represented by the QSE q was long compared to its obligation to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| q | none | A QSE. |
| r | none | A Generation Resource. |
| h | none | The Low Operation Reserve Hour. |
| s | none | The Firming Season. |

(5)	The total firming capacity incentive payment for the Firming Season is calculated as follows:

FCIAMTTOT s = FCIAMTQSETOT q, s

Where:

FCIAMTQSETOT q, s = Σr  Σh FCIAMT q, r, h

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| FCIAMTTOT s | $ | Firming Capacity Incentive Amount Total ¾The total of the payments to all QSEs for firming capacity incentives for the season s. |
| FCIAMTQSETOT q, s | $ | Firming Capacity Incentive Amount QSE Total per QSE ¾The total firming capacity incentive payment to QSE q for the season s. |
| FCIAMT q, r, h | $ | Firming Capacity Incentive Amount ¾The amount paid to the Resource r represented by the QSE q that was long compared to its obligation to provide firming capacity for the hour h. Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train. |
| q | none | A QSE. |
| r | none | A Generation Resource. |
| h | none | The Low Operation Reserve Hour. |
| s | none | The Firming Season. |

## 28.10		Firming Capacity Surplus Payment Allocation to Load

(1)	If the total amount of firming capacity penalty charges exceeds the absolute value of the total amount of firming capacity incentive payments, any excess funds shall be allocated to Qualified Scheduling Entities (QSEs) representing Loads based on their Load Ratio Share (LRS) across the Firming Season.

(2)	The amount allocated to each QSE representing Load for the Firming Season is calculated as follows:

LAFCEXAMT q, s	= (-1) * (FCPAMTTOT s + FCIAMTTOT s) * SLRS q, s

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| LAFCEXAMT q, s | $ | Load-Allocated Firming Capacity Excess Amount ¾The amount allocated to QSE q for the season s. |
| FCPAMTTOT s | $ | Firming Capacity Penalty Amount Total ¾The total of the charges to all QSEs for firming capacity penalties for the season s. |
| FCIAMTTOT s | $ | Firming Capacity Incentive Amount Total ¾The total of the payments to all QSEs for firming capacity incentives for the season s. |
| SLRS q, s | none | Seasonal Load Ratio Share ¾ The seasonal Load Ratio Share calculated for QSE q for the season s, calculated starting the first hour of the season and ending with the last hour of the season. If the resultant QSE-level share is negative, the QSE's share will be set to zero and all other QSE shares will be adjusted on a pro rata basis such that sum of all shares is equal to one. |
| q | none | A QSE. |
| s | none | The Firming Season. |

PUCT Project No. 58198, Rulemaking to Implement Firming Reliability Requirements for Electric Generating Facilities in the ERCOT Region Under PURA §39.1592, Order Adopting New 16 TAC §25.65 (December 18, 2025) (“Firming Rule”) which can be accessed at https://interchange.puc.texas.gov/search/documents/?controlNumber=58198&itemNumber=77.

16 TAC §25.65 (f)(2)(C).

ERCOT, “NERC 2025 Probabilistic Assessment,” (October 24, 2025), presented at the Supply Analysis Working Group, accessed here.

For example, see the July 2026 MORA Report at https://www.ercot.com/files/docs/2026/05/01/MORA_July2026.pdf.

PUCT Project No. 58777, Triennial Reliability Assessment for the ERCOT Region Under 25.508.  See, Staff Recommendation at 10 which can be accessed at https://interchange.puc.texas.gov/Documents/58777_37_1619958.PDF.  The PUCT gave guidance to ERCOT to include this recommendation in its modeling during the April 17 Open Meeting.

PUCT Project No. 58198, Rulemaking to Implement Firming Reliability Requirements for Electric Generating Facilities in the ERCOT Region Under PURA §39.1592, Order Adopting New 16 TAC §25.65 (December 18, 2025) (“Firming Rule”) which can be accessed at https://interchange.puc.texas.gov/search/documents/?controlNumber=58198&itemNumber=77.

Id.