| Date: | May 22, 2026 |
| --- | --- |
| To: | Board of Directors |
| From: | Caitlin Smith, Technical Advisory Committee (TAC) Chair |
| Subject: | Non-Unanimous and Other Selected Revision Requests Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: June 1 – 2, 2026 Item No.: 15.1

Issue: Consideration of the following Revision Requests: Nodal Protocol Revision Requests (NPRRs) and Nodal Operating Guide Revision Requests (NOGRRs) recommended for approval by TAC (with opposing votes recorded): - NPRR1308, Board Priority - Related to NOGRR282, Large Computational Load Ride-Through Requirements – URGENT - NPRR1309, Board Priority - Dispatchable Reliability Reserve Service Ancillary Service – URGENT - NPRR1315, Changes to Process of Evaluating the Potential Needs for Additional Capacity and Mitigated Offer Cap – URGENT - NOGRR282, Board Priority - Large Computational Load Ride-Through Requirements – URGENT - NOGRR283, Board Priority - Related to NPRR1309, Dispatchable Reliability Reserve Service Ancillary Service – URGENT

Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote; (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Board Review is required of all TAC Reports and Impact Analyses (Protocol Section 21.3.10). - NPRR1308, Board Priority - Related to NOGRR282, Large Computational Load Ride-Through Requirements – URGENT Sponsor: ERCOT Revision Description: This NPRR defines Large Computational Load (LCL). Impact Analysis: No impact (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NOGRR282, Board Priority - Large Computational Load Ride-Through Requirements) Proposed Effective Date: Upon system implementation of NOGRR282 TAC Report/Decision: On 4/29/26, TAC voted to recommend approval of NPRR1308 as recommended by PRS in the 4/15/26 PRS Report. There were two opposing votes from the Consumer (2) (Air Liquide, CMC Steel) Market Segment and four abstentions from the Consumer (City of Dallas), Cooperative (GSEC), Independent Generator (Vistra), and Independent Retail Electric Provider (IREP) (Demand Control 2) Market Segments. ERCOT Opinion: ERCOT supports approval of NPRR1308. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1308 and believes the market impact for NPRR1308, along with NOGRR282, provides necessary requirements to reduce the reliability risk posed by LCLs unexpectedly tripping or transferring to backup generation when frequency and voltage excursions within a specified range occur. Without these requirements, events involving LCL loss would increase in magnitude, potentially leading to system frequency and voltage instability. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NPRR1308. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1309, Board Priority - Dispatchable Reliability Reserve Service Ancillary Service – URGENT Sponsor: ERCOT Revision Description: This NPRR develops Dispatchable Reliability Reserve Service (DRRS) as a new Ancillary Service that includes the following functionality: DRRS is added to the Protocols on top of Real-Time Co-optimization (RTC) and Energy Storage Resource (ESR) single-model Protocols; DRRS is offered, awarded, and paid in both the Day-Ahead Market (DAM) and the Real-Time Market (RTM); DRRS can be self-arranged and traded; DRRS can be provided by eligible Off-Line and On-Line Generation Resources; and Non-Spinning Reserve (Non-Spin) duration requirements are reduced from four hours to two hours. Impact Analysis: Between $3.0M and $5.0M Proposed Effective Date: Upon system implementation – Priority 2026; Rank 440 TAC Report/Decision: On 4/29/26, TAC voted to recommend approval of NPRR1309 as recommended by PRS in the 4/15/26 PRS Report as amended by the 4/28/26 ERCOT II comments. There were five opposing votes from the Cooperative (3) (LCRA, Brazos, STEC) and Independent Generator (2) (Vistra, Constellation) Market Segments and one abstention from the Cooperative (GSEC) Market Segment. ERCOT Opinion: ERCOT supports approval of NPRR1309. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1309 and believes the market impact for NPRR1309, along with NOGRR283, meets the statutory obligation to create DRRS pursuant to Public Utility Regulatory Act § 39.159(d). Independent Market Monitor (IMM) Opinion: IMM supports NPRR1309. Key Documents (including comments, ballots, reports and impact analyses) - NPRR1315, Changes to Process of Evaluating the Potential Needs for Additional Capacity and Mitigated Offer Cap – URGENT Sponsor: ERCOT Revision Description: This NPRR adds notification requirements for ERCOT to follow when ERCOT has determined that additional capacity is needed to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition. Under the revisions, ERCOT would notify the Public Utility Commission of Texas (PUCT) when it has made such a determination and would also notify the PUCT prior to entering into any contract for additional capacity. To address additional capacity that is needed to address local constraint issues, this NPRR also extends the study horizon for evaluating and potentially contracting for capacity to prevent anticipated Load shed events. ERCOT proposes this study horizon extend up to two years instead of just the current or next Season. Impact Analysis: Less than $5K O&M Proposed Effective Date: The day following PUCT approval TAC Report/Decision: On 5/13/26, TAC voted to recommend approval of NPRR1315 as recommended by PRS in the 5/6/26 PRS Report as revised by TAC and the 5/12/26 Revised Impact Analysis with a recommended effective date of the day following PUCT approval. There was one opposing vote from the Independent Power Marketer (IPM) (SENA) Market Segment and five abstentions from the Cooperative (4) (LCRA, Brazos, STEC, GSEC) and IPM (Morgan Stanley) Market Segments. ERCOT Opinion: ERCOT supports approval of NPRR1315. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1315 and believes that it provides a positive market impact and improves processes by adding notification and more detailed procedure requirements for ERCOT to follow when ERCOT has determined that additional capacity is needed to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition. Independent Market Monitor (IMM) Opinion: IMM opposes NPRR1315. Key Documents (including comments, ballots, reports and impact analyses) - NOGRR282, Board Priority - Large Computational Load Ride-Through Requirements – URGENT Sponsor: ERCOT Revision Description: This NOGRR establishes frequency and voltage ride-through requirements for LCLs. Impact Analysis: Annual Recurring O&M Staffing Cost: $600K – $750K Proposed Effective Date: The first of the month following PUCT approval TAC Report/Decision: On 4/29/26, TAC voted to recommend approval of NOGRR282 as recommended by ROS in the 4/2/26 ROS Report as amended by the 4/13/26 ERCOT comments; and the 4/14/26 Revised Impact Analysis. There were two opposing votes from the Consumer (2) (Air Liquide, CMC Steel) Market Segment and four abstentions from the Consumer (City of Dallas), Cooperative (GSEC), Independent Generator (Vistra), and IREP (Demand Control 2) Market Segments. ERCOT Opinion: ERCOT supports approval of NOGRR282. ERCOT Market Impact Statement: ERCOT Staff has reviewed NOGRR282 and believes the market impact for NOGRR282 provides necessary requirements to reduce the reliability risk posed by LCLs unexpectedly tripping or transferring to backup generation when frequency and voltage excursions within a specified range occur. Without these requirements, events involving LCL loss would increase in magnitude, potentially leading to system frequency and voltage instability. Independent Market Monitor (IMM) Opinion: IMM has no opinion on NOGRR282. Key Documents (including comments, ballots, reports and impact analyses) - NOGRR283, Board Priority - Related to NPRR1309, Dispatchable Reliability Reserve Service Ancillary Service – URGENT Sponsor: ERCOT Revision Description: This NOGRR and related NPRR1309 develops DRRS as a new Ancillary Service. Further, given that DRRS has at least a four-hour duration, the Non-Spin duration requirements are reduced from four hours to two hours. Impact Analysis: No impact (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR1309) Proposed Effective Date: Upon system implementation of NPRR1309 TAC Report/Decision: On 4/29/26, TAC voted to recommend approval of NOGRR283 as recommended by ROS in the 4/2/26 ROS Report as amended by the 4/9/26 ERCOT comments. There were five opposing votes from the Cooperative (3) (LCRA, Brazos, STEC) and Independent Generator (2) (Vistra, Constellation) Market Segments and one abstention from the Cooperative (GSEC) Market Segment. ERCOT Opinion: ERCOT supports approval of NOGRR283. ERCOT Market Impact Statement: ERCOT Staff has reviewed NOGRR283 and believes the market impact for NOGRR283, along with NPRR1309, meets the statutory obligation to create DRRS pursuant to Public Utility Regulatory Act § 39.159(d). Independent Market Monitor (IMM) Opinion: IMM supports NOGRR283. Key Documents (including comments, ballots, reports and impact analyses)

Key Factors Influencing Issue: The PRS met, discussed the issues, and submitted reports to TAC regarding NPRRs 1308, 1309, and 1315. The ROS met, discussed the issues, and submitted reports to TAC regarding NOGRRs 282 and 283.

Conclusion/Recommendation: As more specifically described above, TAC recommends that the Board recommend approval of NPRRs 1308, 1309, and 1315; and NOGRRs 282 and 283.

## ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

## BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to recommend approval of the following Nodal Protocol Revision Requests (NPRRs) and Nodal Operating Guide Revision Requests (NOGRRs):

- NPRR1308, Board Priority - Related to NOGRR282, Large Computational Load Ride-Through Requirements – URGENT

- NPRR1309, 	Board Priority - Dispatchable Reliability Reserve Service Ancillary Service – URGENT

- NPRR1315, 	Changes to Process of Evaluating the Potential Needs for Additional Capacity and Mitigated Offer Cap – URGENT

- NOGRR282, Board Priority - Large Computational Load Ride-Through Requirements – URGENT

- NOGRR283, Board Priority - Related to NPRR1309, Dispatchable Reliability Reserve Service Ancillary Service – URGENT

THEREFORE, BE IT RESOLVED, that the ERCOT Board hereby recommends approval of NPRRs 1308, 1309, and 1315; and NOGRRs 282 and 283.

## CORPORATE SECRETARY’S CERTIFICATE

I, Brandon Gleason, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its June 1-2, 2026 meeting, the Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of ______________, 2026.

______________________________

Brandon Gleason

Assistant Corporate Secretary