## Instructions
Batch Zero Load Information Form
This form is a draft template provided for stakeholder review and process development purposes only and remains subject to change, revision, or withdrawal pending further ERCOT review and stakeholder feedback. Final versions of this form will not be issued or implemented unless and until PGRR145 is approved by both the ERCOT Board of Directors and the Public Utility Commission of Texas (“PUCT”)
Purpose of this Workbook
This workbook supports the coordination, collection, validation, and tracking of submission materials required for the ERCOT Batch Zero Process for Large Load Interconnections
The workbook is intended to function as the primary coordination and readiness tracking tool used by ILLEs, Interconnecting TSPs/DSPs, and ERCOT throughout the Batch Zero submission and review process
The workbook is used to:
identify the applicable Batch Zero eligibility pathway;
determine applicable submission requirements;
assign review and validation responsibilities;
track submission completeness and outstanding items;
document supporting materials and validation status; and
confirm readiness for ERCOT submission.
This workbook does not replace official ERCOT forms, attestations, technical submissions, or formal ERCOT eligibility determinations
How to Use This Workbook
Complete Section 1 – Large Load Demographics
Enter the Large Load project information, including the Interconnecting Large Load Entity (ILLE), Interconnecting TSP, Interconnecting DSP (if applicable), project location, interconnection information, and load characteristics. Information should be consistent with all supporting Batch Zero materials and ERCOT submissions.
Identify Submission Responsibility in Section 1D
Identify the party responsible for coordinating collection, validation, and submission readiness prior to ERCOT submission. The TSP and DSP should coordinate responsibility for collection, validation, and submission activities prior to ERCOT submission.
Select the Applicable Eligibility Path in Section 2
Select the Batch Zero eligibility path applicable to the Large Load request. The selected eligibility path determines which documents and supporting materials are applicable in Section 3.
Review Section 3 – Eligibility Requirements
Review all listed requirements and identify which documents are applicable for the selected eligibility path. Some items may be Required, Conditional, or Not Required depending on the selected pathway.
Assign Responsibility for Collection and Validation
For each applicable submission requirement, the TSP and DSP shall coordinate and assign responsibility for review and validation activities prior to ERCOT submission. The reviewing entity identified in the workbook is responsible for reviewing applicable submission materials, validating completeness and consistency, documenting completion status and identifying deficiencies/follow-up requests (if applicable)
Track Completion Status
The Completion Status field is used to track whether applicable submission items have been received and reviewed for completeness by the responsible reviewing entity.
A status of “Complete” indicates that the applicable reviewing entity has completed its review of the submission item for completeness and consistency purposes. Final eligibility determinations remain subject to ERCOT review and approval.
Enter Associated File Names
For each applicable submission item, enter the associated file name or document identifier corresponding to the supporting material received from the ILLE or other responsible party.
Confirm Package Readiness Prior to Submission
Once all applicable required documents have been received, reviewed, and validated by the responsible TSP and/or DSP, Cell I1 shall display:
“LOAD APPLICATION READY TO BE SUBMITTED”
This indicates that:
all applicable required submission items have been received;
required reviews and validations have been completed;
the submission package has been coordinated between the applicable TSP/DSP; and
the package is considered ready for ERCOT submission.
This readiness confirmation does not constitute ERCOT eligibility approval.
Section 3 – Eligibility Requirements Field Definitions (Section 3 in "Batch Zero LIF" sheet)
Requirement / Submission Item – Identifies each document, form, attestation, evidence item, or technical submission required for the selected Batch Zero eligibility pathway
Applicability – Indicates whether the item is Required, Conditional, or Not Required for the selected eligibility pathway.
Submission Format – Identifies the expected submission format (e.g., Evidence, Attestation, Form, Payment, TSP Statement)
Submitting Party – Identifies the party responsible for providing the submission item into the Batch Zero process, as applicable. This may include the ILLE, Interconnecting TSP/DSP, or ERCOT
Reviewing Entity – Identifies the TSP or DSP responsible for reviewing and validating the applicable submission item.
Completion Status – Indicates the review status of the submission item in the LIF
Supporting File Name(s) – Records the name(s) of the file(s), attachment(s), or document identifier(s) associated with the submission item
ERCOT Validation – Used to record ERCOT’s validation outcome for the submission item, including confirmation, follow-up requests, deficiency identification, or final validation status, as applicable
Notes / Comments – Optional field for comments, clarifications, deficiency notes, follow-up items, or other coordination observations related to the submission item
Submission Coordination
The TSP and DSP are responsible for coordinating submission responsibilities between themselves prior to ERCOT submission.
The submitting entity identified in Section 1D is responsible for transmitting the final Batch Zero submission package to ERCOT. ERCOT generally expects the Interconnecting TSP to transmit the final submission package to ERCOT and copy the Interconnecting DSP, if applicable.
The final submission package may include:
the completed LIF;
supporting documentation and evidence;
required ERCOT forms and attestations; and
any required TSP/DSP confirmations or notifications under the Planning Guide.
Dynamic load models and supporting dynamic model documentation may require direct submission by the ILLE to ERCOT in accordance with ERCOT instructions and applicable Batch Zero requirements.

## Batch Zero LIF
This form is a draft template provided for stakeholder review and process development purposes only and remains subject to change, revision, or withdrawal pending further ERCOT review and stakeholder feedback
Final versions of this form will not be issued or implemented unless and until PGRR145 is approved by both the ERCOT Board of Directors and the Public Utility Commission of Texas (“PUCT”)
Batch Zero Load Information Form (LIF)
Section 1 - Large Load Demographics
Section 1A - Project Identification
| Field | Format | Instructions |  | Notes
| Project Name |  | Text |  | Use consistent naming
| LLI Number |  | Text |  | If assigned
| ILLE Name |  | Text |  | Interconnecting Large Load Entity
| TSP Name |  | Text |  | Interconnecting TSP
| DSP Name |  | Text |  | If applicable
Section 1B - Location and Interconnection
| Field | Format | Instructions |  | Notes
| County |  | Text |  | Project location
| Service Delivery Point |  | Text |  | POI / substation
| Service Delivery Voltage (kV) |  | Number |  | Transmission voltage
| Latitude |  | Decimal |  | Decimal format
| Longitude |  | Decimal |  | Decimal format
| ERCOT Load Zone |  | Text |  | If known
Section 1C - Load Characteristics
| Field | Format | Instructions |  | Notes
| Peak Demand (MW) |  | Number |  | Requested load
| Peak Demand (MVAr) |  | Number |  | If available
| Power Factor |  | Decimal |  | At peak
| Actual Initial Energization Date |  | Date |  | If energized only
| Desired Initial Energization Date |  | Date |  | Planned in-service
Section 1D - Submission Responsibility and ILLE POCs
| Field | Format | Instructions |  | Notes
| Submitting Entity to ERCOT |  | TSP / DSP
| Primary Contact Name |  | Text
| Email |  | Text
| Phone |  | Text
| ILLE Authorized Representative Name |  | Text |  | Authorized representative for Batch Zero communications and confirmations
| ILLE Authorized Representative Email |  | Text
| ILLE Authorized Representative Phone |  | Text
| ILLE Technical Contact Name |  | Text |  | Technical point of contact for studies and modeling
| ILLE Technical Contact Email |  | Text
| ILLE Technical Contact Phone |  | Text
Section 2 - Batch Zero Eligibility Path
| Base Load Section 9.2.1.1(1)(e) |  | Select ONE of: (a)–(g), Studied Load, PCLR, WLPUN
Section 3 - Eligibility Requirements
ID | Requirement / Submission Item | Applicability | Submission Format | Submitting Party | Reviewing Entity | Completion status | Supporting File Name(s) | ERCOT validation | Notes / Comments | Check | Check
1 | Initial Energization Status | Not Required | TSP confirmation | TSP/DSP | [5 empty] | 0 | 0
2 | Stability / Interim VRT Qualification Status | Not Required | TSP confirmation | TSP/DSP | [5 empty] | 0 | 0
3 | Permian Basin Reliability Plan Study Inclusion | Not Required | TSP confirmation | TSP/DSP | [5 empty] | 0 | 0
4 | Complete and valid interconnection study determination | Required | TSP confirmation | TSP/DSP |  |  |  |  | ERCOT determination referenced by the TSP/DSP as part of the Batch Zero eligibility package | 1 | 0
5 | TSP notarized attestation of study validity | Conditional | Attestation (Notarized) | TSP/DSP |  |  |  |  | Applicable only for studies evaluated under Section 9.2.1.4(3)(d) | 0 | 0
6 | Similar request disclosure | Required | Attestation (Notarized) | ILLE |  |  |  |  | Consolidated attestation for items 6-11 | 1 | 0
7 | Site studies and engineering progress | Required | Attestation (Notarized) | ILLE |  |  |  |  | Consolidated attestation for items 6-11 | 1 | 0
8 | Permitting status | Required | Attestation (Notarized) | ILLE |  |  |  |  | Consolidated attestation for items 6-11 | 1 | 0
9 | Phased energization schedule | Required | Attestation (Notarized) | ILLE |  |  |  |  | Consolidated attestation for items 6-11 | 1 | 0
10 | On-site backup generation | Required | Attestation (Notarized) | ILLE |  |  |  |  | Consolidated attestation for items 6-11 | 1 | 0
11 | Power procurement strategy | Required | Attestation (Notarized) | ILLE |  |  |  |  | Consolidated attestation for items 6-11 | 1 | 0
12 | Equipment order attestation | Required | Attestation (Notarized) | ILLE | [5 empty] | 1 | 0
13 | Notice to proceed (NTP) attestation | Required | Attestation (Notarized) | ILLE | [5 empty] | 1 | 0
14 | End-use customer / developer attestation | Required | Attestation (Notarized) | ILLE | [5 empty] | 1 | 0
15 | Transmission upgrade financial security | Required | TSP confirmation | TSP/DSP |  |  |  |  | TSP/DSP confirmation that required financial security has been posted consistent with Planning Guide Section 9.2.1.1 | 1 | 0
16 | Direct interconnection cost (CIAC) responsibility | Required | TSP confirmation | TSP/DSP | [5 empty] | 1 | 0
17 | Site control evidence | Required | Attestation (Notarized) + Evidence | ILLE | [5 empty] | 1 | 0
18 | General contractor contract | Not Required | Attestation (Notarized) | ILLE | [5 empty] | 0 | 0
19 | Substation contractor contract | Not Required | Attestation (Notarized) | ILLE | [5 empty] | 0 | 0
20 | Site approvals | Not Required | Attestation (Notarized) + Evidence | ILLE | [5 empty] | 0 | 0
21 | PURA §39.169 application / net metering proceeding | Not Required | TSP confirmation | TSP/DSP | [5 empty] | 0 | 0
22 | Full technical data package | Not Required | Technical documentation | ILLE | [5 empty] | 0 | 0
23 | Preliminary Load Commissioning Plan (LCP) | Not Required | Technical documentation | TSP/DSP |  |  |  |  | Initial schedule provided by the ILLE; maintained and updated by the Interconnecting TSP | 0 | 0
24 | Written acknowledgement of change notification obligations | Not Required | Attestation (Non-notarized) | ILLE | [5 empty] | 0 | 0
25 | Dynamic load model and supporting documentation | Required | Technical documentation | ILLE |  |  |  |  | Submitted directly by the ILLE to ERCOT and the Interconnecting TSP pursuant to Section 9.2.2(3) | 1 | 0
26 | Prior stability-study impact determination | Not Required | TSP confirmation | TSP/DSP |  |  |  |  | Required only if a prior dynamic stability study has been performed | 0 | 0
27 | Form W – Part A (notarized) | Not Required | Form (Notarized) | ILLE | [5 empty] | 0 | 0
28 | Form X (notarized) | Not Required | Form (Notarized) | ILLE | [5 empty] | 0 | 0
29 | Generator FIS request | Not Required | TSP confirmation | TSP/DSP | [5 empty] | 0 | 0
30 | 2026 RTP load information | Not Required | TSP confirmation | TSP/DSP | [5 empty] | 0 | 0
31 | Most recent LCP | Not Required | Technical documentation | TSP/DSP |  |  |  |  | Existing LCP maintained by the Interconnecting TSP for operational or previously studied loads | 0 | 0
32 | Executed IA or equivalent agreement | Not Required | Technical documentation | TSP/DSP | [5 empty] | 0 | 0
33 | List of already energized loads | Not Required | TSP confirmation | TSP/DSP | [5 empty] | 0 | 0
34 | List of LL qualifying under VRT pathway | Not Required | TSP confirmation | TSP/DSP | [5 empty] | 0 | 0
35 | List of Large Loads qualifying under PBRP | Not Required | TSP confirmation | TSP/DSP | [5 empty] | 0 | 0
36 | IDEV files | Required | Technical documentation | ILLE |  |  |  |  | Required only if load is unenergized
[10 empty] | 13 | 0

## Assumptions (hidden)
Document / Evidence | Base Load Section 9.2.1.1(1)(a) | Base Load Section 9.2.1.1(1)(b) | Base Load Section 9.2.1.1(1)(c) | Base Load Section 9.2.1.1(1)(d) | Base Load Section 9.2.1.1(1)(e) | Base Load Section 9.2.1.1(1)(f) | Base Load Section 9.2.1.1(1)(g) | Studied Load | PCLR | WLPUN | Format | Owner
Initial Energization Status | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
Stability / Interim VRT Qualification Status | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
Permian Basin Reliability Plan Study Inclusion | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
Complete and valid interconnection study determination | Not Required | Not Required | Not Required | Not Required | Required | Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
TSP notarized attestation of study validity | Not Required | Not Required | Not Required | Not Required | Conditional | Conditional | Not Required | Conditional | Conditional | Conditional | Attestation (Notarized) | TSP/DSP
Similar request disclosure | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE
Site studies and engineering progress | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE
Permitting status | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE
Phased energization schedule | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE
On-site backup generation | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE
Power procurement strategy | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | Attestation (Notarized) | ILLE
Equipment order attestation | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE
Notice to proceed (NTP) attestation | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE
End-use customer / developer attestation | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE
Transmission upgrade financial security | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Required | Required | Required | TSP confirmation | TSP/DSP
Direct interconnection cost (CIAC) responsibility | Not Required | Not Required | Not Required | Not Required | Required | Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
Site control evidence | Not Required | Not Required | Not Required | Not Required | Required | Required | Not Required | Required | Required | Required | Attestation (Notarized) + Evidence | ILLE
General contractor contract | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE
Substation contractor contract | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) | ILLE
Site approvals | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Attestation (Notarized) + Evidence | ILLE
PURA §39.169 application / net metering proceeding | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
Full technical data package | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Required | Required | Technical documentation | ILLE
Preliminary Load Commissioning Plan (LCP) | Not Required | Required | Required | Required | Not Required | Not Required | Not Required | Required | Required | Required | Technical documentation | TSP/DSP
Written acknowledgement of change notification obligations | Required | Required | Required | Required | Not Required | Not Required | Not Required | Required | Required | Required | Attestation (Non-notarized) | ILLE
Dynamic load model and supporting documentation | Conditional | Conditional | Conditional | Required | Required | Required | Required | Required | Required | Required | Technical documentation | ILLE
Prior stability-study impact determination | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Conditional | Conditional | Conditional | TSP confirmation | TSP/DSP
Form W – Part A (notarized) | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Not Required | Form (Notarized) | ILLE
Form X (notarized) | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Required | Form (Notarized) | ILLE
Generator FIS request | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Conditional | TSP confirmation | TSP/DSP
2026 RTP load information | Not Required | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
Most recent LCP | Not Required | Required | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Technical documentation | TSP/DSP
Executed IA or equivalent agreement | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Technical documentation | TSP/DSP
List of already energized loads | Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
List of LL qualifying under VRT pathway | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
List of Large Loads qualifying under PBRP | Not Required | Not Required | Not Required | Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | TSP confirmation | TSP/DSP
IDEV files | Not Required | Not Required | Conditional | Required | Required | Required | Required | Required | Required | Required | Technical documentation | ILLE
Complete
Incomplete
Not applicable